Minutes of splinter sessions held at the SPIRE Consortium Meeting

2nd December 1998

Compiled by: Ken King

- Minutes of the Splinter Session for Institute Managers

- Minutes of the Splinter Session on ICC Organisation

- Minutes of  Splinter Session on Simulations of SPIRE Observations

- Confusion Noise in SPIRE Surveys

- Minutes of  Splinter Session on the Scientific Requirements Document

- Time Sampling Interferograms with an LVDT

- Minutes of Splinter Session on Detector Array Programme

- Minutes of the FTS and Optics Splinter

- Splinter Viewgraphs

- New Proposal for SPIRE Optical Design

- Impact of telescope defocus

- Minutes of the Structure Team Splinter Meeting

- New Mass and Thermal Dissipation Tables

- Possible Conceptual Layout for the SPIRE Structure

- Minutes of the Warm electronics & S/W working group splinter meeting

- List of essential inputs required by the Warm Electronics and OBS Group

Minutes of the Splinter Session for Institute Managers

Chairman: Ken King

Minutes prepared by: Ken King

# Work Packages

The meeting discussed the need to define the SPIRE work packages in the near future, to allow the instrument implementation schedule to be defined. It will also provide milestones against which progress reporting can be made

.

AI-MAN-0056-01:  King to send the template (for MS Word) for a work package description (based on the detector selection plan) to all local project managers.

Due date: 4th Dec 1998.

AI-MAN-0056-02:  Local project managers to complete the work package descriptions, as far as is possible. Due date: 15th Jan 1999.

AI-MAN-0056-03: Local project managers to send estimates of the length of time needed for manufacture of their AVM, CQM and PFM subsystems. These times should assume manufacture starts with the CDR (AVM and CQM) or CQM Readiness Review (PFM) and end with delivery of the subsystem to RAL for AIV.

Due date: 11th Dec 1998.

# Reporting

The format of monthly reports to was discussed:

Monthly reports to ESA would be based on a template to be provided by ESA. This would require approximately a half page report by each Unit Manager (TBC).  Local project managers will send their reports to the Unit Managers (with copy to King) on the last working day of each month.

The first report is assumed to be due at the end of January 1999.

Monthly reports would be based on milestones identified in the Instrument Implementation Schedule. This schedule and the list of milestones would be made available on the consortium WWW site.

AI-MAN-0056-04:  King to provide a template (for MS Word) for the progress reports.

Due date: 15th Jan 1999.

AI-MAN-0056-05: King to define a set of milestones covering the next six months.

Due date: 22nd Dec 1998.

# Management Documentation

Drafts of the Product Tree, Documentation Tree and Work Breakdown Structure are required to be available to ESA by the managers meeting on 16th December. The local project managers will comment on a first version next week.

AI-MAN-0056-06: King to send drafts of the Product Tree, Documentation Tree and Work Breakdown Structure to local project managers.

Due date: 4th December 1998.

AI-MAN-0056-07: Local project managers to send comments on the Product Tree, Documentation Tree and Work Breakdown Structure to King.

Due date: 11th Dec 1998.

# Product Assurance

The current PA plan, issued with the SPIRE proposal needs to be reviewed and updated, before it can be agreed. Some names of the institute PA mangers (mostly acting) were given.

AI-MAN-0056-08: Local project managers to send names of the Product Assurance responsible person at their institutes to King

Due Date: 11th Dec 1998.

AI-MAN-0056-09: Local project managers/ PA managers to review the current PA Plan and make comments.

Due date: 15th Jan 1999

# ICC

The resources available for the development and implementation of the ICC is not clear.

AI-MAN-0056-10: Local project managers to provide a profile (year by year) of the effort available at their institute for ICC development work. An indication of the amount of time that these staff could spend at other institutes should also be made.

Due date: 31 Jan 1999.

Minutes of the Splinter Session on ICC Organisation

Chairman: Ken King

Minutes prepared by: Ken King

The purpose of the meeting was to discuss the role, membership and tasks of the ICC Definition Team as proposed by the SPIRE Steering Group.

It was agreed that the role of this team was to provide the scientific and technical input required to define and implement the ICC work packages.

The membership should be:

- An ICC Scientist - who would lead the team.

- The ICC and DAPSAS centre managers

- The Ground Segment Systems Scientist

plus other scientists and technical staff with experience of ground segment and data processing systems.

A list of contact points/potential members from the institutes present at the meeting was drawn up:

| Stockholm | H-G Floren |
| --- | --- |
| Padova | A Franceschini |
| IFSI | P. Saraceno |
| ATC | G. Wright |
| IAS | P. Cox, F. Pajot |
| IAC | I Perez-Fournon |
| ICSTM | N. Todd, S, Coe |
| LAS | J-P Baluteau |
| SAp | J-L Augueres, R. Gasteau |

In the light of the number of people identified it was thought that the ICC Definition Team would have to form sub groups to work on specific tasks.

The ICC Scientist, who was not identified, would organise a kick-off meeting of the Team in mid to late January.

The following tasks of the team were identified at the meeting:

- To refine the work packages for the implementation and maintenance of the data processing software to allow the ICC Steering Group to allocate these to the appropriate ICC Centres.

- To advise members of the FIRST/Planck Commonality Working Groups which deal with ICC matters, on the SPIRE  inputs.

Minutes of  Splinter Session on Simulations of SPIRE Observations

Chairman: Laurent Vigroux

Minutes prepared by: Matt Griffin

A revised version (V0.2) of the document Confusion Noise in SPIRE Surveys by Aussel, Vigroux and André was presented by Laurent, including some results (the note is attached to these minutes).  The updated model incorporates the comments made in the note of September 13 by Griffin Bock and Gear (Comments on the note Confusion noise in SPIRE surveys) but there are still some points that need to be clarified and discussed.

Actions

Due dates for all of these: end December (at the very latest) except where otherwise stated, so that the information can be used to produce a revised version of the model in January.

- Review revised document and send comments to Laurent and Matt 		All

- Investigate incorporation of AOCS model (including pointing jitter)		LV

- Extend the model to include more realistic sky by			LV/AF/SJO
	-	having the same set of sources in the artificial sky maps at all 
		of the wavelengths by selecting objects from the z-L plot)
	-	incorporating clustering

- Provide information on the PSF from the optical model and its  		BMS	variation across the field (Jan. 31)

- Study consequences of chopping for confusion-limited imaging		SJO

- Make the model sky maps available electronically so that people  		LV
	try different source extraction algorithms.

- Consider the definition of quantitative figures of merit for 			AF
	confusion-limited observations

- Produce a revised version of the model based on the above (to 		LV
	be presented and reviewed at the next Detector Array meeting)
	(Jan. 16)

- Other (lower priority) areas in which the model can be made more 		LV
	representative are:

-	include observing overheads explicitly
			       -	include ability to simulate non-Gaussian noise contributions

(End Feb.)

LV	=	Laurent Vigroux
AF		=	Alberto Franceschini
SJO	=	Seb Oliver
BMS	=	Bruce Swinyard

Minutes of  Splinter Session on the Scientific Requirements Document

Chairman: Walter Gear

Minutes prepared by: Matt Griffin

General approach

It was agreed that this was appropriate.  Now that the main scientific drivers are identified, quantitative numbers can be quoted, but we must be careful to avoid making reckless promises. For deep extragalactic surveys, an important requirement is to be able to detect a usefully large number of sources regardless of whether the population of high-z galaxies turns out to be at the upper or lower end of the scale consistent with credible models.  This means being able to map an appropriately large area down to the confusion limit.

Top-level requirements not mentioned in the draft

Follow-up of Planck and SIRTF:  For follow-up using the FTS, we must make sure teat the field of view is big enough given the positional accuracies that will be available.  However, even with the existing 2 x 2 arcminute fov, we may be OK because (i) radio positions may be available for some objects; (ii) anything observable with the FTS can be quickly observed by the photometer or with PACS with good S/N to pin down the position.

Co-ordinated observations with PACS:  Both galactic and extragalactic surveys will require very close coordination with PACS.  At this stage, we might as well regards our top-level science requirements as extending beyond the capabilities of SPIRE.  The next version of the SRD will be circulated to PACS for their information and comments and hopefully to initiate closer contacts in the future.

The relative calibration of SPIRE and PACS is very important, especially for the proper construction of SEDs spanning the two wavelength regions near the peak.  Some overlap in wavelength coverage would be very useful for this.  We should think about a requirement on the relative calibration of SPIRE and PACS.

Particular points made during the discussion

- We will need to measure the PSF very accurately in orbit, and to understand all contributions to PSF degradation (e.g., spacecraft jitter)

- Important trade-off:  In designing the photometer optics, there will be a trade-off between throughput (photon gathering efficiency) and image quality (aberrations – change in PSF shape and distortion – change in PSF size).  We need the best possible angular resolution for many programmes, but what if it’s at the expense of sensitivity?  It is important that the design choices be based on an understanding of which is more critical for the science. 
This question should therefore be looked at urgently and quantified, preferably through working contacts between the Project Scientists and the optical design team.

- It is likely that the image quality and detector performance will not be uniform across the array.  Therefore it will be necessary to have observing modes which do not observe the same part of the sky with the same pixels all of the time.

- The nominal wavelengths of the photometric bands are more or less arbitrary - anyone who thinks they should be revised should make a case.

- FTS band overlap: we need a limit on degradation of sensitivity in the overlap region

- Confusion is not as strong a function of angular resolution as previously thought but it is still important to

- Chopping makes confusion worse, but to what extent is uncertain – we need simulations.
But it is clear that an observing mode that does not use chopping will be significantly better for deep surveys.

- For maximum efficiency, we should have as many detectors in the focal plane as possible regardless of whether we chop or not.

- It is clear that the “chopper” will be required to perform complex jiggling and/or scanning motions.  It is important that a specification for it be drawn up soon, which requires attention to the needs of the various observing modes and detector array options.

- The FIRST telescope design and sharing of the focal plane are not well optimised for SPIRE.   Alternatives which provide better image quality should be studied.  To make progress on this we will need to quantify the potential improvements.

- The minimum spectral resolution required for spectrophotometry with the FTS needs to be specified as it has a major impact on the sampling accuracy requirement for the mirror position.

- Requirements on co-alignment of the arrays should be quantified.

- For the spectrometer, enlarging the field of view would have implications for the optical design and internal layout.  The beam would get larger and the off-axis image quality would be a problem.  The increase in data rate would also need to be accommodated.
The scientific advantages therefore need to be clarified and weighed up against the technical problems.

- It is agreed that it would be very good to have a workshop next Spring on SPIRE science (hopefully with the participation of PACS).

Actions

- Send any additional comments on the draft SRD to J-P B			All
	and WKG (Dec. 18)

- Produce new draft of the SRD (Dec. 31)					J-P B

- Examine requirements derived from need to follow up Planck		SJO
	observations (Dec. 31)

- Study tradeoffs between optical quality and throughput (TBD)       BMS/KD/WKG

- Summarise the case for making SPIRE capable of observing 		AF
	at other wavelengths (Dec. 31)

- Organise SPIRE Science Workshop with invitation to PACS 	WKG/J-P B
	(Jan. 31)

SJO 	= 	Seb Oliver
KD 	= 	Kjetil Dohlen
BMS 	= 	Bruce Swinyard
WKG 	=	Walter Gear

AF 	= 	Alberto Franceschini

J-P B 	= 	Jean-Paul Baluteau

Minutes of Splinter Session on Detector Array Programme

Chairman: Peter Hargrave

Minutes prepared by: Peter Hargrave

Present:  	QMW:		Peter Hargrave, Matt Griffin, Geoff Gannaway, Raul Hermoso
SAp:		Jean-Louis Augueres, Louis Rodriguez, Christophe Cara
GSFC:		Juan Ramon

# Progress reports from CEA/SAp and GSFC

SAp:-

- Results gained on detector heat capacity

- New 16x16 pixel array available mid-December for SAp tests ((QMW March)

- This array will have a range of implantation profiles on the thermometers across the array for selection of optimal implantation profile.

- Array at QMW (1 active pixel) – initial tests to be carried out before January meeting.

GSFC:-

- Mk 1.8 array controller design complete (to control 1x8 array)

- Mechanical design for 300mK mount complete

- This mount may be used for the feedhorn option

- Mock-up 1x8 array to NIST for testing with SQUID series array in December

- NIST have completed Nyquist filter inductors

- Au/Mo TES films have been found to be very robust even when subjected to temperatures as high as 200 0C

- Mk 1.8 controller delivery (to GSFC) late December ’98

- GSFC would like better definition of PDR requirements

- Written progress report has been given to Ken King

# Revisions to SAp test plan

- 1-pixel array at QMW

- Optical responsivity and speed of response to be tested before January meeting

- QMW may borrow He-3 fridge from IC if ordered fridge isn’t delivered by 9/12/98

- Array (March ’99 delivery) to be tested without heat-sink on readout circuit

- Thermal load to be measured in separate test

- Thermal load without 2K heatsink (i.e. to 300mK) estimated to be around 20W.

- Chase research fridge temp. variation of approx. 1mK/W load.

- Array can cope with temp. variations of around 50mK

- Readout circuit can be operated at lower bias to compensate

# Actions (GSFC & JPL in absentia)

Reiteration of pre-existing actions:

- All array groups and QMW:  Detailed interface specifications/test plans are needed for January meeting

- All array groups: Complete Bruces interface document!

New actions:

- Test optical responsivity & speed on SAp single pixel 		  	PH and present results at January Detector meeting (Jan 21)

- Define interfaces between QMW/SAp for March ’99 device (Jan 21)       PH/LR

- Measure heat load vs. temp. for new He-3 fridge (Jan 21) 			PH

- Provide 300-mK filter dimensions to all array groups (Dec 31)     		PH

- Design and build 300mK shield for March '99 device (Mar '99)		LR

- Provide staff for QMW tests (to be arranged, as needed)			SAp

- Design and build 300mK shields for other array options		  GSFC, JPL (to be delivered with arrays)

Minutes of the FTS and Optics Splinter

Chairman: Bruce Swinyard

Minutes prepared by: Bruce Swinyard

Present:  A large number of people!

# FTS:

Presentations were given by Kjetil Dohlen on the analysis of the effect of noise in the mirror position measurement accuracy and by Peter Ade on the measurement of the intensity beam splitter transmission – see attached view graphs.  Guy Michel submitted a report on the use of an LVDT position measurement – attached.

The major points arising from the discussion on the position measurement were:

- The error in the position measurement has a more serious impact on the low resolution performance of the FTS.

- Noise due to sampling errors affects the low R spectral information
(photometry) much more than the high R info (line searching), especially
when pt 3 is satisfied.

- The optical filters must roll off gracefully (cosine bell or tap hat convolved with Gaussian).

- The minimum resolution required is 20 with a goal of achieving 10.

Kjetil will redo the analysis using more realistic NEP figures and concentrating on the low-resolution performance of the instrument.   There was some discussion on how the position measurement might be realised.  Two ideas were proposed for further study: A tandem LVDT – or possibly a single LVDT with variable gain in the electronics - with high accuracy around the central maximum and lower accuracy at the higher frequencies; and a NIT Moire fringe readout.  The implementation of both these devices will be studied further.

The intensity beam splitter appears to work with a transmission of 50% across the waveband of interest.  Two will now be placed into the bench-top FTS built by Peter Ade to test the effectiveness of this device.

Guy Michel is in contact with GSFC about the implementation of the mechanism and is looking at a motor manufactured by the Swiss company ETEL.

Laurent Vigroux asked that the systems requirements for the FTS electronics and sampling be specified as soon as possible.

The next meeting will be in late January or early February to coincide with Peter completing the study into the intensity beam splitters.  The location is likely to be QMW because of teaching commitments on Peter and Matt.

## Actions:

| AI-FTS-0056-01 | Send Kjetil realistic NEP figures | BMS | 4/12/98 |
| --- | --- | --- | --- |
| AI-FTS-0056-02 | Send Kjetil information on Gaussian beam optics | BMS | 11/12/98 |
| AI-FTS-0056-03 | Recast signal to noise analysis using realistic NEP for resolution 3-20 | KD | Next Meeting |
| AI-FTS-0056-04 | Set date for next meeting in consultation with PARA | BMS | 22/12/98 |
| AI-FTS-0056-05 | Study use of tandem LVDT | JPB | Next Meeting |
| AI-FTS-0056-06 | Study use of NIR Moire fringe device | GM | Next Meeting |
| AI-FTS-0056-07 | Provide Kjetil with sample filter profile | PARA | 24/12/98 |

# Optics

Kjetil reported on the outcome of his study into the issue of telescope defocus.  We are sensitive to loss in detectability (Strehl ratio reduction) as the telescope – or indeed the instrument – goes out of focus.  The Strehl ratio is reduced from 0.94 for a perfectly focussed system to 0.6 for a WFE of 20 microns.  This raised the question of what is an acceptable loss in the Strehl ratio from all contributing factors and the distribution of the error budget through the system.  No conclusion was drawn on this matter.

Kjetil also presented the outcome of his study into the photometer design.  The pupil imaging can be improved in the current design by using a parabolic M3 – however the image quality is not good at the edges of the FOV.  A new design is proposed that will cure both pupil aberration and image aberration at the expense of field distortion and an anamorphic final focal ratio.  Kjetil was asked to redo the analysis of this new design with the instrument closer to the centre of the telescope FOV and using a 4x4 arc-minute FOV rather than the 5x5 in the original analysis – see note appended.

The next meeting will be contiguous with the next FTS meeting.

## Actions:

| AI-OPT-0056-01 | Redo analysis of new photometer design with 4x4 arcmin FOV and with instrument closer to on-axis | KD | 22/12/98 |
| --- | --- | --- | --- |

Minutes of the Structure Team Splinter Meeting

Minutes prepared by: Bruce Swinyard

Present (at least):

Wilf Oliver, Alan Smith, Colin Cunningham, Fraser Morrison, Bruce Swinyard, Kjetil Dohlen, Peter Ade.

Summary of meeting:

Most of the meeting was spent going through the positions and masses of the optical components and explaining how everything fitted together based on existing drawings and a new summary of the mass breakdown. Wilf Oliver made annotations on the drawings and notes. Attached are two of the inputs used for this discussion - the rest are in hardcopy and will be attached to the minutes.

Some actions were then set out on how and when the structural analysis will be carried out up to Christmas. The following was agreed.

- MSSL will build a "blocks and bricks" layout in IDEAS to be reviewed with BMS on the 14th or 15th December.

- They will then wrap a structure around this and set up a reduced node model.

- MSSL will do a hand calculation of the thermal and mechanical performance of the reduced node model by Christmas.

Actions:

| AI-STR-0056-01 | Create simplified model of SPIRE basic instrument in CAD package | MSSL | 15/12/98 |
| --- | --- | --- | --- |
| AI-STR-0056-02 | Analyse performance of simplified model and verify whether the conceptual design for the instrument structure will work | MSSL | 21/12/98 |

Minutes of the Warm electronics & S/W working group splinter meeting

Minutes prepared by: Jean-Louis Augeres

Attendees: 	J-L.Auguères (SAp), C.Cara (SAp), R.Cerulli (IFSI), H.Floren (SO), K.King (RAL), G.Olofsson (SO), L.Rodriguez (SAp), L.Vigroux (SAp)

1. Introduction:

CCa presented the objectives of the WE&SW working group:

They are:

- Setting up the overall electronics and s/w requirements stemming from various sources as: SPIRE system requirements, IID-A, OIRD, AIV Plan, Detector specifications, PA plan,...

- Define a top level architecture design.

- Participate in the definition and the reviewing of the ICDs between the Electronics & s/w and the other SPIRE sub-assemblies.

- Participate and reviewing of the SPIRE AIV plan.

- Check electronics design and implementation consistency all along the development phase.

- Report to the SPIRE System Team.

2. Discussion on WE&SW group membership:

It brought out from the discussions that the group should comprise:

- Permanent members: at least one person from the main labs involved in SPIRE electronics (SAp, IFSI, IAC, SO).
- As circumstances require, other people would be invited to participate: System team member(s), EGSE designer(s), members from other  working groups.

3. Definition of the Electronics Requirements:

- The setting up of the high level electronics & s/w requirement is regarded as the first priority task.

- Essential inputs are lacking. A first list of these inputs has been discussed and set up during the meeting (see attached list). This list will be submitted to Bruce.

| AI-WES-0056-01 | Make a fair copy of the essential input list and send it to Bruce (copy to the WE&SW Group) | SAp/ CCa | 08/12/98 |
| --- | --- | --- | --- |
| AI-WES-0056-02 | To respond the essential input request list. | BMS | 15/01/99 |

- The SPIRE development plan as well as AIV inputs are considered as essential.

- In house test equipment development have to be taken into consideration.

- The duplication of the AVM has to be considered: one to be delivered, one kept to be used for s/w development and test.

| AI-WES-0056-03 | To provide a Development Plan containing AIV information as well | KJK | 15/12/98 |
| --- | --- | --- | --- |

- In parallel of the getting of the essential inputs, the writing of the electronics specifications has to be carried out.

| AI-WES-0056-04 | To draft a skeleton of the electronics specifications with the electronics requirements identified so far. | Sap/ LR | 15/01/99 |
| --- | --- | --- | --- |

4. Focal plane simulators.

- G.Olofsson pointed out that his lab cannot afford to provide a focal plane simulator having up to 600 interface lines.

- L.Vigroux stated that such simulator is essential. Its development by the CEA has been envisaged. However, the SPIRE 3 (or 4) simulator (as part of the AVM) should have a much simpler interface (mainly a serial link to the SPU (or DPU)). Proposal will be made.

5. Next meeting.

- The next meeting should take place late January 1999. The main  goals of the next meeting will be to review the requirements and the development plan.

| AI-WES-0056-05 | To propose a date and a draft agenda for the next WE&SWG meeting. | Sap | 15/01/99 |
| --- | --- | --- | --- |

6. Action list.

| AI-WES-0056-01 | Make a fair copy of the essential input list and send it to Bruce (copy to the WE&SW Group) | SAp/ CCa | 08/12/98 |
| --- | --- | --- | --- |
| AI-WES-0056-02 | To respond the essential input request list. | BMS | 15/01/99 |
| AI-WES-0056-03 | To provide a Development Plan containing AIV information as well | KJK | 15/12/98 |
| AI-WES-0056-04 | To draft a skeleton of the electronics specifications with the electronics requirements identified so far. | Sap/ LR | 15/01/99 |
| AI-WES-0056-05 | To propose a date and a draft agenda for the next WE&SWG meeting. | Sap | 15/01/99 |