| Part ID (used on) | Description | Manufacturer/ Supplier | Country | Specification | Quality | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| SPIRE-BSM-020-001 item xxx | DISC-SPRING-ID-3.2mm stainless steel | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | CERNOX-THERMISTOR COPPER-CANISTER | Lakeshore | U.S | CX-1030-CU | TBD | Supplied via SPIRE Project office |
| SPIRE-BSM-020-001 item xxx | CAP-HD-SCREW-SS-M4x10 | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | CAP-HD-SCREW-SS-M2x10 | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | CAP-HD-SCREW-SS-M2-5x7.75 | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | CAP-HD-SCREW-SS-M2-5x7 | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | CAP-HD-SCREW-SS-M2-5x6 | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | CAP-HD-SCREW-SS-M2-5x12 | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | P-CLIPS BRASS (TBC) | TBD | E.U | TBD | TBD |  |
| SPIRE-BSM-020-001 item xxx | P-CLIP FASTENERS | TBD | E.U | TBD | TBD |  |
| SPIRE-BSM-020-001 item xxx | LOCKING INSERTS | TBD | E.U | TBD | TBD |  |
| SPIRE-BSM-020-001 item xxx | DOWELS | TBD | E.U | Austenitic, DIN A2, Grade 70 | TBD |  |
| SPIRE-BSM-020-001 item xxx | LACING | TBD | E.U | TBD | TBD |  |