SPIRE

Minutes of meeting

Delivery activities at EADS Astrium Ottobrunn

23 November 2004.

SPIRE-RAL-MOM-002230

Paul Mack  EADS

Eric Sawyer  RAL

RAL staff present during all activities (22 and 23 November)

- Eric Sawyer

- Doug Griffin

- Alan Pearce

Activities carried out

- Unpack FPU

- Move into class 100 area

- Unpack and carry out bench test on JFET unit s/n 0005

- Exchange JFET dummy for working JFET s/n 0005

- Fit alignment cube

- Cleanliness check

- Perform electrical bench test on FPU and JFETs

- Unpack warm electronics units, DPU, DCU, FCU

- Carry out unit level electrical checks

- Fit check all units on SVM panel

- Offer up harness to ensure sufficient length

- Unpack FPU simulator, Power supply, CDM simulator.

- Set up for stand alone bench test.

Activities to do in near term

- Carry out stand alone bench level test on warm units, provisionally planned for Tuesday 30th November.

- Carry out bench level test with IEGSE and CCS. Also planned for 30/11/04

- FPU integration

Note

FPU mounting screws  (12 off M6)  to be provided by EADS, JFET fasteners provided by SPIRE.