## STMT
Stmt_nr | Step_nr | Stmt_type | Stmt_id | Blk_flag | Time_tag | Info | Param_val_int | Param_val | Proforma | Packet
1 | 1 | CMT | COMMENTS |  |  | Generated:27/03/2009 Name:Mode_DcuFunc11_Spec Version number:7 Desc: $Id: Mode_DcuFunc11_Spec.txt,v 1.2 2005/08/11 12:00:41 asier Exp $ ParameterSet:array=SF heater_V=0
2 | 1 | CMT | COMMENTS |  |  | Procedure Mode_DcuFunc11_Spec: Spectrometer BDAs switch ON check
3 | 1 | CMT | COMMENTS |  |  | SPACON Select the TM Display for FUNCTIONAL TEST PARAMETERS
4 | 1 | CMT | COMMENTS |  |  | TMCHECK Check that SPECJFETSTAT is set to 0
5 | 1 | CMD | SC003500 |  | 00.00.00 | SET_OBS_STEP
6 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
7 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
8 | 1 | CMD | SC000500 |  | 00.00.00 | SET_OBSID
9 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
10 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
11 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
12 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
13 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
14 | 1 | CMD | SCD00505 |  | 00.00.01 | RESET_DRCU_COUNTERS
15 | 1 | CMD | SC000500 |  | 00.00.01 | SET_OBSID
16 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
17 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
18 | 1 | CMT | COMMENTS |  |  | SPACON The next set of TCs to switch on the detectors should be executed as quickly as possible
19 | 1 | CMT | COMMENTS |  |  | SPACON The interval between TCs should not exceed the values given in the procedure
20 | 1 | CMT | COMMENTS |  |  | SPACON No TM parameter checks from the MCS are necessary during the detector switch on
21 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
22 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
23 | 1 | CMD | SC003500 |  | 00.00.03 | SET_OBS_STEP
24 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
25 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
26 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
27 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
28 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
29 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
30 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
31 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
32 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
33 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
34 | 1 | CMD | SCD06505 |  | 00.00.02 | SEND_DRCU_COMMAND
35 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
36 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
37 | 1 | CMD | SCD06505 |  | 00.00.03 | SEND_DRCU_COMMAND
38 | 1 | CMD | SCD01505 |  | 00.00.00 | FLUSH_FIFO
39 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
40 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
41 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
42 | 1 | CMD | SCD06505 |  | 00.00.04 | SEND_DRCU_COMMAND
43 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
44 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
45 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
46 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
47 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
48 | 1 | CMD | SCD06505 |  | 00.00.30 | SEND_DRCU_COMMAND
49 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
50 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
51 | 1 | CMD | SCD01505 |  | 00.00.01 | FLUSH_FIFO
52 | 1 | CMD | SCD06505 |  | 00.00.03 | SEND_DRCU_COMMAND
53 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
54 | 1 | CMD | SCD06505 |  | 00.00.02 | SEND_DRCU_COMMAND
55 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
56 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
57 | 1 | CMD | SCD06505 |  | 00.00.03 | SEND_DRCU_COMMAND
58 | 1 | CMD | SCD01505 |  | 00.00.00 | FLUSH_FIFO
59 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
60 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
61 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
62 | 1 | CMD | SCD06505 |  | 00.00.30 | SEND_DRCU_COMMAND
63 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
64 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
65 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
66 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
67 | 1 | CMD | SC003500 |  | 00.01.02 | SET_OBS_STEP
68 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
69 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
70 | 1 | CMD | SCD06505 |  | 00.00.00 | SEND_DRCU_COMMAND
71 | 1 | CMD | SCD01505 |  | 00.00.01 | FLUSH_FIFO
72 | 1 | CMD | SCD07505 |  | 00.00.03 | RESET_FIFOS
73 | 1 | CMD | SC003500 |  | 00.00.00 | SET_OBS_STEP
74 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
75 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
76 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
77 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
78 | 1 | CMD | SC000500 |  | 00.00.00 | SET_OBSID
79 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
80 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
81 | 1 | CMT | COMMENTS |  |  | TMCHECK Check that SPECJFETSTAT is set to 7
82 | 1 | CMT | COMMENTS |  |  | TMCHECK Check that SLIABITSTAT is set to 1
83 | 1 | CMT | COMMENTS |  |  | TMCHECK Check that SLIAP5V is set to +5.23 +/- 0.1V (original value should have been 0)
84 | 1 | CMT | COMMENTS |  |  | TMCHECK Check that SLIAP9V is set to +11.57 +/- 0.1V (original value should have been 0)
85 | 1 | CMT | COMMENTS |  |  | TMCHECK Check that SLIAM9V is set to -11.54 +/- 0.1V (original value should have been 0)

## CMD Params
Cmd_nr | Param_name | Param_val_int | Param_val | FP_def_val_int | FP_def_val
5 | SP03N500 | Hex | 0
6 | SP01N500 | Hex | 80010001
7 | SP03N500 | Hex | 1
8 | SP00N500 | Hex | b0000000
9 | SP03N500 | Hex | 0
10 | SP01N500 | Hex | 80000000
11 | SP03N500 | Hex | 0
12 | SP01N500 | Hex | 80020001
13 | SP03N500 | Hex | 1
15 | SP00N500 | Hex | b0001805
16 | SP03N500 | Hex | 0
17 | SP01N500 | Hex | 80000000
21 | SP03N500 | Hex | 0
22 | SP01N500 | Hex | 86000001
23 | SP03N500 | Hex | 1
24 | SPD4N505 | Hex | a0870006
24 | SPD9N505 | Hex | 0
25 | SPD4N505 | Hex | 843000ff
25 | SPD9N505 | Hex | 0
26 | SPD4N505 | Hex | 84390079
26 | SPD9N505 | Hex | 0
27 | SPD4N505 | Hex | 84380001
27 | SPD9N505 | Hex | 0
28 | SPD4N505 | Hex | 84310002
28 | SPD9N505 | Hex | 0
29 | SPD4N505 | Hex | 84320002
29 | SPD9N505 | Hex | 0
30 | SPD4N505 | Hex | 843a0080
30 | SPD9N505 | Hex | 0
31 | SPD4N505 | Hex | 843b0080
31 | SPD9N505 | Hex | 0
32 | SPD4N505 | Hex | 843c0014
32 | SPD9N505 | Hex | 0
33 | SPD4N505 | Hex | 843e0001
33 | SPD9N505 | Hex | 0
34 | SPD4N505 | Hex | 843e0000
34 | SPD9N505 | Hex | 0
35 | SPD4N505 | Hex | 843c001c
35 | SPD9N505 | Hex | 0
36 | SPD4N505 | Hex | 843e0001
36 | SPD9N505 | Hex | 0
37 | SPD4N505 | Hex | 843e0000
37 | SPD9N505 | Hex | 0
38 | SPD0N505 | Hex | 1000
39 | SPD4N505 | Hex | 843c0004
39 | SPD9N505 | Hex | 0
40 | SPD4N505 | Hex | 843d0000
40 | SPD9N505 | Hex | 0
41 | SPD4N505 | Hex | 843e0001
41 | SPD9N505 | Hex | 0
42 | SPD4N505 | Hex | 8435004c
42 | SPD9N505 | Hex | 0
43 | SPD4N505 | Hex | 84370002
43 | SPD9N505 | Hex | 0
44 | SPD4N505 | Hex | 8436004c
44 | SPD9N505 | Hex | 0
45 | SPD4N505 | Hex | 84370006
45 | SPD9N505 | Hex | 0
46 | SPD4N505 | Hex | 8434004c
46 | SPD9N505 | Hex | 0
47 | SPD4N505 | Hex | 84370007
47 | SPD9N505 | Hex | 0
48 | SPD4N505 | Hex | 8431002d
48 | SPD9N505 | Hex | 0
49 | SPD4N505 | Hex | 8432002d
49 | SPD9N505 | Hex | 0
50 | SPD4N505 | Hex | 843e0000
50 | SPD9N505 | Hex | 0
51 | SPD0N505 | Hex | 1000
52 | SPD4N505 | Hex | 843c0014
52 | SPD9N505 | Hex | 0
53 | SPD4N505 | Hex | 843e0001
53 | SPD9N505 | Hex | 0
54 | SPD4N505 | Hex | 843e0000
54 | SPD9N505 | Hex | 0
55 | SPD4N505 | Hex | 843c001c
55 | SPD9N505 | Hex | 0
56 | SPD4N505 | Hex | 843e0001
56 | SPD9N505 | Hex | 0
57 | SPD4N505 | Hex | 843e0000
57 | SPD9N505 | Hex | 0
58 | SPD0N505 | Hex | 1000
59 | SPD4N505 | Hex | 843c0004
59 | SPD9N505 | Hex | 0
60 | SPD4N505 | Hex | 843d0000
60 | SPD9N505 | Hex | 0
61 | SPD4N505 | Hex | 843e0001
61 | SPD9N505 | Hex | 0
62 | SPD4N505 | Hex | 84350052
62 | SPD9N505 | Hex | 0
63 | SPD4N505 | Hex | 84360066
63 | SPD9N505 | Hex | 0
64 | SPD4N505 | Hex | 84340052
64 | SPD9N505 | Hex | 0
65 | SP03N500 | Hex | 0
66 | SP01N500 | Hex | 80000000
67 | SP03N500 | Hex | 0
68 | SP01N500 | Hex | 88360001
69 | SP03N500 | Hex | 1
70 | SPD4N505 | Hex | 843e0000
70 | SPD9N505 | Hex | 0
71 | SPD0N505 | Hex | 1000
72 | SPDDN505 | Hex | 7000
73 | SP03N500 | Hex | 0
74 | SP01N500 | Hex | 80000000
75 | SP03N500 | Hex | 0
76 | SP01N500 | Hex | 80030001
77 | SP03N500 | Hex | 1
78 | SP00N500 | Hex | b0000000
79 | SP03N500 | Hex | 0
80 | SP01N500 | Hex | 80000000