## STMT
Stmt_nr | Step_nr | Stmt_type | Stmt_id | Blk_flag | Time_tag | Info | Param_val_int | Param_val | Proforma | Packet
1 | 1 | CMT | COMMENTS |  |  | Generated:27/03/2009 Name:Mode_ScuFunc06 Version number:3 Desc: $Id: Mode_ScuFunc06.txt,v 1.2 2005/07/26 11:03:07 asier Exp $ ParameterSet:acparam=1
2 | 1 | CMT | COMMENTS |  |  | Procedure SPIRE Mode_ScuFunc06: SCU AC thermometry check
3 | 1 | CMT | COMMENTS |  |  | SPACON Select the TM Display for FUNCTIONAL TEST PARAMETERS
4 | 1 | CMT | COMMENTS |  |  | TMCHECK Check the value of SUBKSTAT is 0.
5 | 1 | CMD | SC003500 |  | 00.00.00 | SET_OBS_STEP
6 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
7 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
8 | 1 | CMD | SC000500 |  | 00.00.00 | SET_OBSID
9 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
10 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
11 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
12 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
13 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
14 | 1 | CMD | SCD00505 |  | 00.00.01 | RESET_DRCU_COUNTERS
15 | 1 | CMD | SC000500 |  | 00.00.01 | SET_OBSID
16 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
17 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
18 | 1 | CMD | SC003500 |  | 00.00.03 | SET_OBS_STEP
19 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
20 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
21 | 1 | CMD | SCD06505 |  | 00.00.01 | SEND_DRCU_COMMAND
22 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
23 | 1 | CMD | SC001500 |  | 00.00.01 | SET_BBID
24 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
25 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
26 | 1 | CMD | SC003500 |  | 00.00.02 | SET_OBS_STEP
27 | 1 | CMD | SC000500 |  | 00.00.00 | SET_OBSID
28 | 1 | CMD | SC003500 |  | 00.00.01 | SET_OBS_STEP
29 | 1 | CMD | SC001500 |  | 00.00.00 | SET_BBID
30 | 1 | CMT | COMMENTS |  |  | SPACON Wait for the parameter BBFULLTYPE to be set to SCU_AC_Therm
31 | 1 | CMT | COMMENTS |  |  | TMCHECK Check the value of SUBKSTAT has changed to 1.
32 | 1 | CMT | COMMENTS |  |  | TMCHECK If the instrument is at He I temperatures check the value of the SCU AC thermometry channel. SUBKTEMP should be ~4K
33 | 1 | CMT | COMMENTS |  |  | TMCHECK If the instrument is at He II temperatures check the value of the SCU AC thermometry channel. SUBKTEMP should be ~1.7K

## CMD Params
Cmd_nr | Param_name | Param_val_int | Param_val | FP_def_val_int | FP_def_val
5 | SP03N500 | Hex | 0
6 | SP01N500 | Hex | 80010001
7 | SP03N500 | Hex | 1
8 | SP00N500 | Hex | b0000000
9 | SP03N500 | Hex | 0
10 | SP01N500 | Hex | 80000000
11 | SP03N500 | Hex | 0
12 | SP01N500 | Hex | 80020001
13 | SP03N500 | Hex | 1
15 | SP00N500 | Hex | b0001805
16 | SP03N500 | Hex | 0
17 | SP01N500 | Hex | 80000000
18 | SP03N500 | Hex | 0
19 | SP01N500 | Hex | 8a050001
20 | SP03N500 | Hex | 1
21 | SPD4N505 | Hex | a0860001
21 | SPD9N505 | Hex | 0
22 | SP03N500 | Hex | 0
23 | SP01N500 | Hex | 80000000
24 | SP03N500 | Hex | 0
25 | SP01N500 | Hex | 80030001
26 | SP03N500 | Hex | 1
27 | SP00N500 | Hex | b0000000
28 | SP03N500 | Hex | 0
29 | SP01N500 | Hex | 80000000