## Sheet1
[17 empty] | ULV |  |  | DLV (1) |  |  | DLV (2)
[10 empty] | Type (1) descent (2) SMM | Date | Detector Temp, Tv (ºK) | EA Temp, Te (ºK) | Delta Td tp 295K | Delta Te to 302K | Descent vs. SMM | Darks ave. DN | Adjusted Dark | Offset to ave. of premate | Darks ave. DN | Adjusted Dark | Offset to ave. of premate | Darks ave. DN | Adjusted Dark | Offset to ave. of premate
[10 empty] | PreM(1) | 1996-09-25 | 295 | 303 | 0 | -0.02 | 0 | 44.9 | 44.88 | -0.067778 | 42.4 | 42.4 | -0.125
Test | [9 empty] | PreM(2) | 1996-10-10 | 295 | 301 | 0 | 0.02 | -0.3 | 45.35 | 45.07 | 0.12222 |  |  |  | 55.33 | 55.4522 | 0.52
Normal Mode High Near | [9 empty] | PreM(2) | 1996-10-11 | 295 | 301 | 0 | 0.02 | -0.3 | 45.43 | 45.15 | 0.20222 |  |  |  | 55 | 55.2022 | 0.27
Surface. | [9 empty] | PreM(2) | 1997-02-20 | 295 | 302.5 | 0 | -0.01 | -0.3 | 45.1 | 44.79 | -0.15778 |  |  |  | 53.71 | 53.5522 | -1.38
Medium Near | [9 empty] | PreM(1) | 1997-03-07 | 295 | 300.5 | 0 | 0.03 | 0 | 44.91 | 44.94 | -0.0077778 | 42.65 | 42.65 | 0.125
Surface. | [9 empty] | PreM(2) | 1997-03-07 | 295 | 301 | 0 | 0.02 | -0.3 | 45.14 | 44.86 | -0.087778 |  |  |  | 54.6 | 54.5122 | -0.42
Very Low Near | [9 empty] | PreM(2) | 1997-04-22 | 295 | 302.4 | 0 | -0.01 | -0.3 | 45.39 | 45.08 | 0.13222 |  |  |  | 55.61 | 55.7422 | 0.81
Surface | [9 empty] | PreM(2) | 1997-05-07 | 295 | 302.5 | 0 | -0.01 | -0.3 | 45.19 | 44.88 | -0.067778 |  |  |  | 55.1 | 55.0322 | 0.1
Ave. s Ave. s Ave. s Ave. s | [9 empty] | PreM(2) | 1997-05-12 | 295 | 302.5 | 0 | -0.01 | -0.3 | 45.19 | 44.88 | -0.067778 |  |  |  | 55.1 | 55.0322 | 0.1
Test | Date | Norm |  | HNS |  | MNS |  | VLNS |  | PreL(1) | 1997-06-10 | 295 | 300 | 0 | 0.04 | 0 | 44.94 | 44.98 | 0.032222 | 42.61 | 42.61 | 0.085
F4 | 1999-09-15 | 44.94 | 0.41 | 44.95 | 0.69 | 45.24 | 1.52 | 44.96 | 0.21 | PreL(1) | 1997-06-18 | 295 | 300 | 0 | 0.04 | 0 | 44.92 | 44.96 | 0.012222 | 42.89 | 42.89 | 0.365
F6 | 2000-07-28 | 44.93 | 0.35 | 44.84 | 0.47 | 45.5 | 1.6 | 44.93 | 0.27 | PreL(1) | 1997-07-24 | 295 | 298 | 0 | 0.08 | 0 | 44.91 | 44.99 | 0.042222 | 42.15 | 42.15 | -0.375
F7 | 2001-03-22 | 44.92 | 0.37 | 45.04 | 0.45 | 44.8 | 0.52 | 44.89 | 0.32 | PreL(1) | 1997-08-02 | 295 | 302 | 0 | 0 | 0 | 44.94 | 44.94 | -0.0077778 | 42.76 | 42.76 | 0.235
F8 | 2001-09-20 | 44.94 | 0.43 | 45.04 | 0.54 | 45.29 | 1.8 | 44.91 | 0.3 | PreL(2) | 1997-08-05 | 295 | 303.6 | 0 | -0.03 | -0.3 | 45.38 | 45.05 | 0.10222 |  |  |  | 54.62 | 54.7222 | -0.21
F10 | 2002-09-16 | 45.06 | 0.44 | 44.8 | 0.58 | 45 | 0 | 44.04 | 0.2 | PreL(1) | 1997-09-12 | 295 | 311 | 0 | -0.18 | 0 | 45.06 | 44.88 | -0.067778 | 42.69 | 42.69 | 0.165
F11 | 2003-05-04 | 45.22 | 0.59 | - | - | - | - | - |  | PreL(1) | 1997-09-19 | 295 | 310 | 0 | -0.16 | 0 | 45.22 | 45.06 | 0.11222 | 42.75 | 42.75 | 0.225
[10 empty] | F1(2) | 1997-10-23 | 274.5 | 291.9 | 0.39 | 0.21 | -0.1 | 45 | 45.5 | 0.55222 |  |  |  | 53.37 | 53.9222 | -1.01
[10 empty] | F2(1) | 1998-03-27 | 274.5 | 290.8 | 0.39 | 0.23 | 0 | 44.31 | 44.93 | -0.017778 | 42.88 | 42.88 | 0.355
[10 empty] | F3(2) | 1998-12-28 | 270.6 | 287.8 | 0.46 | 0.29 | -0.1 | 44.52 | 45.17 | 0.22222 |  |  |  | 53.1 | 53.3222 | -1.61
[10 empty] | F4(1) | 1999-09-15 | 271.3 | 289.1 | 0.45 | 0.26 | 0 | 44.12 | 44.83 | -0.11778 | 43.06 | 43.06 | 0.535
F1 | 1997-10-02 | [8 empty] | F5(2) | 2000-02-02 | 270.3 | 287 | 0.46 | 0.3 | -0.1 | 44.19 | 44.85 | -0.097778 |  |  |  | 52.8 | 52.7022 | -2.23
F2 | 1998-03-27 | [8 empty] | F6(1) | 2000-07-28 | 270.7 | 288.4 | 0.46 | 0.28 | 0 | 44.2 | 44.94 | -0.0077778 | 42.81 | 42.81 | 0.285
F3 | 1998-12-28 | [8 empty] | F7(2) | 2001-03-22 | 272.5 | 289.6 | 0.43 | 0.25 | -0.1 | 44.25 | 44.83 | -0.11778 |  |  |  | 53.05 | 52.9322 | -2
F4 | 1999-09-15 | [8 empty] | F8(1) | 2001-09-20 | 270.2 | 294 | 0.46 | 0.16 | 0 | 44.19 | 44.81 | -0.13778 | 42.84 | 42.84 | 0.315
F5 | 2000-02-02 | [8 empty] | F9(2) | 2002-04-17 | 271.2 | 296.6 | 0.45 | 0.11 | -0.1 | 44.21 | 44.67 | -0.27778 |  |  |  | 53.29 | 53.0122 | -1.92
F6 | 2000-07-28 | [8 empty] | F10(1) | 2002-09-16 | 267.7 | 295.2 | 0.5 | 0.24 | 0 | 44.14 | 44.88 | -0.067778 | 43.09 | 43.09 | 0.565 |  |  |  | 44.91 | 44.9683 | 44.818
F7 | 2001-03-22 | [8 empty] | F11[H](2) | 2003-05-02 | 267 | 290 | 0.51 | 0.24 | -0.1 | 44.05 | 44.7 | -0.24778 |  |  |  | 53.33 | 53.0822 | -1.85 | 44.9586 | 45.05 | 44.9057 |  | 2005-01-15 | Date
F8 | 2001-09-20 | [8 empty] | F11[D](1) | 2003-05-02 | 270.4 | 300 | 0.46 | 0.04 | 0 | 44.14 | 44.64 | -0.30778 | 42.43 | 44.7 | 2.175 | [7 empty] | 44.6505 | Extrapolated ULV dark
F9 | 2002-04-17 | [17 empty] | Stdev |  |  | Stdev |  |  | Stdev | -0.1 | SMM Des. offset
F10 | 2002-09-16
F11 | 2003-05-04 | [8 empty] | F14 (2) | 2004-07-14 | 267.5348 | 291.5871 | 0.5 | 0.22 | -0.1 | 44 | 44.62 | 0 | 41.6894 | 42.3094 | 5.4059 |  |  |  |  | Mean | Stdev
F12 | 2003-09-18 | [8 empty] | F14 (1) | 2004-07-14 | 272.4954 | 302.7667 | 0.43 | -0.01 | 0 | 44.276 | 44.696 | 0.9333 |  |  |  | 51.7619 | 52.1819 | 4.4599 |  | 51.7619 | 4.4599 | DLV Darks - HC, IFC
F13 | 2004-03-20 | [25 empty] | 41.6894 | 5.4059 | DLV Darks - Descent
F14 | 2004-07-14 | [25 empty] | 44 | 0 | ULV Darks - HC, IFC
F15 | 2004-09-01 | [25 empty] | 44.276 | 0.9333 | ULV Darks - Descent
F16 | 2004-11-03
[10 empty] | F16 (1) | 2004-11-03 | 269.5 | 299.3697 | 0.47 | 0.066261 | 0 | 44.1184 | 44.6547 | 0.36924 | 40.7857 | 41.322 | 6.5227
[16 empty] | Premate Average = | 45.1778 | 44.9478 |  | 42.525 | 42.525 |  | 54.9214 | 54.9322 |  |  | 267.5348 | HC+IFC
[16 empty] | Prelaunch Average = | 45.0529 | 44.98 |  | 42.6417 | 42.6417 |  | 54.62 | 54.7222 |  |  | 272.4954 | Descent
[16 empty] | In-Flight Average = | 44.2476 | 44.848 |  | 42.4481 | 42.8764 |  | 52.9574 | 53.0222 |  |  | Average (1) = | 291.5871
[27 empty] | Average (2) = | 302.7667

## Table
from Sheet 1 | [7 empty] | ULV |  |  | DLV (1) |  |  | DLV (2)
| Type: (1) Des. (2) SMM | Date | Detector Temp, Tv (ºK) | EA Temp, Te (ºK) | Delta Td to 295K | Delta Te to 302K | Descent vs. SMM | Darks ave. DN | Adjusted Dark | Offset to premate average | Darks ave. DN | Adjusted Dark | Offset to premate average | Darks ave. DN | Adjusted Dark | Offset to premate average
| PreM(1) | 1996-09-25 | 295 | 303 | 0 | -0.02 | 0 | 44.9 | 44.88 | -0.067778 | 42.4 | 42.4 | -0.125
| PreM(2) | 1996-10-10 | 295 | 301 | 0 | 0.02 | -0.3 | 45.35 | 45.07 | 0.12222 |  |  |  | 55.33 | 55.4522 | 0.52
| PreM(2) | 1996-10-11 | 295 | 301 | 0 | 0.02 | -0.3 | 45.43 | 45.15 | 0.20222 |  |  |  | 55 | 55.2022 | 0.27
| PreM(2) | 1997-02-20 | 295 | 302.5 | 0 | -0.01 | -0.3 | 45.1 | 44.79 | -0.15778 |  |  |  | 53.71 | 53.5522 | -1.38
| PreM(1) | 1997-03-07 | 295 | 300.5 | 0 | 0.03 | 0 | 44.91 | 44.94 | -0.0077778 | 42.65 | 42.65 | 0.125
| PreM(2) | 1997-03-07 | 295 | 301 | 0 | 0.02 | -0.3 | 45.14 | 44.86 | -0.087778 |  |  |  | 54.6 | 54.5122 | -0.42
| PreM(2) | 1997-04-22 | 295 | 302.4 | 0 | -0.01 | -0.3 | 45.39 | 45.08 | 0.13222 |  |  |  | 55.61 | 55.7422 | 0.81
| PreM(2) | 1997-05-07 | 295 | 302.5 | 0 | -0.01 | -0.3 | 45.19 | 44.88 | -0.067778 |  |  |  | 55.1 | 55.0322 | 0.1
| PreM(2) | 1997-05-12 | 295 | 302.5 | 0 | -0.01 | -0.3 | 45.19 | 44.88 | -0.067778 |  |  |  | 55.1 | 55.0322 | 0.1
| PreL(1) | 1997-06-10 | 295 | 300 | 0 | 0.04 | 0 | 44.94 | 44.98 | 0.032222 | 42.61 | 42.61 | 0.085
| PreL(1) | 1997-06-18 | 295 | 300 | 0 | 0.04 | 0 | 44.92 | 44.96 | 0.012222 | 42.89 | 42.89 | 0.365
| PreL(1) | 1997-07-24 | 295 | 298 | 0 | 0.08 | 0 | 44.91 | 44.99 | 0.042222 | 42.15 | 42.15 | -0.375
| PreL(1) | 1997-08-02 | 295 | 302 | 0 | 0 | 0 | 44.94 | 44.94 | -0.0077778 | 42.76 | 42.76 | 0.235
| PreL(2) | 1997-08-05 | 295 | 303.6 | 0 | -0.03 | -0.3 | 45.38 | 45.05 | 0.10222 |  |  |  | 54.62 | 54.7222 | -0.21
| PreL(1) | 1997-09-12 | 295 | 311 | 0 | -0.18 | 0 | 45.06 | 44.88 | -0.067778 | 42.69 | 42.69 | 0.165
| PreL(1) | 1997-09-19 | 295 | 310 | 0 | -0.16 | 0 | 45.22 | 45.06 | 0.11222 | 42.75 | 42.75 | 0.225
| F1(2) | 1997-10-23 | 274.5 | 291.9 | 0.39 | 0.21 | 0 | 45 | 45.6 | 0.65222 |  |  |  | 53.37 | 54.0222 | -0.91
| F2(1) | 1998-03-27 | 274.5 | 290.8 | 0.39 | 0.23 | 0 | 44.31 | 44.93 | -0.017778 | 42.88 | 42.88 | 0.355
| F3(2) | 1998-12-28 | 270.6 | 287.8 | 0.46 | 0.29 | 0 | 44.52 | 45.27 | 0.32222 |  |  |  | 53.1 | 53.4222 | -1.51
| F4(1) | 1999-09-15 | 271.3 | 289.1 | 0.45 | 0.26 | 0 | 44.12 | 44.83 | -0.11778 | 43.06 | 43.06 | 0.535
| F5(2) | 2000-02-02 | 270.3 | 287 | 0.46 | 0.3 | 0 | 44.19 | 44.95 | 0.0022222 |  |  |  | 52.8 | 52.8022 | -2.13
| F6(1) | 2000-07-28 | 270.7 | 288.4 | 0.46 | 0.28 | 0 | 44.2 | 44.94 | -0.0077778 | 42.81 | 42.81 | 0.285
| F7(2) | 2001-03-22 | 272.5 | 289.6 | 0.43 | 0.25 | 0 | 44.25 | 44.93 | -0.017778 |  |  |  | 53.05 | 53.0322 | -1.9
| F8(1) | 2001-09-20 | 270.2 | 294 | 0.46 | 0.16 | 0 | 44.19 | 44.81 | -0.13778 | 42.84 | 42.84 | 0.315
| F9(2) | 2002-04-17 | 271.2 | 296.6 | 0.45 | 0.11 | 0 | 44.21 | 44.77 | -0.17778 |  |  |  | 53.29 | 53.1122 | -1.82
| F10(1) | 2002-09-16 | 267.7 | 295.2 | 0.5 | 0.24 | 0 | 44.14 | 44.88 | -0.067778 | 43.09 | 43.09 | 0.565
| F11[H](2) | 2003-05-02 | 267 | 290 | 0.51 | 0.24 | 0 | 44.05 | 44.8 | -0.14778 |  |  |  | 53.33 | 53.1822 | -1.75
| F11[D](1) | 2003-05-02 | 270.4 | 300 | 0.46 | 0.04 | 0 | 44.14 | 44.64 | -0.30778 | 42.43 | 44.7 | 2.175
[10 empty] | Stdev |  |  | Stdev |  |  | Stdev
| F14 (2) | 2004-07-14 | 267.5348 | 291.5871 | 0.5 | 0.22 | 0 | 44 | 44.72 | 0 | 41.6894 | 42.4094 | 5.4059
| F14 (1) | 2004-07-14 | 272.4954 | 302.7667 | 0.43 | -0.01 | 0 | 44.276 | 44.696 | 0.9333 |  |  |  | 51.7619 | 52.1819 | 4.4599
| F16 (1) | 2004-11-03 | 269.5 | 299.3697 | 0.47 | 0.066261 | 0 | 44.1184 | 44.6547 | 0.36924 | 40.7857 | 41.322 | 6.5227
[7 empty] | Premate Average = | 45.1778 | 44.9478 |  | 42.525 | 42.525 |  | 54.9214 | 54.9322
[7 empty] | Prelaunch Average = | 45.0529 | 44.98 |  | 42.6417 | 42.6417 |  | 54.62 | 54.7222
[7 empty] | In-Flight Average = | 44.2476 | 44.8947 |  | 42.4481 | 42.8889 |  | 52.9574 | 53.1079