ROSETTA

FLIGHT REPORTS

of RPC-MAG

RO-IGEP-TR0013

Issue:1    Revision:0

November 10, 2004

Mission Commissioning Results Review

MCRR

Andrea Diedrich

Karl-Heinz Glassmeier

Ingo Richter

Institut für Geophysik und extraterrestrische Physik

Technische Universität Braunschweig

Mendelssohnstraße 3,  38106 Braunschweig

Germany

# Introduction

This document describes the results of the commissioning and interference campaign concerning the RPC MAG experiment. The tests were executed  from March 17. - October 14, 2004.

Details and an overview of the measured data can be found in:

RO--IGEP--TR0006: Report of the Commissioning  PART 1, March 17. -- March 19, 2004

RO--IGEP--TR0008: Report of the Commissioning  PART 2, May 05. -- May 10, 2004

RO--IGEP--TR0010: Report of the Commissioning  PART 3, September 6. -- September 10, 2004

RO--IGEP--TR0011: Report of the Interference Campaign,  September 20. -- October 14, 2004

RO--IGEP--TR0012: Investigation of the impact of ROSETTA's Reaction wheels on the Magnetic Field measurements.

These documents can be found on :

ftp-server:	ftp.geophys.nat.tu-bs.de

user:		anonymous

directory: 	/pub/rosetta/docs

A copy is also available on the RPC server at the Imperial College.

# Activities during CVP

## Functional Tests

- RPCMAG could be switched on successfully every time and worked as expected.

- RPCMAG was tested in all modes successfully.

- Both RPCMAG sensors are working nominally.

- Sensor temperatures: - 120°C ... -45°C

## Boom Deployment

The MAG Boom deployment was successfully performed on March 19th, 2004.

- The s/c generated Residual field before Deployment was

~200 nT  at the IB sensor

~740 nT  at the OB sensor

- The s/c generated Residual field after Deployment was

~ 250 nT at the IB sensor

~100 nT at the OB sensor

- The noise level after the boom deployment was about  a factor of ten lower than before the deployment.

All measurements were taken at a  sensor temperature of  about T = -88°C.

Figure 1:The magnetic Field at the IB sensor during the boom deployment

Figure 2: The magnetic Field at the IB sensor during the boom deployment

# Cognitions from CVP

## DC Analysis - Temperature Behaviour

- S/C generated Residual field after Deployment

~ 250 nT @ IB		~100 nT @ OB

RPCMAG readings vary with temperature

Temperature dependence of RPCMAG offset

deviates from GND CAL results.

The most likely reason for this is that the ground calibration was only be performed down to –60°C, the observed temperatures in space, however, are going down to –125 °C.



A New temperature model has to be applied

### The old Temperature Model

The quality of the ground calibration based temperature model of the sensors  was checked using the following

Procedure:

- Long term investigation:  May – September 2004

All available commissioning data were taken

- Averages  were built on a 10 minute base

Result:

Figure 3: 600s average OB Magnetometer readings, calibrated with ground calibration results, versus sensor temperature.

It is obvious that a strong correlation between the sensor temperature and the MAG sensor readings occurs. Therefore, a better temperature model has to be developed.

### The new Temperature Model

To get an idea of the real dependence between the MAG sensor readings and the sensor temperature the 10 minute averaged MAG data were plotted versus the temperature.

Refer to Figure 4. As a result it turned out, that a cubic

Temperature model (solid line) like

Bi*(t) =Bi(t) - P3i(T(t))

Describes the sensor behaviour in a convenient was. The original ground based model was just a pure linear model.

The successful application of the new model to the data can be seen in Figure 5.

Figure 4: 600s average OB Magnetometer readings versus sensor temperature.

Figure 5: 600s average OB Magnetometer readings, calibrated with the new temperature model, versus sensor temperature.

## AC-Analysis: Impact of the Reaction wheels

The signal analysis revealed that

- there is always a sinusoidal disturbance in the order of 1nTpp with slow varying frequencies.

- The observed frequencies of the disturbers are different for different modes.    Aliasing effect

- Disturbance can be seen on OB, IB & ROMAP

This behaviour is displayed on the following diagrams.

### Typical Timeseries

Figure 6:  Typical timeseries of  OB burst mode data.

Data were zoomed in a 1 minute interval. The DC level is quite stable,  the noise is in the order of 0.7 nTpp.

### Typical Powerspectra

The power spectra reveal discrete, monofrequent signals in the order of a few Hertz if the MAG signal is sampled with 20 Hz.

Figure 7: Typical Power spectra. Data of the OB sensor in Burst mode. X and Y component in s/c coordinates is plotted.

### Typical Dynamical Spectra

Figure 8: Typical Dynamic spectra. Data of the OB sensor in Burst mode (20 Hz sampling) in s/c coordinates is plotted.

Figure 9: Typical Dynamic spectra. Data of the IB sensor in Burst mode (1Hz  sampling) in s/c coordinates is plotted.

The dynamic spectra show various spectral lines beside the “real magnetic field data”. These line vary slowly with the time and show specific structures. The shape of these disturbance lines is specific to the sampling frequency of the MAG sensosrs. All these criteria lead to the guess, that the disturbance might be an Aliasing effect and might be dependent of ROSETTAs  four reaction wheels.

### The Reaction Wheels

The next figure show the speeds of the reaction wheels in  rpm. The data are taken from the DDS. The panels show the timeseries of the parameters

- NAAD60014

- NAAD6024

- NAAD6034

- NAAD6044

The parameters have been calibrated using the DDS calibration value 0.50813.

Figure 12 shows the same data but in the unit of Hertz rather than Rpm.

Figure 10: Revolutions of all 4 Rosetta Reaction wheels in rpm.

Figure 11: Revolutions of all 4 Rosetta Reaction wheels in Hertz.

### Reaction Wheels - Seen from the MAG sensors

Figure 12: Magnetic signature of the 4 Reaction wheels seen by a sensor which is sampled with 20 Hertz.

Figure 13: Magnetic signature of the 4 Reaction wheels seen by a sensor which is sampled with 1 Hertz.

To get an idea how the “high frequent” reation wheel speeds would appear on sensor which is only sampled with 20 Hz or 1Hz the wheel data have been shifted and folded down to the

Nyquist frequency interval according the sampling theorem.

The result can be seen in Figures 13 and 14.

### AC-ANALYSIS : Results

- RPCMAG clearly identifies the signatures  of  the 4 Reaction wheels

The comparison of the dynamic spectra of the magnetic field data and the reaction wheel frequencies from the DDS parameters reveals a nearly perfect accordance.

 Dynamic frequency reduction model  to be  developed

to get rid of the reaction wheel impact

- Spin –Off:

Analysis of OB, IB and - independently -   ROMAP revealed a slightly wrong reaction wheel calibration factor (1.00335 ~ 4 rpm)

 DDS  HK Calibration Parameters to be updated.

## Comparison with ROMAP

### 3.3.1 Power Spectra

Figure 14: Power Spectra of the RPC_MAG OB sensor.

1 s average data in s/c coordinates.

Figure 15: Power Spectra of the RPC_MAG IB sensor.

1 s average data in s/c coordinates.

Figure 16: Power Spectra of the ROMAP sensor.

1 s average data in s/c coordinates.

The Figures 15 – 17 show the Power spectra for of the RPCMAG OB, RPCMAG IB, and the Lander Magnetometer ROMAP. Data were taken in a 1 Hz mode.

As result it can be stated, that all three sensors have quasi the same dynamic properties. The noise level of the  RPCMAG sensors seem to be slightly better in the higher freuquent part of the spectrum.

### 3.3.2 Dynamic Spectra

As a last point of the investigation also the dynamic spectra for RPCMAG and ROMAP are shown in  Figures 18 – 20. All there sensor sho the impact ot the reaction wheels. The slightly different pictures are caused by different sampling modes.

- RPCMAG OB was sampled with 20 Hz. The data were  averaged later to 1s mean values.

- RPCMAG IB was sampled with 1Hz. No additional averaging was done. The “low activity” areas in the spectrum are caused by a mode switching to a low smapling mode on the IB sensor.

- ROMAP was sampled with 1Hz. No additional averaging was done.

Therefore, these data show different behaviour concerning the response of the reaction wheel speeds.

Figure 17: Dynamic Spectra of the RPC-MAG OB sensor. 1 s average data in s/c coordinates.

Figure 18: Dynamic Spectra of the RPC-MAG IB sensor.

1 s average data in s/c coordinates.

Figure 19: Dynamic Spectra of the ROMAP sensor.

1 s average data in s/c coordinates.

# Interference Campaign

The analysis of the interference campaign did not show remarkable interference effects rather than the reaction wheels. A detailed analysis could be performed if a detailed list of activities on the s/c (Time, event) would be available. A coarse overall first view analysis, however, did not show any further problems.

# Instrument Status

RPCMAG is fully operable!

# Archiving S/W Status

For the archiving of the data an IDL s/w package called

DDS2PDS has been developed. This is a day based

Data processing tool which

- gets data from the ftp sever

- converts binary to ASCII data

- calibrates the data

- generates plots and PDS compliant files

This  s/w is working but always under improvement.

Improvements:

- New Temperature model already implemented

- Dynamic frequency elimination to be implemented

According to this, the RPCMAG EAICD is kept up to date.