Mars Express Bistatic Radar Experiment

Operations Plan and Report

17 September 2009

Summary

=======

DSN Antenna:                                                     14

Pass:                                                          2301

Orbit:                                                         7322

Orbit Start Time:                               2009-09-17T08:11:21

HGA Pointing:                                              Specular

Start    Max North     End

--------  ----------  --------

Specular Condition (ERT):               13:06      13:26      13:46

Target Latitude (deg N):               -57.80     -61.52     -63.44

Longitude (deg E):              313.67     299.41     284.95

Rp (km):                         3394.      3394.      3394.

Incidence/Reflection Angle (deg):       66.67      70.98      74.18

Slant Range (km):                       7581.      9181.     10354.

Slew Angle (deg):                       46.66      38.04      31.64

Doppler (carrier, fd; Hz):            -54072.    -46795.    -40069.

Doppler (echo, fr; Hz):               -45473.    -36692.    -30072.

Doppler Difference (fdd; Hz):          -8598.    -10103.     -9997.

Earth-Mars Distance (m):            2.248E+11  2.248E+11  2.248E+11

Experiment Set Up

=================

This experiment was conducted using the Goldstone DSS 14.  Danny Kahan and Gene Goltz were in the Radio Science Support Area (RSSA) at JPL.  Dick Simpson was available by phone.

This report is based on notes provided by Kahan and Goltz.

Performance Problems and Notes

==============================

S-LCP data are very noisy; Top was 112K.  The problem began with the experiment on 2009/226.  In December the problem was traced to a bad board

in the RSR.  It was replaced, and tests in January confirmed that Tsys had

returned to normal values.

Observations ended at 13:46 when the spacecraft transmitter was turned off.

The spacecraft sequence was tight and ESA planners decided not to give the normal 65 minutes to bistatic radar.  The DSN Keyword File was ambiguous, and it was only after the experiment had been completed that the reasoning was reconstructed.

Data Acquisition

================

RSRs were configured as in Table 1.

Table 1

----------------------------------------------------

RSR  Channel Mode  ATT FGAIN        Operator

dB

----- ------- ---- ---- ----- ----------------------

RSR3A  S-LCP   1-W auto   60    UNK

RSR3B  X-LCP   1-W auto   60    UNK

RSR2A  S-RCP   1-W auto   60    UNK

RSR2B  X-RCP   1-W auto   60    UNK

RSR subchannels (SCHAN) were defined as follows:

Table 2

----------------------------------------------------------------------

Subchannel  Sample Rate  Comments

----------  -----------  ---------------------------------------------

1          2 ksps   Occultation bandwidth (not recorded for BSR)

2          8 ksps   Occultation backup (not recorded for BSR)

3         25 ksps   Primary recording bandwidth

4        100 ksps   Backup recording

Table 3 lists ADC amplitude levels read from RSR displays during the experiment.  Times are in UTC and should be considered approximate.  "Steps" are as defined in the briefing message.  RSR ATT settings are in units proportional to dB.  Acronyms and abbreviations are explained after Table 3.

Table 3

-----------------------------------------------------------------------------

Activity  Time   Step #  S-LCP  X-LCP  S-RCP  X-RCP  Notes / Comments

2009/260                 RSR3A  RSR3B  RSR2A  RSR2B

-------- ----- --------- -----  -----  -----  -----  ------------------------

FGAIN    10:00              60     60     60     60  Set FGAIN

PreCal   10:45      1     -0.9  -10.9  -14.6   -9.0

10:46 att auto  -10.0   -9.8  -10.0  -10.3  Initialize attenuators

20.5   12.0    5.0   13.0  Attenuator settings (dB)

10:47      2     -9.9   -0.1  -10.0   -1.3  ADC amplitudes (dB)

10:49      3     -4.0   -0.1  -10.0   -1.3

10:50      4     -4.0   -0.1   -0.7   -1.3

10:51 att auto   -9.8   -9.7   -9.8  -10.0  Reset attenuators

26.5   24.0   16.0   23.0  Attenuator levels (dB)

AMB load phys temps:

S1=16.62

S2=21.94
                                                      X1=14.81

Local weather:

T=20.5C

H=28.0 percent

sky=clear

10:54 rec 3 e                               Begin 25 kHz recording

10:54      5     -9.8   -9.6   -9.9  -10.2

11:00      6     -9.8   -9.7   -9.8  -10.0

11:05      7     -9.9  -21.8   -9.9  -20.3

11:10      8     -9.9  -21.8   -9.8  -22.8

11:15      9     -9.9  -19.6   -9.9  -22.8  Confirmed 12.5K ND

11:20     10     -9.9   -9.5   -9.8  -10.3  AMB load phys temps:

S1=16.44

S2=21.81

X1=14.75

11:25     11     -9.8   -9.6   -9.8  -10.2

11:30     12     -9.7  -21.8   -9.8  -22.8

11:35     13     -9.9  -21.8   -9.7  -22.8

11:40     14     -9.8  -21.8  -19.0  -22.8

11:45     15     -9.8  -21.8  -20.9  -22.8  Confirmed 12.5K ND

11:50     16     -9.7  -21.9  -20.9  -22.8

11:55     17 -16.5/-15.3  -21.7  -20.9  -22.8

12:00     18    -16.1  -21.8  -20.8  -22.6  AMB load phys temps:

S1=16.38

S2=21.38

X1=14.56

12:05    end    -16.3  -21.8  -20.8  -22.6  End 25 kHz recording

BOT      12:20           -10.9  -21.7  -20.8  -20.7  Collecting TLM to 12:46

12:46 rec 3 e                               Resume 25 kHz recording

12:48                  -21.8  -20.8  -20.7  DSS 14 switch to Mars

pointing predicts

12:50 sfro 3/SX  +25K   +25K   +25K   +25K  Rcvr tuning offset (Hz)

MiniCal1 12:51      1     -9.6  -21.6  -20.9  -19.0  Confirmed 12.5K ND

12:54      2    -12.1  -21.7  -18.9  -20.8

12:57      3    -11.1  -19.5  -20.9  -20.9

13:00      4    -11.7  -21.6  -21.0  -20.8

13:03      5    -11.7  -21.6  -21.0  -20.8

13:06    end    -13.3  -21.7  -21.0  -20.7

BSR      13:06 sfro 3/SX     0    +7K      0    +7K  Rcvr tuning offset (Hz)

Begin 100 kHz recording

end BSR  14:10 sfro 3/SX     0      0      0      0  Rcvr tuning offset (Hz)

End 100 kHz recording

14:15 EOT/stow  -11.8  -21.8  -21.0  -21.0

PostCal  14:16      1     -9.8   -9.7   -9.7  -10.2  AMB load phys temps:

S1=15.81

S2=20.56

X1=13.56

14:20      2     -9.9   -9.7   -9.8  -10.0

14:23      3     -9.8   -9.7   -9.5  -10.2

14:26      4     -9.8   -9.5   -9.8  -10.3

14:29      5     -9.6   -9.7   -9.8  -10.3

14:32      6    -12.1  -21.8  -20.9  -22.8

14:35      7    -15.9  -19.6  -21.0  -22.7

14:38      8    -16.9  -21.8  -18.9  -22.7

14:41      9    -16.8  -21.8  -20.9  -20.4

14:44     10    -16.8  -21.8  -20.9  -22.9  AMB load phys temps:

S1=15.88

S2=20.56

X1=13.56

Local weather:

T=20.2C

H=32.0 percent

sky=clear

EOA      14:47    end    -16.8  -21.8  -20.9  -22.8  End 25 kHz recording

AMB = ambient load

BOT = Beginning of Track

CNR = Carrier to noise ratio

CONSCAN = conical scan tracking

CW = continuous wave (carrier only)

EOA = End of activity

EOT = End of Track

FRO = frequency offset

HGA = high-gain antenna

LOS = loss of signal

ND = noise diode

No = noise power

Pc = carrier power

rcvr = receiver

S1 = ambient load for S-RCP

S2 = ambient load for S-LCP

s/c = spacecraft

SL = S-LCP

SNR = Signal to noise ratio

SR = S-RCP

TLM = telemetry

X1 = Ambient load for both X-band channels

XL = X-LCP

XR = X-RCP

Post Analysis Summary

No FROs were required and the X-Band echo drifted leisurely from about 11 kHz to 13 kHz above the direct signal over the 40 minutes of surface observations.

Incidence angles increased from 67 to 74 deg.  X-Band dielectric constant was well-confined to the 2.3-2.7 range. S-Band echoes were weak, but S-RCP was unambiguous; S-LCP was very noisy.  Inferred S-Band dielectric constants were 2-8 over the first half, then became generally unreliable because S-LCP was near zero.

Dick Simpson

Original: 2009-12-06

Added Post Analysis Summary: 2010-01-08

Updated S-LCP noise status: 2011-04-28