Mars Express Bistatic Radar Experiment

Operations Plan and Report

14 August 2009

Summary

=======

DSN Antenna:                                                     14

Pass:                                                          2267

Orbit:                                                         7204

Orbit Start Time:                               2009-08-14T10:34:48

HGA Pointing:                                              Specular

Start     Center       End

--------  ----------  --------

Specular Condition (ERT):               12:52      13:26      14:00

Target Latitude (deg N):                46.46      59.38      47.91

Longitude (deg E):              287.79     304.24     355.50

Rp (km):                         3394.      3394.      3394.

Incidence/Reflection Angle (deg):       72.21      66.69      51.22

Slant Range (km):                       8454.      5437.      1422.

Slew Angle (deg):                       35.58      46.61      77.57

Doppler (carrier, fd; Hz):             39992.     54874.     51240.

Doppler (echo, fr; Hz):                37378.     55166.     71751.

Doppler Difference (fdd; Hz):           2614.      -292.    -20511.

Earth-Mars Distance (m):            2.541E+11  2.541E+11  2.541E+11

Experiment Set Up

=================

This experiment was conducted using Goldstone's DSS 14.  Danny Kahan and Gene Goltz were in the Radio Science Support Area (RSSA) at JPL.  Dick Simpson was available by phone.

Performance Problems and Notes

==============================

The S-LCP data are very noisy; switching to the ambient load added only 4.5 dB in the pre-cal and post-cal, rather than the expected 11 dB.  The problem persisted through all subsequent DSS 14 BSR experiments in 2009.  In January 2010 the ‘CNV’ board in RSR3 was replaced, and tests on 21 January 2010 confirmed that normal performance had been restored.

The post-BSR S-LCP mini-cal was not successful -- the noise diode was never turned on.

Data Acquisition

================

RSRs were configured as in Table 1.

Table 1

----------------------------------------------------

RSR  Channel Mode  ATT FGAIN        Operator

dB

----- ------- ---- ---- ----- ----------------------

RSR3A  S-LCP   1-W auto   60    UNK

RSR3B  X-LCP   1-W auto   60    UNK

RSR2A  S-RCP   1-W auto   60    UNK

RSR2B  X-RCP   1-W auto   60    UNK

RSR subchannels (SCHAN) were defined as follows:

Table 2

----------------------------------------------------------------------

Subchannel  Sample Rate  Comments

----------  -----------  ---------------------------------------------

1          2 ksps   Occultation bandwidth (not recorded for BSR)

2          8 ksps   Occultation backup (not recorded for BSR)

3         25 ksps   Primary recording bandwidth

4        100 ksps   Backup recording

Table 3 lists ADC amplitude levels read from RSR displays during the experiment.  Times are in UTC and should be considered approximate.  "Steps" are as defined in the briefing message.  RSR ATT settings are in units proportional to dB.  Acronyms and abbreviations are explained after Table 3.

Table 3

-----------------------------------------------------------------------------

Activity  Time   Step #  S-LCP  X-LCP  S-RCP  X-RCP  Notes / Comments

2009/226                 RSR3A  RSR3B  RSR2A  RSR2B

-------- ----- --------- -----  -----  -----  -----  ------------------------

fgain   08:10              60     60     60     60  GAIN = 60 dB

Pre-Ca   08:55      1     -4.3  -12.6   -6.0  -11.8

08:58 att auto  -10.3   -9.8  -10.2   -9.8  ADC amplitudes (dB)

19.5   12.0    5.0   10.0  Attenuator settings (dB)

09:00      2    -10.3   -0.2  -10.2    0.1  ADC amplitudes (dB)

09:02      3     -3.2   -0.1   10.1    0.1

09:04      4     -3.4   -0.1   -0.7    0.1

09:06 att auto   26.5   24.0   15.5   22.5  Reset attenuators (dB)

-9.9   -9.7   -9.7   -9.7  ADC amplitudes (dB)

AMB load phys temps

S1=19.19

S2=24.25

X1=15.88

Local weather:

T=22.2C

H=27.8 percent

sky=clear

09:07 rec 3 e                               Begin 25 kHz recording

09:07      5     -9.9   -9.7   -9.6   -9.6  ADC amplitudes (dB)

09:15      6     -9.8   -9.7   -9.6   -9.5

09:20      7     -9.8  -21.8   -9.7  -20.0

09:25      8     -9.7  -21.8   -9.6  -22.4

09:30      9     -9.8  -19.6   -9.7  -22.4  Confirm 12.5K ND

09:35     10     -9.8   -9.5   -9.6   -9.8  AMB load phys tems:

S1=18.18

S2=23.75

X1=15.56

09:40     11     -9.7   -9.7   -9.7   -9.8

09:45     12     -9.8  -21.8   -9.5  -22.4

09:50     13     -9.7  -21.8   -9.4  -22.4

09:55     14     -9.7  -21.9  -18.9  -22.3

10:00     15     -9.8  -21.9  -20.7  -22.3  Confirm 12.5K ND

10:05     16     -9.6  -21.9  -20.9  -22.4

10:10     17    -15.6  -21.8  -20.8  -22.2

10:15     18    -17.3  -21.9  -20.8  -22.2  AMB load phys temps:

S1=18.31

S2=23.06

X1=15.19

10:20    end    -17.6  -21.9  -20.7  -22.4  Stop 25 kHz recording

BOT      10:30           -17.1  -20.8  -20.0  -21.1  Collect TLM to 12:15

12:30 rec 3 e    -9.6  -21.5  -20.5  -21.7  Resume 25 kHz recording

12:35           -13.9  -21.5  -20.5  -20.4  Switch DSS 14 to Mars

pointing predicts

12:37 sfro 3     +24K   +23K   +24K   +23K  Rcvr tuning offset (Hz)

MiniCal1 12:37      1    -12.0  -21.6  -20.6  -18.6  Confirm 12.5K ND

12:40      2    -13.8  -21.6  -18.7  -20.3

12:43      3    -14.5  -19.5  -20.6  -20.3

12:46      4    -15.3  -21.5  -20.7  -20.6

12:49      5    -14.1  -21.6  -20.6  -20.6

12:52    end    -15.2  -21.5  -20.5  -20.5

BSR      12:52  sfro 3       0    -6K      0    -6K  Rcvr tuning offsets (Hz)

Begin 100 kHz recording

13:35  sfro 3              0             0  Rcvr tuning offsets (Hz)

13:46  sfro 3            +6K           +6K  Rcvr tuning offsets (Hz)

13:54  sfro 3           +12K          +12K  Rcvr tuning offsets (Hz)

END BSR  14:00  sfro 3    +24K   +23K   +24K   +23K  Rcvr tuning offsets (Hz)

End 100 kHz recording

MiniCal2 14:04      1    -10.6  -21.6  -20.7  -19.7  Confirm 12.5K ND

14:07      2    -11.1  -21.6  -18.6  -22.1  ADC amplitudes (dB)

14:10      3    -13.8  -19.4  -20.7  -22.2

14:13      4    -15.7  -21.7  -20.7  -22.2

14:16      5    -14.8  -21.7  -20.7  -22.2

14:19    end    -15.3  -21.8  -20.7  -22.1

14:19   sfro 3      0      0      0      0  Rcvr tuning offsets (Hz)

14:20           -13.1  -21.6  -20.7  -22.0  Switch DSS 14 to S/C

pointing predicts

14:32 rec 3 d   -11.0  -21.7  -20.6  -20.4  Stop 25 kHz recording

EOT      15:00           -12.2  -21.7  -20.6  -20.6  Move DSS 14 to stow

Post-Cal 15:02 rec 3 e   -15.8  -21.8  -20.7  -22.3  Resume 25 kHz recording

15:08      1     -9.9   -9.7   -9.5   -9.7  AMB load phys temps:

S1=17.38

S2=21.69

X1=14.94

15:15      2     -9.9   -9.6   -9.5   -9.6  ADC amplitudes (dB)

15:18      3     -9.8   -9.8   -9.4   -9.7

15:21      4     -9.8   -9.5   -9.6   -9.6

15:24      5     -9.7   -9.7   -9.5   -9.7

15:27      6    -15.3  -21.9  -20.7  -22.3

15:30      7    -16.8  -19.5  -20.6  -19.8

15:33      8    -16.7  -21.8  -18.7  -22.1

15:36      9    -16.0  -22.0  -20.5  -19.8

15:39     10    -16.0  -21.9  -20.6  -22.2  AMB load phys temps:

S1=17.62

S2=21.88

X1=14.94

Local weather:

T=23.7C

H=32.9 percent

sky=clear

15:42    end    -15.9  -21.9  -20.6  -22.4  End 25 kHz recording

AMB = ambient load

BOT = Beginning of Track

CNR = Carrier to noise ratio

CONSCAN = conical scan tracking

CW = continuous wave (carrier only)

EOA = End of activity

EOT = End of Track

FRO = frequency offset

HGA = high-gain antenna

LOS = loss of signal

ND = noise diode

No = noise power

Pc = carrier power

rcvr = receiver

S1 = ambient load for S-RCP

S2 = ambient load for S-LCP

SL = S-LCP

SNR = Signal to noise ratio

SR = S-RCP

TLM = telemetry

X1 = Ambient load for both X-band channels

XL = X-LCP

XR = X-RCP

Post-Analysis Summary

The table below summarizes the time division of X-Band data so as to capture the echo power as the signal drifted through the 25 kHz receiving passband.

Power estimates were made from 10-second average spectra.

Int        Times        Spectra    Noise  Bins    Carrier    Echo     Notes

Bins     Bins

---  -----------------  -------  ---------------  -------  -------  --------

A   12:52:00-13:17:00  001-150  104:446,631:916  618:623  451:615

B   13:17:00-13:29:30  151-225  104:512,717-916  618:623  518:712  [1]

C   13:29:30-13:34:58  226-258  104:614,818:916  618:623  628:815

CD  13:34:58-13:35:08    259    104:370,818:916  374:379  446:815  [2]

D   13:35:08-13:45:58  260-324  104:370,818:916  374:379  446:815

DE  13:45:48-13:46:08    325    133:370,818:916  374:379  430:815  [3]

127:132

E   13:46:08-13:53:57  326-372  133:420,860:916  127:132  430:855

EF  13:53:57-13:54:07    373    133:420,860:916  127:132  430:855  [4]

F   13:54:07-13:59:57  374-408  104:420,860:916    ---    430:855  [5]

Notes: [1] Used carrier suppression to estimate echo power

[2] X-Band tuning offset (FRO) at 13:35

[3] X-Band tuning offset (FRO) at 13:46

[4] X-Band tuning offset (FRO) at 13:54

[5] The carrier was outside the recorded pass band after 13:54

For S-Band, the tables below summarizes the processing of 10-second

average spectra.

Int        Times        Spectra    Noise  Bins    Carrier    Echo     Notes

Bins     Bins

---  -----------------  -------  ---------------  -------  -------  --------

A   12:52:00-13:13:00  001-126  104:369,460:916  451:455  375:447

B   13:13:00-13:32:00  127-240  104:409,501:916  451:455  414:497  [1]

C   13:32:00-14:00:00  241-408  104:450,778:916  451:455           [2]

Notes: [1] Used carrier suppression to estimate echo power

[2] Used linearly drifting window to estimate echo power, starting

at 457:497 and ending at 532:774

For S-Band, the tables below summarizes the processing of 60-second

average spectra.

Int        Times        Spectra    Noise  Bins    Carrier    Echo     Notes

Bins     Bins

---  -----------------  -------  ---------------  -------  -------  --------

A   12:52:00-13:13:00  001-021  104:398,460:916  451:455  401:455

B   13:13:00-13:32:00  022-040  104:409,501:916  451:455  414:497  [1]

C   13:32:00-14:00:00  041-068  104:450,778:916  451:455           [2]

Notes: [1] Used carrier suppression to estimate echo power

[2] Used linearly drifting window to estimate echo power, starting

at 457:497 and ending at 532:774

Dick Simpson

Original: 2009-10-10

Updated geometry summary: 2009-11-02

Added Post-Analysis Summary: 2009-11-23

Updated S-LCP noise status under Performance Problems and Notes: 2010-06-30