National Aeronautics

and Space Administration

Goddard Space Flight Center

Code 699 - Atmospheric Experiments Laboratory

Huygens-Gas Chromatograph Mass Spectrometer To NASA Planetary Data System and ESA Planetary Science Archive Interface Control Document HUYGENS TITAN GAS CHROMATOGRAPH MASS SPEC 3 DESCENT V1.0 [HP-SSA-GCMS-3-FCO/DESCENT-V1.0] Final 2006-06-19

______________________________

Prepared by:  John A. Haberman

______________________________

Approved by: Hasso B. Niemann

Distribution List

| Date | Organization | Recipient |
| --- | --- | --- |
| 2006-03-24 | PDS/PSA notified of the availability of this dataset and documentation. | PDS & PSA |
| 2006-06-22 | Revised Dataset and documentation delivered electronically | PDS & PSA |

Change Log

| Date | Sections Changed | Reasons for Change |
| --- | --- | --- |
| Beginning 3/1/2006 | Massive Edits & Changes to earlier versions | Edits for Final Submission |
| June 7, 2006 – June 19, 2006 | Multiple | Incorporating initial dataset review suggestions. |

Table Of Contents

1 Introduction	5

1.1 Purpose and Scope	5

1.2 Contents	5

1.3 Intended Readership	6

1.4 Applicable Documents	6

1.5 Relationships to Other Interfaces	6

1.6 Acronyms and Abbreviations	6

1.7 Contact Names and Addresses	8

2 Overview of Process and Product Generation	9

2.1 Pre-Flight Data Products	12

2.2 Sub-System Tests	12

2.3 Instrument Calibrations	13

2.4 In-Flight Data Products	14

2.5 Software	26

2.6 Documentation	26

2.7 Derived and other Data Products	26

3 Archive Format and Content	26

3.1 Format and Conventions	26

3.1.1 Deliveries and Archive Volume Format	26

3.1.2 Data Set ID Formation	27

3.1.3 Data Directory Naming Convention	27

3.1.4 File Naming Convention	27

3.2 Standards Used in Data Product Generation	27

3.2.1 PDS Standards	27

3.2.2 Time Standards	27

3.2.3 Reference Systems	28

3.2.4 Other Applicable Standards	28

3.3 Data Validation	28

3.4 Content	28

3.4.1 Volume Set	28

3.4.2 Data Set	28

3.4.3 Directories	28

3.4.3.1 Root Directory	28

3.4.3.2 Calibration Directory	29

3.4.3.3 Catalog Directory	29

3.4.3.4 Index Directory	29

3.4.3.5 Browse Directory and Browse Files	29

3.4.3.6  Geometry Directory	29

3.4.3.7 Software Directory	29

3.4.3.8 Gazetter Directory	29

3.4.3.9 Label Directory	29

3.4.3.10 Document Directory	29

3.4.3.11 Extras Directory	30

3.4.3.12 Data Directory	30

4. Detailed Interface Specifications	31

4.1  Sample Labels	31

4.1.1  Data Label – Stage 2 Processed Sweep Files	31

File GCMS_1US_STG2.LBL	32

File GCMS_1U_STG2.FMT	33

4.1.2  Data Label – Stage 1 Raw Data Sweep Files	65

File GCMS_1US_STG1.LBL	65

GCMS_ISALL_STG1.FMT	67

4.1.3  Data Label – Total Ion Counts, Stage 2 Processing	114

File GCMS_TOTALS_STG2.LBL	114

4.1.4  Data Label – Medium Speed Housekeeping Data, Stage 2	120

File GCMS_HK_MS_STG2.LBL	120

4.1.5  Data Label – High Speed Housekeeping Data, Stage 2	128

File GCMS_HK_HS_STG2.LBL	128

4.1.6  Data Label – Housekeeping Type 2 Data, Stage 2	147

File GCMS_HK_TYPE2_STG2.LBL	147

4.1.7 Data Label – Idle Packet Housekeeping Data, Stage 2	177

File GCMS_HK_IDLE_STG2.LBL	178

4.1.8 Data Label – Raw Telemetry File	209

File:  GCMS_TELEMETRY_STG1.LBL	209

4.1.9 Data Label – Stage 1 Processed Data	231

Data Label - All Raw Data, Stage 1	232

Data Label - Housekeeping Acknowledge and Not-Acknowledge Raw Data, Stage 1	232

Data Label – Housekeeping Type 1 Raw Data, Stage 1	232

Data Label – Housekeeping Type 2 Raw Data, Stage 1	232

Data Label – Housekeeping Idle Packet Raw Data, Stage 1	232

Data Label – Housekeeping High Speed Raw Data, Stage 1	232

Data Label – Housekeeping Medium Speed Raw Data, Stage 1	233

Data Label – Housekeeping Instrument Software Status Raw Data, Stage 1	233

File GCMS_HK_B_TYPE2_STG1.LBL	233

4.1.10 Data Label – Mole Fraction Data, Stage 2	235

File GCMS_MOLE_FRACTION_STG2.LBL	235

1. Appendix: Available Software to read PDS files (N/A)	264

2. Appendix: Auxiliary Data Usage (N/A)	264

3. Appendix: Example of Directory Listing of the Data Set	264

The 19970506_DESCENT_BENCH folder (DESCENT Sequence) will contain these files.	267

The 19971023_F01 folder (FCO1) will contain these files.	270

The 20000202_F05 folder (FCO2) will contain these files.	273

The 20040714_F14 folder (FCO2) will contain the files shown.	275

The 20041123_F16 folder (FCO1B) will contain these files.	278

The 2005\0114_DESCENT folder (Titan DESCENT) will contain these files.	280

The DTWG_MOLE_FRACTION folder will contain these files.	284

# Introduction

## 1.1 Purpose and Scope

The purpose of this EAICD (Experimenter to (Science) Archive Interface Control Document) is two fold. First it provides users of the Gas Chromatograph Mass Spectrometer (GCMS) instrument with a detailed description of the product and a description of how it was generated, including data sources and destinations. Secondly, it is the official interface between the GCMS team, the NASA Planetary Data System (PDS), and the ESA Planetary Science Archive (PSA) archiving authorities.

## Contents

This document describes the data flow of the GCMS instrument on the Cassini-Huygens Probe from the spacecraft (s/c) until insertion into the PSA and PDS. It includes information on how data were processed, formatted, labeled and uniquely identified. The document discusses naming schemes for data volumes, sets and label files. Standards used to generate the product are explained. Software that may be used to access the products are explained.  The goal is to archive all of the data, including all ground and flight testing, from the GCMS instrument flown to Titan.  The design of the data set structure and the data product is given. Examples of these are given in Appendix 3.

## Intended Readership

The staff of Planetary Data System and Planetary Science Archive archiving authority design teams and any potential user of the GCMS data.

## Applicable Documents

- Planetary Data System Preparation Workbook, February 1, 1995, Version 3.1, JPL, D-7669, Part 1

- Planetary Data System Standards Reference, August 1, 2003, Version 3.6, JPL, D-7669, Part 2

- Huygens Data Archive Generation, Validation and Transfer Plan, September 1, 2004, Version 1.0, HUY-RSSD-PL-001

## Relationships to Other Interfaces

This EAICD will be affected by changes to the archiving structure of GCMS results.  Likewise, changes to this EAICD could affect the internal processes necessary to archive this data.

## Acronyms and Abbreviations

A_Stream	Data telemetry channel “A” yielded this data

ACK		GCMS “Acknowledge” data packet (confirmation of receipt of an instrument command)

ACP		Aerosol Collector Pyrolyzer Instrument

ASCII		A(merican) S(tandard) C(ode for) I(nformation) I(nterchange)

B_Stream 	Data telemetry channel “B” yielded this data

c/ip		Counts per integration period (counts per sample)

c/s		Counts per second

DAWG	Data Archiving Working Group

DESCENT	Nominal Mission Titan Encounter (Atmosphere Entry on 14 January 2005)

DDB		Descent Data Broadcast (probe “master” clock data broadcast to the instruments)

*.DOC	Microsoft Word Document

EAICD	Experimenter to (Science) Archive Interface Control Document

EM		GCMS Engineering Model (Darmstadt, Germany)

ESA		European Space Agency

ESW		Experiment Status Word

ESOC    	European Space Operations Centre (Darmstadt, Germany)

ESTEC	European Space Research and Technology Centre (Noordwijk, The Netherlands)

eV		electron Volt (mass spectrometer’s ionization energy)

F1,… ,F16	In-Flight Checkout Number (1, 2, …, 16)

FCO		In-Flight Checkout Test (any type)

FCO1		In-Flight Checkout Test, Type 1

FCO1B	In-Flight Checkout Test, Type 1 B

FCO2		In-Flight Checkout Test, Type 2

FM		GCMS Flight Model Unit (original definition.)  This is the unit now at GSFC with which

instrument performance “calibration” will be done.

FS		GCMS Flight Spare Unit (original definition.)  This is the unit actually flown to Titan.  Now referred to as the “Flown Sensor”

FU		FCMS Flown Unit (as of 14 January 2005 - on surface of Titan)

GC		Gas Chromatograph

GC1		Gas Chromatograph Column #1 (interfaced with Ion Source #3)

GC2		Gas Chromatograph Column #2 (interfaced with Ion Source #4)

GC3		Gas Chromatograph Column #3 (interfaced with Ion Source #5)

GCMS	Gas Chromatograph Mass Spectrometer

GCMS GMT	UTC time stamp when a GCMS packet was handed to the probe’s data handling system

GCO		Ground Check Out Test (Lab versions of the Flight Check Outs)

*.GIF		Image file in GIF format (Graphics Interchange Format)

GSE		Ground Support Equipment

GSFC		NASA Goddard Space Flight Center (Greenbelt, MD USA)

HK		House Keeping Data

HPOC		Huygens Probe Operations Centre (at ESOC in Darmstadt, Germany)

_HS_		GCMS “High Speed” data packet

IDLE		GCMS “Idle” data packet

ip		Integration Period (Sampling time or counter window)

KSC		Kennedy Space Center

mergem.dat	file containing ‘raw’ MS sweeps data from the SUN (Unix) workstation’s 
initial processing of  the raw GCMS telemetry data file

MET 		Mission Elapsed Time

MS		Mass Spectrometer

_MS_		GCMS “medium speed” data packet

m/z		mass per unit charge

NACK	GCMS “Not-Acknowledge” data packet (see ACK)

NASA 	National Aeronautics and Space Administration

*.PDF		Document in (Portable Document Format)

PHD		Pulse Height Distribution

*.PNG	Portable Network Graphics formatted file

PDS		Planetary Data System (NASA)

PSA		Planetary Science Archive (ESA)

s/c		Spacecraft

Spare		GCMS Flight Spare Sensor, GSFC, Greenbelt, MD

STG1		Stage 1 Processed Data File

STG2		Stage 2 Processed Data File

STG3		Stage 3 Processed Data File

T0 (T0)	Gravity or Software switch activated Start Time of Huygens Descent Phase Mission

TYPE1	GCMS “Type 1” housekeeping data packet

TYPE2	GCMS “Type 2” housekeeping data packet

UTC		Coordinated Universal Time

## 1.7 Contact Names and Addresses

Hasso Niemann	GCMS Principal Investigator				Tel.: 301.614.6381

NASA Goddard Space Flight Center, Code 699		FAX: 301.614.6406

Greenbelt, MD 20771

mailto:Hasso.B.Niemann@nasa.gov

John Haberman	NASA Goddard Space Flight Center, Code 699		Tel.:  301.614.6383

Greenbelt, MD 20771					FAX: 301.614.6406

mailto:john.a.haberman@nasa.gov

Jaime Demick	NASA Goddard Space Flight Center, Code 699		Tel.:  301.614.6397

Greenbelt, MD 20771					FAX: 301.614.6406

mailto:Jaime.E.Demick.1@gsfc.nasa.gov

# Overview of Process and Product Generation

GCMS Instrument Description

The GCMS Instrument is described in detail in the INSTRUMENT.CAT file and in the published papers.  Additional information about the instrument and about the resulting data is contained in the DATASET.CAT file.

GCMS Instrument Data

The GCMS data is relayed from the Huygens Probe to the Cassini Spacecraft, and then down linked to the European Space Agency (ESA) European Space Operations Centre (ESOC) in Darmstadt, Germany. The GCMS Team at NASA/GSFC then retrieves the data from the ESOC server.  The data is then played back into the GCMS GSE (workstation) located at NASA/GSFC, and “archive” files are created.  This Sun workstation and the associated software have been the primary method for data processing.  These archive files are processed by subprograms called in scripts to create pre-defined data files in text format.  Diagram 1 illustrates this procedure.  The GCMS Team members then analyze these text files and the associated graphic representations.  The data processing team members are all located at the NASA/GSFC, and all data processing occurs on site.  Near the end of the mission’s cruise phase powerful personal computers and software became available that allow supplemental (and secondary) methods for data processing and evaluation.

Diagram 1.  GCMS Data Flow Path

Diagram 1 illustrates the data flow and data levels.

GCMS relays data to Probe

Data relayed to Earth

Data placed on ESOC server

Sun Workstation

Data downloaded from ESOC to User PCs at NASA/GSFC

Pre-Processed Data

Data downloaded from ESOC to GCMS GSE at NASA/GSFC

User created PC software decodes telemetry and creates temporary files

Raw Data

Data played back into GSE & *.archive files created

User created PC software creates ASCII text tables and small files with housekeeping and mass sweep data

Scripts that call programs convert *.archive to *.dat files; sort data into smaller files

Output plots of interest, on pre-heating/descent timeline during processing (real time)

Stage 1 Processed Data

Break into smaller files, convert units, filter bad data, add headers and comments

Stage 2 Processed Data

Break into smaller files, convert units, filter bad data, add headers and comments

Lengthy processing, plotting, comparing to calibration (pre & post encounter)

Stage 3 Processed Data

Lengthy processing, plotting, comparing to calibration (pre & post encounter)

The chief team members responsible for processing the data are:

-John Haberman		Scientist
    NASA Goddard Space Flight Center, Code 699

-Michael Paulkovich		Software Engineer
    Jackson & Tull	
    NASA Goddard Space Flight Center, Code 699

-Eric Raaen			Software Engineer
Science Systems and Applications, Inc.
NASA Goddard Space Flight Center, Code 699

-Jaime Demick-Montelara	Scientist/Engineer
Science Systems and Applications, Inc.
NASA Goddard Space Flight Center, Code 699

The data levels for GCMS data are defined as:

Pre-processed data: Data directly relayed from Cassini to ESOC that have not been processed at all by the GCMS GSE.  The original file for each GCMS instrument operation is named oNNNsg__.1h_ where NNN is a number.

Raw data: Data that have been processed through the GCMS-GSE (workstation), to the extent that archive files are produced.  These files use the extension “.archive” with the base names:  gcmsack?, gcmsbin?, gcmsdump?, gcmshkhs?, gcmshkI?, gcmshkII?, gcmshkms?, gcmshks?, gcmsidle?, gcmsnack? and gcmsswp? where “?” is either A or B, to indicate the file ‘source’ as either the A or B data channel.  Refer to Table 7 in section 4.1.9 for additional information.

Stage 1 Processed Data:  Raw Data *.archive files are further processed in the GCMS-GSE by scripts that call subprograms that convert the *.archive files into text files named *.dat or *.tab.  These programs can also break the large data set into separate files for housekeeping data, or a group of files for the science data.  These *.archive files are also converted to comma-delimited integer (*.CSV) or integer table (*.TAB) files for archiving with only the decoded GCMS_GMT and instrument ‘Absolute’ times added.  Refer to section 4.1.9 (Stage 1 Processed Data) of this document for a table (Table 7) correlating the original *.archive file name with the archived GCMS_*_STG1.TAB file name.

The text files produced in this process are manipulated by a series of IDL batch files that then plot selected Stage 2 data on a pre-T0/ post-T0 timeline.  This will output plots for analysis as soon as the data are available.  A’ book’ of these plots for each of the FU instrument operations is available in the /EXTRAS/ folder of this archive as a PDF document.

The archived Stage 1 Processed (raw) Data on the PSA/PDS can be difficult to use because of the lack of units and comments. This Stage 1 data is archived to allow users to reprocess the telemetry and raw data if they so wish.  All data is archived internally for all tests at GSFC.

Stage 2 Processed Data:  These files include the UTC time corresponding to the initiation of each mass sweep or housekeeping record, a mission time (seconds referenced to T0) plus the MET, counts per integration period converted to counts per second, selected instrumental parameters extracted from the instrument’s housekeeping data and comments and column headers. Identified data ‘noise’, originating from the instrument’s operation, has been removed from the dataset.  In addition, the science data has been evaluated and adjusted to account for digital bit-counter over flow where this overflow is obvious.  For reference purposes, Table 1 has been included to indicate the documented counter behavior.

Table 1. Sample Conversions Made to convert Stage 1 to Stage 2 Processed Data

| Science Data Reported in “mergem.dat” | Actual counts/ip | Conversion to counts/s Valid Count Rate |
| --- | --- | --- |
| 0-127 | Number reported | (actual counts/ip ÷ .004592 s/ip) 0 – 27,656 |
| 139 - 255 | (number reported – 128)2 | (actual counts/ip ÷ .004592 s/ip) 27,657 – 3,549,651 |
| 128 - 255 | 1st over flow: (number reported)2 | (actual counts/ip ÷ .004592 s/ip) 3,549,652 – 14,263,937 |
|  | 2nd overflow: (number reported + 128)2 | (actual counts/ip ÷ .004592 s/ip) 14,263,938 – 56,620,209 |

In addition, there is a settling time inherent in the instrument’s electronics of 0.416 ms, making the total individual operation window 5.008 ms.

The Stage 2 Processed Data will be available in the GCMS Database and submitted to the PDS/PSA for archiving as text files in comma delimited table format.  This format can be imported into spreadsheet and graphic software for manipulation.  The first row of all of the Stage 2 files will contain column labels making these files more user-friendly.  End users will be able to quickly identify data of interest by the column headers, and will be able to plot specific data of interest during specific time intervals.  Where used, the comment column will explain abnormalities, highlight items of interest, and explain how the data was handled to that point.  The purpose of Stage 2 Processed Data is to have data available for the end users that they may readily analyze and manipulate according to their interest, without having to convert raw data from unsuitable units.

Stage 3 Processed Data:  This will consist of Stage 2 Processed Data that has been corrected, analyzed, compared to calibration data, plotted, and verified by GCMS personnel.  Data correction will include all counter over-flow corrections as well as counting system ‘dead time’ and ‘pulse pile-up’ corrections.  The files processed to the Stage 2 level will also be processed to the Stage 3 level.

The Stage 3 Processed Data will represent the most processed level of data for the GCMS.  Stage 3 Processing will take a long period of time, and will include correlation with the post-encounter calibration test results.  Stage 3 Processed Data will be submitted to the PSA/PDS for archiving.

The file /EXTRAS/DATASET_RELATED/DATA_PROCESSING.PDF contains additional details relative to the data and how it is processed from Stages 0 to 1 to 2 to 3.

Table 2.  GCMS Data Processing and Programs Used

Table 2 lists the data process, level, the programs used to process the data at that level, the person(s) responsible for the software, and the institution the person is located at.

| Data Process | Data Level | Program(s) Utilized | Software Author/Institution |
| --- | --- | --- | --- |
| Data downloaded from ESOC to GCMS GSE at NASA/GSFC or Darmstadt | Pre-Processed | Via Web server or Secure Shell-FTP |  |
| Data played back & *.archive files created | Raw | Chex-gse software | Ryan Miller-Univ. of Michigan |
| Scripts that call programs convert *.archive to *.dat, *.tab and *.txt files | Stage 1 Processed | Mergem1, gcms-dap, gcmshkII programs | Ryan Miller-Univ. of Michigan, Eric Raaen- NASA/GSFC, John Haberman- NASA/GSFC |
| Break the large *.archive and *.dat files into smaller files, grouped by ion source, type of spectra, etc. | Stage 1 Processed | Batch file calling small subprograms written in house at NASA GSFC. | John Haberman, Eric Raaen- NASA/GSFC |
| Convert MET to entry time line, convert raw c/ip to c/s, add comments & titles; *.xls or *.txt | Stage 2 Processed | Excel or similar program; save as *.xls, *.csv, *.txt or *.tab | In-house software and Microsoft or others |
| Detailed data adjustments including counter overflow and dead time corrections. Analysis and plotting by GSFC Team | Stage 3 Processed | 1. Excel or similar program AND/OR 2. Import Stage 2 to Graphing program and use column titles and time tags to plot automatically | In-house software and Microsoft or others |

### 2.1 Pre-Flight Data Products

All data from the ground testing conducted with the flown GCMS is archived.  These tests include, but are not limited to, the simulation of the entry mission and the 5 integeration verification GCO testing done at KSC after the delivery of the instrument and during the Huygens spacecraft integraton.  The GCMS Team may elect to add pre-heating validation tests on the EM and/or Flight Spare as additional post-launch data products.  For the first data submission, no data products from the engineering unit and backup (spare) sensors are being submitted.

### 2.2 Sub-System Tests

The GCMS Team tested many flight components before installing them into the Flight Unit.  These components are listed in Table 3.

Table 3.  GCMS Flight Components Tested Before Installation into the Flight Unit

| Break-off cap | GC columns |
| --- | --- |
| Hydrogen reservoir | Capillary Leaks |
| Hydrogen regulator | Heaters |
| Burst diaphragm | Ion Sources |
| Valves | Multipliers |
| Pressure transducers | Getter pumps |
| Flow restrictors | Ion pumps |

It is conceivable that should anomalous data occur, GCMS Team members might consult sub-system test data to back out a solution.  This data is archived on GCMS Lab Computers at NASA/GSFC.  Certain sub-system data may be archived on the PSA/PDS as reference material in the /EXTRAS/ directory, such as the hydrogen reservoir metal hydride vapor pressure curve, capillary leak response data, and GC column data.  However, the more recent calibration data would be of most use, and that data will all be archived.

### 2.3 Instrument Calibrations

The GCMS was calibrated at NASA/GSFC prior to delivery.  GCMS calibration data consists of spectra taken in the various ion sources with calibration gases or gas mixtures at various instrument settings.  In addition, lens voltage scan data, filament and valve lifetime data, tuning data, and gas chromatograph data are included for reference as to the condition of the instrument during calibration.  These files are archived in the GCMS database at GSFC, and selected calibration runs, reference data, and documentation, useful as comparison material for analysis of GCMS encounter data, will be archived in the PDS.

There are various internal documents describing the pre-launch calibration phase and results for the GCMS. These mainly consist of presentation text given at various Huygens meetings.  Table 4 lists these documents, their content, and authors.  These documents are available in the /DOCUMENT/PRELAUNCH_CALIBRATION/ folder of this archive.

The GCMS Team plans to conduct post-launch calibration activities prior to the nominal mission entry at Titan.  These data will be archived.

Table 4.  GCMS Calibration Documents.  See also Section 3.4.3.10 for the availability of these files in other formats.

| Document Name | Content | Author |
| --- | --- | --- |
| CALPRES.doc | Ion source, multiplier, leak, enrichment cell, descent sequence, and GC column characterization; gas mixtures used in calibration descriptions | Christina Carlson |
| CALPRES2.doc | Ion source, multiplier, switching lens, and GC column characterization; gas mixtures used in calibration, sub-systems tested descriptions | Christina Carlson |
| CALPRES3.doc | Ion source, multiplier, switching lens, and GC column characterization; gas mixtures used in calibration, sub-systems tested descriptions | Christina Carlson |
| CALPRNT2.doc | Sample calibration mass scan and GC trace descriptions | Christina Carlson |
| CALPRNTS.doc | Sample calibration mass scan, PHD, and GC traces descriptions | Christina Carlson |

### 2.4 In-Flight Data Products

Between the launch of Cassini-Huygens on October 15, 1997 and the orbiter-probe separation on December 25, 2004, sixteen (F1-F16) in-flight tests were conducted, called Flight Check Out (FCO) Tests.  These consisted of either a type 1 test (FCO1 or FCO1B) or a type 2 test (FCO2).  Several other tests were also performed with the spacecraft.  A data set is available for every test.  Most importantly, there is the Titan encounter data set (data referenced as DESCENT) from the Flight Unit.  All of this data will be handled in the same manner, so as to be able to compare the data sets.  The data flow path is shown in Diagram 1, the data processing levels are shown in Table 2 and the Data Products are shown in Table 5.  For each data set, the data products produced will include Stage 1 and 2 Processed data.  All files processed to the Stage 2 level will later be processed to the Stage 3 level.  These will be archived in separate folders in the GCMS Database: refer to Table 8 for a listing of the folders (subdirectories).  Table 5 lists all possible data products, gives a description, and the file name indicates the data level for each product.  All of the files listed in Table 5 are not produced during every instrument operation.  All of the Data Products from a given test will be included in one folder, and the headers in the Data Product files will describe the Data Source by date, time and name.  All data files, with only the exception of the ‘raw telemetry’ file, are in comma delimited ASCII text ‘TABLE’ format: i.e., spaces are used to force the column alignments of data thus allowing users on any system to review the data.

Table 5.  Data Products for the GCMS Titan Data – Ground Check-Out (GCO), Flight Check-Out (FCO) and Encounter (DESCENT).  Refer to Section 3.1.4 for a description of the file naming conventions.

| Data Product and Type | Data Source | Description |
| --- | --- | --- |
| Stage 1 - Telemetry File |  |  |
| GCMS_TELEMETRY_STG1 | Descent FCO GCO | The GCMS telemetry data file (o###sg__.1h_) converted to 8-bit ASCII text and formatted as a comma delimited (CSV) file. Because of size this file is in SPREADSHEET format. |
| Stage 1 - Data from Telemetry Stream |  |  |
| GCMS_ALL_A _STG1 | Descent FCO GCO | All GCMS A Stream data as 8-bit ASCII text. |
| GCMS_ALL_B _STG1 | Descent FCO GCO | All GCMS B Stream data as 8-bit ASCII text. |
| Stage 1 - Mass Sweeps Files from Telemetry Stream |  |  |
| GCMS_SWEEPS_A _STG1 | Descent FCO GCO | All GCMS A Stream sweep data in 8-bit ASCII text format. |
| GCMS_SWEEPS_B _STG1 | Descent FCO GCO | All GCMS B Stream sweep data in 8-bit ASCII text format. |
| Stage 1 - Mass Sweeps Files sorted by Ion Source |  |  |
| GCMS_1FA_STG1 | Descent FCO GCO | All ion source 1 (MS) - 25 eV ionization energy and fractional mass resolution in ASCII text data format. |
| GCMS_1FA_X_STG1 | FCO GCO | All ion source 1 (MS) - 25 eV ionization energy and fractional mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_1FS_STG1 | Descent FCO GCO | All ion source 1 (MS) - 75 eV ionization energy and fractional mass resolution in ASCII text data format. |
| GCMS_1FS_X_STG1 | FCO GCO | All ion source 1 (MS) - 75 eV ionization energy and fractional mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_1UA_STG1 | Descent FCO GCO | All ion source 1 (MS) - 25 eV ionization energy and unit mass resolution in ASCII text data format. |
| GCMS_1UA_X_STG1 | FCO GCO | All ion source 1 (MS) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_1US_STG1 | Descent FCO GCO | All ion source 1 (MS) - 75 eV ionization energy and unit mass resolution in ASCII text data format. |
| GCMS_1US_X_STG1 | FCO GCO | All ion source 1 (MS) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_2UA_STG1 | Descent FCO GCO | All ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_2UA_X_STG1 | FCO GCO | All ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_2US_STG1 | DescentFCO GCO | All ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_2US_X_STG1 | FCO GCO | All ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_3UA_STG1 | Descent FCO GCO | All ion source 3 (GC1) - 25 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_3UA_X_STG1 | FCO GCO | All ion source 3 (GC1) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_3US_STG1 | Descent FCO GCO | All ion source 3 (GC1) - 75 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_3US_X_STG1 | FCO GCO | All ion source 3 (GC1) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_4UA_STG1 | Descent FCO GCO | All ion source 4 (GC2) - 25 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_4UA_X_STG1 | FCO GCO | All ion source 4 (GC2) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_4US_STG1 | Descent FCO GCO | All ion source 4 (GC2) - 75 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_4US_X_STG1 | FCO GCO | All ion source 4 (GC2) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_5UA_STG1 | Descent FCO GCO | All ion source 5 (GC3) - 25 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_5UA_X_STG1 | FCO GCO | All ion source 5 (GC3) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_5UA_Z_STG1 | FCO GCO | All ion source 5 (GC3) - 25 eV ionization energy and low power mode done only during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_5US_STG1 | Descent FCO GCO | All ion source 5 (GC3) - 75 eV ionization energy and unit mass resolution in ASCII text format. |
| GCMS_5US_X_STG1 | FCO GCO | All ion source 5 (GC3) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are in ASCII text format. |
| GCMS_5US_Z_STG1 | FCO GCO | All ion source 5 (GC3) - 75 eV ionization energy and low power mode done only during GCMS instrument testing. These data are in ASCII text format. |
| Stage 1 - Housekeeping Data Files from Telemetry Stream |  |  |
| GCMS_HK_A_ACK_STG1 | DescentFCO GCO | GCMS HouseKeeping ACKnowledge data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_HS_STG1 | Descent FCO GCO | GCMS HouseKeeping High Speed data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_IDLE_STG1 | Descent FCO GCO | GCMS HouseKeeping IDLE packet data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_MS_STG1 | Descent FCO GCO | GCMS HouseKeeping Medium Speed status data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_NACK_STG1 | Descent FCO GCO | GCMS HouseKeeping Not ACKnowledge data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_SOFTWARE_STG1 | Descent FCO GCO | GCMS HouseKeeping SOFTWARE status data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_TYPE1_STG1 | Descent FCO GCO | GCMS HouseKeeping TYPE 1 data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_A_TYPE2_STG1 | Descent FCO GCO | GCMS HouseKeeping TYPE 2 data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_B_ACK_STG1 | Descent FCO GCO | GCMS HouseKeeping ACKnowledge data from the B data stream in 8-bit ASCII text format. |
| GCMS_HK_B_HS_STG1 | Descent FCO GCO | GCMS HouseKeeping High Speed data from the B data stream in 8-bit ASCII text format. |
| GCMS_HK_B_IDLE_STG1 | Descent FCO GCO | GCMS HouseKeeping IDLE packet data from the B data stream in 8-bit ASCII text format. |
| GCMS_HK_B_MS_STG1 | Descent FCO GCO | GCMS HouseKeeping Medium Speed status data from the B data stream in 8-bit ASCII text format. |
| GCMS_HK_B_NACK_STG1 | Descent FCO GCO | GCMS HouseKeeping Not ACKnowledge data from the B data stream in 8-bit ASCII text format. |
| GCMS_HK_B_SOFTWARE_STG1 | Descent FCO GCO | GCMS HouseKeeping SOFTWARE status data from the B data stream in 8-bit ASCII text format. |
| GCMS_HK_B_TYPE1_STG1 | Descent FCO GCO | GCMS HouseKeeping TYPE 1 data from the A data stream in 8-bit ASCII text format. |
| GCMS_HK_B_TYPE2_STG1 | Descent FCO GCO | GCMS HouseKeeping TYPE 2 data from the B data stream in 8-bit ASCII text format. |
| Stage 2 - Mass Sweeps - Ion Source 1 (MS) |  |  |
| GCMS_1FA_STG2 | DescentFCO GCO | All Ion Source 1 - 25 eV ionization energy and fractional mass resolution converted to counts per second format. Voyager Model Entry timeline data is included for user convenience. |
| GCMS_1FA_X_STG2 | FCO GCO | All Ion Source 1 - 25 eV ionization energy and fractional mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_1FS_STG2 | Descent FCO GCO | All Ion Source 1 - 75 eV ionization energy and fractional mass resolution converted to counts per second format. Voyager Model Entry timeline data is included for user convenience. |
| GCMS_1FS_X_STG2 | FCO GCO | All Ion Source 1 - 75 eV ionization energy and fractional mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_1UA_STG2 | Descent FCO GCO | All Ion Source 1 - 25 eV ionization energy and unit mass resolution converted to counts per second format. Voyager Model Entry timeline data is included for user convenience. |
| GCMS_1UA_X_STG2 | FCO GCO | All Ion Source 1 - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_1US_STG2 | Descent FCO GCO | All Ion Source 1 - 75 eV ionization energy and unit mass resolution converted to counts per second format. Voyager Model Entry timeline data is included for user convenience. |
| GCMS_1US_X_STG2 | FCO GCO | All Ion Source 1 - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| Stage 2 - Mass Sweeps - Ion Source 1 (MS) Direct Atmosphere & Enrichment Cell Samples |  |  |
| GCMS_1FA_B1_STG2 | Descent | Ion Source 1 - 25 eV ionization energy fractional mass resolution residual background data done prior to direct atmosphere sampling. Data as counts per second. |
| GCMS_1FA_B2_STG2 | Descent | Ion Source 1 - 25 eV ionization energy fractional mass resolution instrument background data obtained after closing inlet 1 and before the rare gas cell analysis. Data as counts per second. |
| GCMS_1FA_B3_STG2 | Descent | Ion Source 1 - 25 eV ionization energy fractional mass resolution instrument background data obtained after closing inlet 3 and before opening inlet 2. Data as counts per second. |
| GCMS_1FA_L1_STG2 | Descent | Ion Source 1 - 25 eV ionization energy fractional mass resolution direct atmosphere sampling data via Leak 1. Data as counts per second. |
| GCMS_1FA_L2_STG2 | Descent | Ion Source 1 - 25 eV ionization energy fractional mass resolution direct atmosphere sampling data via Leak 2. Data as counts per second. |
| GCMS_1FS_B1_STG2 | Descent | Ion Source 1 - 75 eV ionization energy fractional mass resolution residual background data done prior to direct atmosphere sampling. Data as counts per second. |
| GCMS_1FS_B2_STG2 | Descent | Ion Source 1 - 75 eV ionization energy fractional mass resolution instrument background data obtained after closing inlet 1 and before the rare gas cell analysis. Data as counts per second. |
| GCMS_1FS_B3_STG2 | Descent | Ion Source 1 - 75 eV ionization energy fractional mass resolution instrument background data obtained after closing inlet 3 and before opening inlet 2. Data as counts per second. |
| GCMS_1FS_L1_STG2 | Descent | Ion Source 1 - 75 eV ionization energy fractional mass resolution direct atmosphere sampling data via Leak 1. Data as counts per second. |
| GCMS_1FS_L2_STG2 | Descent | Ion Source 1 - 75 eV ionization energy fractional mass resolution direct atmosphere sampling data via Leak 2. Data as counts per second. |
| GCMS_1UA_B1_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution residual background data done prior to direct atmosphere sampling. Data as counts per second. |
| GCMS_1UA_B2_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution instrument background data obtained after closing inlet 1 and before the rare gas cell analysis. Data as counts per second. |
| GCMS_1UA_B3_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution instrument background data obtained after closing inlet 3 and before opening inlet 2. Data as counts per second. |
| GCMS_1UA_L1_GRABEC_STG2 | Descent | Ion Source 1 - L1 25eV MS data between UTC times 9:35:22-9:36:06 during the Rare Gas Enrichment Cell Sample collection. Data as counts per second. |
| GCMS_1UA_L1_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution direct atmosphere sampling data via Leak 1. Data as counts per second. |
| GCMS_1UA_L2_GRABGC1_STG2 | Descent | Ion Source 1 - L2 25eV MS data when the ‘grab sample’ collection for GC analysis #1 was collected. Data as counts per second. |
| GCMS_1UA_L2_GRABGC2_STG2 | Descent | Ion Source 1 - L2 25eV MS data between UTC times 10:02:54-10:03:18 when the ‘grab sample’ collection for GC analysis #2. Data as counts per second. |
| GCMS_1UA_L2_GRABGC4_STG2 | Descent | Ion Source 1 - L2 25eV MS data between UTC times 10:35:58-10:36:14 when the ‘grab sample’ collection for GC analysis #3. Data as counts per second. |
| GCMS_1UA_L2_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution direct atmosphere sampling data via Leak 2. Data as counts per second. |
| GCMS_1UA_L3_RG_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution Rare Gas Cell sampling data via Leak 3. Data as counts per second. UTC times 9:41:51-9:43:20. |
| GCMS_1UA_L3_RGEC_STG2 | Descent | Ion Source 1 - 25 eV ionization energy unit mass resolution Rare Gas plus Enrichment Cell sampling data via Leak 3. Data as counts per second. |
| GCMS_1US_B1_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution residual background data done prior to direct atmosphere sampling. Data as counts per second. |
| GCMS_1US_B2_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution instrument background data obtained after closing inlet 1 and before the rare gas cell analysis. Data as counts per second. |
| GCMS_1US_B3_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution instrument background data obtained after closing inlet 3 and before opening inlet 2. Data as counts per second. |
| GCMS_1US_L1_GRABEC_STG2 | Descent | Ion Source 1 - L1 75eV MS data between UTC times 9:35:22-9:36:06 during the Rare Gas Enrichment Cell Sample collection. Data as counts per second. |
| GCMS_1US_L1_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution direct atmosphere sampling data via Leak 1. Data as counts per second. UTC times 9:11:17–9:39:28. |
| GCMS_1US_L2_GRABGC1_STG2 | Descent | Ion Source 1 - L2 75eV MS data between UTC times 9:49:22-9:49:49 when the ‘grab sample’ collection for GC analysis #1. Data as counts per second. |
| GCMS_1US_L2_GRABGC2_STG2 | Descent | Ion Source 1 - L2 75eV MS data between UTC times 10:02:54-10:03:18 when the ‘grab sample’ collection for GC analysis #2. Data as counts per second. |
| GCMS_1US_L2_GRABGC4_STG2 | Descent | Ion Source 1 - L2 75eV MS data between UTC times 10:35:58-10:36:14 when the ‘grab sample’ collection for GC analysis #3. Data as counts per second. |
| GCMS_1US_L2_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution direct atmosphere sampling data via Leak 2. Data as counts per second. UTC times 9:46:22-12:47:27.. |
| GCMS_1US_L3_RG_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution Rare Gas Cell sampling data via Leak 3. Data as counts per second. UTC times 9:41:51-9:43:20. |
| GCMS_1US_L3_RGEC_STG2 | Descent | Ion Source 1 - 75 eV ionization energy unit mass resolution Rare Gas plus Enrichment Cell sampling data via Leak 3. Data as counts per second. UTC times 9:43:21-9:44:51. |
| Stage 2 - Mass Sweeps - Ion Source 2 (ACP) |  |  |
| GCMS_2UA_STG2 | Descent FCO GCO | All ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_2UA_X_STG2 | FCO GCO | All ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_2US_STG2 | Descent FCO GCO | All ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_2US_X_STG2 | FCO GCO | All ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| Stage 2 - Mass Sweeps - Ion Source 2 (ACP) Individual Samples |  |  |
| GCMS_2UA_S1_STG2 | Descent | Ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution for ACP sample #1 in counts per second. |
| GCMS_2UA_S2_STG2 | Descent | Ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution for ACP sample #2 in counts per second. |
| GCMS_2UA_S3_STG2 | Descent | Ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution for ACP sample #3 in counts per second. |
| GCMS_2UA_S4_STG2 | Descent | Ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution for ACP sample #4 in counts per second. |
| GCMS_2UA_S5_STG2 | Descent | Ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution for ACP sample #5 in counts per second. |
| GCMS_2UA_S6_STG2 | Descent | Ion source 2 (ACP) - 25 eV ionization energy and unit mass resolution for ACP sample #6 in counts per second. |
| GCMS_2US_S1_STG2 | Descent | Ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution for ACP sample #1 in counts per second. |
| GCMS_2US_S2_STG2 | Descent | Ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution for ACP sample #2 in counts per second. Note –Programmed low IE data is present in this block of data and not marked between times 10:18:49 – 10:19:01. |
| GCMS_2US_S3_STG2 | Descent | Ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution for ACP sample #3 in counts per second. |
| GCMS_2US_S4_STG2 | Descent | Ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution for ACP sample #4 in counts per second. |
| GCMS_2US_S5_STG2 | Descent | Ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution for ACP sample #5 in counts per second. Note – Programmed low IE data is present in this block of data and not marked between times 10:52:48 – 10:52:55. |
| GCMS_2US_S6_STG2 | Descent | Ion source 2 (ACP) - 75 eV ionization energy and unit mass resolution for ACP sample #6 in counts per second. |
| Stage 2 - Mass Sweeps - Ion Source 3 (GC1) |  |  |
| GCMS_3UA_STG2 | Descent FCO GCO | All ion Source 3 (GC1) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_3UA_X_STG2 | FCO GCO | All ion Source 3 - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_3US_STG2 | Descent FCO GCO | All ion Source 3 (GC1) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_3US_X_STG2 | FCO GCO | All ion Source 3 - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| Stage 2 - Mass Sweeps - Ion Source 3 (GC1) Individual Samples |  |  |
| GCMS_3UA_GC1_S1_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3UA_GC1_S2_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3UA_GC1_S3_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for ACP Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3UA_GC1_S4_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3UA_GC1_S5_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3UA_GC1_S6_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3UA_GC1_S7_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3UA_GC1_S8_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #4 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3UA_GC1_S9_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #5 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3UA_GC1_S10_STG2 | Descent | Ion Source 3 (Column 1) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #6 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3US_GC1_S1_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3US_GC1_S2_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3US_GC1_S3_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for ACP Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3US_GC1_S4_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3US_GC1_S5_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3US_GC1_S6_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_3US_GC1_S7_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3US_GC1_S8_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #4 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3US_GC1_S9_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #5 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_3US_GC1_S10_STG2 | Descent | Ion Source 3 (Column 1) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #6 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| Stage 2 - Mass Sweeps - Ion Source 4 (GC2) |  |  |
| GCMS_4UA_STG2 | Descent FCO GCO | All ion Source 4 (GC2) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_4UA_X_STG2 | FCO GCO | All ion Source 4 (GC2) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_4US_STG2 | Descent FCO GCO | All ion Source 4 (GC2) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_4US_X_STG2 | FCO GCO | All ion Source 4 (GC2) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| Stage 2 - Mass Sweeps - Ion Source 4 (GC2) Individual Samples |  |  |
| GCMS_4UA_GC2_S1_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4UA_GC2_S2_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4UA_GC2_S3_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for ACP Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4UA_GC2_S4_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4UA_GC2_S5_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4UA_GC2_S6_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4UA_GC2_S7_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4UA_GC2_S8_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #4 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4UA_GC2_S9_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #5 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4UA_GC2_S10_STG2 | Descent | Ion Source 4 (Column 2) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #6 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4US_GC2_S1_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4US_GC2_S2_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4US_GC2_S3_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for ACP Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4US_GC2_S4_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4US_GC2_S5_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4US_GC2_S6_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_4US_GC2_S7_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4US_GC2_S8_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #4 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4US_GC2_S9_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #5 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_4US_GC2_S10_STG2 | Descent | Ion Source 4 (Column 2) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #6 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| Stage 2 - Mass Sweeps - Ion Source 5 (GC3) |  |  |
| GCMS_5UA_STG2 | Descent FCO GCO | All ion source 5 (GC3) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_5US_STG2 | DescentFCO GCO | All ion source 5 (GC3) - 75 eV ionization energy and unit mass resolution converted to counts per second format. |
| GCMS_5UA_X_STG2 | FCO GCO | All ion source 5 (GC3) - 25 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_5UA_Z_STG2 | FCO GCO | Unit mass resolution 25 eV ionization energy for Ion Source 5 data during checkout testing only when the GCMS is operating in low power mode where selected electronics are powered down to preserve instrument life. This data has been converted to counts per second. |
| GCMS_5US_X_STG2 | FCO GCO | All ion source 5 (GC3) - 75 eV ionization energy and unit mass resolution covering a non-standard mass range done during GCMS instrument testing. These data are converted to counts per second. |
| GCMS_5US_Z_STG2 | FCO GCO | Unit mass resolution 75 eV ionization energy for Ion Source 5 data during checkout testing only when the GCMS is operating in low power mode where selected electronics are powered down to preserve instrument life. This data has been converted to counts per second. |
| Stage 2 - Mass Sweeps - Ion source 5 (GC3) Individual Samples |  |  |
| GCMS_5UA_GC3_S1_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5UA_GC3_S2_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5UA_GC3_S3_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for ACP Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5UA_GC3_S4_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5UA_GC3_S5_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5UA_GC3_S6_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5UA_GC3_S7_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5UA_GC3_S8_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #4 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5UA_GC3_S9_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #5 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5UA_GC3_S10_STG2 | Descent | Ion Source 5 (Column 3) data at 25 eV ionization energy and unit mass resolution for direct atmosphere Sample #6 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5US_GC3_S1_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5US_GC3_S2_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5US_GC3_S3_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for ACP Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5US_GC3_S4_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for GC ‘Grab’ Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5US_GC3_S5_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #1 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5US_GC3_S6_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #2 as counts per second. Time relative to the injection has been determined and added to the file. |
| GCMS_5US_GC3_S7_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #3 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5US_GC3_S8_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #4 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5US_GC3_S9_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #5 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| GCMS_5US_GC3_S10_STG2 | Descent | Ion Source 5 (Column 3) data at 75 eV ionization energy and unit mass resolution for direct atmosphere Sample #6 as counts per second. Time relative to the injection has been determined and added to the file. Post-landing measurement. |
| Stage 2 - HouseKeeping Data |  |  |
| GCMS_HK_HS_STG2 | Descent FCO GCO | Time tagged high speed housekeeping parameters |
| GCMS_HK_IDLE_STG2 | Descent FCO GCO | Time tagged idle data packet housekeeping parameters |
| GCMS_HK_MS_STG2 | Descent FCO GCO | Time tagged medium speed housekeeping parameters |
| GCMS_HK_TYPE2_STG2 | DescentFCO GCO | Time tagged housekeeping type 2 parameters |
| Stage 2 - Ion Source TOTALS Extracted Data |  |  |
| GCMS_SWEEPS_ALL_TOTALS_STG2 | Descent FCO GCO | Each scan monitors the total signal for all enabled ion source. This file contains these totals converted to counts per second. |
| Stage 2 - Mole Fraction Data derived from Entry Data |  |  |
| GCMS_MOLE_FRACTION_STG2 | Descent | MS IS1 Direct Atmosphere Mixing Ratio results for the two (three) most abundant species from the Direct Leak analysis. Time Tagged. |

The GCMS works with and analyzes samples from the ACP.  The ACP Data Products are forwarded to the ACP Science team, and will be analyzed by them.  The ACP analysts may use certain GCMS Data Products in conjunction with the GCMS team to post- calibrate and to analyze their scientific results.  Other instruments to which atmospheric composition may be relevant may also utilize GCMS Data Products in the analysis of their data, or to make comparisons in data, as per guidelines in the Descent Trajectory Working Group EAICD.   The ACP data will consist of one GC data product, 2 stage 1 mass scan products, and 6 stage 2 & 3 mass scan products.

These data products were selected because they represent an efficient method of archivally organizing the GCMS data.  The data from GCMS are complex and voluminous, and will undergo several iterations of analysis.  These data products accurately describe results of these iterations, and the breakdown of the data into manageable sets.

### 2.5 Software

The GCMS software includes the instrument software, the GSE software, and the data processing software.  The instrument software was developed at GSFC and is onboard the GCMS flight unit, on the flight spare unit at NASA/GSFC, the Engineering Model (EM), and all simulator test beds at NASA/GSFC.  The GSE software is the interface to the instrument as well as the processing software for the real-time data from the flight unit, flight spare, EM, and test beds.  The original hardware and software limitations meant that the only way to process the telemetry data downloaded from ESA and to replay (and reprocess) archived data was to feed these data files through the interface hardware system.  Near the end of the cruise mission, personal computers became powerful enough to allow the development of software at GSFC to process raw GCMS data without using the GSE workstations and software.  These software programs allow the GCMS Team to parse files and retrieve data of interest.  The (workstation) GSE processing software uses IDL subroutines to plot GCMS data for specified timelines.  If these timelines are not sufficient, the newly developed software is used to parse the data and then commercial plotting routines or spreadsheet software can be used to plot the data.  To calibrate or post-calibrate, instrument software is used if flight-like electronics are operating the sensor, or specially written laboratory software is used if laboratory electronics are operating the sensor.

There is no specialized software required to view the GCMS data products, and no software will be provided or archived to do so.

### 2.6 Documentation

The GCMS Team will provide documents describing the operational timeline of the GCMS instrument during the descent into Titan’s atmosphere.  Selected instrument housekeeping parameters corresponding to the start time of each mass scan have been added to the table containing the mass scan data.  We had hoped to integrate the mission descent profile information (altitude, pressure, temperature) with the GCMS dataset.  This dataset is not yet available for distribution.  Users must look elsewhere in the data archives to determine the availability of the atmosphere entry (descent trajectory) parameters.  The data TABLE file columns intended for this use have been assigned the value zero (0.)  Documents relative to the interpretation of the calibration data are provided.  An overview of the GCMS instrument is also provided.  These documents and any associated image files will be provided as ASCII (ASC) and Portable Network Graphics (PNG) files and may also be included in additional formats: e.g., DOC, PDF, HTML, GIF.  These documents are archived in the /DOCUMENT/ and the /EXTRAS/ folders.  Refer to Section 3.4.3.10 for a listing of archived documents and images.

### 2.7 Derived and other Data Products

The dataset user must refer to the Descent Trajectory Working Group and to the Huygens Atmospheric Structure Instrument data, elsewhere in the archive, to obtain the actual descent trajectory entry parameters.  Data related to the composition of the atmosphere was provided to the Descent Trajectory Working Group and these files are archived.

# Archive Format and Content

## 3.1 Format and Conventions

### 3.1.1 Deliveries and Archive Volume Format

The GCMS Team will deliver the data set(s) to the PSA and PDS archives by electronic methods or CD or DVD.  The data set will contain the relevent files for a specific test sequence or calibration activity and associated documents.  Each data set will contain a subset of the data products listed in Sections 2.4, Table 5.  Each data volume will be named according to the requirements of the PDS/PSA systems:  only capital letters, numbers and the underscore character.   A copy of all data including each CD or DVD will remain at NASA GSFC.  The name of the GCMS Data Set is:  “HUYGENS TITAN GAS CHROMATOGRAPH MASS SPEC 3 DESCENT V1.0.

### 3.1.2 Data Set ID Formation

The data set ID for GCMS will be:  “hp-ssa-gcms-3-fco/descent-v1.0”.  Refer to Appendix 3 and Table 5 and Table 8 for additional information about the content of the GCMS Data Set.

### 3.1.3 Data Directory Naming Convention

The directories below the root are /Catalog/, /Data/, /Document/, /Index/ and /Extras/.

The /Data/ directory consists of one volume, with subdirectories named by data content: refer to Table 8.   Each subdirectory will contain the GCMS data products for that data set.

Certain calibration data, in-flight, EM or Flight Spare data may not be available in all processing stages.

### 3.1.4 File Naming Convention

File Names will be composed  of only UPPER CASE letters, numbers, and the characters “.” and “_”.  File names for data products are constructed as follows:

<INSTRUMENT>_<DATATYPE>_<DESCRIPTOR>_<STAGE OF DATA PROCESSING>.<EXT>

The <INSTRUMENT> field will always be “GCMS”.  The <DATATYPE> field refers to the source of the data or the scan type plus the instrument’s operating mode and the field name will contain “#FA”,”#FS”, “#UA”, “#US”, “ALL”, “ALL_?”, “HK”, “HK_?”,  “MOLE_FRACTION”, “SWEEPS”, “SWEEPS_?”, “SWEEPS_ALL”, “TELEMETRY” or “TOTALS” where “#” refers to the Ion Source Number (1 – 5) and “?” refers to the data source telemetry channel (A or B).  For MS data sweep files, the <DESCRIPTOR> field will contain “B?” (1 – 3), “GC#” (1 – 3), “GRABEC”, “GRABGC?” (1 – 3), “L#” (1 – 4), “RG”, “RGEC”, “S?” (1 – 10), “X” or “Z” where “?” refers to a sample number and “#” refers to a GC-column or leak number.  For housekeeping data files, the <DESCRIPTOR> field will contain “ACK”, “HS”, “IDLE”, “MS”, “NACK”, “SOFTWARE”, “TYPE1” or “TYPE2”.  The (translation) details for the <DATATYPE> and <DESCRIPTOR> fields can be seen in the information in Table 5.  The <STAGE OF DATA PROCESSING> field refers to the level of data processing, as described in Table 2, and will be “STG1”, “STG2” or “STG3”.

## 3.2 Standards Used in Data Product Generation

### 3.2.1 PDS Standards

The PDS reference standards v3.6 will be used.

### 3.2.2 Time Standards

The Huygens Probe provides a timing signal to the instruments, referred to as the DDB pulse, every 2 seconds.  This DDB signal is set to 0 (zero) twice: when the probe is initially powered on and again when T0 is declared.  The mission later provided the teams with the UTC time of the T0 event (2005-01-14T09:10:20.760).  Elsewhere in the instrument’s housekeeping data is the information whether the probe operating phase is pre-T0 or post-T0.  Many of the data files contain a time identified as MET (Mission Elapsed Time).  The MET is related to the DDB time and is expressed in seconds.  The T0 event is assigned a ‘MET time’ of 86400 seconds so when you see a MET time less than this value it referrs to a pre-T0 time and times greater than this value refer to post-T0 times.

The GCMS instrument contains an independent clock that runs with a temporal resolution of 15.625 milliseconds and is synchronized with the DDB pulses.  We refer to this combined DDB plus GCMS clock value as the “Absolute Time”. Each GCMS housekeeping and science data packet contains information referencing the instrument “Absolute Time.”  This Absolute Time value is combined with the defined UTC at T0 time value to yield the UTC time of each GCMS science and housekeeping data packet.

Users will also find a time referenced as the “GCMS GMT Time” and will note that this time lags the “Absolute Time” from the GCMS Instrument.  The GCMS GMT Time is the time stamp from the probe data system’s acceptance of the data packet from the GCMS data buffer.  This time is added to the GCMS data packet, along with other probe generated data, to create the probe data packet for transmission to the orbiter.

### 3.2.3 Reference Systems

N/A

### 3.2.4 Other Applicable Standards

N/A

## 3.3 Data Validation

All data that is processed by the GCMS Team is reviewed before release to ensure that the content is complete and that no errors occurred in the processing of the data.  Data volumes produced for PSA/PDS will be verified before they are sent.  As mentioned above, there are multiple and independent processing software schemes available, and these have been used to process GCMS data to ensure that the processing is done correctly.  After the data is processed, it is analyzed from test specific and trend history perspectives, and reviewed by the GCMS PI and Team.  Only then will the data be released for public usage.

## 3.4 Content

### 3.4.1 Volume Set

The GCMS Team will deliver one data “volume”, electronically or on CD or DVD, containing the data.  All the data will also be archived at GSFC.

### 3.4.2 Data Set

See Appendix 3.

### 3.4.3 Directories

#### 3.4.3.1 Root Directory

The root directory will contain the following subdirectories (folders) and files:

/CATALOG/

/DATA/

/DOCUMENT/

/EXTRAS/

/INDEX/

AAREADME.TXT

ERRATA.TXT

VOLDESC.CAT

#### 3.4.3.2 Calibration Directory

N/A

#### 3.4.3.3 Catalog Directory

The catalog directory will contain the files:

DATASET.CAT

INSTRUMENT.CAT

INSTRUMENT_HOST.CAT

MISSION.CAT

PERSONNEL.CAT

REFERENCE.CAT

SOFTWARE.CAT

TARGET.CAT

#### 3.4.3.4 Index Directory

The index directory will contain the files:

INDEX.LBL

INDEX.TAB

INDEXINFO.TXT

#### 3.4.3.5 Browse Directory and Browse Files

N/A

#### 3.4.3.6  Geometry Directory

N/A

#### 3.4.3.7 Software Directory

N/A

#### 3.4.3.8 Gazetter Directory

N/A

#### 3.4.3.9 Label Directory

N/A

#### 3.4.3.10 Document Directory

All documents will be included as ASCII TEXT (*.ASC) files.  Additional formats, such as (DOC) MS Word, PDF (Acrobat) and (TXT) Text formats may be included.  All images will be included as Portable Network Graphics (PNG) files.  These images may also be included using other formats.

DOCinfo.txt

BLOCK_DIAGRAM.PNG		Simple diagram of GCMS components

DESC_FM_08F.ASC			File used to program GCMS sampling sequence

EAICD_GCMS.asc			This document

HUYGENS_GCMS.ASC		Space Science Reviews Article (2002)

HUYGENS_GCMS_SP1177.ASC	GCMS Article from ESA Special Publication 1177

HUYGENS_GCMS_NATURE.ASC	GCMS Results published in Nature (December 8, 2005)

WORKING_SEQUENCE.ASC	File used to develop GCMS sampling sequence

WORKING_TIMELINE.PNG		Graphic of GCMS operation timeline

/PRELAUNCH_CALIBRATION/

CALPRES.asc			See Table 4 for a description of this file’s content

CALPRES2.asc			See Table 4 for a description of this file’s content

CALPRES3.asc			See Table 4 for a description of this file’s content

CALPRNT2.asc			See Table 4 for a description of this file’s content

CALPRNTS.asc			See Table 4 for a description of this file’s content

#### 3.4.3.11 Extras Directory

EXTRASINFO.TXT

/ANIMATED_GIF/

GCMS_A2.GIF		Cartoon showing gas flows, valve and heater operations.

GCMS_P2.GIF		Cartoon showing gas flows, valve and heater operations.

/DATASET_RELATED/

DATA_PROCESSING.PDF			Details of data processing, Stage 0 to Stage 3 (and beyond.)

GCMS_OVERFLOW_EXAMPLE_STG1.PNG	Stage 1 example of identifying GCMS counter overflow

GCMS_OVERFLOW_EXAMPLE_STG2.PNG	Stage 2 example of identifying GCMS counter overflow

SAMPLE_TABLE_FILES_STG1.PNG		Stage 1 processing example of selected  data files

SAMPLE_TABLE_FILES_STG2.PNG		Stage 2 processing example of selected data files.

/DOCUMENTS/

EIDB_A1.PDF

EIDB_A2.PDF

FS_CRUISE_OPS.PDF

GCMS_FS_USER_MANUAL.PDF

/FLIGHT_CHECKOUT/

F01-CO2.PDF				In-flight Checkout 1

F02_CO1.PDF				In-flight Checkout 2

F03_CO2.PDF				In-flight Checkout 3

F04_CO1.PDF				In-flight Checkout 4

F05_CO2.PDF				In-flight Checkout 5

F06_CO1.PDF				In-flight Checkout 6

F07_CO2.PDF				In-flight Checkout 7

F08_CO1.PDF				In-flight Checkout 8

F09_CO2.PDF				In-flight Checkout 9

F10_CO1.PDF				In-flight Checkout 10

F11_CO2.PDF				In-flight Checkout 11

F12_CO1.PDF				In-flight Checkout 12

NO_PRE-HEATING.PDF			In-flight No pre-heating Checkout

PRE-HEATING.PDF				In-flight pre-heating Checkout

F13_CO1B.PDF				In-flight Checkout 13

F14_CO2.PDF				In-flight Checkout 14

F15_CO1B.PDF				In-flight Checkout 15

BATTERY_DEPASSIVATION_1.PDF		In-flight Battery DePassivation #1

F16_CO1B.PDF				In-flight Checkout 16

BATTERY_DEPASSIVATION_2.PDF		In-flight Battery DePassivation #2

DESCENT_AS_CO1.PDF			Atmospheric Entry (plotted as FCO1)

ENTRY_PLOT_DESCENT.PDF		Atmospheric Entry (plotted as DESCENT Mission)

#### 3.4.3.12 Data Directory

All file folders below this initial directory will be given a name related to their content as a way to group the data sets.  All of the data products for that data set will be located in the associated folder.  Refer to Table 8 for a listing of the GCMS Flight Data Product Folders.

Certain calibration data, in-flight, EM or Flight Spare data may not be available in all processing stages.

# 4. Detailed Interface Specifications

## 4.1  Sample Labels

## 4.1.1  Data Label – Stage 2 Processed Sweep Files

All Stage 2 processed GCMS Mass Sweep data files share the same file format.  Every file is n rows by 177 columns: where n indicates the number of MS scans in the file and each column represents one parameter.  Columns 1 – 3 indicate the starting time for each scan, each column using a differing time scale.  The parameters recorded in columns 4 – 10 will vary dependant on the data (ion) source: refer to Table 6.  Columns 13 – 154 contain the 142 measurements, converted to counts per second, acquired during each mass sweep.

This information applies to the files with names such as:  GCMS_1FS_STG2.TAB, GCMS_1FA_STG2.TAB, GCMS_#US[_X_Z]_STG2.TAB and GCMS_#UA[_X_Z]_STG2.TAB where # identifies the data (ion) source (1 to 5), F or U indicate a Fractional or Unit mass scan, S or A indicate a Standard (75) or Alternate (25) ionization energy scan and the [optional] X and Z parameters indicate scans other than 2 – 141 and  low power instrument operations mode respectively.  The label file for the data table GCMS_1US_STG2.TAB is presented as an example.  In the label file, we reference a format file containing the data table’s formatting details.  The format files utilize names structured as:  GCMS_#U_STG2.FMT and GCMS_1F_STG2.FMT.  The example included here is GCMS_1U_STG2.FMT.

The data in columns 4 – 10 is chosen for its relationship to the ion source that generated the data and is extracted from the instrument’s housekeeping data and an entry profile.  As a convenience to the dataset user, we had planned to integrate the information related to the descent profile (altitude, pressure and temperature) with our GCMS data.  At the time of the GCMS dataset release, these data are not available for public release.  We have chosen to retain these columns in the data table and set all values to zero (0.).    This table presents the column labels being used.  The data labels are fully defined in the format file associated with the individual ion source’s data table.

Table 6.  Identification of the Supplemental Data Added to the Archived Stage 2 & 3 Mass Sweeps Data Files for the Convenience of the User.

| ↓ | ← Column Label relationship to Ion Source → |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Column | IS1 | IS2 | IS3 | IS4 | IS5 |
| 4 | ATM_ALT | UNK1 | GC_TIME | GC_TIME | GC_TIME |
| 5 | ATM_PRSR | UNK2 | UNK2 | UNK2 | UNK2 |
| 6 | ATM_TMPR | UNK3 | UNK3 | UNK3 | UNK3 |
| 7 | INLETT | ACPT | GC1_TMPR | GC2_TMPR | GC3_TMPR |
| 8 | LINEP | ACPP | H2RESP | H2RESP | H2RESP |
| 9 | SHELLP | UN1 | H2COLP | H2COLP | H2COLP |
| 10 | EC1T | UN2 | H2TMPR | H2TMPR | H2TMPR |

A normal scan uses a mass resolution of 1 per step.  Periodically the scans using ion source 1 (IS1) are done at fractional resolution (0.125 per step).  The quadrupole mass filter used in this instrument uses 2 RF sources: a ‘high-frequency’ oscillator for masses less than 20 and a ‘low-frequency’ oscillator for those masses 20 and above.  When the oscillator’s frequency is set for each scan and when it is changed, one sample period is necessary before the circuitry stabilizes.  Thus the first sample of each scan and the first sample following a frequency change are not considered to be valid and mass stepping is momentarily halted permitting a valid measurement is obtained.

For all unit resolution full scan (mass range 2 – 141) files (GCMS_#U_*), columns 13 – 154 are labeled (in row 1) with X1, M2, M3, … M19, X20, M20, M21, … M141) where the label X# is used to indicate a column containing questionable/invalid data and M# indicates a column containing unit mass resolution data for mass ‘#’.

For the fractional resolution files (GCMS_1F_*), columns 13 – 154 are labeled (row 1) with X1, FR2, FR3, … FR141, FR142 where the label X# is used to indicate a column containing invalid data and FR# indicates a column containing fractional resolution data for integration period ‘#’.  The mass scan range for each sample (row) is obtained from columns 11 and 12.  The mass resolution (increment) is 0.125 per sample.  As noted, previously, care must be observed for the scan where mass 20 is sampled since the first sample at mass 20 is considered to be invalid and is repeated.

#### File GCMS_1US_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 2100

FILE_RECORDS                   = 1251

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_1US_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_1US_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "F11_GCMS_1US_STG2"

PRODUCT_NAME                   = "F11_GCMS_IS1_UNIT_STDIE_STG2"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "CRUISE"

/* FU_FCO2 */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2003-05-03T17:17:33.722

STOP_TIME                      = 2003-05-03T20:05:02.282

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument absolute times */

/*      or  */

/* when these data are not available */

/* the GCMS_GMT (telemetry packet) */

/* time is used. */

SPACECRAFT_CLOCK_START_COUNT   = 32355

SPACECRAFT_CLOCK_STOP_COUNT    = 8925985

/* (DDB + GCMS) clock time */

/* 1/64 second resolution. */

/* DDB clock is set to 0 at power on */

/* and reset to 0 at T0 (begin entry */

/* sequence). Post-T0 is indicated */

/* by adding 2^23 to the DDB clock value. */

NATIVE_START_TIME              = -1646.312

NATIVE_STOP_TIME               = 8396.516

/* Elapsed Time in seconds. */

/* a.k.a. Mission Elapsed Time (MET) */

/* Negative values indicate pre-T0 */

/*   No data is available immediately */

/*   prior to T0 so pre-T0 times may */

/*   be in error by 5-7 seconds. */

/* Positive values indicate post-T0 */

PRODUCT_CREATION_TIME          = 2006-06-16T12:47:43

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick-Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

/* DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU_FCO2"

/*   F11   */

/* FU = Flown Unit, EU = Engineering Unit */

/* FS = Flight Spare (Lab, Backup) Unit */

/* SU = Spare Unit (Lab, Backup) */

/* DESCENT indicates Entry Mission */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 1251

COLUMNS                     = 177

ROW_BYTES                   = 2100

DESCRIPTION                 = "Ion source 1 (MS) full scans (mass range: 2

- 141 (MS)) at unit resolution and 75 eV

ionization energy."

^STRUCTURE                  = "GCMS_1U_STG2.FMT"

END_OBJECT                     = TABLE

END

#### File GCMS_1U_STG2.FMT

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_GCMS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UTC Reference time or GCMS_GMT time for this

data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_TIME"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 25

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time. Value

set to zero at power on and at sequence

start (T0). 2^23 is added to the value to

indicate post T0 times. Each 'tic'

represents 1/64 second."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "ABS_SEC"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 36

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Time relative to spacecraft T0 event.

Negative times indicate pre-T0. (aka MET)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "ATM_ALT"

UNIT                    = "KILOMETERS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 46

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Ambient Altitude from the mission planning

model. Refer to the DTWG & HASI data sets

for the correct value."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "ATM_PRSR"

UNIT                    = "MILLIBARS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 56

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Ambient Pressure from the mission planning

model. Refer to the DTWG & HASI data sets

for the correct value."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "ATM_TMPR"

UNIT                    = "KELVIN"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 67

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Ambient Temperature from the mission

planning model. Refer to the DTWG & HASI

data sets for the correct value."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "INLETT"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 78

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "GCMS sample inlet line temperature from

instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "LINEP"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 87

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "GCMS sample inlet line pressure from

instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "SHELLP"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 95

BYTES                   = 8

FORMAT                  = "F8.4"

DESCRIPTION             = "GCMS shell pressure from instrument

housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "EC1T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 104

BYTES                   = 6

FORMAT                  = "F6.1"

DESCRIPTION             = "GCMS enrichment cell 1 temperature from

instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "START"

UNIT                    = "DALTONS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 111

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "MS scan start mass, typ. 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "END"

UNIT                    = "DALTONS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 119

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "MS scan end mass, typ. 141"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "X1"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 125

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Initial MS sample at Start mass noted in

column 11 (START).  ALWAYS INVALID!"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "SH2"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 137

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Repeat sample at Start mass noted in column

11: typ. mass 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "SH3"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 149

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "SH4"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 161

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "SH5"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 173

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "SH6"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 185

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "SH7"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 197

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 7"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "SH8"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 209

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 8"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "SH9"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 221

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 9"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "SH10"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 233

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 10"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "SH11"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 245

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 11"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "SH12"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 257

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 12"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "SH13"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 269

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 13"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "SH14"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 281

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 14"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "SH15"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 293

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 15"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "SH16"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 305

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 16"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "SH17"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 317

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 17"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "SH18"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 329

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 18"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "SH19"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 341

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 19"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "SH20"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 353

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 20

- The first measurement at mass 2 or 20 is

ALWAYS INVALID."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "SH21"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 365

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "If previous sample mass was 20, repeat the

measurement elxe sample at previous mass

plus 1: typ. mass 20"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "SH22"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 377

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 21"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "SH23"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 389

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 22"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "SH24"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 401

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 23"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "SH25"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 413

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 24"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "SH26"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 425

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 25"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "SH27"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 437

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 26"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 40

NAME                    = "SH28"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 449

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 27"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 41

NAME                    = "SH29"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 461

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 28"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 42

NAME                    = "SH30"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 473

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 29"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 43

NAME                    = "SH31"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 485

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 30"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 44

NAME                    = "SH32"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 497

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 31"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 45

NAME                    = "SH33"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 509

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 32"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 46

NAME                    = "SH34"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 521

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 33"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 47

NAME                    = "SH35"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 533

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 34"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 48

NAME                    = "SH36"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 545

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 35"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 49

NAME                    = "SH37"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 557

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 36"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 50

NAME                    = "SH38"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 569

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 37"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 51

NAME                    = "SH39"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 581

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 38"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 52

NAME                    = "SH40"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 593

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 39"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 53

NAME                    = "SH41"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 605

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 40"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 54

NAME                    = "SH42"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 617

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 41"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 55

NAME                    = "SH43"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 629

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 42"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 56

NAME                    = "SH44"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 641

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 43"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 57

NAME                    = "SH45"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 653

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 44"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 58

NAME                    = "SH46"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 665

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 45"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 59

NAME                    = "SH47"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 677

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 46"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 60

NAME                    = "SH48"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 689

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 47"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 61

NAME                    = "SH49"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 701

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 48"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 62

NAME                    = "SH50"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 713

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 49"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 63

NAME                    = "SH51"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 725

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 50"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 64

NAME                    = "SH52"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 737

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 51"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 65

NAME                    = "SH53"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 749

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 52"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 66

NAME                    = "SH54"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 761

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 53"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 67

NAME                    = "SH55"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 773

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 54"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 68

NAME                    = "SH56"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 785

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 55"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 69

NAME                    = "SH57"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 797

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 56"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 70

NAME                    = "SH58"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 809

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 57"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 71

NAME                    = "SH59"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 821

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 58"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 72

NAME                    = "SH60"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 833

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 59"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 73

NAME                    = "SH61"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 845

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 60"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 74

NAME                    = "SH62"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 857

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 61"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 75

NAME                    = "SH63"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 869

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 62"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 76

NAME                    = "SH64"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 881

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 63"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 77

NAME                    = "SH65"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 893

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 64"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 78

NAME                    = "SH66"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 905

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 65"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 79

NAME                    = "SH67"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 917

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 66"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 80

NAME                    = "SH68"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 929

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 67"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 81

NAME                    = "SH69"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 941

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 68"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 82

NAME                    = "SH70"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 953

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 69"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 83

NAME                    = "SH71"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 965

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 70"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 84

NAME                    = "SH72"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 977

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 71"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 85

NAME                    = "SH73"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 989

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 72"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 86

NAME                    = "SH74"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1001

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 73"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 87

NAME                    = "SH75"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1013

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 74"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 88

NAME                    = "SH76"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1025

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 75"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 89

NAME                    = "SH77"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1037

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 76"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 90

NAME                    = "SH78"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1049

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 77"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 91

NAME                    = "SH79"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1061

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 78"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 92

NAME                    = "SH80"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1073

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 79"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 93

NAME                    = "SH81"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1085

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 80"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 94

NAME                    = "SH82"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1097

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 81"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 95

NAME                    = "SH83"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1109

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 82"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 96

NAME                    = "SH84"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1121

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 83"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 97

NAME                    = "SH85"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1133

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 84"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 98

NAME                    = "SH86"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1145

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 85"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 99

NAME                    = "SH87"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1157

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 86"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 100

NAME                    = "SH88"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1169

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 87"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 101

NAME                    = "SH89"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1181

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 88"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 102

NAME                    = "SH90"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1193

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 89"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 103

NAME                    = "SH91"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1205

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 90"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 104

NAME                    = "SH92"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1217

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 91"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 105

NAME                    = "SH93"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1229

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 92"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 106

NAME                    = "SH94"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1241

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 93"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 107

NAME                    = "SH95"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1253

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 94"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 108

NAME                    = "SH96"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1265

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 95"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 109

NAME                    = "SH97"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1277

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 96"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 110

NAME                    = "SH98"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1289

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 97"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 111

NAME                    = "SH99"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1301

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 98"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 112

NAME                    = "SH100"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1313

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 99"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 113

NAME                    = "SH101"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1325

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 100"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 114

NAME                    = "SH102"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1337

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 101"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 115

NAME                    = "SH103"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1349

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 102"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 116

NAME                    = "SH104"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1361

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 103"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 117

NAME                    = "SH105"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1373

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 104"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 118

NAME                    = "SH106"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1385

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 105"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 119

NAME                    = "SH107"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1397

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 106"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 120

NAME                    = "SH108"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1409

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 107"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 121

NAME                    = "SH109"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1421

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 108"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 122

NAME                    = "SH110"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1433

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 109"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 123

NAME                    = "SH111"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1445

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 110"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 124

NAME                    = "SH112"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1457

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 111"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 125

NAME                    = "SH113"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1469

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 112"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 126

NAME                    = "SH114"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1481

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 113"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 127

NAME                    = "SH115"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1493

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 114"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 128

NAME                    = "SH116"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1505

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 115"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 129

NAME                    = "SH117"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1517

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 116"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 130

NAME                    = "SH118"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1529

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 117"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 131

NAME                    = "SH119"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1541

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 118"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 132

NAME                    = "SH120"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1553

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 119"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 133

NAME                    = "SH121"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1565

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 120"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 134

NAME                    = "SH122"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1577

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 121"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 135

NAME                    = "SH123"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1589

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 122"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 136

NAME                    = "SH124"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1601

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 123"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 137

NAME                    = "SH125"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1613

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 124"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 138

NAME                    = "SH126"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1625

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 125"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 139

NAME                    = "SH127"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1637

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 126"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 140

NAME                    = "SH128"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1649

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 127"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 141

NAME                    = "SH129"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1661

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 128"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 142

NAME                    = "SH130"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1673

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 129"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 143

NAME                    = "SH131"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1685

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 130"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 144

NAME                    = "SH132"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1697

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 131"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 145

NAME                    = "SH133"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1709

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 132"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 146

NAME                    = "SH134"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1721

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 133"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 147

NAME                    = "SH135"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1733

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 134"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 148

NAME                    = "SH136"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1745

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 135"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 149

NAME                    = "SH137"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1757

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 136"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 150

NAME                    = "SH138"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1769

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 137"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 151

NAME                    = "SH139"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1781

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 138"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 152

NAME                    = "SH140"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1793

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 139"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 153

NAME                    = "SH141"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1805

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass 140"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 154

NAME                    = "SH142"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1817

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Sample at previous mass plus 1: typ. mass

141. Last sample (END) as noted in column 12."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 155

NAME                    = "T1A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1829

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 1, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 156

NAME                    = "T1B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1841

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 1, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 157

NAME                    = "T1C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1853

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 1, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 158

NAME                    = "T2A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1865

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 2, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 159

NAME                    = "T2B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1877

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 2, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 160

NAME                    = "T2C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1889

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 2, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 161

NAME                    = "T3A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1901

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 3, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 162

NAME                    = "T3B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1913

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 3, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 163

NAME                    = "T3C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1925

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 3, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 164

NAME                    = "T4A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1937

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 4, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 165

NAME                    = "T4B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1949

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 4, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 166

NAME                    = "T4C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1961

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 4, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 167

NAME                    = "T5A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1973

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 5, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 168

NAME                    = "T5B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1985

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 5, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 169

NAME                    = "T5C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1997

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 5, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 170

NAME                    = "SEQ_CNTR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 2009

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "GCMS counter. Refer to the GCMS Software

User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 171

NAME                    = "GCMS_GMT"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 2020

BYTES                   = 13

FORMAT                  = "F13.3"

DESCRIPTION             = "Spacecraft Event Time (SCET) corresponding

with this data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 172

NAME                    = "GCMS_DATE"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 2034

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "SCET Date (2005-01-14)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 173

NAME                    = "GCMS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 2046

BYTES                   = 14

FORMAT                  = "A14"

DESCRIPTION             = "SCET Time (hh:mm:ss.000)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 174

NAME                    = "AB"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 2061

BYTES                   = 4

FORMAT                  = "A4"

DESCRIPTION             = "Telemetry stream for this data record.

Always B."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 175

NAME                    = "SUBSWP"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 2066

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "GCMS subsweep. Indicates instrument's

operating mode. Refer to GCMS Software

User's Manual for bit definitions."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 176

NAME                    = "SCN_CNT"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 2075

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "GCMS scan counter. Refer to the GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 177

NAME                    = "MET_TIME"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 2085

BYTES                   = 13

FORMAT                  = "F13.6"

DESCRIPTION             = "Mission Elapsed Time. 86400 is added to the

real time to indicate post-T0 data."

END_OBJECT                    = COLUMN

## 4.1.2  Data Label – Stage 1 Raw Data Sweep Files

One format has been used for all of the Stage 1 processed GCMS mass sweep data files.  Each file is n rows by 235 columns: where n indicates the number of MS scans in the file and each column represents one parameter.  The entries in columns 1 – 20 and 235 contain information extracted from the original “raw” data stream and converted to meaningful values.  Columns 1 – 3 indicate the starting time for a scan, using different time scales.  Columns 4 – 20 contain date, time and scan mode information extracted from this telemetry or the selected values extracted from the housekeeping telemetry relevant to the specific scan (row).  The values in columns 21 – 234 are the ‘raw’ values extracted from the original telemetry and converted from binary to their corresponding 8-bit numbers.

The label file for the data table GCMS_1US_STG1.TAB is presented below.  All of these data tables use the same format and the format file GCMS_ISALL_STG1.FMT is also included.

#### File GCMS_1US_STG1.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 1656

FILE_RECORDS                   = 2394

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_1US_STG1.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_1US_STG1.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "F12_GCMS_1US_STG1"

PRODUCT_NAME                   = "F12_GCMS_IS1_UNIT_STDIE_STG1"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "CRUISE"

/* FU_FCO1 */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2003-09-18T02:55:45.595

STOP_TIME                      = 2003-09-18T05:41:12.154

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument absolute times */

/*      or  */

/* when these data are not available */

/* the GCMS_GMT (telemetry packet) */

/* time is used. */

SPACECRAFT_CLOCK_START_COUNT   = 34941

SPACECRAFT_CLOCK_STOP_COUNT    = 8925889

/* (DDB + GCMS) clock time */

/* 1/64 second resolution. */

/* DDB clock is set to 0 at power on */

/* and reset to 0 at T0 (begin entry */

/* sequence). Post-T0 is indicated */

/* by adding 2^23 to the DDB clock value. */

NATIVE_START_TIME              = -1525.906

NATIVE_STOP_TIME               = 8395.016

/* Elapsed Time in seconds. */

/* a.k.a. Mission Elapsed Time (MET) */

/* Negative values indicate pre-T0 */

/*   No data is available immediately */

/*   prior to T0 so pre-T0 times may */

/*   be in error by 5-7 seconds. */

/* Positive values indicate post-T0 */

PRODUCT_CREATION_TIME          = 2006-06-15T16:53:22

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick-Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

/* DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU_FCO1"

/*   F12   */

/* FU = Flown Unit, EU = Engineering Unit */

/* FS = Flight Spare (Lab, Backup) Unit */

/* SU = Spare Unit (Lab, Backup) */

/* DESCENT indicates Entry Mission */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 2394

COLUMNS                     = 235

ROW_BYTES                   = 1656

DESCRIPTION                 = "Ion source 1 (MS) full scans (mass range: 2

- 141 (MS)) at unit resolution and 75 eV

ionization energy."

^STRUCTURE                  = "GCMS_ISALL_STG1.FMT"

END_OBJECT                     = TABLE

END

#### GCMS_ISALL_STG1.FMT

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_GCMS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UTC Reference time or GCMS_GMT time for this

data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_T"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 25

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time. Value

starts at zero at power on and is reset to

zero at sequence start (T0). 2^23 is added

to the value to indicate post T0 times. Each

'tic' represents 1/64 second."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "SCNDS"

UNIT                    = "SECONDS"

DATA_TYPE               = CHARACTER

START_BYTE              = 33

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "Time relative to spacecraft T0 event.

Negative times indicate pre-T0."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "GCMS_GMT"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 43

BYTES                   = 13

FORMAT                  = "F13.3"

DESCRIPTION             = "Spacecraft Event Time (SCET) corresponding

with this data record (calculated from

columns 21 - 28.)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "DATE"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 57

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "SCET Date (2005-01-14)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 69

BYTES                   = 14

FORMAT                  = "A14"

DESCRIPTION             = "SCET Time (hh:mm:ss.000)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "STREAM"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 84

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Telemetry stream for this data record. A or

B."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "SEQ_CNTR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 93

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "GCMS counter. Refer to the GCMS Software

User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "TYPE"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 104

BYTES                   = 6

FORMAT                  = "A6"

DESCRIPTION             = "Processing program index identifying data

stream type: swp, hk, idle, … (Refer to GCMS

Software User's Manual)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "SHELL_P"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 111

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "GCMS shell pressure from instrument

housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "INLET_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 121

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "GCMS sample inlet line temperature from

instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "H2COL_P"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 131

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "GCMS hydrogen column pressure from

instrument housekeeping"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "H2RES_P"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 141

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "GCMS hydrogen storage reservoir pressure

from instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "H2_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 151

BYTES                   = 6

FORMAT                  = "F6.2"

DESCRIPTION             = "GCMS hydrogen storage reservoir temperature

from instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "GC1_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 158

BYTES                   = 7

FORMAT                  = "F7.2"

DESCRIPTION             = "GC column 1 temperature from GCMS instrument

housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "GC2_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 166

BYTES                   = 7

FORMAT                  = "F7.2"

DESCRIPTION             = "GC column 2 temperature from GCMS instrument

housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "GC3_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 174

BYTES                   = 7

FORMAT                  = "F7.2"

DESCRIPTION             = "GC column 3 temperature from GCMS instrument

housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "EC1_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 182

BYTES                   = 7

FORMAT                  = "F7.2"

DESCRIPTION             = "GCMS enrichment cell 1 temperature from

instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "ACP_P"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 190

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "ACP sample transfer line pressure from GCMS

instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "ACP_T"

UNIT                    = "DEG. C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 198

BYTES                   = 7

FORMAT                  = "F7.2"

DESCRIPTION             = "ACP sample transfer line temperature from

GCMS instrument housekeeping."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "GMT_S"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 206

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (seconds), MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "GMT2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 214

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (seconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "GMT3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 221

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (seconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "GMT4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 228

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (seconds), LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "GMT_US"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 235

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (microseconds), MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "GMT5"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 244

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (microseconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "GMT6"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 251

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (microseconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "GMT7"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 258

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Huygens spacecraft event time (SCET) for

this record, (microseconds), LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "VALID1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 265

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Valid data byte: 0 if valid, refer to GCMS

Software User's Manual"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "VALID2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 274

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Valid data byte: 1 if valid, refer to GCMS

Software User's Manual"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "TYPE"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 283

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Data source for this measurement: typ. 16 *

(ion source number)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "SUBSWP"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 290

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Instrument operating mode indicator. Refer

to the GCMS Software User's Manual for

details."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "ABS_TIM2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 299

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time - byte 2."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "ABS_TIM3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 310

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time - byte 3."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "ABS_TIM1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 321

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time - byte 1."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "SCN_CNT"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 332

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "GCMS scan counter. Refer to the GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "START"

UNIT                    = "DALTONS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 342

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Sweep START mass for this scan."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "END"

UNIT                    = "DALTONS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 350

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sweep END mass for this scan."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "S1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 356

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 1. Raw count at (START) mass noted in

column 37. ALWAYS INVALID."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 40

NAME                    = "S2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 361

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 2. Repeat of sample 1 measurement at

START mass."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 41

NAME                    = "S3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 366

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 3. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 42

NAME                    = "S4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 371

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 4. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 43

NAME                    = "S5"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 376

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 5. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 44

NAME                    = "S6"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 381

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 6. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 45

NAME                    = "S7"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 386

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 7. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 46

NAME                    = "S8"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 391

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 8. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 47

NAME                    = "S9"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 396

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Sample 9. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 48

NAME                    = "S10"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 401

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 10. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 49

NAME                    = "S11"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 407

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 11. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 50

NAME                    = "S12"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 413

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 12. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 51

NAME                    = "S13"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 419

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 13. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 52

NAME                    = "S14"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 425

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 14. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 53

NAME                    = "S15"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 431

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 15. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 54

NAME                    = "S16"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 437

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 16. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 55

NAME                    = "S17"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 443

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 17. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 56

NAME                    = "S18"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 449

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 18. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 57

NAME                    = "S19"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 455

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 19. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 58

NAME                    = "S20"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 461

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 20. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 59

NAME                    = "S21"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 467

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 21. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 60

NAME                    = "S22"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 473

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 22. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 61

NAME                    = "S23"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 479

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 23. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 62

NAME                    = "S24"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 485

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 24. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 63

NAME                    = "S25"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 491

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 25. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 64

NAME                    = "S26"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 497

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 26. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 65

NAME                    = "S27"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 503

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 27. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 66

NAME                    = "S28"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 509

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 28. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 67

NAME                    = "S29"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 515

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 29. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 68

NAME                    = "S30"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 521

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 30. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 69

NAME                    = "S31"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 527

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 31. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 70

NAME                    = "S32"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 533

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 32. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 71

NAME                    = "S33"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 539

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 33. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 72

NAME                    = "S34"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 545

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 34. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 73

NAME                    = "S35"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 551

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 35. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 74

NAME                    = "S36"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 557

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 36. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 75

NAME                    = "S37"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 563

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 37. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 76

NAME                    = "S38"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 569

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 38. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 77

NAME                    = "S39"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 575

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 39. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 78

NAME                    = "S40"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 581

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 40. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 79

NAME                    = "S41"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 587

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 41. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 80

NAME                    = "S42"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 593

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 42. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 81

NAME                    = "S43"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 599

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 43. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 82

NAME                    = "S44"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 605

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 44. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 83

NAME                    = "S45"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 611

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 45. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 84

NAME                    = "S46"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 617

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 46. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 85

NAME                    = "S47"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 623

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 47. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 86

NAME                    = "S48"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 629

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 48. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 87

NAME                    = "S49"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 635

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 49. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 88

NAME                    = "S50"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 641

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 50. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 89

NAME                    = "S51"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 647

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 51. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 90

NAME                    = "S52"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 653

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 52. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 91

NAME                    = "S53"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 659

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 53. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 92

NAME                    = "S54"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 665

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 54. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 93

NAME                    = "S55"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 671

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 55. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 94

NAME                    = "S56"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 677

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 56. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 95

NAME                    = "S57"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 683

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 57. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 96

NAME                    = "S58"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 689

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 58. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 97

NAME                    = "S59"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 695

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 59. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 98

NAME                    = "S60"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 701

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 60. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 99

NAME                    = "S61"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 707

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 61. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 100

NAME                    = "S62"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 713

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 62. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 101

NAME                    = "S63"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 719

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 63. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 102

NAME                    = "S64"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 725

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 64. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 103

NAME                    = "S65"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 731

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 65. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 104

NAME                    = "S66"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 737

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 66. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 105

NAME                    = "S67"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 743

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 67. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 106

NAME                    = "S68"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 749

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 68. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 107

NAME                    = "S69"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 755

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 69. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 108

NAME                    = "S70"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 761

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 70. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 109

NAME                    = "S71"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 767

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 71. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 110

NAME                    = "S72"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 773

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 72. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 111

NAME                    = "S73"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 779

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 73. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 112

NAME                    = "S74"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 785

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 74. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 113

NAME                    = "S75"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 791

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 75. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 114

NAME                    = "S76"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 797

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 76. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 115

NAME                    = "S77"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 803

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 77. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 116

NAME                    = "S78"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 809

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 78. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 117

NAME                    = "S79"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 815

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 79. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 118

NAME                    = "S80"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 821

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 80. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 119

NAME                    = "S81"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 827

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 81. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 120

NAME                    = "S82"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 833

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 82. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 121

NAME                    = "S83"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 839

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 83. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 122

NAME                    = "S84"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 845

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 84. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 123

NAME                    = "S85"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 851

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 85. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 124

NAME                    = "S86"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 857

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 86. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 125

NAME                    = "S87"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 863

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 87. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 126

NAME                    = "S88"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 869

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 88. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 127

NAME                    = "S89"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 875

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 89. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 128

NAME                    = "S90"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 881

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 90. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 129

NAME                    = "S91"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 887

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 91. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 130

NAME                    = "S92"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 893

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 92. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 131

NAME                    = "S93"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 899

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 93. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 132

NAME                    = "S94"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 905

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 94. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 133

NAME                    = "S95"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 911

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 95. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 134

NAME                    = "S96"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 917

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 96. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 135

NAME                    = "S97"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 923

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 97. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 136

NAME                    = "S98"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 929

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 98. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 137

NAME                    = "S99"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 935

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Sample 99. Raw count at previous mass +1 (or

+.125). Refer to GCMS Software User's Manual

for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 138

NAME                    = "S100"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 941

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 100. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 139

NAME                    = "S101"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 948

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 101. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 140

NAME                    = "S102"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 955

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 102. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 141

NAME                    = "S103"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 962

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 103. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 142

NAME                    = "S104"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 969

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 104. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 143

NAME                    = "S105"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 976

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 105. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 144

NAME                    = "S106"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 983

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 106. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 145

NAME                    = "S107"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 990

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 107. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 146

NAME                    = "S108"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 997

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 108. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 147

NAME                    = "S109"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1004

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 109. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 148

NAME                    = "S110"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1011

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 110. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 149

NAME                    = "S111"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1018

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 111. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 150

NAME                    = "S112"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1025

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 112. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 151

NAME                    = "S113"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1032

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 113. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 152

NAME                    = "S114"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1039

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 114. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 153

NAME                    = "S115"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1046

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 115. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 154

NAME                    = "S116"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1053

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 116. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 155

NAME                    = "S117"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1060

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 117. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 156

NAME                    = "S118"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1067

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 118. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 157

NAME                    = "S119"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1074

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 119. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 158

NAME                    = "S120"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1081

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 120. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 159

NAME                    = "S121"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1088

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 121. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 160

NAME                    = "S122"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1095

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 122. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 161

NAME                    = "S123"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1102

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 123. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 162

NAME                    = "S124"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1109

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 124. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 163

NAME                    = "S125"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1116

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 125. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 164

NAME                    = "S126"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1123

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 126. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 165

NAME                    = "S127"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1130

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 127. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 166

NAME                    = "S128"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1137

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 128. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 167

NAME                    = "S129"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1144

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 129. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 168

NAME                    = "S130"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1151

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 130. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 169

NAME                    = "S131"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1158

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 131. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 170

NAME                    = "S132"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1165

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 132. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 171

NAME                    = "S133"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1172

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 133. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 172

NAME                    = "S134"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1179

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 134. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 173

NAME                    = "S135"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1186

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 135. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 174

NAME                    = "S136"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1193

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 136. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 175

NAME                    = "S137"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1200

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 137. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 176

NAME                    = "S138"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1207

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 138. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 177

NAME                    = "S139"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1214

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 139. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 178

NAME                    = "S140"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1221

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 140. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 179

NAME                    = "S141"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1228

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 141. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 180

NAME                    = "S142"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1235

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Sample 142. Raw count at previous mass +1

(or +.125). Refer to GCMS Software User's

Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 181

NAME                    = "T1A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1242

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 1, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 182

NAME                    = "T1B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1248

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 1, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 183

NAME                    = "T1C"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1254

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 1, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 184

NAME                    = "T2A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1260

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 2, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 185

NAME                    = "T2B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1266

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 2, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 186

NAME                    = "T2C"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1272

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 2, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 187

NAME                    = "T3A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1278

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 3, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 188

NAME                    = "T3B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1284

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 3, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 189

NAME                    = "T3C"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1290

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 3, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 190

NAME                    = "T4A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1296

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 4, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 191

NAME                    = "T4B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1302

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 4, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 192

NAME                    = "T4C"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1308

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 4, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 193

NAME                    = "T5A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1314

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 5, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 194

NAME                    = "T5B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1320

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 5, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 195

NAME                    = "T5C"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1326

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Total count, ion source 5, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 196

NAME                    = "SP1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1332

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 197

NAME                    = "SENS0A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1338

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 198

NAME                    = "SENS0B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1347

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 199

NAME                    = "SENS1A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1356

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 200

NAME                    = "SENS1B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1365

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 201

NAME                    = "SENS2A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1374

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 202

NAME                    = "SENS2B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1383

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 203

NAME                    = "SENS3A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1392

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 204

NAME                    = "SENS3B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1401

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 205

NAME                    = "SENS4A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1410

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 206

NAME                    = "SENS4B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1419

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 207

NAME                    = "SENS5A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1428

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 208

NAME                    = "SENS5B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1437

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 209

NAME                    = "SENS6A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1446

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 210

NAME                    = "SENS6B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1455

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 211

NAME                    = "SENS7A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1464

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 212

NAME                    = "SENS7B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1473

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 213

NAME                    = "SENS8A"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1482

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 214

NAME                    = "SENS8B"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1491

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Sample Sensitivity bits. Refer to GCMS

Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 215

NAME                    = "SENSTTL1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1500

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Sample Sensitivity bits for totals. Refer to

GCMS Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 216

NAME                    = "SENSTTL2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1511

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Sample Sensitivity bits for totals. Refer to

GCMS Software User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 217

NAME                    = "METS"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1522

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (seconds) MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 218

NAME                    = "MET2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1529

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (seconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 219

NAME                    = "MET3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1536

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (seconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 220

NAME                    = "MET4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1543

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (seconds) LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 221

NAME                    = "METUS"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1550

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Mission Elapsed Time (microseconds) MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 222

NAME                    = "MET6"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1558

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (microseconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 223

NAME                    = "MET7"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1565

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (microseconds)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 224

NAME                    = "MET8"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1572

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Mission Elapsed Time (microseconds) LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 225

NAME                    = "SEQCNTR1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1579

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "GCMS instrument sequence counter MSB. Refer

to GCMS Software User's Manual."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 226

NAME                    = "SEQCNTR2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1590

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "GCMS instrument sequence counter LSB. Refer

to GCMS Software User's Manual."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 227

NAME                    = "SP2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1601

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 228

NAME                    = "SP3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1607

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 229

NAME                    = "SP4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1613

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 230

NAME                    = "SP5"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1619

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 231

NAME                    = "SP6"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1625

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 232

NAME                    = "SP7"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1631

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 233

NAME                    = "SP8"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1637

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 234

NAME                    = "SP9"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1643

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Unused"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 235

NAME                    = "ID"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1649

BYTES                   = 4

FORMAT                  = "I4"

DESCRIPTION             = "Processing program index indicating data

type and stream."

END_OBJECT                    = COLUMN

## 4.1.3  Data Label – Total Ion Counts, Stage 2 Processing

Each scan by the GCMS includes 3 measurements for each ion source (for a total of 15 samples) that represent the total signal for all masses.  These totals have been extracted from the data stream, converted to counts/second and organized in this file.  The data table GCMS_TOTALS_STG2.TAB contains n rows by 24 columns where n represents the number of scans and the 24 columns contain the data.  The entries in columns 1 – 9 contain information extracted from the original “raw” data stream and converted to meaningful values.  Columns 1 – 3 indicate the starting time for a scan, using different time scales.  Columns 10 – 24 contain the total counts data converted to counts per second.

#### File GCMS_TOTALS_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 293

FILE_RECORDS                   = 6806

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_TOTALS_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_TOTALS_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "DESCENT_GCMS_TOTALS_STG2"

PRODUCT_NAME                   = "DESCENT_GCMS_ALL_SWEEP_TOTALS_STG2"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "DESCENT"

/* FU_DESCENT */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2005-01-14T09:10:58.572

STOP_TIME                      = 2005-01-14T12:47:47.884

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument's absolute times */

SPACECRAFT_CLOCK_START_COUNT   = 8391028

SPACECRAFT_CLOCK_STOP_COUNT    = 9223624

/* (DDB + GCMS) clock time */

/* 1/64 second resolution. */

/* DDB clock is set to 0 at power on */

/* and reset to 0 at T0 (begin entry */

/* sequence). Post-T0 is indicated */

/* by adding 2^23 to the DDB clock value. */

NATIVE_START_TIME              = 37.813

NATIVE_STOP_TIME               = 13047.130

/* Elapsed Time in seconds. */

/* a.k.a. Mission Elapsed Time (MET) */

/* Negative values indicate pre-T0 */

/*   No data is available immediately */

/*   prior to T0 so pre-T0 times may */

/*   be in error by 5-7 seconds. */

/* Positive values indicate post-T0 */

PRODUCT_CREATION_TIME          = 2006-06-15T14:14:40

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick-Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU_DESCENT"

/*   DESCENT   */

/* FU = Flown Unit, EU = Engineering Unit */

/* FS or SU = Spare (Lab, Backup) Unit */

/* DESCENT indicates Entry Condition */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 6806

COLUMNS                     = 24

ROW_BYTES                   = 293

DESCRIPTION                 = "Total counts monitored during mass sweeps

for each active ion sources."

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_ABS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UTC Reference time or GCMS_GMT time for this

data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_TIME"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 25

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time. Value

starts at zero at power on and is reset to

zero at sequence start (T0). 2^23 is added

to the value to indicate post T0 times. Each

'tic' represents 1/64 second."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "ABS_SEC"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 36

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Time relative to spacecraft T0 event.

Negative times indicate pre-T0."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "GCMS_GMT"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 46

BYTES                   = 12

FORMAT                  = "F12.3"

DESCRIPTION             = "Spacecraft Event Time (SCET) corresponding

with this data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "DATE"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 59

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "SCET Date (2005-01-14)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 71

BYTES                   = 14

FORMAT                  = "A14"

DESCRIPTION             = "SCET Time (hh:mm:ss.000)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "STREAM"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 86

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Indicates the telemetry stream (A or B) for

this scan.  ALWAYS B during descent."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "SEQ_CNTR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 95

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "GCMS counter. Refer to the GCMS Software

User's Manual for information."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "TYPE"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 106

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Identifies GCMS sweep conditions for each

sweep. Refer to the GCMS Software User's

Manual."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "T1A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 113

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 1, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "T1B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 125

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 1, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "T1C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 137

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 1, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "T2A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 149

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 2, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "T2B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 161

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 2, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "T2C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 173

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 2, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "T3A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 185

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 3, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "T3B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 197

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 3, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "T3C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 209

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 3, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "T4A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 221

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 4, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "T4B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 233

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 4, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "T4C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 245

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 4, sample 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "T5A"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 257

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 5, sample 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "T5B"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 269

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 5, sample 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "T5C"

UNIT                    = "COUNTS PER SECOND"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 281

BYTES                   = 11

FORMAT                  = "F11.1"

DESCRIPTION             = "Total ion count, ion source 5, sample 3"

END_OBJECT                    = COLUMN

END_OBJECT                     = TABLE

END

## 4.1.4  Data Label – Medium Speed Housekeeping Data, Stage 2

The GCMS instrument’s data system periodically updates and sends a “Medium Speed Housekeeping” data packet to the spacecraft’s telemetry system.  This data table, GCMS_HK_MS_STG2.TAB, consists of n rows by 39 columns.  Where relevant the values are converted to ‘real’ measurement units in this file.  Column 1 contains the time of the packet measurements in the standard ‘UTC format’.

#### File GCMS_HK_MS_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 397

FILE_RECORDS                   = 680

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_HK_MS_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_HK_MS_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "GCMS_HK_MS_STG2.TAB"

PRODUCT_NAME                   = "GCMS_HK_MS_STG2.TAB"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "DESCENT"

/* DESCENT */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2005-01-14T09:11:08.125

STOP_TIME                      = 2005-01-14T12:46:48.203

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument's absolute times */

SPACECRAFT_CLOCK_START_COUNT   = "N/A"

SPACECRAFT_CLOCK_STOP_COUNT    = "N/A"

NATIVE_START_TIME              = "N/A"

NATIVE_STOP_TIME               = "N/A"

PRODUCT_CREATION_TIME          = 2006-01-31T15:26:20

PRODUCER_ID                    ="GCMS_TEAM"

PRODUCER_FULL_NAME             = "ERIC RAAEN"

/* & Jaime Demick-Montelara */

/* & John Haberman */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

INSTRUMENT_MODE_ID             = "FU-DESCENT"

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 680

COLUMNS                     = 39

ROW_BYTES                   = 397

DESCRIPTION                 = "Medium Speed Stage 2 processed Housekeeping

extracted from the Data Stream"

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_STD"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_TIME"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 25

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "UTC_DATE"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 35

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "UTC_TIME"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 47

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "UTC_EPH_T"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 57

BYTES                   = 12

FORMAT                  = "F12.1"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "UTC_HOUR"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 70

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "UTC_MIN"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 80

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "UTC_SEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 89

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "UTC_MSEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 98

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "RECORD_SIZE"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 108

BYTES                   = 12

FORMAT                  = "I12"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "PKT_VALID"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 121

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "SEQCNT"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 132

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "TIME_SECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 140

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "TIME_USECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 152

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "BEST_SECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 164

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "BEST_MSEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 176

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "APID"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 187

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "DESC_STAT"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 193

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "ACTIVE_ICC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 204

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "ICC_IDX"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 216

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "SUB_SYS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 225

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "TYPE_HEADER"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 234

BYTES                   = 12

FORMAT                  = "I12"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "INDEX"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 247

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "IPMON6"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 254

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "IPMON5"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 262

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "IPMON2"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 270

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "IPMON1"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 278

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "IPMON3"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 286

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "IPMON4"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 294

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "BAMON"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 302

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "BAM_I"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 310

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "IPXLOSENS"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 318

BYTES                   = 10

FORMAT                  = "A10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "SQ_IPXHI"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 329

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "IPYLOSENS"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 339

BYTES                   = 10

FORMAT                  = "A10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "SQ_IPYHI"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 350

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "OVLPLO"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 360

BYTES                   = 7

FORMAT                  = "A7"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "SQ_OVLPHI"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 368

BYTES                   = 10

FORMAT                  = "F10.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "SPARE"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 379

BYTES                   = 8

FORMAT                  = "F8.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "OVLPIP"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 388

BYTES                   = 8

FORMAT                  = "F8.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

END_OBJECT                     = TABLE

END

## 4.1.5  Data Label – High Speed Housekeeping Data, Stage 2

The GCMS instrument’s data system periodically updates and sends a “High Speed Housekeeping” data packet to the spacecraft’s telemetry system.  This data table, GCMS_HK_HS_STG2.TAB, consists of n rows by 103 columns.  Where relevant the values are converted to ‘real’ measurement units in this file.  Column 1 contains the time of the packet measurements in the standard ‘UTC format’.

#### File GCMS_HK_HS_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 1129

FILE_RECORDS                   = 683

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_HK_HS_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_HK_HS_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "GCMS_HK_HS_STG2.TAB"

PRODUCT_NAME                   = "GCMS_HK_HS_STG2.TAB"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "DESCENT"

/* DESCENT */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2005-01-14T04:41:33.000

STOP_TIME                      = 2005-01-14T12:46:48.203

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument's absolute times */

SPACECRAFT_CLOCK_START_COUNT   = "N/A"

SPACECRAFT_CLOCK_STOP_COUNT    = "N/A"

NATIVE_START_TIME              = "N/A"

NATIVE_STOP_TIME               = "N/A"

PRODUCT_CREATION_TIME          = 2006-01-31T15:26:20

PRODUCER_ID                    ="GCMS_TEAM"

PRODUCER_FULL_NAME             = "ERIC RAAEN"

/* & Jaime Demick-Montelara */

/* & John Haberman */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

INSTRUMENT_MODE_ID             = "FU-DESCENT"

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 683

COLUMNS                     = 103

ROW_BYTES                   = 1129

DESCRIPTION                 = "High Speed Stage 2 processed Housekeeping

extracted from the Data Stream"

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_STD"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_TIME"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 25

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "UTC_DATE"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 35

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "UTC_TIME"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 47

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "UTC_EPH_T"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 57

BYTES                   = 12

FORMAT                  = "F12.1"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "BEST_SECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 70

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "BEST_MSEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 82

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "APID"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 93

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "INDEX"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 99

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "UTC_HOUR"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 106

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "UTC_MIN"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 116

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "UTC_SEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 125

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "UTC_MSEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 134

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "RECORD_SIZE"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 144

BYTES                   = 12

FORMAT                  = "I12"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "PKT_VALID"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 157

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "SEQCNT"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 168

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "TIME_SECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 176

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "TIME_USECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 188

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "BEST_SECS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 200

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "BEST_MSEC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 212

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "DESC_STAT"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 223

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "ACTIVE_ICC"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 234

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "ICC_IDX"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 246

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "SUB_SYS"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 255

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "TYPE_HEADER"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_INTEGER"

START_BYTE              = 264

BYTES                   = 12

FORMAT                  = "I12"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "NEGVL_1"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 277

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "POSVL_1"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 289

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "IMON1_1"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 300

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "IMON2_1"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 310

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "MULTANA1_1"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 320

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "MULT1_1A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 332

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "NEGVL_2"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 342

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "POSVL_2"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 354

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "IMON1_2"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 365

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "IMON2_2"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 375

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "MULTANA1_2"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 385

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "MULT1_2A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 397

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "MULTANA2_2"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 407

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "MULT2_2A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 419

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 40

NAME                    = "NEGVL_3"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 429

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 41

NAME                    = "POSVL_3"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 441

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 42

NAME                    = "IMON1_3"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 452

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 43

NAME                    = "IMON2_3"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 462

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 44

NAME                    = "MULTANA1_3"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 472

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 45

NAME                    = "MULT1_3A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 484

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 46

NAME                    = "MULTANA2_3"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 494

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 47

NAME                    = "MULT2_3A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 506

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 48

NAME                    = "NEGVL_4"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 516

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 49

NAME                    = "POSVL_4"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 528

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 50

NAME                    = "IMON1_4"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 539

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 51

NAME                    = "IMON2_4"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 549

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 52

NAME                    = "MULTANA1_4"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 559

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 53

NAME                    = "MULT1_4A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 571

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 54

NAME                    = "MULTANA2_4"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 581

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 55

NAME                    = "MULT2_4A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 593

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 56

NAME                    = "NEGVL_5"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 603

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 57

NAME                    = "POSVL_5"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 615

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 58

NAME                    = "IMON1_5"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 626

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 59

NAME                    = "IMON2_5"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 636

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 60

NAME                    = "MULTANA1_5"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 646

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 61

NAME                    = "MULT1_5A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 658

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 62

NAME                    = "MULTANA2_5"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 668

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 63

NAME                    = "MULT2_5A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 680

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 64

NAME                    = "NEGVL_6"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 690

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 65

NAME                    = "POSVL_6"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 702

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 66

NAME                    = "IMON1_6"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 713

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 67

NAME                    = "IMON2_6"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 723

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 68

NAME                    = "MULTANA1_6"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 733

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 69

NAME                    = "MULT1_6A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 745

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 70

NAME                    = "MULTANA2_6"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 755

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 71

NAME                    = "MULT2_6A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 767

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 72

NAME                    = "NEGVL_7"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 777

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 73

NAME                    = "POSVL_7"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 789

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 74

NAME                    = "IMON1_7"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 800

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 75

NAME                    = "IMON2_7"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 810

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 76

NAME                    = "MULTANA1_7"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 820

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 77

NAME                    = "MULT1_7A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 832

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 78

NAME                    = "MULTANA2_7"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 842

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 79

NAME                    = "MULT2_7A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 854

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 80

NAME                    = "NEGVL_8"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 864

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 81

NAME                    = "POSVL_8"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 876

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 82

NAME                    = "IMON1_8"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 887

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 83

NAME                    = "IMON2_8"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 897

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 84

NAME                    = "MULTANA1_8"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 907

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 85

NAME                    = "MULT1_8A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 919

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 86

NAME                    = "MULTANA2_8"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 929

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 87

NAME                    = "MULT2_8A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 941

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 88

NAME                    = "NEGVL_9"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 951

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 89

NAME                    = "POSVL_9"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 963

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 90

NAME                    = "IMON1_9"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 974

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 91

NAME                    = "IMON2_9"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 984

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 92

NAME                    = "MULTANA1_9"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 994

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 93

NAME                    = "MULT1_9A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1006

BYTES                   = 9

FORMAT                  = "F9.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 94

NAME                    = "MULTANA2_9"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1016

BYTES                   = 11

FORMAT                  = "F11.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 95

NAME                    = "MULT2_9A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1028

BYTES                   = 9

FORMAT                  = "F9.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 96

NAME                    = "NEGVL_10"

UNIT                    = "UNK"

DATA_TYPE               = "CHARACTER"

START_BYTE              = 1038

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 97

NAME                    = "POSVL_10"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1050

BYTES                   = 10

FORMAT                  = "F10.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 98

NAME                    = "IMON1_10"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1061

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 99

NAME                    = "IMON2_10"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1071

BYTES                   = 9

FORMAT                  = "F9.6"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 100

NAME                    = "MULTANA1_10"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1081

BYTES                   = 12

FORMAT                  = "F12.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 101

NAME                    = "MULT1_10A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1094

BYTES                   = 10

FORMAT                  = "F10.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 102

NAME                    = "MULTANA2_10"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1105

BYTES                   = 12

FORMAT                  = "F12.4"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 103

NAME                    = "MULT2_10A"

UNIT                    = "UNK"

DATA_TYPE               = "ASCII_REAL"

START_BYTE              = 1118

BYTES                   = 10

FORMAT                  = "F10.5"

DESCRIPTION             = "UNK"

END_OBJECT                    = COLUMN

END_OBJECT                     = TABLE

END

## 4.1.6  Data Label – Housekeeping Type 2 Data, Stage 2

The GCMS instrument’s data system periodically updates and sends, nominally every ~42 seconds, a “Housekeeping Type 2” data packet to the spacecraft’s telemetry system.  This data table, GCMS_HK_TYPE2_STG2.TAB, consists of n rows by 149 columns where columns 4 – 149 contain the data from the telemetry data packet.  Where relevant the values are converted to ‘real’ measurement units in this file.  Columns 1 – 3 contain the time of the packet measurements where each column expresses that time in a differing format.

#### File GCMS_HK_TYPE2_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 1407

FILE_RECORDS                   = 820

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_HK_TYPE2_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_HK_TYPE2_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "F13_GCMS_HK_TYPE2_STG2"

PRODUCT_NAME                   = "F13_GCMS_HK_TYPE2_STG2"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "CRUISE"

/* FU_FCO1B */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2004-03-20T19:26:02.125

STOP_TIME                      = 2004-03-20T22:20:02.433

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument absolute times */

/*      or  */

/* when these data are not available */

/* the GCMS_GMT (telemetry packet) */

/* time is used. */

SPACECRAFT_CLOCK_START_COUNT   = 0

SPACECRAFT_CLOCK_STOP_COUNT    = 8925646

/* (DDB + GCMS) clock time */

/* 1/64 second resolution. */

/* DDB clock is set to 0 at power on */

/* and reset to 0 at T0 (begin entry */

/* sequence). Post-T0 is indicated */

/* by adding 2^23 to the DDB clock value. */

NATIVE_START_TIME              = -2071.859

NATIVE_STOP_TIME               = 8391.219

/* Elapsed Time in seconds. */

/* a.k.a. Mission Elapsed Time (MET) */

/* Negative values indicate pre-T0 */

/*   No data is available immediately */

/*   prior to T0 so pre-T0 times may */

/*   be in error by 5-7 seconds. */

/* Positive values indicate post-T0 */

PRODUCT_CREATION_TIME          = 2006-06-15T16:23:03

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick-Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

/* DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU_FCO1B"

/*   F13   */

/* FU = Flown Unit, EU = Engineering Unit */

/* FS = Flight Spare (Lab, Backup) Unit */

/* SU = Spare Unit (Lab, Backup) */

/* DESCENT indicates Entry Mission */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 820

COLUMNS                     = 156

ROW_BYTES                   = 1407

DESCRIPTION                 = "GCMS housekeeping type 2 values extracted

from the data stream."

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_GCMS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UTC Reference time or GCMS_GMT time for this

data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_T"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 25

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time. Value

starts at zero at power on and is reset to

zero at sequence start (T0). 2^23 is added

to the value to indicate post T0 times. Each

'tic' represents 1/64 second."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "SCNDS"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 34

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Time relative to spacecraft T0 event.

Negative times indicate pre-T0."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "GCMS_GMT"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 45

BYTES                   = 12

FORMAT                  = "F12.3"

DESCRIPTION             = "Time stamp added when data packet is

processed by spacecraft"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "DATE"

UNIT                    = "DATE"

DATA_TYPE               = CHARACTER

START_BYTE              = 58

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "Data (yyyy-doy) part of GCMS_GMT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 70

BYTES                   = 14

FORMAT                  = "A14"

DESCRIPTION             = "Time (hh:mm:ss.000) part of GCMS_GMT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "STREAM"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 85

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Data Stream ID (A or B) extracted from

telemetry data"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "SEQ_CNTR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 94

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Sequence Counter Value extracted from

telemetry data"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "TYPE"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 105

BYTES                   = 6

FORMAT                  = "A6"

DESCRIPTION             = "Data Packet type (added by processing

software)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "GMT_S"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 112

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 0 - GCMS GMT Seconds MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "GMT2"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 120

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 1 - GCMS GMT Seconds - byte 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "GMT3"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 127

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 2 - GCMS GMT Seconds - byte 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "GMT4"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 134

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 3 - GCMS GMT Seconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "GMT_US"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 141

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 4 - GCMS GMT microseconds MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "GMT5"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 150

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 5 - GCMS GMT microseconds -

byte 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "GMT6"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 157

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 6 - GCMS GMT microseconds -

byte 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "GMT7"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 164

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 7 - GCMS GMT microseconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "VALID1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 171

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 008 - Packet Valid MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "VALID2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 180

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 009 - Packet Valid LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "INDEX"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 189

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 010 - Commutator Index"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "SP1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 197

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 011 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "LOCALTIM1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 203

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "Telemetry Byte 012 - Local Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "LOCALTIM2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 215

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "Telemetry Byte 013 - Local Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "ANODE1A"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 227

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "Telemetry Byte 014 - Anode 1 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "ANODE2A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 237

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 015 - Anode 2 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "EB4_2"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 247

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 016 - EB4_2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "EB4_1"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 255

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 017 - EB4_1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "FILI1A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 263

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 018 - Filament 1 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "FILI2A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 272

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 019 - Filament 2 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "EMIS2A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 281

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 020 - Filament 2 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "EMIS1A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 290

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 021 - Filament 1 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "BIAS_A"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 299

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 022 - BIAS_A"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "BIAS1"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 308

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 023 - BIAS1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "BIAS2"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 316

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 024 - BIAS2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "H2CYPPRS"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 324

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 025 - Hydrogen head pressure

at GC columns"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "BIASM3"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 335

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 026 - BIASM3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "FBSTRING"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 344

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 027 - BIASM2 (FB String

Voltage)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "SP2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 355

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 028 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "BIASM1"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 361

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 029 - BIASM1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 40

NAME                    = "ANODE3A"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 370

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "Telemetry Byte 030 - Anode 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 41

NAME                    = "ANODE4A"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 380

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "Telemetry Byte 031 - Anode 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 42

NAME                    = "EB4_4"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 390

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 032 - EB4_4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 43

NAME                    = "EB4_3"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 398

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 033 - EB4_3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 44

NAME                    = "FILI3A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 406

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 034 - Filament 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 45

NAME                    = "FILI4A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 415

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 035 - Filament 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 46

NAME                    = "EMIS4A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 424

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 036 - Filament 4 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 47

NAME                    = "EMIS3A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 433

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 037 - Filament 3 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 48

NAME                    = "BIAS_B"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 442

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 038 - BIAS_B"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 49

NAME                    = "BIAS3"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 451

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 039 - BIAS3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 50

NAME                    = "BIAS4"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 459

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 040 - BIAS4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 51

NAME                    = "H2RESPRS"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 467

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 041 - Hydrogen storage

reservoir pressure"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 52

NAME                    = "EMTEMP"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 478

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 042 - Electron Multiplier

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 53

NAME                    = "BIAST"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 487

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 043 - BIAST"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 54

NAME                    = "RFTMPR"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 496

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 044 - RF Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 55

NAME                    = "REFV"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 505

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 045 - Reference Voltage"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 56

NAME                    = "ANODE5A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 513

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 046 - Anode 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 57

NAME                    = "ANODE6A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 523

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 047 - Anode 6 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 58

NAME                    = "EB4_6"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 533

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 048 - EB4_6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 59

NAME                    = "EB4_5"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 541

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 049 - EB4_5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 60

NAME                    = "FILI5A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 549

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 050 - Filament 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 61

NAME                    = "BACURNT"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 558

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 051 - Filament 6 (BA Gauge)

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 62

NAME                    = "BAEMIS"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 568

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Telemetry Byte 052 - BA gauge emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 63

NAME                    = "EMIS5A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 577

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 053 - Filament 5 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 64

NAME                    = "BIAS_C"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 586

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 054 - BIAS_C"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 65

NAME                    = "BIAS5"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 595

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 055 - BIAS5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 66

NAME                    = "BIAS6"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 603

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 056 - BIAS6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 67

NAME                    = "SHELLP"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 611

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 057 - GCMS Instrument Shell

Pressure"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 68

NAME                    = "DDBT1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 620

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 058 - DDB Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 69

NAME                    = "DDBT2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 628

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 059 - DDB Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 70

NAME                    = "DDBA1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 636

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 060 - DDB Altitude MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 71

NAME                    = "DDBA2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 644

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 061 - DDB Altitude LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 72

NAME                    = "DECKT"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 652

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 062 - Instrument Deck

Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 73

NAME                    = "TRANST"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 661

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 063 - Transistor Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 74

NAME                    = "THERMP"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 670

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 064 - THERMP"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 75

NAME                    = "THREFP"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 679

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 065 - THREFP"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 76

NAME                    = "TIS3INT"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 688

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 066 - TIS3INT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 77

NAME                    = "TEMPH2"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 698

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 067 - Hydrogen reservoir

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 78

NAME                    = "TSMPL"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 707

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 068 - Tsample"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 79

NAME                    = "T_LVPS1"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 716

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 069 - T_LVPS1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 80

NAME                    = "T_LVPS2"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 726

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 070 - T_LVPS2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 81

NAME                    = "T_LVPS3"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 736

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 071 - T_LVPS3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 82

NAME                    = "POS13_MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 746

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 072 - Positive 13 volt monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 83

NAME                    = "5R_MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 758

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 073 - 5R_Mon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 84

NAME                    = "5REF"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 767

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 074 - 5Ref"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 85

NAME                    = "NEG5_7MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 775

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 075 - Negative 57 volt monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 86

NAME                    = "CALMON"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 787

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 076 - CALMON"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 87

NAME                    = "VH_INH"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 796

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 077 - Valves Inhibit (high =

inhibit)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 88

NAME                    = "T_GC1"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 805

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 078 - GC column 1 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 89

NAME                    = "T_EC1"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 814

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 079 - Enrichment cell

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 90

NAME                    = "T_EC2"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 823

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 080 - T_EC2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 91

NAME                    = "T_ACP"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 832

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 081 - ACP sample transfer

line tempreature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 92

NAME                    = "T_GC2"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 841

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 082 - GC column 2 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 93

NAME                    = "T_GC3"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 850

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 083 - GC column 3 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 94

NAME                    = "T_INLT"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 859

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 084 - Atmosphere sample inlet

line temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 95

NAME                    = "ACP_PRS1"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 868

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 085 - ACP sample transfer

line pressure monitor 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 96

NAME                    = "ACP_PRS2"

UNIT                    = "BARS"

DATA_TYPE               = CHARACTER

START_BYTE              = 879

BYTES                   = 10

FORMAT                  = "A10"

DESCRIPTION             = "Telemetry Byte 086 - ACP Pressure Monitor 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 97

NAME                    = "TEMP_FC"

UNIT                    = "DEGREE C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 890

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 087 - Flight Computer

Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 98

NAME                    = "5R_FC_MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 900

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 088 - 5R_FC_MON"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 99

NAME                    = "RF_MON"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 912

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 089 - RF Monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 100

NAME                    = "EM1HV"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 921

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 090 - Electron Multiplier 1

high voltage monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 101

NAME                    = "EM2HV"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 929

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 091 - Electron Multiplier 2

high voltage monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 102

NAME                    = "VLVWD1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 937

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 092 - Valve Status MSB -

(N/A, N/A, VL1, VD1, VAA, VS6, IVA, IV): Bit

assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 103

NAME                    = "VLVWD2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 946

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 093 - Valve Status byte 2

(VC3, VS3, VE, VS2, VS7, VD2, VL3, VS1): Bit

assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 104

NAME                    = "VLVWD3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 955

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 094 - Valve Status Byte 3

(VAB, VG3, VL2, VD4, VZ, VD3, VL4, VS5): Bit

assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 105

NAME                    = "VLVWD4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 964

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 095 - Valve Status LSB (VG,

N/A, VC1, VD6, VC2, VG1, VV, VG2): Bit

assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 106

NAME                    = "VLVSST1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 973

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 096 - Valve Status Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 107

NAME                    = "VLVSST2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 983

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 097 - Valve Status Word"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 108

NAME                    = "VLVSST3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 993

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 098 - Valve Status Word"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 109

NAME                    = "VLVSST4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1003

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 099 - Valve Status Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 110

NAME                    = "FILIPS"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1013

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 100 - Filament and Ion Pump

Status Word (IS1, IS2, IS3, IS4, IS5, BA,

IP1, IP2): Bit assignments indicated (MSB,

…, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 111

NAME                    = "HTRS"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1022

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 101 - Heater Status Word

(INLET, EC1, EC2, ACP, N/A, GC1, GC2, GC3):

Bit assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 112

NAME                    = "STATUS1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1029

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 102 - General Status Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 113

NAME                    = "STATUS2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1039

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 103 - General Status Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 114

NAME                    = "ERR_STAT1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1049

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "Telemetry Byte 104 - General Error Status

Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 115

NAME                    = "ERR_STAT2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1061

BYTES                   = 11

FORMAT                  = "I11"

DESCRIPTION             = "Telemetry Byte 105 - General Error Status

Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 116

NAME                    = "SUBMODE"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1073

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 106 - Latched Submode"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 117

NAME                    = "ABS_TIM1"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1083

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 107 - Absolute Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 118

NAME                    = "ABS_TIM2"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1094

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 108 - Absolute Time (mid byte)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 119

NAME                    = "ABS_TIM3"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1105

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 109 - Absolute Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 120

NAME                    = "BA_EMIS1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1116

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 110 - BA Filament Emission MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 121

NAME                    = "BA_EMIS2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1127

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 111 - BA Filament Emission LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 122

NAME                    = "RF_MON1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1138

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 112 - RF Frequency Monitor MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 123

NAME                    = "RF_MON2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1148

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 113 - RF Frequency Monitor LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 124

NAME                    = "U_SEQ1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1158

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 114 - Microsequencer Status

Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 125

NAME                    = "U_SEQ2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1167

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 115 - Microsequencer Status

Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 126

NAME                    = "SP3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1176

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 116 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 127

NAME                    = "SP4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1182

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 117 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 128

NAME                    = "U_SEQC1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1188

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 118 - Microsequencer Scan

Counter MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 129

NAME                    = "U_SEQC2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1198

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 119 - Microsequencer Scan

Counter LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 130

NAME                    = "SP5"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1208

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 120 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 131

NAME                    = "SP6"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1214

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 121 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 132

NAME                    = "MPHASE"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1220

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 122 - Mission Phase: 03=GCO,

F3=FCO, 00=Descent"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 133

NAME                    = "MPHASEL"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1229

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 123 - Latched Mission Phase:

F=Deactivate, C=Suspend"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 134

NAME                    = "ESW1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1239

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 124 - Experiment Status Word

MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 135

NAME                    = "ESW2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1246

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 125 - Experiment Status Word

LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 136

NAME                    = "SP7"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1253

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 126 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 137

NAME                    = "SP8"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1259

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 127 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 138

NAME                    = "MET_S"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1265

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 128 - GCMS MET Seconds MSB (

MET = Mission Elapsed Time)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 139

NAME                    = "MET2"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1273

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 129 - GCMS MET Seconds - byte

2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 140

NAME                    = "MET3"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1280

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 130 - GCMS MET Seconds - byte

3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 141

NAME                    = "MET4"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1287

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 131 - GCMS MET Seconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 142

NAME                    = "MET_US"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1294

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 132 - GCMS MET microSeconds

MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 143

NAME                    = "MET6"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1303

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 133 - GCMS MET microSeconds -

byte 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 144

NAME                    = "MET7"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1310

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 134 - GCMS MET microSeconds -

byte 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 145

NAME                    = "MET8"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1317

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 135 - GCMS MET microSeconds

LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 146

NAME                    = "SEQCNTR1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1324

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 136 - Packet Sequence Count

MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 147

NAME                    = "SEQCNTR2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1335

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 137 - Packet Sequence Count

LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 148

NAME                    = "SP9"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1346

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 138 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 149

NAME                    = "SP10"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1352

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 139 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 150

NAME                    = "SP11"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1359

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 140 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 151

NAME                    = "SP12"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1366

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 141 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 152

NAME                    = "SP13"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1373

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 142 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 153

NAME                    = "SP14"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1380

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 143 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 154

NAME                    = "SP15"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1387

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 144 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 155

NAME                    = "SP16"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1394

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 145 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 156

NAME                    = "HK2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1401

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Channel Tracking Index (added by

the processing software.)"

END_OBJECT                    = COLUMN

END_OBJECT                     = TABLE

END

## 4.1.7 Data Label – Idle Packet Housekeeping Data, Stage 2

The GCMS instrument’s data system updates and maintains a special high speed housekeeping data, referred to as an “idle packet” that it inserts into the data system each time the spacecraft checks for data and none of the instrument’s standard data packets (Type 1, Type 2, High Speed, Medium Speed, … data packets) are available.  This data table, GCMS_HK_IDLE_STG2.TAB, consists of n rows by 157 columns where columns 4 – 157 contain the data from the telemetry idle data packet.  Where relevant the values are converted to ‘real’ measurement units in this file.  Columns 1 – 3 contain the time of the idle packet measurements where each column expresses that time in a differing format.

#### File GCMS_HK_IDLE_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 1502

FILE_RECORDS                   = 29175

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_HK_IDLE_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_HK_IDLE_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "F14_GCMS_HK_IDLE_STG2"

PRODUCT_NAME                   = "F14_GCMS_HK_IDLE_STG2"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "CRUISE"

/* FU_FCO2 */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2004-07-14T15:44:42.222

STOP_TIME                      = 2004-07-14T18:40:14.529

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* Derived by combining the T0 and */

/* the instrument absolute times */

/*      or  */

/* when these data are not available */

/* the GCMS_GMT (telemetry packet) */

/* time is used. */

SPACECRAFT_CLOCK_START_COUNT   = 1159

SPACECRAFT_CLOCK_STOP_COUNT    = 8926239

/* (DDB + GCMS) clock time */

/* 1/64 second resolution. */

/* DDB clock is set to 0 at power on */

/* and reset to 0 at T0 (begin entry */

/* sequence). Post-T0 is indicated */

/* by adding 2^23 to the DDB clock value. */

NATIVE_START_TIME              = -2133.641

NATIVE_STOP_TIME               = 8400.484

/* Elapsed Time in seconds. */

/* a.k.a. Mission Elapsed Time (MET) */

/* Negative values indicate pre-T0 */

/*   No data is available immediately */

/*   prior to T0 so pre-T0 times may */

/*   be in error by 5-7 seconds. */

/* Positive values indicate post-T0 */

PRODUCT_CREATION_TIME          = 2006-06-15T16:05:54

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick-Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

/* DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU_FCO2"

/*   F14   */

/* FU = Flown Unit, EU = Engineering Unit */

/* FS = Flight Spare (Lab, Backup) Unit */

/* SU = Spare Unit (Lab, Backup) */

/* DESCENT indicates Entry Mission */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 29175

COLUMNS                     = 164

ROW_BYTES                   = 1502

DESCRIPTION                 = "GCMS idle packet housekeeping values

extracted from the data stream."

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_GCMS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UTC Reference time or GCMS_GMT time for this

data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_T"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 25

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "(Spacecraft DDB + GCMS clock) time. Value

starts at zero at power on and is reset to

zero at sequence start (T0). 2^23 is added

to the value to indicate post T0 times. Each

'tic' represents 1/64 second."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "SCNDS"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 34

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Time relative to spacecraft T0 event.

Negative times indicate pre-T0."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "GCMS_GMT"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 45

BYTES                   = 13

FORMAT                  = "F13.3"

DESCRIPTION             = "Time stamp added when data packet is

processed by spacecraft"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "DATE"

UNIT                    = "SECONDS"

DATA_TYPE               = CHARACTER

START_BYTE              = 59

BYTES                   = 11

FORMAT                  = "A11"

DESCRIPTION             = "Data (yyyy-doy) part of GCMS_GMT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "TIME"

UNIT                    = "DATE"

DATA_TYPE               = CHARACTER

START_BYTE              = 71

BYTES                   = 14

FORMAT                  = "A14"

DESCRIPTION             = "Time (hh:mm:ss.000) part of GCMS_GMT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "STREAM"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 86

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Data Stream ID (A or B) extracted from

telemetry data"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "SEQ_CNTR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 95

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Sequence Counter Value extracted from

telemetry data"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "TYPE"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 106

BYTES                   = 6

FORMAT                  = "A6"

DESCRIPTION             = "Data Packet type (added by processing

software)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "GMT_S"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 113

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 0 - GCMS GMT Seconds MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "GMT2"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 121

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 1 - GCMS GMT Seconds - byte 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "GMT3"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 128

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 2 - GCMS GMT Seconds - byte 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "GMT4"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 135

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 3 - GCMS GMT Seconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "GMT_US"

UNIT                    = "MICORSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 142

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 4 - GCMS GMT microseconds MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "GMT5"

UNIT                    = "MICORSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 151

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 5 - GCMS GMT microseconds -

byte 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "GMT6"

UNIT                    = "MICORSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 158

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 6 - GCMS GMT microseconds -

byte 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "GMT7"

UNIT                    = "MICORSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 165

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 7 - GCMS GMT microseconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "VALID1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 172

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 008 - Packet Valid MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "VALID2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 181

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 009 - Packet Valid LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "HDR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 190

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 010 - Idle Packet Header"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "SP1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 196

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 011 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "LNGTH1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 202

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 012 - Idle Packet Length MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "LNGTH2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 211

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 013 - Idle Packet Length LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "SP2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 220

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 014 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "ABS_TIM1"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 226

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 015 - Absolute Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "ABS_TIM2"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 237

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 016 - Absolute Time (mid byte)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "ABS_TIM3"

UNIT                    = "TIME"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 248

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 017 - Absolute Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "ANODE1A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 259

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 018 - Anode 1 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "ANODE2A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 269

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 019 - Anode 2 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "EB4_2"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 279

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 020 - EB4_2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "EB4_1"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 287

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 021 - EB4_1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "FILI1A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 295

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 022 - Filament 1 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "FILI2A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 304

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 023 - Filament 2 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "EMIS2A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 313

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 024 - Filament 2 Emission"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "EMIS1A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 322

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 025 - Filament 1 Emission"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "BIAS_A"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 331

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 026 - Bias_A"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "BIAS1"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 340

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 027 - Bias1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "BIAS2"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 348

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 028 - Bias2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "H2CYPPRS"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 356

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 029 - Hydrogen 'head

pressure' at GC columns"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 40

NAME                    = "BIASM3"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 367

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 030 - BiasM3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 41

NAME                    = "FBSTRING"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 376

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 031 - BiasM2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 42

NAME                    = "SP3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 387

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 032 - SpareMon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 43

NAME                    = "BIASM1"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 393

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 033 - BiasM1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 44

NAME                    = "ANODE3A"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 402

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "Telemetry Byte 034 - Anode 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 45

NAME                    = "ANODE4A"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 412

BYTES                   = 9

FORMAT                  = "A9"

DESCRIPTION             = "Telemetry Byte 035 - Anode 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 46

NAME                    = "EB4_4"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 422

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 036 - EB4_4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 47

NAME                    = "EB4_3"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 430

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 037 - EB4_3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 48

NAME                    = "FILI3A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 438

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 038 - Filament 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 49

NAME                    = "FILI4A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 447

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 039 - Filament 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 50

NAME                    = "EMIS4A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 456

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 040 - Emission 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 51

NAME                    = "EMIS3A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 465

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 041 - Emission 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 52

NAME                    = "BIAS_B"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 474

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 042 - Bias_B"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 53

NAME                    = "BIAS3"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 483

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 043 - Bias3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 54

NAME                    = "BIAS4"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 491

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 044 - Bias4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 55

NAME                    = "H2RESPRS"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 499

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 045 - Hydrogen Storage

Reservoir Pressure"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 56

NAME                    = "EMTEMP"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 510

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 046 - Electron Multiplier

Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 57

NAME                    = "BIAST"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 519

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 047 - BiasT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 58

NAME                    = "RFTMPR"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 528

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 048 - Temperature at RF

circuit"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 59

NAME                    = "REFV"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 537

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 049 - Reference Voltage"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 60

NAME                    = "ANODE5A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 545

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 050 - Anode 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 61

NAME                    = "ANODE6A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 555

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 051 - Anode 6 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 62

NAME                    = "EB4_6"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 565

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 052 - EB4_6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 63

NAME                    = "EB4_5"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 573

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 053 - EB4_5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 64

NAME                    = "FILI5A"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 581

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 054 - Filament 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 65

NAME                    = "BACURNT"

UNIT                    = "AMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 590

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 055 - BA Gauge current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 66

NAME                    = "BAEMIS"

UNIT                    = "MICROAMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 600

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Telemetry Byte 056 - BA gauge emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 67

NAME                    = "EMIS5A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 609

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 057 - Emission 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 68

NAME                    = "BIAS_C"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 618

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 058 - Bias_C"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 69

NAME                    = "BIAS5"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 627

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 059 - Bias_5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 70

NAME                    = "BIAS6"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 635

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 060 - Bias_6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 71

NAME                    = "SHELLP"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 643

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 061 - Shell Pressure"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 72

NAME                    = "UNUSED1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 652

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 062 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 73

NAME                    = "UNUSED2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 662

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 063 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 74

NAME                    = "UNUSED3"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 672

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 064 - Unused3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 75

NAME                    = "UNUSED4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 682

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 065 - Unused4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 76

NAME                    = "NEG_30VL"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 692

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 066 - Negative 30 voltage

monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 77

NAME                    = "POS_30VL"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 703

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 067 - Positive 30 voltage

monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 78

NAME                    = "PMP6SWL"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 714

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 068 - Ion Pump 6 monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 79

NAME                    = "PMP5IS5"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 724

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 069 - Ion Pump 5 monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 80

NAME                    = "PMP2IS4"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 734

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 070 - Ion Pump 2 monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 81

NAME                    = "PMP1IS3"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 744

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 071 - Ion Pump 1 monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 82

NAME                    = "PMP3IS1"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 754

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 072 - Ion Pump 3 monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 83

NAME                    = "PMP4IS2"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 764

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 073 - Ion Pump 4 monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 84

NAME                    = "BAMON"

UNIT                    = "N/A"

DATA_TYPE               = CHARACTER

START_BYTE              = 774

BYTES                   = 8

FORMAT                  = "A8"

DESCRIPTION             = "Telemetry Byte 074 - BA gauge monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 85

NAME                    = "DECKT"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 783

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 075 - Instrument deck

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 86

NAME                    = "TRANST"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 792

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 076 - TransT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 87

NAME                    = "THERMP"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 801

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 077 - ThermP"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 88

NAME                    = "THREFP"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 810

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 078 - ThrefP"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 89

NAME                    = "TIS3INT"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 819

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 079 - Tis3Int"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 90

NAME                    = "TEMPH2"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 829

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 080 - Hydrogen storage

reservoir temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 91

NAME                    = "TSMPL"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 838

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 081 - Tsample"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 92

NAME                    = "T_LVPS1"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 847

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 082 - T_LVPS1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 93

NAME                    = "T_LVPS2"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 857

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 083 - T_LVPS2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 94

NAME                    = "T_LVPS3"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 867

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 084 - T_LVPS3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 95

NAME                    = "POS13_MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 877

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 085 - Positive 13 voltage

monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 96

NAME                    = "5R_MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 889

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 086 - 5R_Mon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 97

NAME                    = "5REF"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 898

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 087 - 5Ref"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 98

NAME                    = "NEG5_7MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 906

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 088 - Negative 57 volt monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 99

NAME                    = "CALMON"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 918

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 089 - CalMon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 100

NAME                    = "VH_INH"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 927

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 090 - Valves inhibit (if

voltage is high)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 101

NAME                    = "T_GC1"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 936

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 091 - GC column 1 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 102

NAME                    = "T_EC1"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 945

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 092 - Enrichment Cell

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 103

NAME                    = "T_EC2"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 954

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 093 - T_EC2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 104

NAME                    = "T_ACP"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 963

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 094 - ACP sample transfer

line temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 105

NAME                    = "T_GC2"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 972

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 095 - GC column 2 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 106

NAME                    = "T_GC3"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 981

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 096 - GC column 3 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 107

NAME                    = "T_INLT"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 990

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 097 - Sample Inlet Line

Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 108

NAME                    = "ACP_PRS1"

UNIT                    = "BARS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 999

BYTES                   = 10

FORMAT                  = "F10.3"

DESCRIPTION             = "Telemetry Byte 098 - ACP sample transfer

line pressure gauge 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 109

NAME                    = "ACP_PRS2"

UNIT                    = "BARS"

DATA_TYPE               = CHARACTER

START_BYTE              = 1010

BYTES                   = 10

FORMAT                  = "A10"

DESCRIPTION             = "Telemetry Byte 099 - ACP sample transfer

line pressure gauge 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 110

NAME                    = "TEMP_FC"

UNIT                    = "DEG C"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1021

BYTES                   = 9

FORMAT                  = "F9.3"

DESCRIPTION             = "Telemetry Byte 100 - Flight Computer

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 111

NAME                    = "IMON1"

UNIT                    = "AMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 1031

BYTES                   = 7

FORMAT                  = "A7"

DESCRIPTION             = "Telemetry Byte 101 - IMON1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 112

NAME                    = "IMON2"

UNIT                    = "AMP"

DATA_TYPE               = CHARACTER

START_BYTE              = 1039

BYTES                   = 7

FORMAT                  = "A7"

DESCRIPTION             = "Telemetry Byte 102 - IMON2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 113

NAME                    = "MULTANA1A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1047

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 103 - Multana1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 114

NAME                    = "MULTANA2A"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1059

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 104 - Multana2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 115

NAME                    = "5R_FC_MON"

UNIT                    = "VOLT"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1071

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 105 - 5R_FC_Mon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 116

NAME                    = "RF_MON"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1083

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 106 - RF_Mon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 117

NAME                    = "EM1HV"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1092

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 107 - EM1_Mon (Multiplier 1

high voltage)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 118

NAME                    = "EM2HV"

UNIT                    = "MICROAMP"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1100

BYTES                   = 7

FORMAT                  = "F7.3"

DESCRIPTION             = "Telemetry Byte 108 - EM2_Mon (Multiplier 2

high voltage)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 119

NAME                    = "SP4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1108

BYTES                   = 8

FORMAT                  = "F8.3"

DESCRIPTION             = "Telemetry Byte 109 - ?"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 120

NAME                    = "PRSR1_103"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1117

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 110 - Pres1_103"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 121

NAME                    = "PRSR2_119"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1129

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 111 - Pres2_119"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 122

NAME                    = "FILSTAT"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1141

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 112 - Filaments Status (IS1,

IS2, IS3, IS4,IS5, BA, IP1, IP2): Bit

assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 123

NAME                    = "HTRSTAT"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1151

BYTES                   = 9

FORMAT                  = "I9"

DESCRIPTION             = "Telemetry Byte 113 - Heaters Status (INLET,

EC1, EC2, ACP, N/A, GC1, GC2, GC3): Bit

assignments indicated (MSB, …, LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 124

NAME                    = "LATCHSM1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1161

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 114 - LATSUBM (Latched

Submodes MSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 125

NAME                    = "LATCHSM2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1172

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 115 - LATSUBM (Latched

Submodes LSB)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 126

NAME                    = "ESW1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1183

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 116 - ESW MSB (Experiment

Status Word)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 127

NAME                    = "ESW2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1190

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 117 - ESW LSB (Experiment

Status Word)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 128

NAME                    = "COMINDX1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1197

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 118 - Index MSB (Commutator

Index)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 129

NAME                    = "COMINDX2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1208

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 119 - Index LSB (Commutator

Index)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 130

NAME                    = "DAC07"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1219

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 120 - DAC07"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 131

NAME                    = "DAC08"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1227

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 121 - DAC08"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 132

NAME                    = "DAC15"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1235

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 122 - DAC15"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 133

NAME                    = "DAC16"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1243

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 123 - DAC16"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 134

NAME                    = "EM1DAC"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1251

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 124 - DAC17 (EM1DAC)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 135

NAME                    = "EM2DAC"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1260

BYTES                   = 8

FORMAT                  = "I8"

DESCRIPTION             = "Telemetry Byte 125 - DAC18 (EM2DAC)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 136

NAME                    = "DAC19"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1269

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 126 - DAC19"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 137

NAME                    = "DAC20"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1277

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 127 - DAC20"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 138

NAME                    = "DAC21"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1285

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 128 - DAC21"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 139

NAME                    = "DAC22"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1293

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 129 - DAC22"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 140

NAME                    = "DAC23"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1301

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 130 - DAC23"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 141

NAME                    = "DAC24"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1309

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 131 - DAC24"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 142

NAME                    = "TGC1_10-2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1317

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 132 - TGC1_10 (10-bit GC1

Temperature)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 143

NAME                    = "TGC1_10-2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1329

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 133 - TGC1_10 (10-bit GC1

Temperature)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 144

NAME                    = "TGC2_10-1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1341

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 134 - TGC2 _10(10-bit GC2

Temperature)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 145

NAME                    = "TGC2_10-2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 1353

BYTES                   = 11

FORMAT                  = "F11.3"

DESCRIPTION             = "Telemetry Byte 135 - TGC2 _10(10-bit GC2

Temperature)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 146

NAME                    = "METS"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1365

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 136 - GCMS MET Seconds MSB

(MET is Mission Elapsed Time)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 147

NAME                    = "MET2"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1372

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 137 - GCMS MET Seconds - byte

2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 148

NAME                    = "MET3"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1379

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 138 - GCMS MET Seconds - byte

3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 149

NAME                    = "MET4"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1386

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 139 - GCMS MET Seconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 150

NAME                    = "METUS"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1393

BYTES                   = 7

FORMAT                  = "I7"

DESCRIPTION             = "Telemetry Byte 140 - GCMS MET microSeconds

MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 151

NAME                    = "MET6"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1401

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 141 - GCMS MET microSeconds -

byte 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 152

NAME                    = "MET7"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1408

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 142 - GCMS MET microSeconds -

byte 3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 153

NAME                    = "MET8"

UNIT                    = "MICROSECONDS"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1415

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 143 - GCMS MET microSeconds

LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 154

NAME                    = "SEQCNTR1"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1422

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 144 - Sequence Counter MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 155

NAME                    = "SEQCNTR2"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1433

BYTES                   = 10

FORMAT                  = "I10"

DESCRIPTION             = "Telemetry Byte 145 - Sequence Counter LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 156

NAME                    = "SP5"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1444

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 146 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 157

NAME                    = "SP6"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1450

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 147 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 158

NAME                    = "SP7"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1456

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 148 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 159

NAME                    = "SP8"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1462

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 149 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 160

NAME                    = "SP9"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1468

BYTES                   = 5

FORMAT                  = "I5"

DESCRIPTION             = "Telemetry Byte 150 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 161

NAME                    = "SP10"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1474

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 151 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 162

NAME                    = "SP11"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1481

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 152 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 163

NAME                    = "SP12"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1488

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 153 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 164

NAME                    = "LDLE"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1495

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Idle Packet Flag added by processing software"

END_OBJECT                    = COLUMN

END_OBJECT                     = TABLE

END

## 4.1.8 Data Label – Raw Telemetry File

Each time the GCMS instrument is used with flight electronics a data file named o###sg__.1h_is created, where ### indicates a 3-digit number.  The file available to us contains data relevant only to our (GCMS) instrument.  The original files are in ‘binary’ (spacecraft telemetry) format using 138 (8-bit) byte records.  The GCMS instrument’s housekeeping and data records are of differing sizes and frequently span multiple spacecraft data records.  This telemetry file has been converted to a comma delimited ASCII text file and renamed GCMS_TELEMETRY_STG1.CSV.  The time recorded in telemetry bytes 1 – 6 has been converted to UTC format and added as column 1.  The file is 139 columns by n rows.  Row 1 contains the column labels (B0, B1, B2,…) where the numerical part of the label refers to the byte offset value within the data record for each of the 8-bit data bytes.  With the information available from the Huygens Mission Interface Control Documentation and the GCMS Instrument Software User’s Manual the user can use this file and reprocess the data as desired.

#### File:  GCMS_TELEMETRY_STG1.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = STREAM

RECORD_BYTES                   = 863

/* Longest Record in the File */

FILE_RECORDS                   = 33350

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^SPREADSHEET                   = ("GCMS_TELEMETRY_STG1.CSV",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_TELEMETRY_STG1.CSV"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "F15_GCMS_TELEMETRY_STG1"

PRODUCT_NAME                   = "F15_GCMS_TELEMETRY_STG1"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "CRUISE"

/* FU-FCO */

PRODUCT_TYPE                   = EDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2004-09-14T10:55:54.546

STOP_TIME                      = 2004-09-14T13:50:07.752

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* These values are obtained from the */

/* first six data bytes in this file. */

/* These are the time values associated */

/* with the raw telemetry data packets. */

SPACECRAFT_CLOCK_START_COUNT   = "N/A"

SPACECRAFT_CLOCK_STOP_COUNT    = "N/A"

NATIVE_START_TIME              = "N/A"

NATIVE_STOP_TIME               = "N/A"

PRODUCT_CREATION_TIME          = 2006-06-15T15:09:33

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU-FCO"

/* F15 */

/* FU-FCO */

/* FU = Flown Unit, EU = Enigneering Unit */

/* FS or SU = Spare (Lab, Backup) Unit */

/* DESCENT indicates Entry Mission */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = SPREADSHEET

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 33350

ROW_BYTES                   = 991

/* Size of LONGEST possible row. */

FIELDS                      = 139

FIELD_DELIMITER             = "COMMA"

DESCRIPTION                 = "This file contains the raw telemetry data as

delivered to us and before being processed.

This data has been converted from binary to

8-bit ASCII TEXT values. The telemetry and

GCMS data packet sizes are NOT the same. The

time stamp on the telemetry packets is not

the same as the time stamp on the GCMS data

packets."

OBJECT                        = FIELD

NAME                    = "UTC"

FIELD_NUMBER            = 1

UNIT                    = "N/A"

DATA_TYPE               = TIME

BYTES                   = 23

DESCRIPTION             = "Telemetry Packet's UTC Time Stamp calculated

from bytes 1 - 6. Refer to data system

documentation for details."

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B0"

FIELD_NUMBER            = 2

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 1"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B1"

FIELD_NUMBER            = 3

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 2"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B2"

FIELD_NUMBER            = 4

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 3"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B3"

FIELD_NUMBER            = 5

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 4"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B4"

FIELD_NUMBER            = 6

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 5"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B5"

FIELD_NUMBER            = 7

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 6"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B6"

FIELD_NUMBER            = 8

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 7"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B7"

FIELD_NUMBER            = 9

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 8"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B8"

FIELD_NUMBER            = 10

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 9"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B9"

FIELD_NUMBER            = 11

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 10"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B10"

FIELD_NUMBER            = 12

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 11"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B11"

FIELD_NUMBER            = 13

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 12"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B12"

FIELD_NUMBER            = 14

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 13"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B13"

FIELD_NUMBER            = 15

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 14"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B14"

FIELD_NUMBER            = 16

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 15"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B15"

FIELD_NUMBER            = 17

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 16"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B16"

FIELD_NUMBER            = 18

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 17"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B17"

FIELD_NUMBER            = 19

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 18"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B18"

FIELD_NUMBER            = 20

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 19"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B19"

FIELD_NUMBER            = 21

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 20"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B20"

FIELD_NUMBER            = 22

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 21"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B21"

FIELD_NUMBER            = 23

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 22"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B22"

FIELD_NUMBER            = 24

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 23"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B23"

FIELD_NUMBER            = 25

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 24"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B24"

FIELD_NUMBER            = 26

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 25"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B25"

FIELD_NUMBER            = 27

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 26"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B26"

FIELD_NUMBER            = 28

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 27"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B27"

FIELD_NUMBER            = 29

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 28"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B28"

FIELD_NUMBER            = 30

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 29"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B29"

FIELD_NUMBER            = 31

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 30"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B30"

FIELD_NUMBER            = 32

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 31"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B31"

FIELD_NUMBER            = 33

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 32"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B32"

FIELD_NUMBER            = 34

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 33"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B33"

FIELD_NUMBER            = 35

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 34"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B34"

FIELD_NUMBER            = 36

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 35"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B35"

FIELD_NUMBER            = 37

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 36"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B36"

FIELD_NUMBER            = 38

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 37"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B37"

FIELD_NUMBER            = 39

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 38"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B38"

FIELD_NUMBER            = 40

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 39"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B39"

FIELD_NUMBER            = 41

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 40"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B40"

FIELD_NUMBER            = 42

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 41"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B41"

FIELD_NUMBER            = 43

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 42"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B42"

FIELD_NUMBER            = 44

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 43"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B43"

FIELD_NUMBER            = 45

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 44"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B44"

FIELD_NUMBER            = 46

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 45"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B45"

FIELD_NUMBER            = 47

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 46"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B46"

FIELD_NUMBER            = 48

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 47"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B47"

FIELD_NUMBER            = 49

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 48"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B48"

FIELD_NUMBER            = 50

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 49"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B49"

FIELD_NUMBER            = 51

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 50"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B50"

FIELD_NUMBER            = 52

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 51"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B51"

FIELD_NUMBER            = 53

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 52"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B52"

FIELD_NUMBER            = 54

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 53"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B53"

FIELD_NUMBER            = 55

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 54"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B54"

FIELD_NUMBER            = 56

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 55"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B55"

FIELD_NUMBER            = 57

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 56"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B56"

FIELD_NUMBER            = 58

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 57"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B57"

FIELD_NUMBER            = 59

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 58"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B58"

FIELD_NUMBER            = 60

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 59"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B59"

FIELD_NUMBER            = 61

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 60"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B60"

FIELD_NUMBER            = 62

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 61"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B61"

FIELD_NUMBER            = 63

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 62"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B62"

FIELD_NUMBER            = 64

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 63"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B63"

FIELD_NUMBER            = 65

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 64"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B64"

FIELD_NUMBER            = 66

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 65"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B65"

FIELD_NUMBER            = 67

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 66"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B66"

FIELD_NUMBER            = 68

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 67"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B67"

FIELD_NUMBER            = 69

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 68"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B68"

FIELD_NUMBER            = 70

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 69"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B69"

FIELD_NUMBER            = 71

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 70"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B70"

FIELD_NUMBER            = 72

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 71"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B71"

FIELD_NUMBER            = 73

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 72"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B72"

FIELD_NUMBER            = 74

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 73"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B73"

FIELD_NUMBER            = 75

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 74"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B74"

FIELD_NUMBER            = 76

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 75"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B75"

FIELD_NUMBER            = 77

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 76"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B76"

FIELD_NUMBER            = 78

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 77"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B77"

FIELD_NUMBER            = 79

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 78"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B78"

FIELD_NUMBER            = 80

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 79"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B79"

FIELD_NUMBER            = 81

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 80"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B80"

FIELD_NUMBER            = 82

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 81"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B81"

FIELD_NUMBER            = 83

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 82"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B82"

FIELD_NUMBER            = 84

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 83"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B83"

FIELD_NUMBER            = 85

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 84"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B84"

FIELD_NUMBER            = 86

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 85"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B85"

FIELD_NUMBER            = 87

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 86"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B86"

FIELD_NUMBER            = 88

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 87"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B87"

FIELD_NUMBER            = 89

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 88"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B88"

FIELD_NUMBER            = 90

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 89"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B89"

FIELD_NUMBER            = 91

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 90"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B90"

FIELD_NUMBER            = 92

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 91"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B91"

FIELD_NUMBER            = 93

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 92"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B92"

FIELD_NUMBER            = 94

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 93"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B93"

FIELD_NUMBER            = 95

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 94"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B94"

FIELD_NUMBER            = 96

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 95"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B95"

FIELD_NUMBER            = 97

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 96"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B96"

FIELD_NUMBER            = 98

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 97"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B97"

FIELD_NUMBER            = 99

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 98"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B98"

FIELD_NUMBER            = 100

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 99"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B99"

FIELD_NUMBER            = 101

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 100"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B100"

FIELD_NUMBER            = 102

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 101"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B101"

FIELD_NUMBER            = 103

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 102"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B102"

FIELD_NUMBER            = 104

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 103"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B103"

FIELD_NUMBER            = 105

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 104"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B104"

FIELD_NUMBER            = 106

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 105"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B105"

FIELD_NUMBER            = 107

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 106"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B106"

FIELD_NUMBER            = 108

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 107"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B107"

FIELD_NUMBER            = 109

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 108"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B108"

FIELD_NUMBER            = 110

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 109"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B109"

FIELD_NUMBER            = 111

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 110"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B110"

FIELD_NUMBER            = 112

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 111"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B111"

FIELD_NUMBER            = 113

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 112"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B112"

FIELD_NUMBER            = 114

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 113"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B113"

FIELD_NUMBER            = 115

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 114"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B114"

FIELD_NUMBER            = 116

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 115"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B115"

FIELD_NUMBER            = 117

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 116"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B116"

FIELD_NUMBER            = 118

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 117"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B117"

FIELD_NUMBER            = 119

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 118"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B118"

FIELD_NUMBER            = 120

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 119"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B119"

FIELD_NUMBER            = 121

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 120"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B120"

FIELD_NUMBER            = 122

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 121"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B121"

FIELD_NUMBER            = 123

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 122"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B122"

FIELD_NUMBER            = 124

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 123"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B123"

FIELD_NUMBER            = 125

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 124"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B124"

FIELD_NUMBER            = 126

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 125"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B125"

FIELD_NUMBER            = 127

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 126"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B126"

FIELD_NUMBER            = 128

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 127"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B127"

FIELD_NUMBER            = 129

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 128"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B128"

FIELD_NUMBER            = 130

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 129"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B129"

FIELD_NUMBER            = 131

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 130"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B130"

FIELD_NUMBER            = 132

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 131"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B131"

FIELD_NUMBER            = 133

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 132"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B132"

FIELD_NUMBER            = 134

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 133"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B133"

FIELD_NUMBER            = 135

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 134"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B134"

FIELD_NUMBER            = 136

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 135"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B135"

FIELD_NUMBER            = 137

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 136"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B136"

FIELD_NUMBER            = 138

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 137"

END_OBJECT                    = FIELD

OBJECT                        = FIELD

NAME                    = "B137"

FIELD_NUMBER            = 139

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

BYTES                   = 5

DESCRIPTION             = "Telemetry File Data Byte 138"

END_OBJECT                    = FIELD

END_OBJECT                     = SPREADSHEET

END

## 4.1.9 Data Label – Stage 1 Processed Data

The telemetry file delivered contains serially packed records with mass sweep data and up to 8 types of instrument housekeeping packets (high, medium, acknowledge, not acknowledge, idle, software, type 1 or type 2.)  Each of these packets is sized differently.  Note that the GCMS data packet sizes are not the same as the record sizes used with the telemetery data.  The software needed to reconstruct the instrument’s data records was originally developed on a SUN workstation as that was the only computer powerful enough for this task when this mission started.  The workstation created a series of “meta-files” where each of these files contains the data for one type of housekeeping and for one of the data streams (the spacecraft used 2 data systems and sequential GCMS data packet were alternately sent on each telemetry channel.)  Table 7 presents  a listing of the “meta-files” created on the workstation with comments regarding the content of the file, the name of the data set after it’s conversion to ASCII text format and the number of columns in that ASCII data set.  All of the files may not be present in or relevant to any single data set.  These are the files used to evaluate the GCMS instrument’s health during cruise (October 1997 – December 2004).  The package of standard data plots, refer to Diagram 1, generated by the workstation software and used to evaluate the GCMS instrument’s health are available as PDF files and are located in the /EXTRAS/ subdirectory of this data archive.

Table 7.  Sun Workstation and Archived Stage 1 File Name Relationship

| Workstation file name (*.archive) | Columns | Comments |
| --- | --- | --- |
|  |  | ASCII Text File Name (*.TAB) |
| gcmsbinA | Binary stream with all channel A data |  |
|  | 181 | GCMS_ALL_A _STG1.TAB |
| gcmsbinB | Binary stream with all channel B data |  |
|  | 181 | GCMS_ALL_B _STG1.TAB |
| gcmsackA | Command Acknowledge responses on Channel A |  |
|  | 36 | GCMS_HK_A_ACK _STG1.TAB |
| gcmsackB | Command Acknowledge responses on Channel B |  |
|  | 36 | GCMS_HK_B_ACK _STG1.TAB |
| gcmsnackA | Command Not-Acknowledge responses on Channel A |  |
|  | 36 | Included in GCMS_HK_A_ACK _STG1.TAB |
| gcmsnackB | Command Not-Acknowledge responses on Channel B |  |
|  | 36 | Included in GCMS_HK_B_ACK _STG1.TAB |
| gcmshkhsA | High Speed Housekeeping on Channel A |  |
|  | 94 | GCMS_HK_A_HS STG1.TAB |
| gcmshkhsB | High Speed Housekeeping on Channel B |  |
|  | 94 | GCMS_HK_B_HS STG1.TAB |
| gcmshkmsA | Medium Speed Housekeeping on Channel A |  |
|  | 50 | GCMS_HK_A_MS_STG1.TAB |
| gcmshkmsB | Medium Speed Housekeeping on Channel B |  |
|  | 50 | GCMS_HK_B_MS_STG1.TAB |
| gcmshksA | Software Status data on Channel A |  |
|  | 64 | GCMS_HK_A_SOFTWARE_STG1.TAB |
| gcmshksB | Software Status data on Channel B |  |
|  | 64 | GCMS_HK_B_SOFTWARE_STG1.TAB |
| gcmshkIA | Housekeeping Type 1 on Channel A |  |
|  | 34 | GCMS_HK_A_TYPE1_STG1.TAB |
| gcmshkIB | Housekeeping Type 1 on Channel B |  |
|  | 34 | GCMS_HK_B_TYPE1_STG1.TAB |
| gcmshkIIA | Housekeeping Type 2 on Channel A |  |
|  | 148 | GCMS_HK_A_TYPE2_STG1.TAB |
| gcmshkIIB | Housekeeping Type 2 on Channel B |  |
|  | 148 | GCMS_HK_B_TYPE2_STG1.TAB |
| gcmsidleA | Idle Packet Housekeeping on Channel A |  |
|  | 156 | GCMS_HK_A_IDLE_STG1.TAB |
| gcmsidleB | Idle Packet Housekeeping on Channel B |  |
|  | 156 | GCMS_HK_B_IDLE_STG1.TAB |
| gcmsswpA | Mass Sweep data on Channel A |  |
|  | 216 | GCMS_SWEEPS_A_STG1.TAB |
| gcmsswpB | Mass Sweep data on Channel B |  |
|  | 216 | GCMS_SWEEPS_B_STG1.TAB |

More information about each data set type follows.  Except for the number of columns, all data sets are structured identically.  Column 1 contains the TIME in the standard UTC format.  Column 2 contains the Mission Elapsed Time.  Columns 3 – nnn contain the data from the original “archive” file as 8-bit numbers in ASCII text format. The example presented in this document is the LABEL file and associated FORMAT file for the Housekeeping Type 2 data set.

#### Data Label - All Raw Data, Stage 1

Each table contains all of the telemetry data for the GCMS instrument from one of the (two) channels of the telemetry data system..  Each table is n rows by 181 columns.  Columns 1 and 2 contain the time information for each record.  These times have been extracted from the ‘raw’ data.  Columns 3 – 181 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label - Housekeeping Acknowledge and Not-Acknowledge Raw Data, Stage 1

The GCMS instrument’s design allowed for the updating of it’s operations using command sequences uploaded to the instrument from the Huygens spacecraft.  The receipt of each command is acknowledged with either an ‘acknowledge’ response if the command sequence is recognized or a ‘not-acknowledge’ response if the command sequence is not understood.  The data system allowed for the storage and return of up to 100 of each command.  Each table is n rows by 36 columns.  Columns 1 and 2 contain the time information for each record.  These times have been extracted from the ‘raw’ data.  Columns 3 – 36 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label – Housekeeping Type 1 Raw Data, Stage 1

Every sample scan also contained selected instrument status (housekeeping) data that we refer to as Housekeeping Type 1 data.  This data has been extracted from the telemetry and organized into a table file for each data stream.  Each table is n rows by 34 columns.  Columns 1 and 2 contain the time information for each record.  These times have been extracted from the ‘raw’ data.  Columns 3 – 34 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label – Housekeeping Type 2 Raw Data, Stage 1

GCMS instrument condition and status data (voltages, currents, temperature, pressure, heater and valve position status data, etc.) is continually collected and updated and periodically, ~40 seconds, inserted into the telemetry stream as a Housekeeping Type 2 data packet.  This data is considered to be so important that it is redundantly sent on both the A and B data channels.  Each table file consists of n rows by 148 columns of information.  Columns 1 and 2 contain the time information extracted from the data packet for the data packet.  Columns 3 – 148 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label – Housekeeping Idle Packet Raw Data, Stage 1

The GCMS instrument’s data system updates and maintains a special housekeeping data packet, referred to as an “idle packet” that it inserts into the data system each time the spacecraft checks for data and none of the instrument’s standard data packets (Type 1, Type 2, High Speed, Medium Speed, … data packets) are available.  Each table file consists of n rows by 156 columns of information.  Columns 1 and 2 contain the time information extracted from the data packet for the data packet.  Columns 3 – 156 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label – Housekeeping High Speed Raw Data, Stage 1

The GCMS instrument’s data system periodically updates and sends a “High Speed Housekeeping” data packet to the spacecraft’s telemetry system.  Each table file consists of n rows by 94 columns of information.  Columns 1 and 2 contain the time information extracted from the data packet for the data packet.  Columns 3 – 94 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label – Housekeeping Medium Speed Raw Data, Stage 1

The GCMS instrument’s data system periodically updates and sends a “Medium Speed Housekeeping” data packet to the spacecraft’s telemetry system.  Each table file consists of n rows by 50 columns of information.  Columns 1 and 2 contain the time information extracted from the data packet for the data packet.  Columns 3 – 50 contain the ‘raw’ telemetry converted from binary format to 8-bit numbers.

#### Data Label – Housekeeping Instrument Software Status Raw Data, Stage 1

The first data sent to the telemetry system following the application of power to the GCMS instrument is a single data packet containing the status information of the GMCS microprocessor and associated software.

#### File GCMS_HK_B_TYPE2_STG1.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 1061

FILE_RECORDS                   = 442

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_HK_B_TYPE2_STG1.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_HK_B_TYPE2_STG1.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "F16_GCMS_HK_B_TYPE2_STG1"

PRODUCT_NAME                   = "F16_GCMS_HK_TYPE2_B-STREAM_STG1"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "CRUISE"

/* FU_FCO1B */

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2004-328T06:25:54.987

STOP_TIME                      = 2004-328T09:19:59.016

/* UTC e.g. 2005-01-14T00:00:00.000 */

/*     or 2005-014T00:00:00.000 */

/* This value is referred to as the */

/* GCMS_GMT time and is the timestamp */

/* added to the spacecraft telemetry  */

/* packet */

SPACECRAFT_CLOCK_START_COUNT   = "N/A"

SPACECRAFT_CLOCK_STOP_COUNT    = "N/A"

/* The DDB clock time is not available */

/* for all data streams extracted from */

/* the raw telemetry. The DDB time can */

/* be calculated by comparing the MET */

/* time with the T0 event time. */

NATIVE_START_TIME              = -2078.062500

NATIVE_STOP_TIME               = 8391.250000

/* Elapsed Time in seconds. */

/* a.k.a. Mission Elapsed Time (MET) */

/* Negative values indicate pre-T0 */

/*  No data is available immediately */

/*  prior to T0 so the error in these */

/*  times may be 5-7 seconds. */

/* Positive values indicate post-T0 */

PRODUCT_CREATION_TIME          = 2006-06-15T14:35:19

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JOHN HABERMAN"

/* & Jaime Demick Montelara */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

/* Stage 1 Data must be converted to c/s */

/* Stage 2 Data has been converted to c/s */

/*  but MAY NOT be fully corrected for */

/*  the counter overflow condition. This */

/*  data has NOT yet been fully corrected */

/*  for pulse counting system effects */

/*  including pulse coincidence effects */

/*  and system (electronics) effects. */

/* Stage 3 Data has been converted to c/s */

/*  and fully corrected by the team using */

/*  pre- and post-launch instrument */

/*  calibration data. */

INSTRUMENT_MODE_ID             = "FU_FCO1B"

/* F16 */

/* Actually: FU_FCO1B */

/* FU = Flown Unit, EU = Enigneering Unit */

/* FS or SU = Spare (Lab, Backup) Unit */

/* DESCENT indicates Entry Condition */

/* FCO indicates Flight Check Out */

/* GCO indicates Ground Check Out */

/*  FCO1/GCO1 = Checkout Type 1 */

/*  FCO1B/GCO1B = Checkout Type 1B */

/*  FCO2/GCO2 = Checkout Type 2 */

/* e.g., FU_DESCENT = 2005-01-14 Mission */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 442

COLUMNS                     = 148

ROW_BYTES                   = 1061

DESCRIPTION                 = "Binary data archive Housekeeping Type 2

files from the SUN workstation converted to

ASCII text values. Refer to the GCMS

Instrument User's Software Manual for

details."

^STRUCTURE                  = "GCMS_HK_TYPE2_STG1.FMT"

END_OBJECT                     = TABLE

END

## 4.1.10 Data Label – Mole Fraction Data, Stage 2

Applies to file:  GCMS_MOLE_FRACTION_STG2.LBL

The numbers in this file have been derived from the mass spec. data for the most common species in Titan’s atmosphere.  This is the data forwarded to the DTWG (Descent Trajectory Working Group) by the GCMS team.

#### File GCMS_MOLE_FRACTION_STG2.LBL

PDS_VERSION_ID                 = PDS3

/* FILE CHARACTERISTICS DATA ELEMENTS */

RECORD_TYPE                    = FIXED_LENGTH

RECORD_BYTES                   = 43

FILE_RECORDS                   = 1303

/* DATA OBJECT POINTER IDENTIFICATION ELEMENTS */

^TABLE                         = ("GCMS_MOLE_FRACTION_STG2.TAB",2)

/* INSTRUMENT AND DETECTOR DESCRIPTIVE DATA ELEMENTS */

FILE_NAME                      = "GCMS_MOLE_FRACTION_STG2.TAB"

DATA_SET_ID                    = "HP-SSA-GCMS-3-FCO/DESCENT-V1.0"

DATA_SET_NAME                  = "HUYGENS TITAN GAS CHROMATOGRAPH

MASS SPEC 3 DESCENT V1.0"

PRODUCT_ID                     = "DESCENT_GCMS_MOLE_FRACTION_STG2"

PRODUCT_NAME                   = "DESCENT_GCMS_MOLE_FRACTION_STG2"

MISSION_NAME                   = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME           = "HUYGENS PROBE"

INSTRUMENT_HOST_ID             = HP

MISSION_PHASE_NAME             = "DESCENT"

PRODUCT_TYPE                   = RDR

/* EDR for RAW & RDR for Calibrated Data */

START_TIME                     = 2005-01-14T09:11:23.312

STOP_TIME                      = 2005-01-14T11:38:09.953

/* UTC e.g. 2005-01-14T00:00:00.000 */

SPACECRAFT_CLOCK_START_COUNT   = "N/A"

SPACECRAFT_CLOCK_STOP_COUNT    = "N/A"

NATIVE_START_TIME              = "N/A"

NATIVE_STOP_TIME               = "N/A"

PRODUCT_CREATION_TIME          = 2006-06-15T10:00:00

PRODUCER_ID                    = "GCMS_TEAM"

PRODUCER_FULL_NAME             = "JAIME DEMICK-MONTELARA"

/* & John Haberman */

/* & Eric Raaen */

PRODUCER_INSTITUTION_NAME      = "NASA GSFC"

TARGET_NAME                    = "TITAN"

/* INSTRUMENT DESCRIPTION */

INSTRUMENT_ID                  = "GCMS"

INSTRUMENT_NAME                = "GAS CHROMATOGRAPH MASS SPECTROMETER"

INSTRUMENT_TYPE                = "MASS SPECTROMETER"

DATA_QUALITY_ID                = 1

DATA_QUALITY_DESC              = "1 = High Quality ... 5 = Low Quality"

INSTRUMENT_MODE_ID             = "FU_DESCENT"

/* FU = Flown Unit */

/* DESCENT indicates Entry Condition */

/* DATA OBJECT DEFINITION */

OBJECT                         = TABLE

INTERCHANGE_FORMAT          = ASCII

ROWS                        = 1303

COLUMNS                     = 4

ROW_BYTES                   = 43

DESCRIPTION                 = "Mole Fraction (MF) data for Methane (CH4),

Argon (Ar) and Other (XX) species of

Titan's atmosphere submitted to the DTWG

Team. These data are computed from the

direct atmosphere GCMS sample measurement

data from Ion Source #1 data.

Obviously the mole fraction for Nitrogen

(N2) is [1. - SUM(MF(CH4)+MF(Ar)+MF(XX))]."

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_ABS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "UTC Reference time for this data record."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "CH4"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 25

BYTES                   = 7

FORMAT                  = "F7.4"

DESCRIPTION             = "Mole Fraction for Methane (CH4)."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "AR"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 33

BYTES                   = 4

FORMAT                  = "F4.1"

DESCRIPTION             = "Mole Fraction for Argon (Ar)."

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "XX"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_REAL

START_BYTE              =38

BYTES                   = 4

FORMAT                  = "F4.1"

DESCRIPTION             = "Mole Fraction for Other (XX) components."

END_OBJECT                    = COLUMN

END_OBJECT                     = TABLE

END

GCMS_HK_TYPE2_STG1.FMT

OBJECT                        = COLUMN

COLUMN_NUMBER           = 1

NAME                    = "UTC_GCMS_TIME"

UNIT                    = "TIME"

DATA_TYPE               = CHARACTER

START_BYTE              = 1

BYTES                   = 23

FORMAT                  = "A23"

DESCRIPTION             = "Time from GCMS GMT time (Columns 3 - 10).

NOT DDB TIME! DDB time is not contained in

all telemetry streams. GCMS_GMT time is from

SCET."

/* Calculated from data in this table */

/* and added during table formatting. */

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 2

NAME                    = "ABS_TIME"

UNIT                    = "SECONDS"

DATA_TYPE               = ASCII_REAL

START_BYTE              = 25

BYTES                   = 13

FORMAT                  = "F13.6"

DESCRIPTION             = "Time from Mission Elapsed Time (Columns 131

- 138). Negative values indicate pre-T0

(within ~6 seconds). Positive values

indicate post-T0."

/* Calculated from data in this table */

/* and added during table formatting. */

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 3

NAME                    = "B000"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 39

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 0 - GCMS GMT Seconds MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 4

NAME                    = "B001"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 46

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 1 - GCMS GMT Seconds"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 5

NAME                    = "B002"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 53

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 2 - GCMS GMT Seconds"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 6

NAME                    = "B003"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 60

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 3 - GCMS GMT Seconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 7

NAME                    = "B004"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 67

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 4 - GCMS GMT microseconds MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 8

NAME                    = "B005"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 74

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 5 - GCMS GMT microseconds"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 9

NAME                    = "B006"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 81

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 6 - GCMS GMT microseconds"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 10

NAME                    = "B007"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 88

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 7 - GCMS GMT microseconds LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 11

NAME                    = "B008"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 95

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 008 - Packet Valid MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 12

NAME                    = "B009"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 102

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 009 - Packet Valid LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 13

NAME                    = "B010"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 109

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 010 - Commutator Index"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 14

NAME                    = "B011"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 116

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 011 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 15

NAME                    = "B012"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 123

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 012 - Local Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 16

NAME                    = "B013"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 130

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 013 - Local Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 17

NAME                    = "B014"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 137

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 014 - Anode 1 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 18

NAME                    = "B015"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 144

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 015 - Anode 2 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 19

NAME                    = "B016"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 151

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 016 - EB4_2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 20

NAME                    = "B017"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 158

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 017 - EB4_1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 21

NAME                    = "B018"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 165

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 018 - Filament 1 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 22

NAME                    = "B019"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 172

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 019 - Filament 2 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 23

NAME                    = "B020"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 179

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 020 - Filament 2 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 24

NAME                    = "B021"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 186

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 021 - Filament 1 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 25

NAME                    = "B022"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 193

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 022 - BIAS_A"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 26

NAME                    = "B023"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 200

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 023 - BIAS1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 27

NAME                    = "B024"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 207

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 024 - BIAS2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 28

NAME                    = "B025"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 214

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 025 - Hydrogen head pressure

at GC columns"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 29

NAME                    = "B026"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 221

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 026 - BIASM3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 30

NAME                    = "B027"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 228

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 027 - BIASM2 (FB String

Voltage)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 31

NAME                    = "B028"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 235

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 028 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 32

NAME                    = "B029"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 242

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 029 - BIASM1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 33

NAME                    = "B030"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 249

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 030 - Anode 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 34

NAME                    = "B031"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 256

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 031 - Anode 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 35

NAME                    = "B032"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 263

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 032 - EB4_4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 36

NAME                    = "B033"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 270

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 033 - EB4_3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 37

NAME                    = "B034"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 277

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 034 - Filament 3 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 38

NAME                    = "B035"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 284

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 035 - Filament 4 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 39

NAME                    = "B036"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 291

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 036 - Filament 4 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 40

NAME                    = "B037"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 298

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 037 - Filament 3 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 41

NAME                    = "B038"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 305

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 038 - BIAS_B"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 42

NAME                    = "B039"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 312

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 039 - BIAS3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 43

NAME                    = "B040"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 319

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 040 - BIAS4"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 44

NAME                    = "B041"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 326

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 041 - Hydrogen storage

reservoir pressure"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 45

NAME                    = "B042"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 333

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 042 - Electron Multiplier

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 46

NAME                    = "B043"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 340

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 043 - BIAST"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 47

NAME                    = "B044"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 347

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 044 - RF Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 48

NAME                    = "B045"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 354

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 045 - Reference Voltage"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 49

NAME                    = "B046"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 361

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 046 - Anode 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 50

NAME                    = "B047"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 368

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 047 - Anode 6 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 51

NAME                    = "B048"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 375

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 048 - EB4_6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 52

NAME                    = "B049"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 382

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 049 - EB4_5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 53

NAME                    = "B050"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 389

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 050 - Filament 5 current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 54

NAME                    = "B051"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 396

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 051 - Filament 6 (BA Gauge)

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 55

NAME                    = "B052"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 403

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 052 - BA gauge emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 56

NAME                    = "B053"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 410

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 053 - Filament 5 emission

current"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 57

NAME                    = "B054"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 417

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 054 - BIAS_C"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 58

NAME                    = "B055"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 424

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 055 - BIAS5"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 59

NAME                    = "B056"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 431

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 056 - BIAS6"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 60

NAME                    = "B057"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 438

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 057 - GCMS Instrument Shell

Pressure"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 61

NAME                    = "B058"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 445

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 058 - DDB Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 62

NAME                    = "B059"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 452

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 059 - DDB Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 63

NAME                    = "B060"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 459

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 060 - DDB Altitude MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 64

NAME                    = "B061"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 466

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 061 - DDB Altitude LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 65

NAME                    = "B062"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 473

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 062 - Instrument Deck

Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 66

NAME                    = "B063"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 480

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 063 - Transistor Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 67

NAME                    = "B064"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 487

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 064 - THERMP"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 68

NAME                    = "B065"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 494

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 065 - THREFP"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 69

NAME                    = "B066"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 501

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 066 - TIS3INT"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 70

NAME                    = "B067"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 508

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 067 - Hydrogen reservoir

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 71

NAME                    = "B068"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 515

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 068 - Tsample"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 72

NAME                    = "B069"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 522

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 069 - T_LVPS1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 73

NAME                    = "B070"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 529

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 070 - T_LVPS2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 74

NAME                    = "B071"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 536

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 071 - T_LVPS3"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 75

NAME                    = "B072"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 543

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 072 - Positive 13 volt monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 76

NAME                    = "B073"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 550

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 073 - 5R_Mon"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 77

NAME                    = "B074"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 557

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 074 - 5Ref"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 78

NAME                    = "B075"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 564

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 075 - Negative 57 volt monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 79

NAME                    = "B076"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 571

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 076 - CALMON"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 80

NAME                    = "B077"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 578

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 077 - Valves Inhibit (high =

inhibit)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 81

NAME                    = "B078"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 585

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 078 - GC column 1 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 82

NAME                    = "B079"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 592

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 079 - Enrichment cell

temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 83

NAME                    = "B080"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 599

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 080 - T_EC2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 84

NAME                    = "B081"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 606

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 081 - ACP sample transfer

line tempreature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 85

NAME                    = "B082"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 613

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 082 - GC column 2 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 86

NAME                    = "B083"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 620

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 083 - GC column 3 temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 87

NAME                    = "B084"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 627

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 084 - Atmosphere sample inlet

line temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 88

NAME                    = "B085"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 634

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 085 - ACP sample transfer

line pressure monitor 1"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 89

NAME                    = "B086"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 641

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 086 - ACP Pressure Monitor 2"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 90

NAME                    = "B087"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 648

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 087 - Flight Computer

Temperature"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 91

NAME                    = "B088"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 655

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 088 - 5R_FC_MON"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 92

NAME                    = "B089"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 662

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 089 - RF Monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 93

NAME                    = "B090"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 669

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 090 - Electron Multiplier 1

high voltage monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 94

NAME                    = "B091"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 676

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 091 - Electron Multiplier 2

high voltage monitor"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 95

NAME                    = "B092"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 683

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 092 - Valve Status MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 96

NAME                    = "B093"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 690

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 093 - Valve Status"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 97

NAME                    = "B094"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 697

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 094 - Valve Status"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 98

NAME                    = "B095"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 704

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 095 - Valve Status LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 99

NAME                    = "B096"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 711

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 096 - Valve Status Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 100

NAME                    = "B097"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 718

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 097 - Valve Status Word"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 101

NAME                    = "B098"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 725

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 098 - Valve Status Word"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 102

NAME                    = "B099"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 732

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 099 - Valve Status Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 103

NAME                    = "B100"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 739

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 100 - Filament and Ion Pump

Status Word"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 104

NAME                    = "B101"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 746

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 101 - Heater Status Word"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 105

NAME                    = "B102"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 753

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 102 - General Status Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 106

NAME                    = "B103"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 760

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 103 - General Status Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 107

NAME                    = "B104"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 767

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 104 - General Error Status

Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 108

NAME                    = "B105"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 774

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 105 - General Error Status

Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 109

NAME                    = "B106"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 781

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 106 - Latched Submode"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 110

NAME                    = "B107"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 788

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 107 - Absolute Time MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 111

NAME                    = "B108"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 795

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 108 - Absolute Time (mid byte)"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 112

NAME                    = "B109"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 802

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 109 - Absolute Time LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 113

NAME                    = "B110"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 809

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 110 - BA Filament Emission MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 114

NAME                    = "B111"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 816

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 111 - BA Filament Emission LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 115

NAME                    = "B112"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 823

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 112 - RF Frequency Monitor MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 116

NAME                    = "B113"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 830

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 113 - RF Frequency Monitor LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 117

NAME                    = "B114"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 837

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 114 - Microsequencer Status

Word MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 118

NAME                    = "B115"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 844

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 115 - Microsequencer Status

Word LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 119

NAME                    = "B116"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 851

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 116 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 120

NAME                    = "B117"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 858

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 117 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 121

NAME                    = "B118"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 865

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 118 - Microsequencer Scan

Counter MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 122

NAME                    = "B119"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 872

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 119 - Microsequencer Scan

Counter LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 123

NAME                    = "B120"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 879

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 120 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 124

NAME                    = "B121"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 886

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 121 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 125

NAME                    = "B122"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 893

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 122 - Mission Phase: 03=GCO,

F3=FCO, 00=Descent"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 126

NAME                    = "B123"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 900

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 123 - Latched Mission Phase:

F=Deactivate, C=Suspend"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 127

NAME                    = "B124"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 907

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 124 - Experiment Status Word

MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 128

NAME                    = "B125"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 914

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 125 - Experiment Status Word

LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 129

NAME                    = "B126"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 921

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 126 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 130

NAME                    = "B127"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 928

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 127 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 131

NAME                    = "B128"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 935

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time MSB seconds. For pre-T0

measurements the time refers to power on.

For post-T0 measurements the time refers to

the T0 time. 86400 is added to the MET time

to indicate post-T0 measurements. -

Telemetry Byte 128"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 132

NAME                    = "B129"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 942

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time seconds - Telemetry Byte 129"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 133

NAME                    = "B130"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 949

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time seconds - Telemetry Byte 130"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 134

NAME                    = "B131"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 956

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time LSB seconds - (MET_Seconds =

byte128*256^3 + byte129*256^2 + byte130*256

+ byte131) - Telemetry Byte 131"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 135

NAME                    = "B132"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 963

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time MSB microseconds - Telemetry Byte

132"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 136

NAME                    = "B133"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 970

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time microseconds - Telemetry Byte 133"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 137

NAME                    = "B134"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 977

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time microseconds - Telemetry Byte 134"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 138

NAME                    = "B135"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 984

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "MET Time LSB microseconds -

(MET_microSeconds = byte132*256^3 +

byte133*256^2 + byte134*256 + byte135) -

Telemetry Byte 135"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 139

NAME                    = "B136"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 991

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 136 - Packet Sequence Count

MSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 140

NAME                    = "B137"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 998

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 137 - Packet Sequence Count

LSB"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 141

NAME                    = "B138"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1005

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 138 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 142

NAME                    = "B139"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1012

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 139 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 143

NAME                    = "B140"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1019

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 140 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 144

NAME                    = "B141"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1026

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 141 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 145

NAME                    = "B142"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1033

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 142 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 146

NAME                    = "B143"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1040

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 143 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 147

NAME                    = "B144"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1047

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 144 - Spare"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

COLUMN_NUMBER           = 148

NAME                    = "B145"

UNIT                    = "N/A"

DATA_TYPE               = ASCII_INTEGER

START_BYTE              = 1054

BYTES                   = 6

FORMAT                  = "I6"

DESCRIPTION             = "Telemetry Byte 145 - Spare"

END_OBJECT                    = COLUMN

- 1. Appendix: Available Software to read PDS files (N/A)

- 2. Appendix: Auxiliary Data Usage (N/A)

- 3. Appendix: Example of Directory Listing of the Data Set

The GCMS data set named “HUYGENS TITAN GAS CHROMATOGRAPH MASS SPEC 3 DESCENT V1.0” (short ID “HP-SSA-GCMS-3-FCO/DESCENT-V1.0”) contains the data beginning with the final Earth Descent Simulation, the data from all of the in-flight turn-on activities and the data from the Titan Descent mission.  Shown is a summary the processed GCMS data set status as of June 12, 2006.  Approximate file size totals are in Megabytes.

Table 8.  Summary of Structure and Files submitted for Archiving (March 2006)

| Test | Instr. Op. Sequence | PSA/PDS Folder Name | Size | Number of file types |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | MB | Files | CSV | LBL | TAB | FMT |
| Last Earth | DESCENT | 19970506_DESCENT_BENCH | 163 | 237 | 0 | 111 | 111 | 15 |
| Probe mating | CO1 | 19970802_MATED_CO1 | 137 | 114 | 0 | 49 | 49 | 16 |
| Probe mating | CO2 | 19970805_MATED_CO2 | 225 | 158 | 0 | 71 | 71 | 16 |
| Pre-reclosure | CO1 | 19970910_PRECLOSE_CO1 | 135 | 114 | 0 | 49 | 49 | 16 |
| Post-reclosure | CO1 | 19970913_POSTCLOSE_CO1 | 137 | 114 | 0 | 49 | 49 | 16 |
| Contingency | CO | 19970919_CONTINGENCY | 16 | 98 | 0 | 41 | 41 | 16 |
| F1 | FCO2 | 19971023_F01 | 271 | 160 | 1 | 72 | 71 | 16 |
| F2 | FCO1 | 19980327_F02 | 99 | 114 | 1 | 49 | 48 | 16 |
| F3 | FCO2 | 19981221_F03 | 262 | 160 | 1 | 72 | 71 | 16 |
| F4 | FCO1 | 19990915_F04 | 170 | 112 | 1 | 48 | 47 | 16 |
| F5 | FCO2 | 20000202_F05 | 265 | 160 | 1 | 72 | 71 | 16 |
| F6 | FCO1 | 20000728_F06 | 174 | 112 | 1 | 48 | 47 | 16 |
| F7 | FCO2 | 20010322_F07 | 263 | 160 | 1 | 72 | 71 | 16 |
| F8 | FCO1 | 20010919_F08 | 169 | 112 | 1 | 48 | 47 | 16 |
| F9 | FCO2 | 20020415_F09 | 263 | 160 | 1 | 72 | 71 | 16 |
| F10 | FCO1 | 20020916_F10 | 173 | 112 | 1 | 48 | 47 | 16 |
| F11 | FCO2 | 20030503_F11 | 260 | 160 | 1 | 72 | 71 | 16 |
| F12 | FCO1 | 20030918_F12 | 170 | 112 | 1 | 48 | 47 | 16 |
| patch | N/A | 20031206_PATCHING | 75 | 76 | 1 | 32 | 31 | 12 |
| no-preheating | FCO1B | 20031209_NO_PREHEATING | 107 | 112 | 1 | 48 | 47 | 16 |
| pre-heating | FCO1B | 20031213_PREHEATING | 667 | 124 | 1 | 54 | 53 | 16 |
| F13 | FCO1B | 20040320_F13 | 166 | 116 | 1 | 50 | 49 | 16 |
| F14 | FCO2 | 20040714_F14 | 258 | 156 | 1 | 70 | 69 | 16 |
| F15 | FCO1B | 20040914_F15 | 169 | 110 | 1 | 47 | 46 | 16 |
| Batt.depassiv.1 | N/A | 20040919_BAT_DEPSV1 | 26 | 75 | 1 | 32 | 31 | 11 |
| F16 | FCO1B | 20041123_F16 | 169 | 112 | 1 | 48 | 47 | 16 |
| Batt.depassiv.2 | N/A | 20041205_BAT_DEPSV2 | 25 | 75 | 1 | 32 | 31 | 11 |
| Entry | DESCENT | 20050114_DESCENT | 82 | 187 | 1 | 86 | 85 | 15 |
| Derived Product | DESCENT | DTWG_MOLE_FRACTION | .06 | 2 | 0 | 1 | 1 | 0 |

The ROOT directory of the GCMS data set will contain the folders and files shown here.

/CATALOG/

/DATA/

/DOCUMENT/

/EXTRAS/

/INDEX/

AAREADME.TXT

ERRATA.TXT

VOLDESC.CAT

The /CATALOG/ directory for the GCMS data set will contain these folders and files.

CATINFO.TXT

DATASET.CAT

INSTRUMENT.CAT

INSTRUMENT_HOST.CAT

MISSION.CAT

PERSONNEL.CAT

REFERENCE.CAT

SOFTWARE.CAT

TARGET.CAT

The /DOCUMENT/ directory for the GCMS data set will contain these folders and files.

DOCINFO.TXT

BLOCK_DIAGRAM.PNG

DESC_FM_08F.ASC

HUYGENS_GCMS.ASC

HUYGENS_GCMS_SP1177.ASC

HUYGENS_GCMS_NATURE.ASC

WORKING_SEQUENCE.ASC

WORKING_TIMELINE.PNG

/PRELAUNCH_CALIBRATION/

CALPRES.asc

CALPRES2.asc

CALPRES3.asc

CALPRNT2.asc

CALPRNTS.asc

EAICD_GCMS.asc

The /EXTRAS/ directory for the GCMS data set will contain these folders and files.

EXTRASINFO.TXT

/ANIMATED_GIF/

ANIMATED_GIF_SCREEN.PDF

GCMS_A2.GIF

GCMS_P2.GIF

/DATASET_RELATED/

DATA_PROCESSING.PDF

GCMS_OVERFLOW_EXAMPLE_STG1.PNG

GCMS_OVERFLOW_EXAMPLE_STG2.PNG

SAMPLE_TABLE_FILES_STG1.PNG

SAMPLE_TABLE_FILES_STG2.PNG

/DOCUMENTS/

EIDB_A1.PDF

EIDB_A2.PDF

FS_CRUISE_OPS.PDF

GCMS_FS_USER_MANUAL.PDF

/FLIGHT_CHECKOUT/

F01-CO2.PDF

F02_CO1.PDF

F03_CO2.PDF

F04_CO1.PDF

F05_CO2.PDF

F06_CO1.PDF

F07_CO2.PDF

F08_CO1.PDF

F09_CO2.PDF

F10_CO1.PDF

F11_CO2.PDF

F12_CO1.PDF

NO_PRE-HEATING.PDF

PRE-HEATING.PDF

F13_CO1B.PDF

F14_CO2.PDF

F15_CO1B.PDF

BATTERY_DEPASSIVATION_1.PDF

F16_CO1B.PDF

BATTERY_DEPASSIVATION_2.PDF

DESCENT_AS_CO1.PDF

ENTRY_PLOT_DESCENT.PDF

The /INDEX/ directory for the GCMS data set will contain these folders and files.

INDEX.TXT

The /DATA/ directory for the GCMS data set will contain these folders and files.

/19970506_DESCENT_BENCH/

/19970802_MATED_CO1/

/19970805_MATED_CO2/

/19970910_PRECLOSE_CO1/

/19970913_POSTCLOSE_CO1/

/19970919_CONTINGENCY/

/19971023_F01/

/19980327_F02/

/19981221_F03/

/19990915_F04/

/20000202_F05/

/20000728_F06/

/20010322_F07/

/20010919_F08/

/20020415_F09/

/20020916_F10/

/20030503_F11/

/20030918_F12/

/20031206_PATCHING/

/20031209_NO_PREHEATING/

/20031213_PREHEATING/

/20040320_F13/

/20040714_F14/

/20040914_F15/

/20040919_BAT_DEPSV1/

/20041123_F16/

/20041205_BAT_DEPSV2/

/20050114_DESCENT/

/DTWG_MOLE_FRACTION/

Examples of the files contained in selected DATA subfolders are presented.  The other folders will contain similar sets of files.  The number of files and the size requirements for each of the folders is highly dependent on the type of the test.  Flight Check-out type 2 tests are more complete instrument tests.  The pre-heating check-out testing also generates a sizeable dataset.

#### The 19970506_DESCENT_BENCH folder (DESCENT Sequence) will contain these files.

GCMS_1FA_STG1.LBL

GCMS_1FA_STG1.TAB

GCMS_1FA_STG2.LBL

GCMS_1FA_STG2.TAB

GCMS_1FA_X_STG1.LBL

GCMS_1FA_X_STG1.TAB

GCMS_1FA_X_STG2.LBL

GCMS_1FA_X_STG2.TAB

GCMS_1FS_STG1.LBL

GCMS_1FS_STG1.TAB

GCMS_1FS_STG2.LBL

GCMS_1FS_STG2.TAB

GCMS_1F_STG2.FMT

GCMS_1UA_STG1.LBL

GCMS_1UA_STG1.TAB

GCMS_1UA_STG2.LBL

GCMS_1UA_STG2.TAB

GCMS_1UA_X_STG1.LBL

GCMS_1UA_X_STG1.TAB

GCMS_1UA_X_STG2.LBL

GCMS_1UA_X_STG2.TAB

GCMS_1US_STG1.LBL

GCMS_1US_STG1.TAB

GCMS_1US_STG2.LBL

GCMS_1US_STG2.TAB

GCMS_1US_X_STG1.LBL

GCMS_1US_X_STG1.TAB

GCMS_1US_X_STG2.LBL

GCMS_1US_X_STG2.TAB

GCMS_1U_STG2.FMT

GCMS_2UA_STG1.LBL

GCMS_2UA_STG1.TAB

GCMS_2UA_STG2.LBL

GCMS_2UA_STG2.TAB

GCMS_2UA_X_STG1.LBL

GCMS_2UA_X_STG1.TAB

GCMS_2UA_X_STG2.LBL

GCMS_2UA_X_STG2.TAB

GCMS_2US_STG1.LBL

GCMS_2US_STG1.TAB

GCMS_2US_STG2.LBL

GCMS_2US_STG2.TAB

GCMS_2US_X_STG1.LBL

GCMS_2US_X_STG1.TAB

GCMS_2US_X_STG2.LBL

GCMS_2US_X_STG2.TAB

GCMS_2U_STG2.FMT

GCMS_3UA_STG1.LBL

GCMS_3UA_STG1.TAB

GCMS_3UA_STG2.LBL

GCMS_3UA_STG2.TAB

GCMS_3UA_X_STG1.LBL

GCMS_3UA_X_STG1.TAB

GCMS_3UA_X_STG2.LBL

GCMS_3UA_X_STG2.TAB

GCMS_3US_STG1.LBL

GCMS_3US_STG1.TAB

GCMS_3US_STG2.LBL

GCMS_3US_STG2.TAB

GCMS_3US_X_STG1.LBL

GCMS_3US_X_STG1.TAB

GCMS_3US_X_STG2.LBL

GCMS_3US_X_STG2.TAB

GCMS_3U_STG2.FMT

GCMS_4UA_STG1.LBL

GCMS_4UA_STG1.TAB

GCMS_4UA_STG2.LBL

GCMS_4UA_STG2.TAB

GCMS_4UA_X_STG1.LBL

GCMS_4UA_X_STG1.TAB

GCMS_4UA_X_STG2.LBL

GCMS_4UA_X_STG2.TAB

GCMS_4US_STG1.LBL

GCMS_4US_STG1.TAB

GCMS_4US_STG2.LBL

GCMS_4US_STG2.TAB

GCMS_4US_X_STG1.LBL

GCMS_4US_X_STG1.TAB

GCMS_4US_X_STG2.LBL

GCMS_4US_X_STG2.TAB

GCMS_4U_STG2.FMT

GCMS_5UA_STG1.LBL

GCMS_5UA_STG1.TAB

GCMS_5UA_STG2.LBL

GCMS_5UA_STG2.TAB

GCMS_5UA_X_STG1.LBL

GCMS_5UA_X_STG1.TAB

GCMS_5UA_X_STG2.LBL

GCMS_5UA_X_STG2.TAB

GCMS_5UA_Z_STG1.LBL

GCMS_5UA_Z_STG1.TAB

GCMS_5UA_Z_STG2.LBL

GCMS_5UA_Z_STG2.TAB

GCMS_5US_STG1.LBL

GCMS_5US_STG1.TAB

GCMS_5US_STG2.LBL

GCMS_5US_STG2.TAB

GCMS_5US_X_STG1.LBL

GCMS_5US_X_STG1.TAB

GCMS_5US_X_STG2.LBL

GCMS_5US_X_STG2.TAB

GCMS_5US_Z_STG1.LBL

GCMS_5US_Z_STG1.TAB

GCMS_5US_Z_STG2.LBL

GCMS_5US_Z_STG2.TAB

GCMS_5U_STG2.FMT

GCMS_ALL_A_STG1.LBL

GCMS_ALL_A_STG1.TAB

GCMS_ALL_B_STG1.LBL

GCMS_ALL_B_STG1.TAB

GCMS_ALL_STG1.FMT

GCMS_HK_ACK_STG1.FMT

GCMS_HK_A_ACK_STG1.LBL

GCMS_HK_A_ACK_STG1.TAB

GCMS_HK_A_HS_STG1.LBL

GCMS_HK_A_HS_STG1.TAB

GCMS_HK_A_IDLE_STG1.LBL

GCMS_HK_A_IDLE_STG1.TAB

GCMS_HK_A_MS_STG1.LBL

GCMS_HK_A_MS_STG1.TAB

GCMS_HK_A_SOFTWARE_STG1.LBL

GCMS_HK_A_SOFTWARE_STG1.TAB

GCMS_HK_A_TYPE1_STG1.LBL

GCMS_HK_A_TYPE1_STG1.TAB

GCMS_HK_A_TYPE2_STG1.LBL

GCMS_HK_A_TYPE2_STG1.TAB

GCMS_HK_B_ACK_STG1.LBL

GCMS_HK_B_ACK_STG1.TAB

GCMS_HK_B_HS_STG1.LBL

GCMS_HK_B_HS_STG1.TAB

GCMS_HK_B_IDLE_STG1.LBL

GCMS_HK_B_IDLE_STG1.TAB

GCMS_HK_B_MS_STG1.LBL

GCMS_HK_B_MS_STG1.TAB

GCMS_HK_B_SOFTWARE_STG1.LBL

GCMS_HK_B_SOFTWARE_STG1.TAB

GCMS_HK_B_TYPE1_STG1.LBL

GCMS_HK_B_TYPE1_STG1.TAB

GCMS_HK_B_TYPE2_STG1.LBL

GCMS_HK_B_TYPE2_STG1.TAB

GCMS_HK_HS_STG1.FMT

GCMS_HK_IDLE_STG1.FMT

GCMS_HK_IDLE_STG2.LBL

GCMS_HK_IDLE_STG2.TAB

GCMS_HK_MS_STG1.FMT

GCMS_HK_SOFTWARE_STG1.FMT

GCMS_HK_TYPE1_STG1.FMT

GCMS_HK_TYPE2_STG1.FMT

GCMS_HK_TYPE2_STG2.LBL

GCMS_HK_TYPE2_STG2.TAB

GCMS_ISALL_STG1.FMT

GCMS_SWEEPS_A_STG1.LBL

GCMS_SWEEPS_A_STG1.TAB

GCMS_SWEEPS_B_STG1.LBL

GCMS_SWEEPS_B_STG1.TAB

GCMS_SWEEPS_STG1.FMT

GCMS_TELEMETRY_STG1.CSV

GCMS_TELEMETRY_STG1.LBL

GCMS_TOTALS_STG2.LBL

GCMS_TOTALS_STG2.TAB

#### The 19971023_F01 folder (FCO1) will contain these files.

GCMS_1FA_STG1.LBL

GCMS_1FA_STG1.TAB

GCMS_1FA_STG2.LBL

GCMS_1FA_STG2.TAB

GCMS_1FA_X_STG1.LBL

GCMS_1FA_X_STG1.TAB

GCMS_1FA_X_STG2.LBL

GCMS_1FA_X_STG2.TAB

GCMS_1FS_STG1.LBL

GCMS_1FS_STG1.TAB

GCMS_1FS_STG2.LBL

GCMS_1FS_STG2.TAB

GCMS_1F_STG2.FMT

GCMS_1UA_STG1.LBL

GCMS_1UA_STG1.TAB

GCMS_1UA_STG2.LBL

GCMS_1UA_STG2.TAB

GCMS_1UA_X_STG1.LBL

GCMS_1UA_X_STG1.TAB

GCMS_1UA_X_STG2.LBL

GCMS_1UA_X_STG2.TAB

GCMS_1US_STG1.LBL

GCMS_1US_STG1.TAB

GCMS_1US_STG2.LBL

GCMS_1US_STG2.TAB

GCMS_1US_X_STG1.LBL

GCMS_1US_X_STG1.TAB

GCMS_1US_X_STG2.LBL

GCMS_1US_X_STG2.TAB

GCMS_1U_STG2.FMT

GCMS_2UA_STG1.LBL

GCMS_2UA_STG1.TAB

GCMS_2UA_STG2.LBL

GCMS_2UA_STG2.TAB

GCMS_2UA_X_STG1.LBL

GCMS_2UA_X_STG1.TAB

GCMS_2UA_X_STG2.LBL

GCMS_2UA_X_STG2.TAB

GCMS_2US_STG1.LBL

GCMS_2US_STG1.TAB

GCMS_2US_STG2.LBL

GCMS_2US_STG2.TAB

GCMS_2US_X_STG1.LBL

GCMS_2US_X_STG1.TAB

GCMS_2US_X_STG2.LBL

GCMS_2US_X_STG2.TAB

GCMS_2U_STG2.FMT

GCMS_3UA_STG1.LBL

GCMS_3UA_STG1.TAB

GCMS_3UA_STG2.LBL

GCMS_3UA_STG2.TAB

GCMS_3UA_X_STG1.LBL

GCMS_3UA_X_STG1.TAB

GCMS_3UA_X_STG2.LBL

GCMS_3UA_X_STG2.TAB

GCMS_3US_STG1.LBL

GCMS_3US_STG1.TAB

GCMS_3US_STG2.LBL

GCMS_3US_STG2.TAB

GCMS_3US_X_STG1.LBL

GCMS_3US_X_STG1.TAB

GCMS_3US_X_STG2.LBL

GCMS_3US_X_STG2.TAB

GCMS_3U_STG2.FMT

GCMS_4UA_STG1.LBL

GCMS_4UA_STG1.TAB

GCMS_4UA_STG2.LBL

GCMS_4UA_STG2.TAB

GCMS_4UA_X_STG1.LBL

GCMS_4UA_X_STG1.TAB

GCMS_4UA_X_STG2.LBL

GCMS_4UA_X_STG2.TAB

GCMS_4US_STG1.LBL

GCMS_4US_STG1.TAB

GCMS_4US_STG2.LBL

GCMS_4US_STG2.TAB

GCMS_4US_X_STG1.LBL

GCMS_4US_X_STG1.TAB

GCMS_4US_X_STG2.LBL

GCMS_4US_X_STG2.TAB

GCMS_4U_STG2.FMT

GCMS_5UA_STG1.LBL

GCMS_5UA_STG1.TAB

GCMS_5UA_STG2.LBL

GCMS_5UA_STG2.TAB

GCMS_5UA_X_STG1.LBL

GCMS_5UA_X_STG1.TAB

GCMS_5UA_X_STG2.LBL

GCMS_5UA_X_STG2.TAB

GCMS_5UA_Z_STG1.LBL

GCMS_5UA_Z_STG1.TAB

GCMS_5UA_Z_STG2.LBL

GCMS_5UA_Z_STG2.TAB

GCMS_5US_STG1.LBL

GCMS_5US_STG1.TAB

GCMS_5US_STG2.LBL

GCMS_5US_STG2.TAB

GCMS_5US_X_STG1.LBL

GCMS_5US_X_STG1.TAB

GCMS_5US_X_STG2.LBL

GCMS_5US_X_STG2.TAB

GCMS_5US_Z_STG1.LBL

GCMS_5US_Z_STG1.TAB

GCMS_5US_Z_STG2.LBL

GCMS_5US_Z_STG2.TAB

GCMS_5U_STG2.FMT

GCMS_ALL_A_STG1.LBL

GCMS_ALL_A_STG1.TAB

GCMS_ALL_B_STG1.LBL

GCMS_ALL_B_STG1.TAB

GCMS_ALL_STG1.FMT

GCMS_HK_ACK_STG1.FMT

GCMS_HK_A_ACK_STG1.LBL

GCMS_HK_A_ACK_STG1.TAB

GCMS_HK_A_HS_STG1.LBL

GCMS_HK_A_HS_STG1.TAB

GCMS_HK_A_IDLE_STG1.LBL

GCMS_HK_A_IDLE_STG1.TAB

GCMS_HK_A_MS_STG1.LBL

GCMS_HK_A_MS_STG1.TAB

GCMS_HK_A_SOFTWARE_STG1.LBL

GCMS_HK_A_SOFTWARE_STG1.TAB

GCMS_HK_A_TYPE1_STG1.LBL

GCMS_HK_A_TYPE1_STG1.TAB

GCMS_HK_A_TYPE2_STG1.LBL

GCMS_HK_A_TYPE2_STG1.TAB

GCMS_HK_B_ACK_STG1.LBL

GCMS_HK_B_ACK_STG1.TAB

GCMS_HK_B_HS_STG1.LBL

GCMS_HK_B_HS_STG1.TAB

GCMS_HK_B_IDLE_STG1.LBL

GCMS_HK_B_IDLE_STG1.TAB

GCMS_HK_B_MS_STG1.LBL

GCMS_HK_B_MS_STG1.TAB

GCMS_HK_B_SOFTWARE_STG1.LBL

GCMS_HK_B_SOFTWARE_STG1.TAB

GCMS_HK_B_TYPE1_STG1.LBL

GCMS_HK_B_TYPE1_STG1.TAB

GCMS_HK_B_TYPE2_STG1.LBL

GCMS_HK_B_TYPE2_STG1.TAB

GCMS_HK_HS_STG1.FMT

GCMS_HK_IDLE_STG1.FMT

GCMS_HK_IDLE_STG2.LBL

GCMS_HK_IDLE_STG2.TAB

GCMS_HK_MS_STG1.FMT

GCMS_HK_SOFTWARE_STG1.FMT

GCMS_HK_TYPE1_STG1.FMT

GCMS_HK_TYPE2_STG1.FMT

GCMS_HK_TYPE2_STG2.LBL

GCMS_HK_TYPE2_STG2.TAB

GCMS_ISALL_STG1.FMT

GCMS_SWEEPS_A_STG1.LBL

GCMS_SWEEPS_A_STG1.TAB

GCMS_SWEEPS_B_STG1.LBL

GCMS_SWEEPS_B_STG1.TAB

GCMS_SWEEPS_STG1.FMT

GCMS_TELEMETRY_STG1.CSV

GCMS_TELEMETRY_STG1.LBL

GCMS_TOTALS_STG2.LBL

GCMS_TOTALS_STG2.TAB

#### The 20000202_F05 folder (FCO2) will contain these files.

GCMS_1FA_STG1.LBL

GCMS_1FA_STG1.TAB

GCMS_1FA_STG2.LBL

GCMS_1FA_STG2.TAB

GCMS_1FA_X_STG1.LBL

GCMS_1FA_X_STG1.TAB

GCMS_1FA_X_STG2.LBL

GCMS_1FA_X_STG2.TAB

GCMS_1FS_STG1.LBL

GCMS_1FS_STG1.TAB

GCMS_1FS_STG2.LBL

GCMS_1FS_STG2.TAB

GCMS_1F_STG2.FMT

GCMS_1UA_STG1.LBL

GCMS_1UA_STG1.TAB

GCMS_1UA_STG2.LBL

GCMS_1UA_STG2.TAB

GCMS_1UA_X_STG1.LBL

GCMS_1UA_X_STG1.TAB

GCMS_1UA_X_STG2.LBL

GCMS_1UA_X_STG2.TAB

GCMS_1US_STG1.LBL

GCMS_1US_STG1.TAB

GCMS_1US_STG2.LBL

GCMS_1US_STG2.TAB

GCMS_1US_X_STG1.LBL

GCMS_1US_X_STG1.TAB

GCMS_1US_X_STG2.LBL

GCMS_1US_X_STG2.TAB

GCMS_1U_STG2.FMT

GCMS_2UA_STG1.LBL

GCMS_2UA_STG1.TAB

GCMS_2UA_STG2.LBL

GCMS_2UA_STG2.TAB

GCMS_2UA_X_STG1.LBL

GCMS_2UA_X_STG1.TAB

GCMS_2UA_X_STG2.LBL

GCMS_2UA_X_STG2.TAB

GCMS_2US_STG1.LBL

GCMS_2US_STG1.TAB

GCMS_2US_STG2.LBL

GCMS_2US_STG2.TAB

GCMS_2US_X_STG1.LBL

GCMS_2US_X_STG1.TAB

GCMS_2US_X_STG2.LBL

GCMS_2US_X_STG2.TAB

GCMS_2U_STG2.FMT

GCMS_3UA_STG1.LBL

GCMS_3UA_STG1.TAB

GCMS_3UA_STG2.LBL

GCMS_3UA_STG2.TAB

GCMS_3UA_X_STG1.LBL

GCMS_3UA_X_STG1.TAB

GCMS_3UA_X_STG2.LBL

GCMS_3UA_X_STG2.TAB

GCMS_3US_STG1.LBL

GCMS_3US_STG1.TAB

GCMS_3US_STG2.LBL

GCMS_3US_STG2.TAB

GCMS_3US_X_STG1.LBL

GCMS_3US_X_STG1.TAB

GCMS_3US_X_STG2.LBL

GCMS_3US_X_STG2.TAB

GCMS_3U_STG2.FMT

GCMS_4UA_STG1.LBL

GCMS_4UA_STG1.TAB

GCMS_4UA_STG2.LBL

GCMS_4UA_STG2.TAB

GCMS_4UA_X_STG1.LBL

GCMS_4UA_X_STG1.TAB

GCMS_4UA_X_STG2.LBL

GCMS_4UA_X_STG2.TAB

GCMS_4US_STG1.LBL

GCMS_4US_STG1.TAB

GCMS_4US_STG2.LBL

GCMS_4US_STG2.TAB

GCMS_4US_X_STG1.LBL

GCMS_4US_X_STG1.TAB

GCMS_4US_X_STG2.LBL

GCMS_4US_X_STG2.TAB

GCMS_4U_STG2.FMT

GCMS_5UA_STG1.LBL

GCMS_5UA_STG1.TAB

GCMS_5UA_STG2.LBL

GCMS_5UA_STG2.TAB

GCMS_5UA_X_STG1.LBL

GCMS_5UA_X_STG1.TAB

GCMS_5UA_X_STG2.LBL

GCMS_5UA_X_STG2.TAB

GCMS_5UA_Z_STG1.LBL

GCMS_5UA_Z_STG1.TAB

GCMS_5UA_Z_STG2.LBL

GCMS_5UA_Z_STG2.TAB

GCMS_5US_STG1.LBL

GCMS_5US_STG1.TAB

GCMS_5US_STG2.LBL

GCMS_5US_STG2.TAB

GCMS_5US_X_STG1.LBL

GCMS_5US_X_STG1.TAB

GCMS_5US_X_STG2.LBL

GCMS_5US_X_STG2.TAB

GCMS_5US_Z_STG1.LBL

GCMS_5US_Z_STG1.TAB

GCMS_5US_Z_STG2.LBL

GCMS_5US_Z_STG2.TAB

GCMS_5U_STG2.FMT

GCMS_ALL_A_STG1.LBL

GCMS_ALL_A_STG1.TAB

GCMS_ALL_B_STG1.LBL

GCMS_ALL_B_STG1.TAB

GCMS_ALL_STG1.FMT

GCMS_HK_ACK_STG1.FMT

GCMS_HK_A_ACK_STG1.LBL

GCMS_HK_A_ACK_STG1.TAB

GCMS_HK_A_HS_STG1.LBL

GCMS_HK_A_HS_STG1.TAB

GCMS_HK_A_IDLE_STG1.LBL

GCMS_HK_A_IDLE_STG1.TAB

GCMS_HK_A_MS_STG1.LBL

GCMS_HK_A_MS_STG1.TAB

GCMS_HK_A_SOFTWARE_STG1.LBL

GCMS_HK_A_SOFTWARE_STG1.TAB

GCMS_HK_A_TYPE1_STG1.LBL

GCMS_HK_A_TYPE1_STG1.TAB

GCMS_HK_A_TYPE2_STG1.LBL

GCMS_HK_A_TYPE2_STG1.TAB

GCMS_HK_B_ACK_STG1.LBL

GCMS_HK_B_ACK_STG1.TAB

GCMS_HK_B_HS_STG1.LBL

GCMS_HK_B_HS_STG1.TAB

GCMS_HK_B_IDLE_STG1.LBL

GCMS_HK_B_IDLE_STG1.TAB

GCMS_HK_B_MS_STG1.LBL

GCMS_HK_B_MS_STG1.TAB

GCMS_HK_B_SOFTWARE_STG1.LBL

GCMS_HK_B_SOFTWARE_STG1.TAB

GCMS_HK_B_TYPE1_STG1.LBL

GCMS_HK_B_TYPE1_STG1.TAB

GCMS_HK_B_TYPE2_STG1.LBL

GCMS_HK_B_TYPE2_STG1.TAB

GCMS_HK_HS_STG1.FMT

GCMS_HK_IDLE_STG1.FMT

GCMS_HK_IDLE_STG2.LBL

GCMS_HK_IDLE_STG2.TAB

GCMS_HK_MS_STG1.FMT

GCMS_HK_SOFTWARE_STG1.FMT

GCMS_HK_TYPE1_STG1.FMT

GCMS_HK_TYPE2_STG1.FMT

GCMS_HK_TYPE2_STG2.LBL

GCMS_HK_TYPE2_STG2.TAB

GCMS_ISALL_STG1.FMT

GCMS_SWEEPS_A_STG1.LBL

GCMS_SWEEPS_A_STG1.TAB

GCMS_SWEEPS_B_STG1.LBL

GCMS_SWEEPS_B_STG1.TAB

GCMS_SWEEPS_STG1.FMT

GCMS_TELEMETRY_STG1.CSV

GCMS_TELEMETRY_STG1.LBL

GCMS_TOTALS_STG2.LBL

GCMS_TOTALS_STG2.TAB

#### The 20040714_F14 folder (FCO2) will contain the files shown.

GCMS_1FS_STG1.LBL

GCMS_1FS_STG1.TAB

GCMS_1FS_STG2.LBL

GCMS_1FS_STG2.TAB

GCMS_1FS_X_STG1.LBL

GCMS_1FS_X_STG1.TAB

GCMS_1FS_X_STG2.LBL

GCMS_1FS_X_STG2.TAB

GCMS_1F_STG2.FMT

GCMS_1UA_STG1.LBL

GCMS_1UA_STG1.TAB

GCMS_1UA_STG2.LBL

GCMS_1UA_STG2.TAB

GCMS_1UA_X_STG1.LBL

GCMS_1UA_X_STG1.TAB

GCMS_1UA_X_STG2.LBL

GCMS_1UA_X_STG2.TAB

GCMS_1US_STG1.LBL

GCMS_1US_STG1.TAB

GCMS_1US_STG2.LBL

GCMS_1US_STG2.TAB

GCMS_1US_X_STG1.LBL

GCMS_1US_X_STG1.TAB

GCMS_1US_X_STG2.LBL

GCMS_1US_X_STG2.TAB

GCMS_1U_STG2.FMT

GCMS_2UA_STG1.LBL

GCMS_2UA_STG1.TAB

GCMS_2UA_STG2.LBL

GCMS_2UA_STG2.TAB

GCMS_2UA_X_STG1.LBL

GCMS_2UA_X_STG1.TAB

GCMS_2UA_X_STG2.LBL

GCMS_2UA_X_STG2.TAB

GCMS_2US_STG1.LBL

GCMS_2US_STG1.TAB

GCMS_2US_STG2.LBL

GCMS_2US_STG2.TAB

GCMS_2US_X_STG1.LBL

GCMS_2US_X_STG1.TAB

GCMS_2US_X_STG2.LBL

GCMS_2US_X_STG2.TAB

GCMS_2U_STG2.FMT

GCMS_3UA_STG1.LBL

GCMS_3UA_STG1.TAB

GCMS_3UA_STG2.LBL

GCMS_3UA_STG2.TAB

GCMS_3UA_X_STG1.LBL

GCMS_3UA_X_STG1.TAB

GCMS_3UA_X_STG2.LBL

GCMS_3UA_X_STG2.TAB

GCMS_3US_STG1.LBL

GCMS_3US_STG1.TAB

GCMS_3US_STG2.LBL

GCMS_3US_STG2.TAB

GCMS_3US_X_STG1.LBL

GCMS_3US_X_STG1.TAB

GCMS_3US_X_STG2.LBL

GCMS_3US_X_STG2.TAB

GCMS_3U_STG2.FMT

GCMS_4UA_STG1.LBL

GCMS_4UA_STG1.TAB

GCMS_4UA_STG2.LBL

GCMS_4UA_STG2.TAB

GCMS_4UA_X_STG1.LBL

GCMS_4UA_X_STG1.TAB

GCMS_4UA_X_STG2.LBL

GCMS_4UA_X_STG2.TAB

GCMS_4US_STG1.LBL

GCMS_4US_STG1.TAB

GCMS_4US_STG2.LBL

GCMS_4US_STG2.TAB

GCMS_4US_X_STG1.LBL

GCMS_4US_X_STG1.TAB

GCMS_4US_X_STG2.LBL

GCMS_4US_X_STG2.TAB

GCMS_4U_STG2.FMT

GCMS_5UA_STG1.LBL

GCMS_5UA_STG1.TAB

GCMS_5UA_STG2.LBL

GCMS_5UA_STG2.TAB

GCMS_5UA_X_STG1.LBL

GCMS_5UA_X_STG1.TAB

GCMS_5UA_X_STG2.LBL

GCMS_5UA_X_STG2.TAB

GCMS_5UA_Z_STG1.LBL

GCMS_5UA_Z_STG1.TAB

GCMS_5UA_Z_STG2.LBL

GCMS_5UA_Z_STG2.TAB

GCMS_5US_STG1.LBL

GCMS_5US_STG1.TAB

GCMS_5US_STG2.LBL

GCMS_5US_STG2.TAB

GCMS_5US_X_STG1.LBL

GCMS_5US_X_STG1.TAB

GCMS_5US_X_STG2.LBL

GCMS_5US_X_STG2.TAB

GCMS_5US_Z_STG1.LBL

GCMS_5US_Z_STG1.TAB

GCMS_5US_Z_STG2.LBL

GCMS_5US_Z_STG2.TAB

GCMS_5U_STG2.FMT

GCMS_ALL_A_STG1.LBL

GCMS_ALL_A_STG1.TAB

GCMS_ALL_B_STG1.LBL

GCMS_ALL_B_STG1.TAB

GCMS_ALL_STG1.FMT

GCMS_HK_ACK_STG1.FMT

GCMS_HK_A_ACK_STG1.LBL

GCMS_HK_A_ACK_STG1.TAB

GCMS_HK_A_HS_STG1.LBL

GCMS_HK_A_HS_STG1.TAB

GCMS_HK_A_IDLE_STG1.LBL

GCMS_HK_A_IDLE_STG1.TAB

GCMS_HK_A_MS_STG1.LBL

GCMS_HK_A_MS_STG1.TAB

GCMS_HK_A_SOFTWARE_STG1.LBL

GCMS_HK_A_SOFTWARE_STG1.TAB

GCMS_HK_A_TYPE1_STG1.LBL

GCMS_HK_A_TYPE1_STG1.TAB

GCMS_HK_A_TYPE2_STG1.LBL

GCMS_HK_A_TYPE2_STG1.TAB

GCMS_HK_B_ACK_STG1.LBL

GCMS_HK_B_ACK_STG1.TAB

GCMS_HK_B_HS_STG1.LBL

GCMS_HK_B_HS_STG1.TAB

GCMS_HK_B_IDLE_STG1.LBL

GCMS_HK_B_IDLE_STG1.TAB

GCMS_HK_B_MS_STG1.LBL

GCMS_HK_B_MS_STG1.TAB

GCMS_HK_B_SOFTWARE_STG1.LBL

GCMS_HK_B_SOFTWARE_STG1.TAB

GCMS_HK_B_TYPE1_STG1.LBL

GCMS_HK_B_TYPE1_STG1.TAB

GCMS_HK_B_TYPE2_STG1.LBL

GCMS_HK_B_TYPE2_STG1.TAB

GCMS_HK_HS_STG1.FMT

GCMS_HK_IDLE_STG1.FMT

GCMS_HK_IDLE_STG2.LBL

GCMS_HK_IDLE_STG2.TAB

GCMS_HK_MS_STG1.FMT

GCMS_HK_SOFTWARE_STG1.FMT

GCMS_HK_TYPE1_STG1.FMT

GCMS_HK_TYPE2_STG1.FMT

GCMS_HK_TYPE2_STG2.LBL

GCMS_HK_TYPE2_STG2.TAB

GCMS_ISALL_STG1.FMT

GCMS_SWEEPS_A_STG1.LBL

GCMS_SWEEPS_A_STG1.TAB

GCMS_SWEEPS_B_STG1.LBL

GCMS_SWEEPS_B_STG1.TAB

GCMS_SWEEPS_STG1.FMT

GCMS_TELEMETRY_STG1.CSV

GCMS_TELEMETRY_STG1.LBL

GCMS_TOTALS_STG2.LBL

GCMS_TOTALS_STG2.TAB

#### The 20041123_F16 folder (FCO1B) will contain these files.

GCMS_1FS_STG1.LBL

GCMS_1FS_STG1.TAB

GCMS_1FS_STG2.LBL

GCMS_1FS_STG2.TAB

GCMS_1F_STG2.FMT

GCMS_1UA_STG1.LBL

GCMS_1UA_STG1.TAB

GCMS_1UA_STG2.LBL

GCMS_1UA_STG2.TAB

GCMS_1US_STG1.LBL

GCMS_1US_STG1.TAB

GCMS_1US_STG2.LBL

GCMS_1US_STG2.TAB

GCMS_1U_STG2.FMT

GCMS_2UA_STG1.LBL

GCMS_2UA_STG1.TAB

GCMS_2UA_STG2.LBL

GCMS_2UA_STG2.TAB

GCMS_2US_STG1.LBL

GCMS_2US_STG1.TAB

GCMS_2US_STG2.LBL

GCMS_2US_STG2.TAB

GCMS_2U_STG2.FMT

GCMS_3UA_STG1.LBL

GCMS_3UA_STG1.TAB

GCMS_3UA_STG2.LBL

GCMS_3UA_STG2.TAB

GCMS_3US_STG1.LBL

GCMS_3US_STG1.TAB

GCMS_3US_STG2.LBL

GCMS_3US_STG2.TAB

GCMS_3U_STG2.FMT

GCMS_4UA_STG1.LBL

GCMS_4UA_STG1.TAB

GCMS_4UA_STG2.LBL

GCMS_4UA_STG2.TAB

GCMS_4US_STG1.LBL

GCMS_4US_STG1.TAB

GCMS_4US_STG2.LBL

GCMS_4US_STG2.TAB

GCMS_4U_STG2.FMT

GCMS_5UA_STG1.LBL

GCMS_5UA_STG1.TAB

GCMS_5UA_STG2.LBL

GCMS_5UA_STG2.TAB

GCMS_5UA_Z_STG1.LBL

GCMS_5UA_Z_STG1.TAB

GCMS_5UA_Z_STG2.LBL

GCMS_5UA_Z_STG2.TAB

GCMS_5US_STG1.LBL

GCMS_5US_STG1.TAB

GCMS_5US_STG2.LBL

GCMS_5US_STG2.TAB

GCMS_5US_Z_STG1.LBL

GCMS_5US_Z_STG1.TAB

GCMS_5US_Z_STG2.LBL

GCMS_5US_Z_STG2.TAB

GCMS_5U_STG2.FMT

GCMS_ALL_A_STG1.LBL

GCMS_ALL_A_STG1.TAB

GCMS_ALL_B_STG1.LBL

GCMS_ALL_B_STG1.TAB

GCMS_ALL_STG1.FMT

GCMS_HK_ACK_STG1.FMT

GCMS_HK_A_ACK_STG1.LBL

GCMS_HK_A_ACK_STG1.TAB

GCMS_HK_A_HS_STG1.LBL

GCMS_HK_A_HS_STG1.TAB

GCMS_HK_A_IDLE_STG1.LBL

GCMS_HK_A_IDLE_STG1.TAB

GCMS_HK_A_MS_STG1.LBL

GCMS_HK_A_MS_STG1.TAB

GCMS_HK_A_SOFTWARE_STG1.LBL

GCMS_HK_A_SOFTWARE_STG1.TAB

GCMS_HK_A_TYPE1_STG1.LBL

GCMS_HK_A_TYPE1_STG1.TAB

GCMS_HK_A_TYPE2_STG1.LBL

GCMS_HK_A_TYPE2_STG1.TAB

GCMS_HK_B_ACK_STG1.LBL

GCMS_HK_B_ACK_STG1.TAB

GCMS_HK_B_HS_STG1.LBL

GCMS_HK_B_HS_STG1.TAB

GCMS_HK_B_IDLE_STG1.LBL

GCMS_HK_B_IDLE_STG1.TAB

GCMS_HK_B_MS_STG1.LBL

GCMS_HK_B_MS_STG1.TAB

GCMS_HK_B_SOFTWARE_STG1.LBL

GCMS_HK_B_SOFTWARE_STG1.TAB

GCMS_HK_B_TYPE1_STG1.LBL

GCMS_HK_B_TYPE1_STG1.TAB

GCMS_HK_B_TYPE2_STG1.LBL

GCMS_HK_B_TYPE2_STG1.TAB

GCMS_HK_HS_STG1.FMT

GCMS_HK_IDLE_STG1.FMT

GCMS_HK_IDLE_STG2.LBL

GCMS_HK_IDLE_STG2.TAB

GCMS_HK_MS_STG1.FMT

GCMS_HK_SOFTWARE_STG1.FMT

GCMS_HK_TYPE1_STG1.FMT

GCMS_HK_TYPE2_STG1.FMT

GCMS_HK_TYPE2_STG2.LBL

GCMS_HK_TYPE2_STG2.TAB

GCMS_ISALL_STG1.FMT

GCMS_SWEEPS_A_STG1.LBL

GCMS_SWEEPS_A_STG1.TAB

GCMS_SWEEPS_B_STG1.LBL

GCMS_SWEEPS_B_STG1.TAB

GCMS_SWEEPS_STG1.FMT

GCMS_TELEMETRY_STG1.CSV

GCMS_TELEMETRY_STG1.LBL

GCMS_TOTALS_STG2.LBL

GCMS_TOTALS_STG2.TAB

#### The 2005\0114_DESCENT folder (Titan DESCENT) will contain these files.

GCMS_1FA_B2_STG2.LBL

GCMS_1FA_B2_STG2.TAB

GCMS_1FA_L1_STG2.LBL

GCMS_1FA_L1_STG2.TAB

GCMS_1FA_L2_STG2.LBL

GCMS_1FA_L2_STG2.TAB

GCMS_1FA_STG1.LBL

GCMS_1FA_STG1.TAB

GCMS_1FA_STG2.LBL

GCMS_1FA_STG2.TAB

GCMS_1FS_L1_STG2.LBL

GCMS_1FS_L1_STG2.TAB

GCMS_1FS_L2_STG2.LBL

GCMS_1FS_L2_STG2.TAB

GCMS_1FS_STG1.LBL

GCMS_1FS_STG1.TAB

GCMS_1FS_STG2.LBL

GCMS_1FS_STG2.TAB

GCMS_1F_STG2.FMT

GCMS_1UA_B2_STG2.LBL

GCMS_1UA_B2_STG2.TAB

GCMS_1UA_B3_STG2.LBL

GCMS_1UA_B3_STG2.TAB

GCMS_1UA_L1_STG2.LBL

GCMS_1UA_L1_STG2.TAB

GCMS_1UA_L2_GRABGC1_STG2.LBL

GCMS_1UA_L2_GRABGC1_STG2.TAB

GCMS_1UA_L2_STG2.LBL

GCMS_1UA_L2_STG2.TAB

GCMS_1UA_L3_RGEC_STG2.LBL

GCMS_1UA_L3_RGEC_STG2.TAB

GCMS_1UA_STG1.LBL

GCMS_1UA_STG1.TAB

GCMS_1UA_STG2.LBL

GCMS_1UA_STG2.TAB

GCMS_1US_B1_STG2.LBL

GCMS_1US_B1_STG2.TAB

GCMS_1US_B2_STG2.LBL

GCMS_1US_B2_STG2.TAB

GCMS_1US_B3_STG2.LBL

GCMS_1US_B3_STG2.TAB

GCMS_1US_L1_GRABEC_STG2.LBL

GCMS_1US_L1_GRABEC_STG2.TAB

GCMS_1US_L1_STG2.LBL

GCMS_1US_L1_STG2.TAB

GCMS_1US_L2_GRABGC1_STG2.LBL

GCMS_1US_L2_GRABGC1_STG2.TAB

GCMS_1US_L2_GRABGC2_STG2.LBL

GCMS_1US_L2_GRABGC2_STG2.TAB

GCMS_1US_L2_GRABGC4_STG2.LBL

GCMS_1US_L2_GRABGC4_STG2.TAB

GCMS_1US_L2_STG2.LBL

GCMS_1US_L2_STG2.TAB

GCMS_1US_L3_RGEC_STG2.LBL

GCMS_1US_L3_RGEC_STG2.TAB

GCMS_1US_L3_RG_STG2.LBL

GCMS_1US_L3_RG_STG2.TAB

GCMS_1US_STG1.LBL

GCMS_1US_STG1.TAB

GCMS_1US_STG2.LBL

GCMS_1US_STG2.TAB

GCMS_1U_STG2.FMT

GCMS_2UA_S1_STG2.LBL

GCMS_2UA_S1_STG2.TAB

GCMS_2UA_S2_STG2.LBL

GCMS_2UA_S2_STG2.TAB

GCMS_2UA_S5_STG2.LBL

GCMS_2UA_S5_STG2.TAB

GCMS_2UA_STG1.LBL

GCMS_2UA_STG1.TAB

GCMS_2UA_STG2.LBL

GCMS_2UA_STG2.TAB

GCMS_2US_S1_STG2.LBL

GCMS_2US_S1_STG2.TAB

GCMS_2US_S2_STG2.LBL

GCMS_2US_S2_STG2.TAB

GCMS_2US_S3_STG2.LBL

GCMS_2US_S3_STG2.TAB

GCMS_2US_S4_STG2.LBL

GCMS_2US_S4_STG2.TAB

GCMS_2US_S5_STG2.LBL

GCMS_2US_S5_STG2.TAB

GCMS_2US_S6_STG2.LBL

GCMS_2US_S6_STG2.TAB

GCMS_2US_STG1.LBL

GCMS_2US_STG1.TAB

GCMS_2US_STG2.LBL

GCMS_2US_STG2.TAB

GCMS_2U_STG2.FMT

GCMS_3UA_S2_STG2.LBL

GCMS_3UA_S2_STG2.TAB

GCMS_3UA_STG1.LBL

GCMS_3UA_STG1.TAB

GCMS_3UA_STG2.LBL

GCMS_3UA_STG2.TAB

GCMS_3US_S10_STG2.LBL

GCMS_3US_S10_STG2.TAB

GCMS_3US_S1_STG2.LBL

GCMS_3US_S1_STG2.TAB

GCMS_3US_S2_STG2.LBL

GCMS_3US_S2_STG2.TAB

GCMS_3US_S3_STG2.LBL

GCMS_3US_S3_STG2.TAB

GCMS_3US_S4_STG2.LBL

GCMS_3US_S4_STG2.TAB

GCMS_3US_S5_STG2.LBL

GCMS_3US_S5_STG2.TAB

GCMS_3US_S6_STG2.LBL

GCMS_3US_S6_STG2.TAB

GCMS_3US_S7_STG2.LBL

GCMS_3US_S7_STG2.TAB

GCMS_3US_S8_STG2.LBL

GCMS_3US_S8_STG2.TAB

GCMS_3US_S9_STG2.LBL

GCMS_3US_S9_STG2.TAB

GCMS_3US_STG1.LBL

GCMS_3US_STG1.TAB

GCMS_3US_STG2.LBL

GCMS_3US_STG2.TAB

GCMS_3U_STG2.FMT

GCMS_4US_S10_STG2.LBL

GCMS_4US_S10_STG2.TAB

GCMS_4US_S1_STG2.LBL

GCMS_4US_S1_STG2.TAB

GCMS_4US_S2_STG2.LBL

GCMS_4US_S2_STG2.TAB

GCMS_4US_S3_STG2.LBL

GCMS_4US_S3_STG2.TAB

GCMS_4US_S4_STG2.LBL

GCMS_4US_S4_STG2.TAB

GCMS_4US_S5_STG2.LBL

GCMS_4US_S5_STG2.TAB

GCMS_4US_S6_STG2.LBL

GCMS_4US_S6_STG2.TAB

GCMS_4US_S7_STG2.LBL

GCMS_4US_S7_STG2.TAB

GCMS_4US_S8_STG2.LBL

GCMS_4US_S8_STG2.TAB

GCMS_4US_S9_STG2.LBL

GCMS_4US_S9_STG2.TAB

GCMS_4US_STG1.LBL

GCMS_4US_STG1.TAB

GCMS_4US_STG2.LBL

GCMS_4US_STG2.TAB

GCMS_4U_STG2.FMT

GCMS_5US_STG1.LBL

GCMS_5US_STG1.TAB

GCMS_5US_STG2.LBL

GCMS_5US_STG2.TAB

GCMS_5U_STG2.FMT

GCMS_ALL_B_STG1.LBL

GCMS_ALL_B_STG1.TAB

GCMS_ALL_STG1.FMT

GCMS_HK_ACK_STG1.FMT

GCMS_HK_B_ACK_STG1.LBL

GCMS_HK_B_ACK_STG1.TAB

GCMS_HK_B_HS_STG1.LBL

GCMS_HK_B_HS_STG1.TAB

GCMS_HK_B_IDLE_STG1.LBL

GCMS_HK_B_IDLE_STG1.TAB

GCMS_HK_B_MS_STG1.LBL

GCMS_HK_B_MS_STG1.TAB

GCMS_HK_B_TYPE1_STG1.LBL

GCMS_HK_B_TYPE1_STG1.TAB

GCMS_HK_B_TYPE2_STG1.LBL

GCMS_HK_B_TYPE2_STG1.TAB

GCMS_HK_HS_STG1.FMT

GCMS_HK_HS_STG2.LBL

GCMS_HK_HS_STG2.TAB

GCMS_HK_IDLE_STG1.FMT

GCMS_HK_IDLE_STG2.LBL

GCMS_HK_IDLE_STG2.TAB

GCMS_HK_MS_STG1.FMT

GCMS_HK_MS_STG2.LBL

GCMS_HK_MS_STG2.TAB

GCMS_HK_TYPE1_STG1.FMT

GCMS_HK_TYPE2_STG1.FMT

GCMS_HK_TYPE2_STG2.LBL

GCMS_HK_TYPE2_STG2.TAB

GCMS_ISALL_STG1.FMT

GCMS_SWEEPS_B_STG1.LBL

GCMS_SWEEPS_B_STG1.TAB

GCMS_SWEEPS_STG1.FMT

GCMS_TELEMETRY_STG1.CSV

GCMS_TELEMETRY_STG1.LBL

GCMS_TOTALS_STG2.LBL

GCMS_TOTALS_STG2.TAB

#### The DTWG_MOLE_FRACTION folder will contain these files.

GCMS_MOLE_FRACTION_STG2.LBL

GCMS_MOLE_FRACTION_STG2.TAB