Mars Express Bistatic Radar Experiment

Operations Plan and Report

21 April 2006

Summary

=======

DSN Antenna:                                          43

Pass:                                               1056

Orbit:                                              2923

Orbit Start Time:                    2006-04-21T00:22:28

HGA Pointing:                                   Inertial

Specular Condition (ERT):                          05:50

Target Latitude (deg N):                           -1.96

Longitude (deg E):                        -162.70

Rp (km):                                 3392.979

Incidence/Reflection Angle (deg):                  38.04

Slant Range (km):                                   8535

Slew Angle (deg):                                 103.99

Doppler (carrier, fd; Hz):                         15056

Doppler (echo, fr; Hz):                           -20319

Doppler Difference (fdd; Hz):                      35375

Earth-Mars Distance (m):                       2.740E+11

Experiment Set Up

=================

This experiment was conducted using the Canberra 70-m antenna, the first BSR activity at DSS 43 since July 2005.  The RSSG support team included Danny Kahan, Gene Goltz, Roberto Aguilar, and Dick Simpson; Don Fleischman was also in the area.  Jesse Velasco was the NOPE.  Goltz operated all of the RSR's from a single console.  Kahan handled communications.

Performance Problems and Notes

==============================

After the July 2005 BSR, the DSS 43 switches and cabling were changed.  It was apparent by Step-03 of the pre-cal that the briefing message, which had been based on the old assignments, was not working.  Both S-Band RSR's were receiving the same signal (probably S-RCP).  Later, the station reported that it was having problems connecting the closed loop receivers (needed to control the noise diodes).  Later still (at Step-08 in the pre-cal procedure), it was clear that both X-Band signals were the same.

Maintenance personnel were called and, together with operators and the NOPE, were able to sort out the configuration issues.  According to Velasco, the commands to connect the S-Band closed loop receiver to ports "O5" and "O6" should have referred to "O1" and "O2" instead.  The correction for X-Band (if any) was less clear.  And the reasons for duplicate signals on orthogonal polarizations was never really discussed.  Velasco said he would review the situation with JPL operations personnel the next day and distributed a corrected briefing message before the experiment on 2006/113.

During the course of the pre-cal, there appeared to be several steps in which noise diodes were erroneously left enabled.  These were cleared during the first MiniCal, though why these commands worked and the earlier ones didn't is not known.

During the second MiniCal, the X-RCP noise diode appeared to come on at one level, then its power increased when RSSG asked for confirmation that the 12.5K noise diode had been selected.

No echoes were seen in real time.  Weak residual carriers were visible in 8 kHz spectra (not recorded).  There is evidence for a weak X-LCP echo signal in the quick-look sample power versus time plot.

Data Acquisition

================

RSRs were configured as in Table 1:

Table 1

----------------------------------------------------

RSR  Channel Mode  ATT FGAIN        Operator

dB

----- ------- ---- ---- ----- ----------------------

RSR1A  S-LCP   1-W auto   60    Goltz

RSR1B  X-LCP   1-W auto   60    Goltz

RSR2A  S-RCP   1-W auto   60    Goltz

RSR2B  X-RCP   1-W auto   60    Goltz

RSR subchannels (SCHAN) were defined as follows:

Table 2

----------------------------------------------------------------------

Subchannel  Sample Rate  Comments

----------  -----------  ---------------------------------------------

1          1 ksps   backup (not recorded)

2          8 ksps   backup (not recorded)

3         25 ksps   Primary recording bandwidth

4        100 ksps   Backup recording

Table 3 lists ADC amplitude levels read from RSR displays during the experiment.  Times are in UTC and should be considered approximate.  "Steps" are as defined in the briefing message.  RSR ATT settings are in units proportional to dB.  Acronyms and abbreviations are explained after Table 3.

Table 3

-----------------------------------------------------------------------------

Step/  RSR1A  RSR1B  RSR2A  RSR2B

Time  Action  S-LCP  X-LCP  S-RCP  X-RCP  Ancillary Information

----- -------- -----  -----  -----  -----  ----------------------------------

FRO      0      0      0      0   RSR frequency offset (Hz)

********************************** PRE-CAL **********************************

03:03                                      AMB physical temps:

S1=18.19

S2=19.56

X1=21.31

Weather conditions:

T=11C

H=34 percent

sky=clear

Begin 25 kHz recording, but data

not useful until 03:44

03:43    ATT    21.5   27.0   12.5   25.0  Attenuator auto reset

03:50     05    -9.8   -9.9  -10.1   -9.8  Configure DTT's for ND control

03:51     06    -9.8   -8.9  -10.0   -9.1  XR ND ON

03:54     07    -9.9  -15.9   -9.9  -16.0  X-Band to sky; XL ND is on?

04:00     08    -9.9  -22.4   -9.9  -23.7  XR ND off (also XL?)

04:27     09    -9.9  -18.6  -10.0  -15.8  XL ND ON (XR ND also went on!)

04:28     10   -10.0  -11.0  -10.0  -15.8  X-Band to AMB (XR followed later)

AMB physical temps:

S1=19.81

S2=20.25

X1=21.12

04:29     11    -9.8  -11.4  -10.0   -9.0  XL ND OFF

04:31     12    -9.8  -23.7  -10.0  -15.7  X-Band to sky (XR ND still on?)

04:33     13    -9.6  -23.5   -9.8  -15.7  SR ND ON

04:34     14    -9.6  -23.6  -19.7  -15.9  SR to sky

04:35     11    -9.7  -23.6  -19.7  -15.8  Repeat 11 to clear XR ND (failed)

04:42     15    -9.9  -23.7  -19.8  -15.9  SR ND OFF (but no change)

04:43     16    -9.6  -23.6  -19.5  -15.8  SL ND ON

04:45     17   -18.7  -23.6  -19.7  -15.8  SL to sky

04:46     18   -21.4  -23.7  -19.6  -15.9  SL ND OFF

04:50     18.1 -21.4  -23.6  -19.6  -15.8  Repeat line 1 of Step 18 to clear

SR ND (failed)

AMB physical temps:

S1=20.06

S2=20.38

X1=21.12

*************************** BOT, BCAL #1, SLEW #1 ***************************

04:55     BOT                 -800  -3000  Carrier offset (Hz)

04:59                 -3000                Carrier offset (Hz)

05:00     FRO  -5200 -18000  -5200 -18000  25 kHz rcvr offset (SCHAN=3; Hz)

FRO  -5200 -38000  -5200 -38000  100 kHz rcvr offset (SCHAN=4; Hz)

********************************_MINI-CAL #1 ********************************

05:01      1   -20.7  -23.0  -19.4  -15.3  XR ND ON (no change)

05:08      2   -20.6  -23.0  -19.3  -20.6  XR ND OFF (yes!)

SR ND ON (no change)

05:12      3   -20.7  -18.5  -21.4  -20.7  SR ND OFF (yes!); XL ND ON

05:14      4   -18.4  -22.9  -21.4  -20.6  XL ND OFF; SL ND ON

05:17      5   -20.7  -22.9  -21.5  -20.4  SL ND OFF

************************************ BSR ************************************

05:25                                      Wk X carrier at -3200 Hz (SCHAN=2)

05:35                                      Begin 100 kHz recording (SCHAN=4)

06:05                                      End 100 kHz recording

*********************** SLEW #2, MINICAL #2, BCAL #2 ************************

06:24          -20.9  -23.1  -21.5  -20.7  ADC levels before Mini-Cal #2

06:25      1   -20.8  -23.0  -21.4  -18.5  XR ND ON

06:26      2   -20.9  -23.2  -21.2  -15.4  XR ND OFF, SR ND ON

06:29      3   -20.8  -23.1  -19.2  -20.7  SR ND OFF, XL ND ON

06:32      4   -20.9  -18.6  -21.6  -20.7  XL ND OFF, SL ND ON

06:35      5   -18.5  -23.0  -21.5  -20.6  SL ND OFF

06:45     FRO     0      0      0      0   All rcvr frequency offsets to 0

06:46                          34     37   Carrier (dB/Hz)

-1429  -3243  Carrier offset (Hz)

06:50                         44.5    67   Carrier (dB/Hz)

-1429  -3241  Carrier offset (Hz)

07:01     EOT                              End track

********************************* POST-CAL *********************************

07:07                                      Antenna at zenith

07:10      1                               All to AMB

07:11                                      AMB physical temps:

S1=20.88

S2=21.38

X1=21.12

07:15      2    -9.8  -11.4  -10.1   -9.0  XR ND ON

07:18      3    -9.9  -11.3   -9.9   -9.9  XR ND OFF, SR ND ON

07:21      4    -9.7  -10.9  -10.1   -9.9  SR ND OFF, XL ND ON

07:24      5    -9.5  -11.4  -10.2   -9.8  XL ND OFF, SL ND ON

07:28      6   -18.6  -23.6  -22.0  -22.2  All to sky

07:30      7   -21.2  -18.5  -21.9  -22.4  SL ND OFF, XL ND ON

07:33      8   -21.3  -23.6  -19.7  -22.3  XL ND OFF, SR ND ON

07:36      9   -21.1  -23.5  -22.1  -15.7  SR ND OFF, XR ND ON

07:39     10   -21.2  -23.6                XR ND OFF

AMB physical temps:

S1=20.75

S2=21.31

X1=21.12

07:40                                      Weather conditions:

T=10C

H=41 percent

sky=fine, clear

07:45                                      End 25 kHz recordings

AMB = ambient load

BOT = Beginning of Track

CNR = Carrier to noise ratio

CONSCAN = conical scan tracking

CW = continuous wave (carrier only)

EOT = End of Track

FRO = frequency offset

HGA = high-gain antenna

LOS = loss of signal

ND = noise diode

No = noise power

Pc = carrier power

S1 = ambient load for S-RCP

S2 = ambient load for S-LCP

SL = S-LCP

SNR = Signal to noise ratio

SR = S-RCP

TLM = telemetry

X1 = Ambient load for both X-band channels

XL = X-LCP

XR = X-RCP

Dick Simpson

Original: 2006-04-29

Minor edits: 2006-07-07