Mars Express Bistatic Radar Experiment

Operations Plan and Report

12 August 2010

Summary

=======

DSN Antenna:                                                     63

Orbit:                                                         8460

Orbit Start Time:                               2010-08-06T14:25:16

HGA Pointing:                                              Specular

Start    Mid Point      End

--------  ----------  --------

Specular Condition (ERT):               16:43      17:01      17:20

Target Latitude (deg N):                17.38     -10.94       8.98

Longitude (deg E):               52.78     133.25      48.19

Rp (km):                         3394.      3394.      3394.

Incidence/Reflection Angle (deg):       53.09      61.84      56.40

Slant Range (km):                       8019.      5008.      6879.

Slew Angle (deg):                       73.82      56.32      67.19

Doppler (carrier, fd; Hz):            -15648.    -14766.    -14940.

Doppler (echo, fr; Hz):                23662.     28833.     27127.

Doppler Difference (fdd; Hz):         -39309     -43599.    -42067.

Earth-Mars Distance (m):            3.078E+11  3.078E+11  3.078E+11

Experiment Set Up

=================

This experiment was conducted using the Madrid DSS 63.  Danny Kahan and Gene Goltz were in the Radio Science Support Area (RSSA) at JPL.  This report is largely based on notes provided by Goltz and Kahan.

Performance Problems and Notes

==============================

The S-RCP maser was not correctly tuned at the beginning of the activity.  The problem was recognized when tracking began.  Station personnel retuned the maser at approximately 16:15; Goltz and Kahan reset the S-RCP RSR attenuation immediately after.  Operations appear to be nominal after that point.  The S-RCP pre-cal data are not useful; but everything starting with Mini-Cal #1 should be OK.  The problem was documented in DR #M105891.

Data Acquisition

================

RSRs were configured as in Table 1.

Table 1

-----------------------------------------------------

RSR   Channel Mode  ATT FGAIN        Operator

dB

------ ------- ---- ---- ----- ----------------------

WVSR1A  S-LCP   1-W auto   60    UNK

WVSR1B  X-LCP   1-W auto   60    UNK

RSR2A   S-RCP   1-W auto   60    UNK

RSR2B   X-RCP   1-W auto   65    UNK

RSR subchannels (SCHAN) were defined as follows:

Table 2

----------------------------------------------------------------------

Subchannel  Sample Rate  Comments

----------  -----------  ---------------------------------------------

1          2 ksps   Occultation bandwidth (not recorded for BSR)

2          8 ksps   Occultation backup (not recorded for BSR)

3         25 ksps   Primary recording bandwidth

4        100 ksps   Backup recording

Table 3 lists ADC amplitude levels read from RSR displays during the experiment.  Times are in UTC and should be considered approximate.  Steps are as defined in the briefing message.  RSR ATT settings are in units proportional to dB.  Acronyms and abbreviations are explained after Table 3.

Table 3

-----------------------------------------------------------------------------

Activity  Time   Step #  S-LCP  X-LCP  S-RCP  X-RCP  Notes / Comments

2010/218                 RSR1A  RSR1B  RSR2A  RSR2B

-------- ----- --------- -----  -----  -----  -----  ------------------------

Set-Up   13:15   FGAIN      60     60     60     65  FGAIN settings (dB)

Pre-Cal  13:39     1      -2.1  -15.2  -12.6   -9.6  Confirm ND disabled

13:50  att auto  -9.8   -9.7  -10.5  -10.2  Auto-reset attenuators

17.0   17.5    4.0   26.5  Attenuator settings (dB)

13:52     2      -9.8   -0.4  -10.6   -0.3  ADC amplitudes (dB)

13:53     3      -0.7   -0.3  -10.5   -0.3

13:54    4,5     -0.7   -0.4   -0.8   -0.4

13:55  att auto  -9.9   -9.7  -10.2   -3.5  Auto-reset attenuators

28.0   29.0   15.0   31.5  Attenuator settings (dB)

Ambient load phys temps:

S1=21.00

S2=25.69

X1=16.12

Local weather:

T=30.9C

H=26.6 percent

sky=clear

13:58  rec 3 e                              Begin 25 kHz recording

13:58     6     -10.1   -9.8  -10.2   -3.5  ADC amplitudes (dB)

14:05     7     -10.0   -9.7  -10.1   -3.4

14:10     8      -9.0  -21.3  -10.2  -12.8

14:15     9      -9.9  -21.3  -10.6  -15.3

14:20    10     -10.0  -19.4  -10.3  -15.2  Confirm 12.5K ND

14:25   11,12    -9.9   -9.5  -10.2   -3.4  Ambient load phys temps:

S1=21.12

S2=25.95

X1=16.12

14:30    13      -9.9   -9.7  -10.3   -3.4

14:35    14      -9.9  -21.2  -10.2  -15.2

14:40    15      -9.8  -21.2  -10.0  -15.3

14:45    16     -10.0  -21.2  -19.8  -15.4

14:50    17     -10.0  -21.1  -21.5  -15.2  Failed confirm 12.5K ND

15:00    17                                 Confirmed 12.5K ND

15:05    18      -9.6  -21.2  -21.5  -15.3

15:10    19     -18.5  -21.2  -21.5  -15.3

15:15    20     -21.2  -21.3  -21.6  -15.3  Ambient load phys temps:

S1=21.56

S2=26.44

X1=16.19

15:20  21/end   -21.1  -21.3  -21.7  -15.4  Stop 25 kHz recording

BOT      15:45           -21.0  -20.9  -21.5  -13.9  Collecting TLM to 16:02

16:03  rec 3 e                              Resume 25 kHz recording

16:15                          31.5         S-RCP maser returned;

new attenuator setting

16:18           -20.9  -20.9  -20.3  -13.9  DSS 63 to Mars pointing

16:20 sfro 3/SX   +5K   +38K    +5K   +38K  Rcvr tuning offset (Hz)

sfro 4/X          +20K          +20K  Rcvr tuning offset (Hz)

MiniCal1 16:22     1     -20.9  -20.9  -20.4  -12.3  Confirm 12.5K ND

16:25     2     -20.8  -20.9  -18.6  -14.2

16:28     3     -20.9  -19.0  -20.4  -14.3

16:31     4     -18.3  -20.8  -20.4  -14.1

16:34     5     -20.9  -20.8  -20.3  -14.1

16:37    end    -20.8  -20.9  -20.4  -14.2

BSR      16:43  rec 4 e  -20.9  -20.8  -20.3  -14.1  Begin 100 kHz recording

end BSR  17:20  rec 4 d  -20.8  -20.8  -20.3  -13.0  End 100 kHz recording

MiniCal2 17:23     1     -20.5  -20.7  -20.2  -12.1  Confirm 12.5K ND

17:26     2     -20.5  -20.7  -18.6  -14.0

17:29     3     -20.6  -19.0  -20.2  -13.9

17:32     4     -18.1  -20.7  -20.1  -13.9

17:35     5     -20.6  -20.7  -20.2  -13.9

17:38    end    -20.7  -20.7  -20.0  -13.8

17:39 sfro 3/SX     0      0      0      0  Rcvr tuning offset (Hz)

DSS 63 to s/c pointing

EOT      17:47   stow    -20.8  -20.7  -20.1  -13.7  ADC amplitudes (dB)

PostCal  17:52     1      -9.9   -9.7   -9.7   -3.4  Ambient load phys temps:

S1=21.69

S2=26.81

X1=16.38

17:56     2     -10.0   -9.6   -9.7   -3.3

17:59     3      -9.8   -9.6   -9.5   -3.5

18:02     4      -9.9   -9.4   -9.7   -3.5

18:05     5      -9.5   -9.6   -9.6   -3.3

18:08     6     -18.3  -21.1  -20.3  -15.2

18:11     7     -21.2  -19.3  -20.4  -15.1

18:14     8     -21.1  -21.2  -18.7  -15.2

18:17     9     -21.1  -21.2  -20.4  -12.9

18:20    10     -21.1  -21.1  -20.4  -15.1  Ambient load phys temps:

S1=21.44

S2=26.69

X1=16.31

Local weather:

T=29.5C

H=32.6 percent

sky=clear

EOA      18:25  11/end   -21.0  -21.3  -20.4  -15.2  End 25 kHz recording

AMB = ambient load

BOT = Beginning of Track

BW = bandwidth

CNR = Carrier to noise ratio

CONSCAN = conical scan tracking

CW = continuous wave (carrier only)

EOA = End of activity

EOT = End of Track

FRO = frequency offset

HGA = high-gain antenna

LOS = loss of signal

ND = noise diode

No = noise power

NOP = Network Operations Plan

occn = occukltation

Pc = carrier power

rcvr = receiver

S1 = ambient load for S-RCP

S2 = ambient load for S-LCP

s/c = spacecraft

SL = S-LCP

SNR = Signal to noise ratio

SR = S-RCP

TLM = telemetry

X1 = Ambient load for both X-band channels

XL = X-LCP

XR = X-RCP

Post Analysis Summary

X-Band Power: X-Band data were processed to power spectra with 60 second averaging (sums of 1464 individually calculated 1024-point spectra).  The 86 minutes of 25 kHz data were divided into 10 time intervals -- four with split echoes (caused by receiver tuning offset changes, FRO) and eight during which the echo drifted within the passband at fixed FRO.

The directly propagating carrier did not appear in the 25 kHz passband until the last 14 spectra; except for these 14 spectra, the carrier tracking window was used to find the frequency bin with maximum echo power.  Carrier suppression was used to process spectra 80-86 since the returning carrier was between the two components of the surface echo in the first and was within the echo power computation window of the others.

Int       Times       Spectra   Noise  Bins     Echo      Echo Bins    Notes

Peak

--- ----------------- ------- --------------- ------- ---------------- ------

A     06:50-07:38     01-48  104:455,785:916 460:780      460:780

B     07:38-07:48     49-58  104:160,785:916 460:780 460:660->164:410

BC    07:48-07:49       59   104:160,765-916 165:760      165:760       [1]

C     07:49-07:56     60-66  104:160,720:916 165:715 460:710->164:420

CD    07:56-07:57       67   104:160,765:916 165:760      165:760       [1]

D     07:57-08:02     68-72  104:160,720:916 165:715 410:710->164:450

Int       Times       Spectra   Noise  Bins   Carrier     Echo Bins    Notes

Peak

--- ----------------- ------- --------------- ------- ---------------- ------

DE    08:02-08:03       73   104:160,785:916 079:083      164:780      [1,2]

E     08:03-08:09     74-79  104:160,740:916 079:083 460:730->164:450   [2]

EF    08:09=08:10       80   104:160,700:916 365:369      165:695      [1-3]

F     08:10-08:16     81-86  104:250,640:916 365:369 400:630->275:510   [3]

Notes: [1] Split echo resulting from change in X-Band receiver tuning offset

[2] Carrier at bin 81

[3] Carrier at bin 367

S-Band Power: S-Band data were processed in the same way.  The echo signals were weak so two different integrations were used (60 s and 360 s -- first three rows and second three rows, respectively, in the table below).  The directly propagating carrier was in frequency bin 246 for the entire observation.

Int       Times       Spectra   Noise  Bins   Carrier     Echo Bins    Notes

Peak

--- ----------------- ------- --------------- ------- ---------------- ------

A     06:50-07:38     01-48  250:630,830:916 244:248      635:825

B     07:38-08:08     49-78  104:245,815:916 244:248 640:880->250:400

C     08:08-08:16     79-86  104:240,380:916 244:248 260:360->220:300   [1]

A     06:50-07:38     01-08  250:630,830:916 244:248      635:825

B     07:38-08:08     09-13  104:240,780:916 244:248 610:840->250:380

C     08:08-08:14       14   104:240,380:916 244:248      250:350

Notes: [1] Carrier suppression was used to calculate echo power.  The carrier

Was located.  The power in that frequency bin and its two

neighbors on either side were set to values interpolated from the

neighbors beyond.

Dick Simpson

Original: 2010-08-16