Notes on GCMS Overheads:  Data Printouts

PHD:

date:  10/8/96; data file:  100896.d00

book XXII, p.  93 (index XXII-2)

multiplier:  A			voltage:  -2500 V

Mass scan:

date:  8/4/96; data file:  gs0061 (minus background scan, gs0011)

book XX , p. 114 (index XX-4)

Ion source 1			Leak 2

75 mbar of nitrogen mixture with light hydrocarbons

(mixture number 1 on the overhead with mixtures listed)

flight electronics

GCMS traces:

date:  4/30/96;	data file:  ms3023;	  book V, p. 149 (index V-9)

Ion source 5

0.512 bar of helium mixture with light hydrocarbons

(mixture number 6 on the overhead with mixtures listed)

Sample volume 2;		VG2 squirt = 250 ms

trace 29:  propane, ethane

trace 56:  1-hexene

trace 78:  benzene

GCMS overlay trace:

date:  5/3/96;	data file:  ms3083;	book VII, p. 74 (index VII-6)

Ion source 5

0.201 bar of nitrogen mixture with light hydrocarbons

(mixture number 1 on the overhead with mixtures listed)

Sample volume 2;		VG2 squirt = 500 ms

trace 29:  propane, ethane, butane

trace 14:  nitrogen

cc 10/31/96