|  | HUYGENS NASA PDS and ESA PSA Interface Control Document | Document No. Issue/Rev. No. Date Page | : [HP-DISR-EAICD-1] : 30 Jan 2007 : |
| --- | --- | --- | --- |

European Space Agency

Research and Science Support Department

Planetary Missions Division

Huygens-DISR NASA PDS and ESA PSA Interface Control Document [HP-DISR-EAICD-1]

______________________________

Prepared by:  Lisa McFarlane

__________________________

Approved by: Martin Tomasko
__________________________

Approved by: Lyle Huber

Table of Contents

1.0  Introduction

1.1  Purpose and Scope
	1.2  Contents

1.3  Intended Readership

1.4  Applicable Documents

1.5  Relationships to Other Interfaces

1.6  Acronyms and Abbreviations

1.7  Contact Names and Addresses

2.0  Overview of Process and Product Generation

2.1  Pre-Flight Data Products

2.2  Sub-System Tests

2.3  Instrument Calibrations

2.4  Other Files written during Calibration

2.5  In-Flight Data Products

2.6  Software

2.7  Documentation

2.8  Derived and other Data Products

3.0  Archive Format and Content

3.1 Format and Conventions

3.1.1  Deliveries and Archive Volume Format

3.1.2  Data Set ID Formation

3.1.3  Data Directory Naming Convention

3.1.4  Filenaming Convention

3.2 Standards Used in Data Product Generation

3.2.1  PDS Standards

3.2.2  Time Standards

3.2.3  Reference Systems

3.2.4  Other Applicable Standards

3.3 Data Validation

3.4 Content

3.4.1 Volume Set

3.4.2 Data Set

3.4.3 Directories

3.4.3.1 Root Directory

3.4.3.2 Calibration Directory

3.4.3.3 Catalog Directory

3.4.3.4 Index Directory

3.4.3.5 Browse Directory and Browse Files

3.4.3.6  Geometry Directory

3.4.3.7 Software Directory

3.4.3.8 Gazetter Directory

3.4.3.9 Label Directory

3.4.3.10 Document Directory

3.4.3.11 Extras Directory

3.4.3.12 Data Directory

4. Detailed Interface Specifications

4.1 Structure and Organization Overview

4.2 Data Product Design

4.3 SAMPLE LABELS

4.3.1 DARK LABEL

4.3.2 DESCENT LABEL

4.3.3 HKEEPING LABEL

4.3.4 IMAGE LABEL

4.3.5 IR LABEL

4.3.6 LAMP LABEL

4.3.7 SOLAR LABEL

4.3.8 STRIP LABEL

4.3.9 SUN LABEL

4.3.10 TIME LABEL

4.3.11 VIOLET LABEL

4.3.12 VISIBLE LABEL

4.3.13 VISIBLE_EX LABEL

4.3.14 IMAGE DISPLAY LABEL

# 4.4 Instrument Temperature (Thermistor Reading) Description

# 4.5 Solar Aureole Columns, Rows, Filters, and Polarization

4.6 Description of Possible values for Detector_ID keyword

4.7 Description of Possible values for Cycle Type

1. Introduction

1.1  Purpose and Scope

The EAICD (Experimenter to Archive Interface Control Document) describes the DISR data and documentation submitted to the ESA PSA and the NASA PDS.

1.2  Contents

This document describes the data flow of the DISR instrument on the Huygens Probe.  It includes information on how data were processed, formatted, labeled and uniquely identified. The document discusses general naming schemes for data volumes, data sets, data and label files. Standards used to generate the product are explained.

1.3  Intended Readership

The staff of archiving authority (Planetary Data System for NASA, Planetary Science Archive for ESA) design team and any potential user of the DISR data.

1.4  Applicable Documents

1.5  Relationships to Other Interfaces

This document completely describes the DISR data and documentation as submitted to the NASA PDS and ESA PSA.  In the event that there is any conflict between this document and any other Cassini or Huygens data archiving document, this document will take precedence.

1.6  Acronyms and Abbreviations

ASCII = American Standard Code for Information Interchange

DCT = Discrete Cosine Transformation

DDB = Descent Data Broadcast

DISR = Descent Imager/Spectral Radiometer

DLIS = Downward-looking Infrared Spectrometer

DLV = Downward-looking Violet Photometer

DLVS = Downward-looking Visible Spectrometer

DTWG = Descent Trajectory Working Group

EAICD = Experimenter to Archive Interface Control Document

ESA = European Space Agency

ESOC = European Space Operation Center

HRI = High_Resolution Imager

IR = Infrared Wavelengths

ITAR = International Traffic and Arms Regulations

JPL = Jet Propulsion Laboratory

MRI = Medium Resolution Imager

NASA = National Aeronautics and Space Administration

N/A = not applicable or not available

PDF = Adobe Acrobat Format Documents

PDS = Planetary Data System

PNG = Portable Network Grahpics

PSA = Planetary Science Archive

SLI = Side-Looking Imager

SSL = Surface Science Lamp

T0 = time in the mission when pyros fire and the DDB is reset to 0

ULIS = Upward-looking Infrared Spectrometer

ULV = Upward-looking Violet Photometer

ULVS = Upward-looking Visible Spectrometer

XDR = External Data Representation Standard

1.7 Contact Names and Addresses

Name	Affiliation  	Phone #	email address

Lisa McFarlane	DISR	+1 520 621-8686	lmcfar@lpl.arizona.edu

Marty Tomasko	DISR	+1 520 621-6969	mtomasko@lpl.arizona.edu

Lyn Doose	DISR	+1 520 621-2127	ldoose@lpl.arizona.edu

Chuck See	DISR	+1 520 621-1097	csee@lpl.arizona.edu

Lyle Huber	PDS	+1 505 646-1862	lhuber@nmsu.edu

Diane Conner 	JPL	+1 818 354-8586	Diane.Conner@jpl.nasa.gov

Jean-Pierre Lebreton	ESA 	+31 71 565-3600	Jean-Pierre.Lebreton@rssd.esa.int

2.  Overview of Process and Product Generation

The following chart describes the data flow from the Cassini spacecraft to the archive.

DISR data is first processed on-board by the flight software.  Various operations are performed (depending on the source of the data) to group the data into DISR data sets.  This is explained in greater detail in the Experiment Users Manual (in the DOCUMENT folder called EXP_USERS_MANUAL_REV_C.PDF).  For more information see also SP1177.PDF (in the DOCUMENTS folder) and Space Science Reviews 104:  469-551, 2002.

A data set is a single exposure of a single data product (data products are as defined in this document).  A data cycle is a grouping of a set of measurements associated with a science goal.  Thus, a group of data sets comprises a data cycle, which constitutes an organized group of measurements in close proximity of time and altitude.  These sets are formatted into telemetry packets and delivered to the probe for transmission on one or both of the Huygens Probe’s telemetry streams.

The Huygens Probe transmits the data to the Cassini Orbiter, which relays the data to the ground.  The combined telemetry streams are delivered to ESOC, where they are distributed to the DISR team at the University of Arizona.

At the University of Arizona the telemetry is processed to reconstruct DISR data sets, which are expressed as data numbers

The data we will provide is at the 1b level, defined ‘as data that have been sorted by instrument data types and instrument modes.  Data are in scientifically useful form, such as images or individual spectra.  These data are still uncalibrated’.  DISR will include the raw data from the data stream converted into ASCII files when appropriate.

Thus, the archive will contain the decompressed data numbers and calibration reports.  The calibration reports will contain all information necessary to obtain calibrated data.  For detailed information see also SP1177.PDF (in the DOCUMENTS folder) and Space Science Reviews 104:  469-551, 2002.

Individuals involved in the generation of DISR data products are listed below.

* Note that all the below are in the Kuiper Space Sciences Building (#92) at the University of Arizona, Tucson Arizona

Name			Room		Responsibilities

Marty Tomasko	233		PI

Lyn Doose		239		Co-I

Bashar Rizk		213		Co-I

Chuck See		214		Engineering Operations

Mike Bushroe		235C		Telemetry Processing

Lisa McFarlane	235D		Analysis and Documentation

Steffi Engel		212		Data Analysis

Andrew Eibl		219		Data Analysis

Mike Prout                  237		Management

2.1 Pre-Flight Data Products

No pre-flight data products or flight checkout data will be provided in accordance with this EAICD.  All relevant information will be included in the calibration reports and/or white paper summaries.

2.2 Sub-System Tests

All relevant Sub-System Test data appear in the calibration reports or white paper summaries.  No additional Sub-system data will be included.

2.3 Instrument Calibrations

The DISR PI will deliver calibration documents that clearly describe how to calibrate the raw data, approximately one per major instrument system.  There is a calibration document for each major system listed below:

- Imagers

- Infrared Spectrometers

- Solar Aureole

- Sun Sensor

- Surface Science Lamp

- Violet Photometers

- Visible Spectrometers and,

- Calibration Standard

2.4 Other Files written during Calibration

The calibration reports and white paper summaries will contain all information necessary to obtain calibrated data.

2.5 In-Flight Data Products

Data will be organized as per the following categories and will be converted to ASCII, with the exception of the images.  The images will be converted to 16 bit PNG format which should be identical to the 16 bit XDR images in use by the DISR team.  Each image for the Image_Display product will be further converted to 8 bit PNG format, enlarged (x2), rotated and stretched for easier general viewing and access.

Data Product	Type		       Comments

1) Dark 	Text object	Dark exposures for each data cycle used to 				predict dark currents for items 4,7,8,12 and 13.

2) Descent         Text object	Header information for an entire cycle that is found nowhere else.

3) Hkeeping  	Text object	Engineering data describing the internal function                                  of the instrument and provide temperatures which are necessary for calibration.

4) Image	image object	Contains images of three main different types and sizes (High Resolution HRI: 160 by 256, Medium Resolution MRI: 176 by 256, Sidelooking SLI: 128 by 256)

5) Ir  	Multiple Table    	Infrared spectra (either the uplooking ULIS,

objects	downlooking DLIS or both in one)

6) Lamp	Text object	Information about the internal calibration lamps and the surface science lamp (SSL).

7) Solar 	Table object	Solar Aureole data (24 or 4 by 50) divided into 4 channels  (blue and red polarized horizontally and vertically)

8) Strip	Table object	A vertical strip from the right and left side of the sidelooking Imager (2 by 254).

9) Sun 	Table object	Sun Sensor data (three time pulses and an amplitude, to determine spin rate, solar azimuth and solar zenith angles).

10) Time 	Table object	Clock values (2 by 20) comparing probe mission time to DISR internal time.

11) Violet 	Table object	Violet Photometer (either uplooking ULV or downlooking DLV).  A single number.

12) Visible 	Table object	Visible Spectra (either uplooking ULVS: always 2 by 200; or downlooking DLVS: variable by 200)

13) Visible_Ext	Table object	Reference measurements of stray light used with the visible data (always 2 by 200)

Elsewhere:   Image_Display:  Contains the same files as the Image directory, but converted to 8 bit PNG format, enlarged (x2) and stretched for easy viewing.

2.6 Software

N/A (No special software is needed since the data is provided in ASCII form or in industry standard TIFF or PNG files and the calibration documents do not require software).  All information that is necessary to obtain calibrated data are provided in the calibration reports or white paper summaries.  No special software is required to use the calibration documents or white paper summaries.

The DISR instrument calibration reports contain complete descriptions of each instrument detector system, the calibration data, methods, and algorithms for converting the instrument data numbers into physical units and intensities into data numbers.

Reduced mean intensities over the field of view (FOV) are provided for the spectrometers. However for the broad band instruments (imagers, SA camera) the mean intensity over the FOV is not a useful number since the spectral variation is important, and the bandpass changes significantly during the descent.  It is felt that the best scientific approach is to create models which reproduce data numbers rather than mean intensities.

Although some lines of code exist as examples in the calibration reports, no generic calibration software is available.  Interpretation of the DISR data is model dependent and selection of the model parameters (i.e. atmospheric composition, intensity spectrum, surface reflectance, variation over the field of view) is key in deciphering the data.  The scientist is encouraged to develop their own software to explore the physical interpretations of the DISR data.

2.7 Documentation

The calibration reports or white paper summaries will contain all information necessary to obtain calibrated data. Calibration reports for each major DISR system will be provided in Adobe Acrobat PDF format with incorporated tables and figures as follows:  1)  Imagers;  2) Solar Aureole;  3) Sun Sensor;  4) Surface Science Lamp;  5) Calibration Standard.  White paper summaries will be provided in Adobe Acrobat PDF format with incorporated tables and figures for the following: 1) Infrared;  2) Violet;  3) Violet flux;  4) Visible.

The folder CALIBRATION_STANDARD contains the following three reports:

1) CALIBRATION_STANDARD_REVIEW, deals primarily with the monochrometer used in the absolute calibration of the DISR;

2)  DARK_CURRENT, explains the method for determining dark current at a given time;

3) INTEGRATING_SPHERE_HOMOGENEITY, explores the uniformity of the light used for calibration.

Other documents include:

DOCINFO.TXT,  	describes all the documents in this section;

EAICD.PDF, 	which is this document;

EXP_USERS_MANUAL_REV_C.PDF, provides a detailed description of the DISR instrument (including, e.g., Science Overview, Instrument Overview, Operations, Instrument Commands, Software Architecture, Buffer Allocations, Bit Numbering, Telemetry Formats, etc.  This document also provides an explanation of housekeeping information, e.g., ccd_flag, proc_flag, etc);

HEADER_DESCRIPTION.PDF, provides a description of the information that is associated with each data file in the header of the data;

IR_SW_AND_DATA_COLLECTION.DOC,  provides a detailed explanation of the organization of the infrared data (including locations of shutter time, sample time, operation time, region, rotation, etc.).

The structure of the document section is shown below, and later in this document.

| - document

| - bibliography

| - DISR_calibration_documents

| - calibration_standard

| - calIBRATION_stANDARd_review

| - dark_current

| - INTEGRATING_SPHERE_HOMOGENEITY

| - imagers

| - INFRARED_SPECTROMETERS

| - sLI_STRIPS

| - solar_aureole

| - sun_sensor

| - surface_science_lamp

| - violet_pHOTOMETERS

| -VIOLET_FLUX_DETERMINATION

| -VIOLET_PHOTOMETER_CAL_DOC

| - visible_SPECTROMETERS

| - DISR SUPPORTING DOCUMENTS

| - EAICD

| - ESA_SP1177

| - DISR_INSTRUMENT

| - SUNLIGHT_PENETRATION_MODEL

| - expERIMENT_users_manual

| - header_description

| - SPACE_SCIENCE_REVIEW

| - docinfo.txt

2.8 Derived and other Data Products

Derived data products and schedules in support of the Descent Trajectory Working Group are presented in the DTWG archive.

The average intensity over the field of view is provided for the violet, visible and infrared systems.  Also, mosaic presentations of the DISR images are provided as posters.

3.  Archive Format and Content

3.1 Format and Conventions

3.1.1 Deliveries and Archive Volume Format

DISR will deliver the data to a PSA archive in electronic form within 18 months of the descent.  Simultaneously the DISR team will deliver the data to the PDS in identical form. The proprietary period will extend for 18 months after the descent.   During the proprietary period the data will not be disseminated without the approval of the DISR PI.

We anticipate that the DISR data will fit on one CD, and the calibration reports on another 2 CDs.  Thus the logical archive volume would fit on one DVD.  DISR will deliver the data to the PDS archive in electronic form and the archiving authority will write the physical volumes.

3.1.2 Data Set ID Formation

HP-SSA-DISR-2/3-EDR/RDR-V1.0

<Huygens Probe>-<Saturn Satellite>-<Descent Imager Spectral Radiometer>-<Level 2 is raw data>-<Experiment Data Record>-<version 1.0>

We will provide Level 2 data as defined in the table below:

| Level Type | Data Processing Level Description |
| --- | --- |
| 2 | Edited Data Corrected for telemetry errors and split or decommutated into a data set for a given instrument. Sometimes called Experimental Data Record. Data are also tagged with time and location of acquisition. Corresponds to NASA Level 0 data. |

3.1.3 Data Directory Naming Convention

The subdirectories will be named according to the data product.  Data products are listed in section 2.5 of this document.

3.1.4 Filenaming Convention

1) dark_0286_012044_2903.tab

2) descent_0286_012044_2903.txt

3) hkeeping_0286_012044_2903.txt

4a) image_0286_012044_2903.img

4b) image_0286_012044_2903.tab

5) ir_0286_012044_2903.tab

6) lamp_0286_012044_2903.txt

7) solar_0286_012044_2903.tab

8) strip_0286_012044_2903.tab

9) sun_0286_012044_2903.tab

10) time_0286_012044_2903.tab

11) violet_0286_012044_2903.tab

12) visible_0286_012044_2903.tab

13) visible_ex_0286_012044_2903.tab 	(27.3)

In browse:  img_disply_0286_012044_2903.png

<data type>_<sequence number>_<mission time in hr min sec>_<fraction of a second>.<ext>

Where .tab refers to a table, .txt refers to text, .png refers to portable network graphics and .IMG is a non-compressed image file.

3.2 Standards Used in Data Product Generation

3.2.1 PDS Standards

We intend to comply with the PDS standards to the extent as defined in this document.

3.2.2 Time Standards

All start times are referenced to the probe on-board software mission time, T0.  DISR mission time is synchronized to the Huygens probe mission timer T0.

An exception to this is for the first couple of message data products (which are generated before synchronization and are relative to when DISR was turned on.  These first few messages are time stamped.  Mission time is measured to 10 thousandths of a second.

3.2.3 Reference Systems

DISR derives azimuth information from the Sun Sensor instrument subsystem.  The azimuth is measured relative to the sun in the instantaneous plane of the probe and is thus labeled an apparent solar azimuth angle.

All angles are measured within a right-handed system aligned to the Huygens Probe system, which is defined in the EID, Part A.  Quoting from Issue 1, Rev 0, Sect. 3.1, page 3:  “The Probe axes form a right-handed orthogonal system Xp, Yp, Zp that is fixed relative to the Probe geometry.  The Probe Reference Frame has the same orientation as the Orbiter Reference Frame (i.e., no tilt angle).  The

-Xp axis is pointing along the Probe centerline towards the nose of the Probe.  The –Zp axis is pointing in the direction of the top SED strut.  The origin of the Probe Reference Frame is on the lower side of the experiment platform (i.e., the side facing the Probe nose).”

The DISR mechanical system within which the apparent solar azimuth angle above is measured, is aligned to the Huygens Probe system described above but the origin of the DISR system is displaced from that of the Huygens system.

3.2.4 Other Applicable Standards

N/A

3.3 Data Validation

The internal validation of the scientific content will be performed by the science team.  All DISR packets include Cyclic Redundancy Check codes.  Packets with invalid codes are discarded.  We will ensure data values are in the expected range and are valid numbers.

We agree to a peer review of the EAICD by a committee chaired by the Project Scientist and the PSA manager and consisting of the members of the HSWT, members of the DISR team and PSA and PDS personnel and to abide by their recommendations within the resources available.

3.4 Content

3.4.1 Volume Set

The DISR data set will be part of the Huygens Volume Set.

3.4.2 Data Set

All of the raw DISR data products (listed in section 2.5 of this document) will be combined to form one data set.

3.4.3 Directories

root

| - browse

|| - PNg

| - catalog

|| - catinfo.txt

|| - dataset.cat

|| - DISRinst.cat

|| - insT_host.cat

|| - mission.cat

|| - person.cat

|| - ref.cat

|| - (soft.cat)

|| - (target.cat)

| - data

|| - dark

|| - DERIVED_DATA_PRODUCTS

||| - dlIS

||| - dlv

||| - dlvS

||| - UlIS

||| - Ulv

||| - UlvS

|| - descent

|| - HIGHER_LEVEL_DATA

||| - POSTERS

|| - hkeeping

|| - image

||| - IMG_FORMAT

||| - TABLE_FORMAT

|| - ir

|| - lamp

|| - solar

|| - strip

|| - sun

|| - time

|| - violet

|| - visible

|| - visible_ext

| - document

|| - bibliography

|| - DISR_calibration_documents

||| - calibration_standard

|||| - calIBRATION_stANDARd_review

|||| - dark_current

|||| - INTEGRATING_SPHERE_HOMOGENEITY

||| - imagers

||| - INFRARED_SPECTROMETERS

||| - SLI_STRIPS

||| - solar_aureole

||| - sun_sensor

||| - surface_science_lamp

||| - violet_pHOTOMETERS

|||| -VIOLET_FLUX_DETERMINATION

|||| -VIOLET_PHOTOMETER_CAL_DOC

||| - visible_SPECTROMETERS

|| - DISR SUPPORTING DOCUMENTS

||| - EAICD

||| - ESA_SP1177

|||| - DISR_INSTRUMENT

|||| - SUNLIGHT_PENETRATION_MODEL

||| - expERIMENT_users_manual

||| - header_description

||| - SPACE_SCIENCE_REVIEW

|| - docinfo.txt

| - EXTRAS

|| - MOSAICS

|| - MOVIES

||| - NARRATION_SCRIPTS

||| - TECH_MOVIE

||| - TITAN_DESCENT_MOVIE

|| - POSTERS

|| - PROBE_ATTITUDE

||| - DATA_AT_SOLAR_CROSSING

||| - HUYGENS_DESCENT_PARAMETERS

|| - PROCESSED IMAGES

||| - DISRSOFT_E_IMAGES

||| - DISRSOFT_G_IMAGES

||| - UNSMOOTHED_IMAGES

|| - RENDERINGS

| - index

|| - indexinfo.txt

|| - index.lbl

|| - index.tab

| - aareadme.txt

| - errata.txt

| - voldesc.cat

3.4.3.1 Root Directory

aareadme.txt 	Volume Contents and format info in ASCII text format.

errata.txt	Cumulative listing of updates for all DISR volumes

published thus far.

voldesc.cat	Description of volume contents in a PDS format.

3.4.3.2 Calibration Directory

Detailed calibration reports will be provided for all the DISR Science instruments, approximately one per major instrument system as follows: 1) Imagers; 2) Infrared; 3) Solar Aureole; 4) Sun Sensor; 5) Surface Science Lamp; 6) Violet; 7) Visible; 8) Calibration Standard

3.4.3.3 Catalog Directory

catinfo.txt	ASCII description of the contents of this directory.

dataset.cat	Data set catalog object.

disrinst.cat	Instrument catalog object.

inst_host.cat	Space craft catalog object (to be provided by ESA)

mission.cat	Mission catalog object (to be provided by the Cassini Project)

person.cat	Listing of personnel involved in data production.

ref.cat		References (published literature) catalog object.

SOFT.cat		A placeholder since no software is archived.

(target.cat)	(to be provided by the ESA or the Cassini Project)

3.4.3.4 Index Directory

Index table of all label files this archive.

3.4.3.5 Browse Directory and Browse Files

We provide Thumbnails of all images in slightly modified raw form, in PNG format.  The files are same images as are in the Image directory, but converted to 8 bit PNG format, enlarged by a factor of two and stretched for easy viewing.  The directory contains about 600 images.

3.4.3.6  Geometry Directory

There is no Geometry Directory. Geometry data is included in the instrument calibration reports.

3.4.3.7 Software Directory

N/A - There is no software in the DISR archive.  See section 2.6 for further discussion.

3.4.3.8 Gazetter Directory

N/A - There are no named features at this time.

3.4.3.9 Label Directory

There is no Label Directory.  Label files are located with their targets in the DATA and DOCUMENT directories.  The Index table shows the location of all label files.

3.4.3.10 Document Directory

Documents are provided in ASCII format.  In most cases MS Word and Adobe PDF files are also available.  The Calibration Reports are located in the Document directory.  Other documents included in this directory are the  DISR EAICD, Header Description, Users Manual, mission description documents and Bibliography.

3.4.3.11 Extras Directory

The Extras Directory contains six subdirectories:

1) MOSAICS: Assemblages of the DISR images to create views of Titan's surface.  Filenames with numbers represent the resolution in meters/pixel (i.e. 4.png is a mosaic with 4 m/pixel resolution).  These depictions were made using FORTRAN by Erich Karkoschka.  The other 3 files (HIGH..., MEDIUM..., & TITAN.PNG) are earlier, hand made mosaics.

2) MOVIES: Two types of movies inhabit this directory.

The Titan Descent Movies are an extension of Erich's mosaic work.   There are sequenced frames of mosaics at increasingly higher resolution (starting out with  frames which orient the viewer from the Mees Solar Observaroty).  A detailed description exists in the TITAN_DESCENT_MOVIE directory(TITAN_DESCENT_MOVIE.TXT).  The Narration Scripts also describe these movies.

The Tech Movie combines all of the DISR data into one graphic dynamic display (with sound).  A detailed description exists in the TECH_MOVIE directory as DESCRIPTION_OF_TECH_MOVIE.TXT.

3) POSTERS: This directory contains a variety of views of Titans surface as seen by the Huygens probe during the descent.  Various projections at distinct altitudes are presented.  There is more detailed description in the file TITAN_POSTERS_DESCRIPTION

4) PROBE_ATTITUDE: Measurements of the sun's position, and movement of features on Titan's surface allowed us to make of estimates of the Huygens probe's attitude and position during the descent.  This information is provided in tabular form in this directory.

5) PROCESSED_IMAGES: The individual images taken by the DISR are presented in this directory with 3 levels of processing.  The most basic (Unsmoothed Images) just have camera defects removed.  The next step (E-Images) includes compressor artifact removal and some smoothing, while the G-Images also have geometric distortions removed and are photometrically normalized.

6) RENDERINGS: Movies of stereographic renderings of Titan's surface created by USGS using the DISR images.

3.4.3.12 Data Directory

The data directory will is organized according to the directory levels as listed in section 2.5 of this document.

4. Detailed Interface Specifications

4.1 Structure and Organization Overview

See preceding section.

4.2 Data Product Design

The data products will be in ASCII format, with the exception of the Image and Image_Display which will be in PNG format.  Software will not be provided.  There are often several types of data files within each data product type (such as with a different number of columns).  The following lists each data product type, followed by a brief description, with dimensions shown in parentheses where appropriate.  For more specific details see the disrinst.cat, the Experiment Users Manual or the Space Science Reviews paper listed in the Bibliography.

1) Dark: Dark exposures for each data cycle (2 by 256) are from 4 adjacent columns on the CCD covered by an opaque coating.  The first dark column is DN values for columns 7 and 8 summed, and the second dark column is DN values for columns 9 and 10 summed.

2) Descent:  Header information for an entire cycle that is found nowhere else.  Lists cycle types, start times, etc.  The altitude entry is from real-time data and is not necessarily correct.

3) Hkeeping:  Engineering data to check the internal function of the instrument.  This is the only place where some types of temperature data exist (e.g. Electronics Assembly (EA) or Optics temperature specifically).

4) Image:  Contains images of three main different types and sizes (HRI: 160 by 256 pixels, MRI: 176 by 256, SLI: 128 by 256).  In addition, some images can be half this size, that is the number of columns by 128 (or half of 256 rows).  The top and bottom row are copies of adjacent rows as the total number of rows needed to be a multiple of 16 to work with the data compressor.  These will be provided in PNG format.  Data will be in DN and will include exposure time.

5) Ir:  Infrared spectra, either the ULIS (2 by 150), DLIS (2 by 150) or IR combined (24 by 150).  Data will be a table of DN and will include sufficient information to compute effective exposure times.

6) Lamp: Current and Voltage Information about the internal calibration lamps and the SSL.

7) Solar: Solar Aureole data (24 or 4 by 50) divided into 4 channels (blue and red horizontal and vertical).  The 4 by 50 array is summed within each of the 4 channels.  Data will be in DN and will include exposure time.

8) Strip: A vertical strip from the right and left side of the SLI Imager (2 by 254).  Data will be in DN and will include exposure time.

9) Sun: Sun Sensor data (three time pulses and an amplitude).  Pulse time is in seconds, amplitude is in DN.  There are three slits in the Sun Sensor, and so as the image of the sun crosses the slit, one pulse per slit.  This data is used to determine the azimuth and rotation rate of the probe, as well as the zenith angle of the sun.  There are a variable number of measurements in a file.

10) Time: Time values (2 by 20) comparing probe mission time to DISR internal time.  It is used to record the correlation between mission time from the probe that is sent to DISR in the probe broadcast messages and the master time which is kept by a hardware clock.  Broadcast time is mission time from the DDB in 0.0001 second increments from the beginning of the mission.  The master time corresponds to mission time and is also in 0.0001 second increments.  Since the DISR is powered-on post T0, the broadcast time from the probe is always the larger value.

11) Violet: Violet Photometer (either ULV or DLV).  A single number.  data will be in 			DN.  The violet photometers are instruments that are reading 			continuously, so there is no exposure time or integration time.

12) Visible: Visible Spectra (either ULVS: always 2 by 200;  or DLVS: 2, 5, 10 or 20 by 200).  For DLVS, the 20 by 200 is unsummed.  Otherwise, 10, 5 and 2 adjacent columns are summed for arrays with 2, 5 and 10 DLVS columns.  Data will be in DN and will include exposure time.

13) Visible_Ext:  Reference measurements of scattered light used with the visible data.  This measures instrument crosstalk.  This uses otherwise unused columns between the ULVS/DLVS and DLVS/Imagers.  The dimensions are always 2 by 200.  Data will be in DN and will include exposure time.

In the Browse directory:   Image_Display contains the same files as the Image directory, but converted to 8 bit PNG format enlarged (x2) and stretched.

Some of the labels include a temperature array, referred to as the keyword INSTRUMENT_TEMPERATURE.  The following is a description of each of the positions within this array, referred to as INSTRUMENT_TEMPERATURE_POINT.

4.4 Instrument Temperature (Thermistor Reading) Description

ccd_t1		CCD Chip - On edge of CCD chip (part of the chip).

ref_t2		Near CCD chip - MPAE reference.

irb_t3		IR Chip, beginning - Near the thermal strap to detector lug (biased +10C)*

ire_t4		IR Chip, ending - Near the thermal strap to detector lug (biased +10C)*

ccdlug_t5	CCD Lug - Where the thermal strap meets the CCD.

strap_t6	Strap - At strap split (IR/CCD), near DISR Strap Heater (not powered).

optics_t7	Optics - On fiber optic conduit, about 1/3 way from CCD to Optics.

violet_t8	Violet - Towards the Front of the optical bench, near cover (cooler).

sh_aux_t9	Aux Board - On SH Aux. Circuit Card, near heater (not powered).

sh_box_t10	SH Box - On Sensor Head (SH) back cover (facing EA), warm part of SH.

ea_box_t11    EA Box - In Electronics Ass'y (EA), on Motherboard (warm, lags housing)

* The temperature (thermistor reading) in this keyword is too high by +10 K because of the sensor bias.  Note that these are all thermistor readings and not calibrated temperatures.  A value of 47 corresponds to Absolute Responsivity Calibration.

# 4.5 Solar Aureole Columns, Rows, Filters, and Polarization

For DISR#3 the correspondence between columns and rows in a Solar Aureole data set and a Full data set are as follows:

Rows 0:49 in a Solar Aureole data set correspond to rows 204:253 in a Full data set.

| SA data set columns | 0:5 | 6:11 | 12:17 | 18:23 |
| --- | --- | --- | --- | --- |
| Full data set columns * | 40:45 | 31:36 | 23:28 | 14:19 |
| Filter | Blue | Blue | Red | Red |
| Polarization | Horizontal | Vertical | Vertical | Horizontal |

* refers to full CCD output used during calibration; not applicable to Titan descent

4.6 Description of Possible values for Detector_ID keyword

UPPER HALF HRI:  The upper half of the high resolution imager.

UPPER HALF MRI:  The upper half of the medium resolution imager.

UPPER HALF SLI:  The upper half of the side-looking imager.

LOWER HALF HRI:  The lower half of the high resolution imager.

LOWER HALF MRI:  The lower half of the medium resolution imager.

LOWER HALF SLI:  The lower half of the side-looking imager.

DOWN LOOKING VIOLET:  The downward looking violet photometer.

UP LOOKING VIOLET:  The upward looking violet photometer.

DOWN LOOKING IR:  The downward looking infrared spectrometer.

UP LOOKING IR:  The upward looking infrared spectrometer.

IR_COMBINED:  The infrared spectrometers combined, a 24 by 150 array including

shutter closed and shutter open values.

IR_LONG:  The long version of the infrared spectrometers.

DOWN LOOKING VISIBLE:  Downward looking visible spectrometer is either 2, 5 10

or 20 by 200, where the 20 by 200 is unsummed.

UP LOOKING VISIBLE: Upward looking visible spectrometer, is always 2 by 200.

MRI:  Medium resolution imager, is 176 by 256 pixels.

SLI:  Side-looking imager, is 128 by 256 pixels.

HRI: High resolution imager is 160 by 256 pixels.

DOWN LOOK VISIBLE EX: Extra columns from the downward looking

visible spectrometer.

UP LOOK VISIBLE EX:  Extra columns from the downward looking visible  spectrometer.

4.7 Description of Possible values for Cycle Type

(Cycle type is found, for example, in the Descent data set.)

1=Standard non-image

2=Standard image

3=Flat Field

4=Cal Cycle A

5=Cal Cycle B

6=Cal Cycle C

8=Dark current only

9=Spectrophotometric

10=Drain cycle

11=High near surface

12=Medium near surface

13=Low near surface

14=Very low near surface

15=Surface A

16=Surface B

17=Surface C

18=Surface D

4.3 SAMPLE LABELS

4.3.1 DARK LABEL

SAMPLE DARK

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:07:57 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 22

FILE_RECORDS                  = 256

^TABLE                        = "DARK_0001_000310_5941.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001K_MMX_00-03-10_5941_DRK"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:13:31.594

STOP_TIME                     = 2005-01-14T09:13:31.604

SPACECRAFT_CLOCK_START_COUNT  = 190.594    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 190.604    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:07:57 /*UTC*/

FILE_NAME                     = "DARK_0001_000310_5941.TAB"

EXPOSURE_DURATION             = 10.0000 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 140.34 <KM>

AZIMUTH                       =  33.39 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   3.96 <DEGREES>

INSTRUMENT_TEMPERATURE        = (259.1, "UNK", "UNK",

"UNK", 266.5, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 190.5941   <SECONDS>

NATIVE_STOP_TIME              = 190.6041   <SECONDS>

DESCRIPTION =

"A 2 by 256 array of dark measurements from the ccd.

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Dark\

filename: V_00001K_MMX_00%03%10_5941_Drk

dimensions:   2

num_cols:   2

num_rows:  256

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Dark

ccd_t1:  259.1

detector: CCD

exp_time:    10.00 ms

coord_x2:  10

coord_y2:   0

coord_x:   8

coord_y:   0

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      1

m_time:    190.59

cycle_num:    1

type:   18

altitude (km):   140.343

target_az:   180.000

actual_az:    33.387

lamp: 0000

ccd_stat:    0

ccd_flag: 1110

proc_flag: 111000

cols_sent:    2

null_col2:   86.0000

null_col3:   81.0000

ccdlug_t5:   266.500

"

OBJECT                        = TABLE

INTERCHANGE_FORMAT            = ASCII

COLUMNS                       = 3

ROWS                          = 256

ROW_BYTES                     = 22

DESCRIPTION                   = "TWO SUMMED COLUMNS OF DARK VALUES

FROM THE CCD"

OBJECT                        = COLUMN

NAME                        = "ROW"

COLUMN_NUMBER               = 1

UNIT                        = "N/A"

DATA_TYPE                   = INTEGER

START_BYTE                  = 1

BYTES                       = 4

FORMAT                      = "I4"

DESCRIPTION                 = "ROW"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

NAME                        = "DARK1"

COLUMN_NUMBER               = 2

UNIT                        = "DN"

DATA_TYPE                   = INTEGER

START_BYTE                  = 5

BYTES                       = 8

FORMAT                      = "I8"

DESCRIPTION                 = "THE SUM OF CCD COLUMNS 7 & 8"

END_OBJECT                    = COLUMN

OBJECT                        = COLUMN

NAME                        = "DARK2"

COLUMN_NUMBER               = 3

UNIT                        = "DN"

DATA_TYPE                   = INTEGER

START_BYTE                  = 13

BYTES                       = 8

FORMAT                      = "I8"

DESCRIPTION                 = "THE SUM OF CCD COLUMNS 9 & 10"

END_OBJECT                    = COLUMN

END_OBJECT                    = TABLE

END

SAMPLE DARK DATA PRINTOUT

1      20      21

2      20      22

3      21      21

4      20      22

5      21      22

to row:   256

4.3.2 DESCENT LABEL

SAMPLE DESCENT

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:08:05 2006 <UTC>, C. See"

RECORD_TYPE                   = STREAM

FILE_RECORDS                  = 16

^TEXT                         = "DESCENT_0001_000222_5863.TXT"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001D_MMX_00;02;22_5863_DST"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:43.586

STOP_TIME                     = "N/A"

SPACECRAFT_CLOCK_START_COUNT  = 142.586    /* DDB time in seconds.fff when cycle begins */

SPACECRAFT_CLOCK_STOP_COUNT   = "N/A"

PRODUCT_CREATION_TIME         = 2006-10-03T00:08:05 /*UTC*/

FILE_NAME                     = "DESCENT_0001_000222_5863.TXT"

SPACECRAFT_ALTITUDE           = 142.82 <KM>

AZIMUTH                       = 127.94 <DEGREES>

NATIVE_START_TIME             = 142.5863   <SECONDS>

NATIVE_STOP_TIME              = "N/A"

DESCRIPTION = "

A text file with 16 lines describing current descent cycle parameters.

"

OBJECT                       = TEXT

NOTE                         = "DISR DESCENT"

PUBLICATION_DATE             = 2006-10-03

END_OBJECT                   = TEXT

END

SAMPLE DESCENT DATA PRINTOUT

filename_pre: Z:\Log\stream_524a_alt_az_5-8-2006\DB\Descent\

filename: V_00001D_MMX_00%02%22_5863_Dst

date_taken: 2005-01-14T09:12:43.586

set_name: Descent

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

seq_num:       1

m_time:     142.59 seconds

cycle_num:     1

cycle_type:    2 (Standard image)

scen_step:    14 (cycle specifics)

spm_flag:      0

az_cycle_start:  111 (degrees, software value, not actual)

altitude:    142820 meters

altitude:   142.821 Kilometers

spin:         9.92 RPM

4.3.3 HKEEPING LABEL

SAMPLE HKEEPING

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:08:13 2006 <UTC>, C. See"

RECORD_TYPE                   = STREAM

FILE_RECORDS                  = 28

^TEXT                         = "HKEEPING_0001_000442_0074.TXT"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001H_MMX_00|04|42_0074_HKP"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCT_TYPE                  = EDR

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

START_TIME                    = 2005-01-14T09:15:03.007

STOP_TIME                     = 2005-01-14T09:15:03.007

SPACECRAFT_CLOCK_START_COUNT  = 282.007    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 282.007    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:08:13 /*UTC*/

FILE_NAME                     = "HKEEPING_0001_000442_0074.TXT"

SPACECRAFT_ALTITUDE           = 135.93 <KM>

INSTRUMENT_TEMPERATURE        = (259.5, "UNK", "UNK",

"UNK", 261.8, 259.0,

264.1, 263.7, 275.7,

274.0, 287.2)

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

NATIVE_START_TIME             = 282.0074   <SECONDS>

NATIVE_STOP_TIME              = 282.0074   <SECONDS>

DESCRIPTION = "A text file containing 27 elements that describe the DISRs

condition including temperatures, voltages and processor performance."

OBJECT                       = TEXT

NOTE                         = "DISR HOUSEKEEPING"

PUBLICATION_DATE             = 2006-10-03

END_OBJECT                   = TEXT

END

SAMPLE HKEEPING DATA PRINTOUT

filename_pre: Z:\Log\stream_524a_alt_az_5-8-2006\DB\HKeeping\

filename: V_00001H_MMX_00%04%42_0074_Hkp

date_taken: 2005-01-14T09:15:03.007

set_name: HKeeping

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

seq_num:      1

m_time:           282.01 seconds

altitude (km):    135.935

t_sensor_curr:    0.00204600 amps

ccd_t1:        259.50 degK

ccdlug_t5:     261.8 degK

strap_t6:      259.0 degK

optics_t7:     264.1 degK

violet_t8:     263.7 degK

sh_aux_t9:     275.7 degK

sh_box_t10:    274.0 degK

ea_box_t11:    287.2 degK

aux_brd_volt:       11.9311 volts

cpu_brd_volt:       4.96505 volts

adc_offset:      0.00244000 volts

adc_gain:          0.000000

dispq_size:          6

alrmq_size:         10

tlmq_size:           0

sciprq_size:         5

stack_size:       1471

4.3.4 IMAGE LABEL

SAMPLE IMAGE

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:08:17 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 898

FILE_RECORDS                  = 256

^TABLE                        = "IMAGE_0002_000223_5790.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00002I_MMX_00=02=23_5790_IMG"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:44.579

STOP_TIME                     = 2005-01-14T09:12:44.586

SPACECRAFT_CLOCK_START_COUNT  = 143.579    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 143.586    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:08:17 /*UTC*/

FILE_NAME                     = "IMAGE_0002_000223_5790.TAB"

EXPOSURE_DURATION             = 7.00000 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 142.77 <KM>

AZIMUTH                       = 157.44 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   6.57 <DEGREES>

INSTRUMENT_TEMPERATURE        = (258.7, "UNK", "UNK",

"UNK", 266.1, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 143.5790   <SECONDS>

NATIVE_STOP_TIME              = 143.5860   <SECONDS>

DETECTOR_ID                   = "SLI"

DESCRIPTION = "

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Image\

filename: V_00002I_MMX_00%02%23_5790_Img

dimensions:      2

num_cols:      128

num_rows:      256

date_replayed: Sun Jan 16 17:32:37 2005

ccd_t1:        258.70

detector:      CCD

exp_time:         7.00 ms

coord_x:      361

coord_y:        0

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units:          dn

seq_num:           2

m_time:          143.58

cycle_num:         1

type:             22

altitude (km):   142.774

target_az:      152.000

actual_az:      157.436

lamp:           0000

ccd_stat:          0

dcs_stat:          1

ccd_flag:       1110

proc_flag:    100111

null_col2:     79

null_col3:     76

ccd_tgt_pct:   60

ccd_prctile:   97

ccdlug_t5:    266.1

sqrt_min:       286

sqrt_max:      1738

"

OBJECT                     = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 128

ROWS                     = 256

ROW_BYTES                = 898

DESCRIPTION              = "SLI READING FOR EACH PIXEL

IN DATA NUMBERS (DN)."

OBJECT                     = COLUMN

NAME                     = "COLUMN 0"

COLUMN_NUMBER            = 1

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 1"

COLUMN_NUMBER            = 2

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 8

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 2"

COLUMN_NUMBER            = 3

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 15

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 3"

COLUMN_NUMBER            = 4

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 22

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 4"

COLUMN_NUMBER            = 5

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 29

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 5"

COLUMN_NUMBER            = 6

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 36

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 6"

COLUMN_NUMBER            = 7

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 43

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 7"

COLUMN_NUMBER            = 8

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 50

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 8"

COLUMN_NUMBER            = 9

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 57

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 9"

COLUMN_NUMBER            = 10

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 64

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 10"

COLUMN_NUMBER            = 11

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 71

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 11"

COLUMN_NUMBER            = 12

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 78

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 12"

COLUMN_NUMBER            = 13

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 85

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 13"

COLUMN_NUMBER            = 14

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 92

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 14"

COLUMN_NUMBER            = 15

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 99

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 15"

COLUMN_NUMBER            = 16

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 106

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 16"

COLUMN_NUMBER            = 17

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 113

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 17"

COLUMN_NUMBER            = 18

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 120

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 18"

COLUMN_NUMBER            = 19

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 127

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 19"

COLUMN_NUMBER            = 20

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 134

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 20"

COLUMN_NUMBER            = 21

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 141

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 21"

COLUMN_NUMBER            = 22

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 148

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 22"

COLUMN_NUMBER            = 23

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 155

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 23"

COLUMN_NUMBER            = 24

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 162

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 24"

COLUMN_NUMBER            = 25

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 169

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 25"

COLUMN_NUMBER            = 26

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 176

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 26"

COLUMN_NUMBER            = 27

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 183

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 27"

COLUMN_NUMBER            = 28

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 190

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 28"

COLUMN_NUMBER            = 29

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 197

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 29"

COLUMN_NUMBER            = 30

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 204

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 30"

COLUMN_NUMBER            = 31

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 211

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 31"

COLUMN_NUMBER            = 32

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 218

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 32"

COLUMN_NUMBER            = 33

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 225

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 33"

COLUMN_NUMBER            = 34

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 232

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 34"

COLUMN_NUMBER            = 35

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 239

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 35"

COLUMN_NUMBER            = 36

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 246

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 36"

COLUMN_NUMBER            = 37

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 253

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 37"

COLUMN_NUMBER            = 38

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 260

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 38"

COLUMN_NUMBER            = 39

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 267

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 39"

COLUMN_NUMBER            = 40

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 274

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 40"

COLUMN_NUMBER            = 41

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 281

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 41"

COLUMN_NUMBER            = 42

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 288

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 42"

COLUMN_NUMBER            = 43

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 295

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 43"

COLUMN_NUMBER            = 44

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 302

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 44"

COLUMN_NUMBER            = 45

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 309

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 45"

COLUMN_NUMBER            = 46

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 316

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 46"

COLUMN_NUMBER            = 47

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 323

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 47"

COLUMN_NUMBER            = 48

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 330

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 48"

COLUMN_NUMBER            = 49

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 337

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 49"

COLUMN_NUMBER            = 50

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 344

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 50"

COLUMN_NUMBER            = 51

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 351

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 51"

COLUMN_NUMBER            = 52

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 358

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 52"

COLUMN_NUMBER            = 53

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 365

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 53"

COLUMN_NUMBER            = 54

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 372

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 54"

COLUMN_NUMBER            = 55

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 379

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 55"

COLUMN_NUMBER            = 56

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 386

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 56"

COLUMN_NUMBER            = 57

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 393

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 57"

COLUMN_NUMBER            = 58

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 400

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 58"

COLUMN_NUMBER            = 59

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 407

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 59"

COLUMN_NUMBER            = 60

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 414

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 60"

COLUMN_NUMBER            = 61

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 421

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 61"

COLUMN_NUMBER            = 62

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 428

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 62"

COLUMN_NUMBER            = 63

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 435

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 63"

COLUMN_NUMBER            = 64

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 442

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 64"

COLUMN_NUMBER            = 65

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 449

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 65"

COLUMN_NUMBER            = 66

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 456

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 66"

COLUMN_NUMBER            = 67

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 463

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 67"

COLUMN_NUMBER            = 68

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 470

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 68"

COLUMN_NUMBER            = 69

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 477

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 69"

COLUMN_NUMBER            = 70

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 484

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 70"

COLUMN_NUMBER            = 71

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 491

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 71"

COLUMN_NUMBER            = 72

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 498

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 72"

COLUMN_NUMBER            = 73

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 505

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 73"

COLUMN_NUMBER            = 74

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 512

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 74"

COLUMN_NUMBER            = 75

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 519

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 75"

COLUMN_NUMBER            = 76

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 526

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 76"

COLUMN_NUMBER            = 77

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 533

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 77"

COLUMN_NUMBER            = 78

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 540

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 78"

COLUMN_NUMBER            = 79

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 547

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 79"

COLUMN_NUMBER            = 80

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 554

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 80"

COLUMN_NUMBER            = 81

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 561

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 81"

COLUMN_NUMBER            = 82

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 568

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 82"

COLUMN_NUMBER            = 83

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 575

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 83"

COLUMN_NUMBER            = 84

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 582

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 84"

COLUMN_NUMBER            = 85

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 589

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 85"

COLUMN_NUMBER            = 86

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 596

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 86"

COLUMN_NUMBER            = 87

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 603

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 87"

COLUMN_NUMBER            = 88

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 610

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 88"

COLUMN_NUMBER            = 89

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 617

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 89"

COLUMN_NUMBER            = 90

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 624

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 90"

COLUMN_NUMBER            = 91

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 631

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 91"

COLUMN_NUMBER            = 92

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 638

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 92"

COLUMN_NUMBER            = 93

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 645

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 93"

COLUMN_NUMBER            = 94

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 652

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 94"

COLUMN_NUMBER            = 95

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 659

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 95"

COLUMN_NUMBER            = 96

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 666

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 96"

COLUMN_NUMBER            = 97

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 673

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 97"

COLUMN_NUMBER            = 98

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 680

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 98"

COLUMN_NUMBER            = 99

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 687

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 99"

COLUMN_NUMBER            = 100

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 694

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 100"

COLUMN_NUMBER            = 101

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 701

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 101"

COLUMN_NUMBER            = 102

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 708

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 102"

COLUMN_NUMBER            = 103

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 715

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 103"

COLUMN_NUMBER            = 104

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 722

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 104"

COLUMN_NUMBER            = 105

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 729

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 105"

COLUMN_NUMBER            = 106

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 736

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 106"

COLUMN_NUMBER            = 107

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 743

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 107"

COLUMN_NUMBER            = 108

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 750

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 108"

COLUMN_NUMBER            = 109

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 757

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 109"

COLUMN_NUMBER            = 110

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 764

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 110"

COLUMN_NUMBER            = 111

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 771

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 111"

COLUMN_NUMBER            = 112

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 778

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 112"

COLUMN_NUMBER            = 113

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 785

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 113"

COLUMN_NUMBER            = 114

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 792

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 114"

COLUMN_NUMBER            = 115

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 799

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 115"

COLUMN_NUMBER            = 116

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 806

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 116"

COLUMN_NUMBER            = 117

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 813

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 117"

COLUMN_NUMBER            = 118

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 820

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 118"

COLUMN_NUMBER            = 119

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 827

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 119"

COLUMN_NUMBER            = 120

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 834

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 120"

COLUMN_NUMBER            = 121

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 841

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 121"

COLUMN_NUMBER            = 122

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 848

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 122"

COLUMN_NUMBER            = 123

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 855

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 123"

COLUMN_NUMBER            = 124

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 862

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 124"

COLUMN_NUMBER            = 125

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 869

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 125"

COLUMN_NUMBER            = 126

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 876

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 126"

COLUMN_NUMBER            = 127

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 883

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN 127"

COLUMN_NUMBER            = 128

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 890

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IMAGER PIXEL READING, 0 TO 4056"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

4.3.14 IMAGE DISPLAY LABEL

SAMPLE IMAGE DISPLAY

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Mon Sep 25 22:31:35 2006 <UTC>, C. See"

RECORD_TYPE                   = UNDEFINED

^PNG_DOCUMENT                 = "IMG_DISPLY_0002_000223_5790.PNG"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00002I_MMX_00:02:23_5790_DIS"

SOURCE_PRODUCT_ID             = "V_00002I_MMX_00:02:23_5790_DIS"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:44.579

STOP_TIME                     = 2005-01-14T09:12:44.586

SPACECRAFT_CLOCK_START_COUNT  = 143.579    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 143.586    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-09-25T22:31:35 /*UTC*/

FILE_NAME                     = "IMG_DISPLY_0002_000223_5790.PNG"

EXPOSURE_DURATION             = 7.00000 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 142.77 <KM>

AZIMUTH                       = 157.44 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   6.57 <DEGREES>

INSTRUMENT_TEMPERATURE        = (258.7, "UNK", "UNK",

"UNK", 266.1, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK") /*KELVIN*/

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 143.5790   <SECONDS>

NATIVE_STOP_TIME              = 143.5860   <SECONDS>

DETECTOR_ID                   = "SLI"

DESCRIPTION = "

Imager display 128 by 256.

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Image\

filename: V_00002I_MMX_00%02%23_5790_Img

dimensions:        2

num_cols:        128

num_rows:        256

date_replayed: Sun Jan 16 17:32:37 2005

ccd_t1:        258.70

detector:         CCD

exp_time:     7.00000 ms

coord_x:         361

coord_y:           0

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units:            dn

seq_num:           2

m_time:          143.58

cycle_num:         1

type:             22

altitude (km):   142.774

target_az:      152.000

actual_az:      157.436

lamp:         0000

ccd_stat:            0

dcs_stat:            1

ccd_flag:     1110

proc_flag:    100111

null_col2:        79

null_col3:        76

ccd_tgt_pct:      60

ccd_prctile:      97

ccdlug_t5:    266.10

sqrt_min:        286

sqrt_max:       1738

"

OBJECT                     = PNG_DOCUMENT

DOCUMENT_NAME              = "DISR Huygens Descent Image"

PUBLICATION_DATE           = 2006-09-25

DOCUMENT_TOPIC_TYPE        = "MISSION RESULTS"

FILES                      = 1

DOCUMENT_FORMAT            = PNG

ENCODING_TYPE              = "PNG1.0"

INTERCHANGE_FORMAT         = BINARY

SAMPLE_TYPE                = UNSIGNED_INTEGER

SAMPLE_BITS                = 16

DESCRIPTION                = "PNG representation of DISR camera image

taken during the Titan Descent,

SLI - 256 by 512 pixels."

END_OBJECT                 = PNG_DOCUMENT

END

4.3.5 IR LABEL

SAMPLE IR (4 bins)

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:14:52 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 46

FILE_RECORDS                  = 159

^DATA_TABLE                   = "IR_0005_001155_2621.TAB"

^REGIONS_TABLE                = ("IR_0005_001155_2621.TAB",152)

^READING_TABLE                = ("IR_0005_001155_2621.TAB",154)

^BINS_TABLE                   = ("IR_0005_001155_2621.TAB",156)

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00005R_MMX_00=11=55_2621_IR"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:22:16.262

STOP_TIME                     = 2005-01-14T09:22:16.272

SPACECRAFT_CLOCK_START_COUNT  = 715.262    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 715.272    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:14:52 /*UTC*/

FILE_NAME                     = "IR_0005_001155_2621.TAB"

EXPOSURE_DURATION             = "N/A"

SPACECRAFT_ALTITUDE           = 117.66 <KM>

HUYGENS:EW_TILT_ANGLE         = -13.23 <DEGREES>

INSTRUMENT_TEMPERATURE        = ("UNK", "UNK", 272.6,

272.6, "UNK", "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 1110

NATIVE_START_TIME             = 715.2621   <SECONDS>

NATIVE_STOP_TIME              = 715.2721   <SECONDS>

DETECTOR_ID                   = "IR_COMBINED"

COLUMNS                       = 4

ROWS                          = 150

DESCRIPTION = "

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Ir\

filename: V_00005R_MMX_00%11%55_2621_Ir

dimensions:   2

num_cols: 150

num_rows:    4

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Ir

detector: IR

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      5

m_time:    715.26

cycle_num:    5

type:   10

altitude (km):   117.656

lamp: 1110

ir_stat:    0

ir_flags:    1

irb_t3:  272

ire_t4:  272

p_chrg_volt: 12592

ir_col_time (ms):   10.00

num_rots:   1

num_regions:   1

dc_offset_u: 9468

dc_offset_d: 9618

tgt_pct_u:  50

tgt_pct_d:  50

pct_u:   7

pct_d:   7

num_bins:   4

"

OBJECT                     = DATA_TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 5

ROWS                     = 150

ROW_BYTES                = 34

DESCRIPTION              = "AN ARRAY OF IR MEASUREMENTS

150 BY 4 FROM THE IR SPECTROMETER."

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DLIS SHUTTER OPEN"

COLUMN_NUMBER            = 2

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IR_COMBINED COUNTS WHILE SHUTTER OPEN"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DLIS SHUTTER CLOSED"

COLUMN_NUMBER            = 3

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 12

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IR_COMBINED COUNTS WHILE SHUTTER CLOSED"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "ULIS SHUTTER OPEN"

COLUMN_NUMBER            = 4

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 19

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IR_COMBINED COUNTS WHILE SHUTTER OPEN"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "ULIS SHUTTER CLOSED"

COLUMN_NUMBER            = 5

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 26

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "IR_COMBINED COUNTS WHILE SHUTTER CLOSED"

END_OBJECT                 = COLUMN

END_OBJECT                 = DATA_TABLE

END

OBJECT                     = REGIONS_TABLE

INTERCHANGE_FORMAT       = ASCII

ROWS                     = 1

COLUMNS                  = 5

ROW_BYTES                = 38

DESCRIPTION              = "AN ARRAY OF 5 COLS BY THE NUMBER OF

REGIONS EACH ROTATION IS DIVIDED INTO"

OBJECT                     = COLUMN

NAME                     = "REGION NUMBER"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "NUMBER OF THE REGION"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "STARTING AZIMUTH"

COLUMN_NUMBER            = 2

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 7

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "STARTING AZIMUTH OF REGION"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "ENDING AZIMUTH"

COLUMN_NUMBER            = 3

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 15

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "ENDING AZIMUTH OF REGION"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "UP BIN INDEX"

COLUMN_NUMBER            = 4

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 23

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "TELLS PART OF ARRAY IN WHICH THE

ULIS SUM IS ACCUMULATED"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DOWN BIN INDEX"

COLUMN_NUMBER            = 5

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 31

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "TELLS PART OF ARRAY IN WHICH THE

DLIS SUM IS ACCUMULATED."

END_OBJECT                 = COLUMN

END_OBJECT                 = REGIONS_TABLE

OBJECT                     = READING_TABLE

INTERCHANGE_FORMAT       = ASCII

ROWS                     = 1

COLUMNS                  = 6

ROW_BYTES                = 46

DESCRIPTION              = "AN ARRAY OF 6 COLS BY THE NUMBER OF REGIONS

EACH ROTATION IS DIVIDED INTO TIMES THE

NUMBER OF ROTATIONS USED FOR DATA GATHERING."

OBJECT                     = COLUMN

NAME                     = "ROTATION NUMBER"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 3

FORMAT                   = "I3"

DESCRIPTION              = "ROTATION NUMBER"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "REGION"

COLUMN_NUMBER            = 2

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 6

BYTES                    = 3

FORMAT                   = "I3"

DESCRIPTION              = "REGION OF ROTATION USED"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "MISSION TIME START"

COLUMN_NUMBER            = 3

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 11

BYTES                    = 10

FORMAT                   = "I10"

DESCRIPTION              = "MISSION TIME AT START OF ROTATION IN SEC X 1E4"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "IR DURATION"

COLUMN_NUMBER            = 4

UNIT                     = "8.064 MILLISECOND STEPS"

DATA_TYPE                = INTEGER

START_BYTE               = 23

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "COLLECTION TIME IN THIS ROTATION REGION

IN UNITS OF 8.064 MILISECOND STEPS"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "IR SHUTTER TIME"

COLUMN_NUMBER            = 5

UNIT                     = 8.064 MILISECONDS PERIODS

DATA_TYPE                = INTEGER

START_BYTE               = 31

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "TIME THE SHUTTER IS OPEN IN UNITS OF

8.064 MILISECOND STEPS (N*SAMPLE TIME)"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "IR SAMPLE TIME"

COLUMN_NUMBER            = 6

UNIT                     = 8.064 MILLISECOND STEPS

DATA_TYPE                = INTEGER

START_BYTE               = 39

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "TIME BETWEEN READS IN UNITS OF 8.064

MILISECOND INCREMENTS (I.E. EXPOSURE TIME)"

END_OBJECT                 = COLUMN

END_OBJECT                 = READING_TABLE

OBJECT                     = BINS_TABLE

INTERCHANGE_FORMAT       = ASCII

ROWS                     = 4

COLUMNS                  = 6

ROW_BYTES                = 46

DESCRIPTION              = "AN ARRAY OF 6 COLS BY THE NUMBER

OF ROWS OF DATA IN THE DATA ARRAY."

OBJECT                     = COLUMN

NAME                     = "BIN NUMBER"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "THE NUMBER OF THE BIN "

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DLIS OR ULIS"

COLUMN_NUMBER            = 2

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 7

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "IDENTIFIES THE DOWN (0) OR UP (1)

LOOKING INSTRUMENT"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "SHUTTER STATE"

COLUMN_NUMBER            = 3

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 15

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "TELLS IF THE SHUTTER IS OPEN (0) OR

CLOSED (1) FOR THIS REGION AND ROTATION"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "SHUTTER OPEN INTEGRATION TIME"

COLUMN_NUMBER            = 4

UNIT                     = "SECONDS*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 23

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "INTEGRATION OF SHUTTER OPEN TIME OVER

ALL ROTATIONS FOR THAT BIN"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "NUMBER SAMPLES TAKEN"

COLUMN_NUMBER            = 5

UNIT                     = "SECONDS*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 31

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "TOTAL SAMPLES TAKEN WITH THE SHUTTER

OPEN (OR CLOSED) FOR THAT BIN"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DATA ROW FOR BIN"

COLUMN_NUMBER            = 6

UNIT                     = "SECONDS*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 39

BYTES                    = 6

FORMAT                   = "I6"

DESCRIPTION              = "ROW OF THE PIXEL ARRAY THAT CORRESPONDS

TO BIN"

END_OBJECT                 = COLUMN

END_OBJECT                 = BINS_TABLE

END

SAMPLE IR 4 DATA PRINTOUT

0   49041   49032   53054   53040

1   48914   48905   53020   53006

2   48407   48401   52289   52278

3   48565   48560   52745   52734

4   48572   48567   52803   52792

5   48649   48644   52665   52652

6   48531   48526   52703   52693

7   48526   48520   52586   52573

8   48462   48457   52726   52712

9   47756   47750   52748   52736

10   48648   48640   52223   52210

11   48565   48558   52627   52614

12   48559   48553   52853   52841

13   48551   48543   52491   52479

14   48578   48572   52735   52723

to row:   149

1   13500   22500      11       1

1    1     7152827    1234      12       1

1       0       0   42577     528       0

1       0       1   42577     528       1

11       1       0   42577     528       2

11       1       1   42577     528       3

4.3.6 LAMP LABEL

SAMPLE LAMP

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:15:05 2006 <UTC>, C. See"

RECORD_TYPE                   = STREAM

FILE_RECORDS                  = 18

^TEXT                         = "LAMP_0001_001141_7062.TXT"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001L_MMX_00=11=41_7062_LMP"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:22:02.706

STOP_TIME                     = 2005-01-14T09:22:02.706

SPACECRAFT_CLOCK_START_COUNT  = 701.706    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 701.706    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:15:05 /*UTC*/

FILE_NAME                     = "LAMP_0001_001141_7062.TXT"

SPACECRAFT_ALTITUDE           = 118.33 <KM>

LAMP_STATE                    = 1110

NATIVE_START_TIME             = 701.7062   <SECONDS>

NATIVE_STOP_TIME              = 701.7062   <SECONDS>

DESCRIPTION = "

A text file with 18 elements describing the DISR calibration and

surface science lamps' performance (voltages and currents).

"

OBJECT                       = TEXT

NOTE                         = "DISR LAMP"

PUBLICATION_DATE             = 2006-10-03

END_OBJECT                   = TEXT

END

SAMPLE LAMP DATA PRINTOUT

filename_pre: Z:\Log\stream_524a_alt_az_5-8-2006\DB\Lamp\

filename: V_00001L_MMX_00%11%41_7062_Lmp

date_taken: 2005-01-14T09:22:02.706

set_name: Lamp

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

seq_num:      1

m_time:    701.71

altitude (km):   118.329

lamp:       1110

cal1_volt: 4.98492

cal1_curr: 0.11446

cal2_volt: 4.89708

cal2_curr: 0.10990

cal3_volt: 4.91172

cal3_curr: 0.11674

ssl_volt:      0.000000

ssl_curr:      0.000000

4.3.7 SOLAR LABEL

SAMPLE SOLAR

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:16:33 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 34

FILE_RECORDS                  = 50

^TABLE                        = "SOLAR_0002_000312_9812.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00002A_MMX_00=03=12_9812_SLR"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:13:33.981

STOP_TIME                     = 2005-01-14T09:13:34.041

SPACECRAFT_CLOCK_START_COUNT  = 192.981    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 193.041    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:16:33 /*UTC*/

FILE_NAME                     = "SOLAR_0002_000312_9812.TAB"

EXPOSURE_DURATION             = 60.0000 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 140.23 <KM>

AZIMUTH                       =  96.11 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   5.21 <DEGREES>

INSTRUMENT_TEMPERATURE        = (259.1, "UNK", "UNK",

"UNK", 266.5, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 192.9812   <SECONDS>

NATIVE_STOP_TIME              = 193.0412   <SECONDS>

DESCRIPTION = "

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Solar\

filename: V_00002A_MMX_00%03%12_9812_Slr

dimensions:   2

num_cols:   4

num_rows:   50

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Solar

ccd_t1:  259.10

detector: CCD

exp_time:    60.00 ms

coord_x2:  36

coord_y2: 203

coord_x3:  28

coord_y3: 203

coord_x4:  19

coord_y4: 203

coord_x:  45

coord_y: 203

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      2

m_time:    192.98

cycle_num:    1

type:         14

altitude (km):   140.226

target_az:   174.000

actual_az:    96.113

lamp:        0000

ccd_stat:    0

ccd_flag:    1110

proc_flag:   111001

cols_sent:    4

null_col2:   67.0000

null_col3:   56.0000

targt_pct:   50

ccd_pct:     97

ccdlug_t5:   266.500

"

OBJECT                     = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 5

ROWS                     = 50

ROW_BYTES                = 34

DESCRIPTION              = "A 4 BY 50 ARRAY OF PIXEL VALUES

FROM THE SOLAR AUREOLE CAMERA."

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "BLUE HORIZONTAL SUMMED"

COLUMN_NUMBER            = 2

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "500 NM, HORIZONTAL POLARIZED, 6 COLUMN SUM"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "BLUE VERTICAL SUMMED"

COLUMN_NUMBER            = 3

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 12

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "500 NM, VERTICAL POLARIZED, 6 COLUMN SUM"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "RED VERTICAL SUMMED"

COLUMN_NUMBER            = 4

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 19

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "935 NM, VERTICAL POLARIZED, 6 COLUMN SUM"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "RED HORIZONTAL SUMMED"

COLUMN_NUMBER            = 5

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 26

BYTES                    = 7

FORMAT                   = "I7"

DESCRIPTION              = "935 NM, HORIZONTAL POLARIZED, 6 COLUMN SUM"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

SAMPLE SOLAR 4 DATA PRINTOUT

0     102     111     160     109

1      99     109     200     102

2     157     136     107      86

3     147     118      97     139

4     105     107     141     130

5    1463      90     100     113

6     120     107      94     127

7     138      92     110     109

8     163      96     167     112

9     108     122     127     144

10     100     125     112     151

11     103      86     108     103

12     143     116     118     148

13     105     105      95     118

14     141     109     106     122

etc, on to row 50

4.3.8 STRIP LABEL

SAMPLE STRIP

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:16:43 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 22

FILE_RECORDS                  = 254

^TABLE                        = "STRIP_0001_000713_2492.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001P_MMX_00=07=13_2492_STP"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:17:34.249

STOP_TIME                     = 2005-01-14T09:17:34.252

SPACECRAFT_CLOCK_START_COUNT  = 433.249    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 433.252    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:16:43 /*UTC*/

FILE_NAME                     = "STRIP_0001_000713_2492.TAB"

EXPOSURE_DURATION             = 2.50000 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 129.10 <KM>

AZIMUTH                       = 191.36 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   6.27 <DEGREES>

INSTRUMENT_TEMPERATURE        = (260.2, "UNK", "UNK",

"UNK", 262.3, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 433.2492   <SECONDS>

NATIVE_STOP_TIME              = 433.2517   <SECONDS>

DESCRIPTION = "

A vertical strip   2 by 254 from the right and left side of the sli imager.

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Strip\

filename: V_00001P_MMX_00%07%13_2492_Stp

dimensions:    2

num_cols:    2

num_rows:    254

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Strip

ccd_t1:  260.20

detector: CCD

exp_time:     2.50 ms

coord_x: 359

coord_y:   1

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      1

m_time:    433.25

cycle_num:    3

type:   12

altitude (km):   129.102

target_az:   315.000

actual_az:   191.363

lamp:        0000

ccd_stat:    0

ccd_flag:    1110

proc_flag:   111001

cols_sent:    2

null_col2:   71

null_col3:   69

targt_pct:   60

ccd_pct:             97

strp_cnt_col:       232

first_col_strp:     240

ccdlug_t5:          262.300

"

OBJECT                     = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 3

ROWS                     = 254

ROW_BYTES                = 22

DESCRIPTION              = "SUM OF PIXEL VALUES FOR 13 COLUMNS

NEAR EACH SIDE OF THE SLI"

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DN"

COLUMN_NUMBER            = 2

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "SUM OF PIXEL VALUES FOR 13 COLUMNS

(COLUMN 6 THRU COLUMN 18) NEAR THE

LEFT EDGE OF THE SLI"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DN"

COLUMN_NUMBER            = 3

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 13

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "SUM OF PIXEL VALUES FOR 13 COLUMNS

(COLUMN 109 THRU COLUMN 123) NEAR THE

RIGHT EDGE OF THE SLI"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

SAMPLE STRIP DATA PRINTOUT

1       0       0

2       0       0

3     139     138

4     142     139

5     141     143

6     143     143

7     143     142

8     147     145

4.3.09 SUN LABEL

SAMPLE SUN

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:16:50 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 47

FILE_RECORDS                  = 1

^TABLE                        = "SUN_0001_000425_0610.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001S_MMX_00=04=25_0610_SUN"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:14:46.724

STOP_TIME                     = 2005-01-14T00:04:25.724

SPACECRAFT_CLOCK_START_COUNT  = 265.724    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 265.724    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:16:50 /*UTC*/

FILE_NAME                     = "SUN_0001_000425_0610.TAB"

NATIVE_START_TIME             = 265.724 <SECONDS>

NATIVE_STOP_TIME              = 265.724 <SECONDS>

DESCRIPTION = "

THREE TIME PULSES AND AN AMPLITUDE FROM THE SUN SENSOR.

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Sun\

filename: V_00001S_MMX_00%04%25_0610_Sun

dimensions:    1

num_cols:    4

num_rows:      1

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Sun

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      1

num_triplets:   1

"

OBJECT                     = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 5

ROWS                     = 1

ROW_BYTES                = 47

DESCRIPTION            = "THE TIME OF THE THREE SUN SENSOR PULSES

AND THE AMPLITUDE FROM THE SUN SENSOR."

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW NUMBER"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "TIME 1"

COLUMN_NUMBER            = 2

UNIT                     = "SECOND*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 11

FORMAT                   = "I11"

DESCRIPTION              = "FIRST SUN PULSE TIME"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "TIME 2"

COLUMN_NUMBER            = 3

UNIT                     = "SECOND*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 16

BYTES                    = 11

FORMAT                   = "I11"

DESCRIPTION              = "SECOND SUN PULSE TIME"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "TIME 3"

COLUMN_NUMBER            = 4

UNIT                     = "SECOND*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 27

BYTES                    = 11

FORMAT                   = "I11"

DESCRIPTION              = "THIRD SUN PULSE TIME"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "DN"

COLUMN_NUMBER            = 5

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 38

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "AMPLITUDE"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

SAMPLE SUN DATA PRINTOUT

1    6823086    6827181    6831277    1616

2    6954158    6958253    6962349    1617

3    7085230    7089325    7093421    1615

4.3.10 TIME LABEL

SAMPLE TIME

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:16:51 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 26

FILE_RECORDS                  = 20

^TABLE                        = "TIME_0001_000142_0000.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001T_MMX_00=01=42_0000_TME"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:03.000

STOP_TIME                     = 2005-01-14T09:12:41.000

SPACECRAFT_CLOCK_START_COUNT  = 102.000    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 140.000    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:16:51 /*UTC*/

FILE_NAME                     = "TIME_0001_000142_0000.TAB"

NATIVE_START_TIME             = 102.000 <SECONDS>

NATIVE_STOP_TIME              = 140.000 <SECONDS>

DESCRIPTION = "

A   2 by  20 array comparing probe mission time

to disr internal time.

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Time\

filename: V_00001T_MMX_00%01%42_0000_Tme

dimensions: 2

num_cols: 2

num_rows: 20

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Time

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

seq_num:      1

num_time_pairs:   20

"

OBJECT                  = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 3

ROWS                     = 20

ROW_BYTES                = 26

DESCRIPTION              = "TABLE COMPARING PROBE DDB TIME TO

DISR INTERNAL CLOCK TIME."

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW NUMBER "

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "TIME 1"

COLUMN_NUMBER            = 2

UNIT                     = "SECOND*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 10

FORMAT                   = "I10"

DESCRIPTION              = "HUYGENS PROBE DDB TIME"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "TIME 2"

COLUMN_NUMBER            = 3

UNIT                     = "SECOND*10**-4"

DATA_TYPE                = INTEGER

START_BYTE               = 16

BYTES                    = 10

FORMAT                   = "I10"

DESCRIPTION              = "INTERNAL DISR CLOCK TIME"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

SAMPLE TIME DATA PRINTOUT

1   3000000   2210392

2   3020000   2230392

3   3040000   2250392

4   3060000   2270392

5   3080000   2290392

6   3100000   2310392

7   3120000   2330392

8   3140000   2350392

9   3160000   2370392

10   3180000   2390392

11   3200000   2410392

12   3220000   2430392

13   3240000   2450393

14   3260000   2470393

15   3280000   2490393

16   3300000   2510393

17   3320000   2530393

18   3340000   2550393

19   3360000   2570393

20   3380000   2590393

4.3.11 VIOLET LABEL

SAMPLE VIOLET OUTPUT

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:17:10 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 11

FILE_RECORDS                  = 1

^TABLE                        = "VIOLET_0001_000224_2528.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001V_MMX_00=02=24_2528_VLT"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:45.253

STOP_TIME                     = 2005-01-14T09:12:45.253

SPACECRAFT_CLOCK_START_COUNT  = 144.253    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 144.253    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:17:10 /*UTC*/

FILE_NAME                     = "VIOLET_0001_000224_2528.TAB"

SPACECRAFT_ALTITUDE           = 142.74 <KM>

AZIMUTH                       = 177.41 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   4.95 <DEGREES>

INSTRUMENT_TEMPERATURE        = ("UNK", "UNK", "UNK",

"UNK", "UNK" , "UNK",

"UNK", 269.5, "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 144.2528   <SECONDS>

NATIVE_STOP_TIME              = 144.2528   <SECONDS>

DETECTOR_ID                   = "DLV"

DESCRIPTION = "

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Violet\

filename: V_00001V_MMX_00%02%24_2528_Vlt

date_replayed: Sun Jan 16 17:32:37 2005

set_name: Violet

detector: DLV

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      1

m_time:    144.25

cycle_num:    1

type:    6

altitude (km):   142.743

target_az:   180.000

actual_az:   177.409

lamp: 0000

violet_t8:  269.5

A single measurement from the violet photometer.

"

OBJECT                      = TABLE

INTERCHANGE_FORMAT        = ASCII

ROWS                      = 1

COLUMNS                   = 1

ROW_BYTES                 = 11

DESCRIPTION               = "A SINGLE MEASUREMENT FROM THE VIOLET PHOTOMETER"

OBJECT                      = COLUMN

NAME                      = "DN"

COLUMN_NUMBER             = 1

UNIT                      = "N/A"

DATA_TYPE                 = INTEGER

START_BYTE                = 1

BYTES                     = 11

DESCRIPTION               = "A SINGLE READING FROM THE DLV PHOTOMETER"

END_OBJECT                  = COLUMN

END_OBJECT                  = TABLE

END

SAMPLE VIOLET DATA PRINTOUT

44

4.3.12 VISIBLE LABEL

SAMPLE VISIBLE

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:17:50 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 22

FILE_RECORDS                  = 200

^TABLE                        = "VISIBLE_0003_000228_9236.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00003B_MMX_00=02=28_9236_VIS"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:49.924

STOP_TIME                     = 2005-01-14T09:12:50.061

SPACECRAFT_CLOCK_START_COUNT  = 148.924    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 149.061    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:17:50 /*UTC*/

FILE_NAME                     = "VISIBLE_0003_000228_9236.TAB"

EXPOSURE_DURATION             = 137.000 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 142.52 <KM>

AZIMUTH                       = 314.92 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   0.91 <DEGREES>

INSTRUMENT_TEMPERATURE        = (258.7, "UNK", "UNK",

"UNK", 266.1, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 148.9236   <SECONDS>

NATIVE_STOP_TIME              = 149.0606   <SECONDS>

DETECTOR_ID                   = "ULVS"

DESCRIPTION = "

Upward Looking Visible Spectrometer 2 by 200 summed

filename_pre: Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Visible\

filename: V_00003B_MMX_00%02%28_9236_Vis

dimensions:    2

num_cols:    2

num_rows:    200

date_replayed: Sun Jan 16 17:32:37 2005

ccd_t1:  258.70

detector: CCD

exp_time:     137.00 ms

coord_x:  45

coord_y:   1

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:      3

m_time:    148.92

cycle_num:    1

type:   17

altitude (km):   142.524

target_az:     5.000

actual_az:   314.924

lamp:      0000

ccd_stat:    0

ccd_flag: 1110

proc_flag: 111001

bad_pixels:        replaced

summing:           summed

S/W Compression:   compressed

Square Root Proc:  not square rooted

H/W Compression:   not compressed

Exposure Control:  automatic

cols_sent:    2

null_col2:  66

null_col3:  55

H_CCD_TGT_PRC       target %age for CCD  25.000000

H_CCD_PRCTILE       %ile point for CCD   97.000000

ccdlug_t5: 266.1

"

OBJECT                     = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 3

ROWS                     = 200

ROW_BYTES                = 22

DESCRIPTION            = "ULVS DATA SUMMED INTO TWO COLUMNS"

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW NUMBER"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "LEFT ULVS DATA"

COLUMN_NUMBER            = 2

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "SUM OF COLS 38 TO 41"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "RIGHT ULVS DATA"

COLUMN_NUMBER            = 3

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 13

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "SUM OF COLS 42 TO 45"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

SAMPLE VISIBLE 2 DATA PRINTOUT

1      55      53

2      49      55

3      53      46

4      58      49

5     125      45

6      44      75

7      55      49

8      54      48

9      48      48

10      50      50

to row:   199

4.3.13 VISIBLE_EX LABEL

SAMPLE VISIBLE_EXT

PDS_VERSION_ID                = PDS3

LABEL_REVISION_NOTE           = "Tue Oct 03 00:19:39 2006 <UTC>, C. See"

RECORD_TYPE                   = FIXED_LENGTH

RECORD_BYTES                  = 22

FILE_RECORDS                  = 200

^TABLE                        = "VISIBLE_EX_0001_000223_0117.TAB"

DATA_SET_ID                   = "HP-SSA-DISR-2/3-EDR/RDR-V1.0"

PRODUCT_ID                    = "V_00001O_MMX_00=02=23_0117_VEX"

MISSION_NAME                  = "CASSINI-HUYGENS"

INSTRUMENT_HOST_NAME          = "HUYGENS PROBE"

INSTRUMENT_HOST_ID            = HP

TARGET_NAME                   = TITAN

MISSION_PHASE_NAME            = DESCENT

INSTRUMENT_ID                 = DISR

INSTRUMENT_NAME               = "DESCENT IMAGER SPECTRAL RADIOMETER"

INSTRUMENT_TYPE               = {"IMAGER","RADIOMETER","SPECTROMETER"}

PRODUCER_ID                   = DISR

PRODUCER_INSTITUTION_NAME     = "UNIVERSITY OF ARIZONA"

PRODUCER_FULL_NAME            = "DR. ELISABETH MCFARLANE"

PRODUCT_TYPE                  = EDR

START_TIME                    = 2005-01-14T09:12:44.012

STOP_TIME                     = 2005-01-14T09:12:44.310

SPACECRAFT_CLOCK_START_COUNT  = 143.012    /* DDB time in seconds.fff */

SPACECRAFT_CLOCK_STOP_COUNT   = 143.310    /* DDB time in seconds.fff */

PRODUCT_CREATION_TIME         = 2006-10-03T00:19:39 /*UTC*/

FILE_NAME                     = "VISIBLE_EX_0001_000223_0117.TAB"

EXPOSURE_DURATION             = 298.500 <MILLISECONDS>

SPACECRAFT_ALTITUDE           = 142.79 <KM>

AZIMUTH                       = 140.59 <DEGREES>

HUYGENS:EW_TILT_ANGLE         =   7.87 <DEGREES>

INSTRUMENT_TEMPERATURE        = (258.6, "UNK", "UNK",

"UNK", 266.1, "UNK",

"UNK", "UNK", "UNK",

"UNK", "UNK")

/* KELVIN */

INSTRUMENT_TEMPERATURE_POINT  = ("CCD_T1","REF_T2","IRB_T3",

"IRE_T4","CCDLUG_T5","STRAP_T6",

"OPTICS_T7","VIOLET_T8","SH_AUX_T9",

"SH_BOX_T10","EA_BOX_T11")

LAMP_STATE                    = 0000

NATIVE_START_TIME             = 143.0117   <SECONDS>

NATIVE_STOP_TIME              = 143.3102   <SECONDS>

DETECTOR_ID                   = "DLVS_EXT"

DESCRIPTION = "

Reference measurements of scattered light used with the visible data.

This measures instrument crosstalk using otherwise unused columns

between the ulvs and dlvs, and dlvs and imagers,always 2 by 200.

filename_pre:

Y:\14Jan05\Log\stream_524a_alt_az_5-8-2006_new_alts\DB\Visible_Ext\

filename: V_00001O_MMX_00%02%23_0117_Vex

dimensions:           2

num_cols:     2

num_rows:     200

date_replayed: Sun Jan 16 17:32:37 2005

ccd_t1:     258.60

detector: CCD

exp_time:    298.50 ms

coord_x2:   36

coord_y2:    1

coord_x:     9

coord_y:     1

gse_ver: Release 6.5

test_log: /descent/14Jan05/Log/stream_524

units: dn

seq_num:        1

m_time:       143.01

cycle_num:    1

type:        30

altitude (km):   142.794

target_az:   152.000

actual_az:   140.591

lamp: 0000

ccd_stat:     0

ccd_flag: 1110

proc_flag: 001000

cols_sent:    2

null_col2:  66

null_col3:  55

"

OBJECT                     = TABLE

INTERCHANGE_FORMAT       = ASCII

COLUMNS                  = 3

ROWS                     = 200

ROW_BYTES                = 22

DESCRIPTION              = "CCD READINGS ON EACH SIDE OF THE

DLVS COLUMNS"

OBJECT                     = COLUMN

NAME                     = "ROW"

COLUMN_NUMBER            = 1

UNIT                     = "N/A"

DATA_TYPE                = INTEGER

START_BYTE               = 1

BYTES                    = 4

FORMAT                   = "I4"

DESCRIPTION              = "ROW"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN1"

COLUMN_NUMBER            = 2

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 5

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "CCD READINGS IN COLUMN 39"

END_OBJECT                 = COLUMN

OBJECT                     = COLUMN

NAME                     = "COLUMN2"

COLUMN_NUMBER            = 3

UNIT                     = "DN"

DATA_TYPE                = INTEGER

START_BYTE               = 13

BYTES                    = 8

FORMAT                   = "I8"

DESCRIPTION              = "CCD READINGS IN COLUMN 49"

END_OBJECT                 = COLUMN

END_OBJECT                 = TABLE

END

SAMPLE VISIBLE_EX DATA PRINTOUT

1      11      13

2      14      24

3      11      15

4      15      11

5      12      13

6      12      10

7      12      10

8      18      11

9      71      10

to row:   200

# Text boxes

Decompressed Raw data, Calibration Information, and

some derived data products

DISR Instrument packets

Huygens Superpackets

Cassini Superpackets

UA-DISR

ESOC

JPL

DSN

Cassini

Cassini Superpackets

Archive

DISR Data Flow

Data Format

Flow

Source

Huygens

Huygens Superpackets

DISR

DISR Datasets